## Slide 1
Load Resource Participation in ERCOT Ancillary Services Markets
DSWG Meeting
7/21/2017
ERCOT Staff

## Slide 2
Continue to have additional Resources register and qualify to participate in RRS and FRRS
Over 300 LRs registered and qualified to provide RRS as UFR type Load Resources
Currently have 7 CLRs that are registered and in various stages of qualification for FRRS with a total registered capacity of 98.7 MW
No Aggregated CLRs that are active or in process of getting qualified for NSRS or participation in SCED
Load Resource Update

## Slide 3
Load Resource Participation in RRS
June 2017 Participation Rates
Load Resource Update (Continued)
RRS Limit for LR (MW) | Average Self-Scheduled RRS from LR (MW) | Average RRS Offers from LR (MW) | Average RRS Awards from LR (MW) | Average RRS Obligation for LR (MW) | Average Awards (% of Offers Awarded)
1351 | 405 | 1464 | 946 | 1351 | 64.6
1351 | 418 | 1452 | 933 | 1351 | 64.3
1239 | 394 | 1493 | 846 | 1240 | 56.7
1150 | 372 | 1523 | 779 | 1151 | 51.1
1150 | 358 | 1491 | 793 | 1151 | 53.2
1239 | 374 | 1498 | 866 | 1240 | 57.8

## Slide 4
LR Registration – Need to update Load RARFs using the new version 5.4 of the form
As Load grows for LRs, Resource Entities need to update their Resource Parameters particularly the Reasonability Limits
Telemetry Reviews e.g. MPC should always be higher than their Net Power Consumption Values
NPRRs currently in the review process
  NPRR 815, NPRR 828, NPRR 835
Load Resource Update