## ConsecutiveDayOccurrences>100
[5 empty] | Consec Day Occurrences >100°F |  |  |  | Consec Days x Load Weights |  |  |  |  | Normalized Weights |  |  | Outlier Detection - Quartile Fence Method
Weather Station | Dry Bulb Temp | Last Date of Consecutive Days | Year | Count | Year | AUS | DFW | IAH | AUS | DFW | IAH | Total Rank | Assigned Probabilities | 2002-2016 | 1990-2016 | 1980-2016 | Quartile1 | Quartile2 | Quartile3 | IQR | Lower Fence | Upper Fence
AUS | 100.6 | 1950-08-05 | 1950 | 2 | 1950 | 2 | 0 | 0 | 0.41874 | 0 | 0 | 0.41874 | 10.1% |  |  |  | 0.88729 | 2.8873 | 6.1861 | 5.2988 | 14.1343 | 22.0826
AUS | 100.6 | 1951-07-20 | 1951 | 3 | 1951 | 26 | 0 | 0 | 5.4436 | 0 | 0 | 5.4436 | 10.1% |  |  |  | Outlier Count |  |  |  | 4 | 3
AUS | 100.6 | 1951-08-09 | 1951 | 7 | 1952 | 10 | 0 | 0 | 2.0937 | 0 | 0 | 2.0937 | 10.1%
AUS | 101.5 | 1951-08-18 | 1951 | 8 | 1953 | 22 | 20 | 0 | 4.6061 | 8.8729 | 0 | 13.479 | 2.2%
AUS | 100.6 | 1951-09-03 | 1951 | 8 | 1954 | 22 | 38 | 0 | 4.6061 | 16.8585 | 0 | 21.4646 | 1.5%
AUS | 100.6 | 1952-08-07 | 1952 | 2 | 1955 | 0 | 4 | 0 | 0 | 1.7746 | 0 | 1.7746 | 10.1%
AUS | 101.5 | 1952-08-10 | 1952 | 2 | 1956 | 25 | 25 | 0 | 5.2342 | 11.0911 | 0 | 16.3253 | 1.5%
AUS | 100.6 | 1952-08-17 | 1952 | 3 | 1957 | 4 | 5 | 0 | 0.83747 | 2.2182 | 0 | 3.0557 | 10.1%
AUS | 104 | 1952-08-25 | 1952 | 3 | 1958 | 7 | 4 | 0 | 1.4656 | 1.7746 | 0 | 3.2402 | 10.1%
AUS | 101.5 | 1953-06-23 | 1953 | 6 | 1959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 101.5 | 1953-07-22 | 1953 | 4 | 1960 | 4 | 2 | 0 | 0.83747 | 0.88729 | 0 | 1.7248 | 10.1%
AUS | 100.6 | 1953-08-11 | 1953 | 10 | 1961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 100.6 | 1953-09-28 | 1953 | 2 | 1962 | 13 | 5 | 0 | 2.7218 | 2.2182 | 0 | 4.94 | 10.1%
AUS | 101.5 | 1954-07-13 | 1954 | 4 | 1963 | 2 | 12 | 0 | 0.41874 | 5.3237 | 0 | 5.7425 | 10.1%
AUS | 100.6 | 1954-07-27 | 1954 | 5 | 1964 | 4 | 16 | 0 | 0.83747 | 7.0983 | 0 | 7.9358 | 2.2%
AUS | 100.6 | 1954-08-10 | 1954 | 8 | 1965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 101.5 | 1954-08-15 | 1954 | 3 | 1966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 101.5 | 1954-08-31 | 1954 | 2 | 1967 | 2 | 2 | 0 | 0.41874 | 0.88729 | 0 | 1.306 | 10.1%
AUS | 101.5 | 1956-06-29 | 1956 | 2 | 1968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 100.6 | 1956-07-10 | 1956 | 6 | 1969 | 3 | 2 | 0 | 0.6281 | 0.88729 | 0 | 1.5154 | 10.1%
AUS | 100.6 | 1956-07-18 | 1956 | 4 | 1970 | 0 | 5 | 0 | 0 | 2.2182 | 0 | 2.2182 | 10.1%
AUS | 100.6 | 1956-08-06 | 1956 | 3 | 1971 | 0 | 2 | 0 | 0 | 0.88729 | 0 | 0.88729 | 10.1%
AUS | 101.5 | 1956-08-10 | 1956 | 3 | 1972 | 0 | 2 | 0 | 0 | 0.88729 | 0 | 0.88729 | 10.1%
AUS | 101.5 | 1956-08-16 | 1956 | 5 | 1973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 100.6 | 1956-09-20 | 1956 | 2 | 1974 | 2 | 7 | 0 | 0.41874 | 3.1055 | 0 | 3.5242 | 10.1%
AUS | 101.5 | 1957-07-31 | 1957 | 4 | 1975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19%
AUS | 100.6 | 1958-08-04 | 1958 | 5 | 1976 | 0 | 2 | 0 | 0 | 0.88729 | 0 | 0.88729 | 10.1%
AUS | 101.5 | 1958-08-13 | 1958 | 2 | 1977 | 0 | 4 | 0 | 0 | 1.7746 | 0 | 1.7746 | 10.1%
AUS | 100.6 | 1960-06-15 | 1960 | 2 | 1978 | 3 | 16 | 0 | 0.6281 | 7.0983 | 0 | 7.7264 | 2.2%
AUS | 100.6 | 1960-07-30 | 1960 | 2 | 1979 | 0 | 3 | 0 | 0 | 1.3309 | 0 | 1.3309 | 10.1%
AUS | 101.5 | 1962-07-31 | 1962 | 2 | 1980 | 14 | 53 | 16 | 2.9312 | 23.5131 | 5.5518 | 31.9961 | 1% |  |  | 0.3055%
AUS | 100.6 | 1962-08-13 | 1962 | 11 | 1981 | 0 | 4 | 0 | 0 | 1.7746 | 0 | 1.7746 | 10.1% |  |  | 3.086%
AUS | 100.6 | 1963-07-22 | 1963 | 2 | 1982 | 2 | 6 | 0 | 0.41874 | 2.6619 | 0 | 3.0806 | 10.1% |  |  | 3.086%
AUS | 101.5 | 1964-07-26 | 1964 | 2 | 1983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% |  |  | 5.805%
AUS | 100.6 | 1964-08-06 | 1964 | 2 | 1984 | 8 | 9 | 0 | 1.6749 | 3.9928 | 0 | 5.6677 | 10.1% |  |  | 3.086%
AUS | 100.6 | 1967-07-31 | 1967 | 2 | 1985 | 16 | 12 | 0 | 3.3499 | 5.3237 | 0 | 8.6736 | 2.2% |  |  | 0.6722%
AUS | 100.6 | 1969-08-12 | 1969 | 3 | 1986 | 9 | 7 | 0 | 1.8843 | 3.1055 | 0 | 4.9898 | 10.1% |  |  | 3.086%
AUS | 100.6 | 1974-07-29 | 1974 | 2 | 1987 | 0 | 3 | 0 | 0 | 1.3309 | 0 | 1.3309 | 10.1% |  |  | 3.086%
AUS | 101.5 | 1978-07-17 | 1978 | 3 | 1988 | 2 | 10 | 2 | 0.41874 | 4.4364 | 0.69398 | 5.5492 | 10.1% |  |  | 3.086%
AUS | 100.6 | 1980-06-29 | 1980 | 3 | 1989 | 5 | 0 | 0 | 1.0468 | 0 | 0 | 1.0468 | 10.1% |  |  | 3.086%
AUS | 101.5 | 1980-07-02 | 1980 | 2 | 1990 | 7 | 2 | 0 | 1.4656 | 0.88729 | 0 | 2.3529 | 10.1% |  | 4.309% | 3.086%
AUS | 100.6 | 1980-07-13 | 1980 | 2 | 1991 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% |  | 8.106% | 5.805%
AUS | 100.6 | 1980-07-19 | 1980 | 5 | 1992 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% |  | 8.106% | 5.805%
AUS | 100.6 | 1980-07-24 | 1980 | 2 | 1993 | 2 | 8 | 0 | 0.41874 | 3.5492 | 0 | 3.9679 | 10.1% |  | 4.309% | 3.086%
AUS | 101.5 | 1982-07-28 | 1982 | 2 | 1994 | 9 | 0 | 0 | 1.8843 | 0 | 0 | 1.8843 | 10.1% |  | 4.309% | 3.086%
AUS | 101.5 | 1984-08-20 | 1984 | 3 | 1995 | 6 | 5 | 2 | 1.2562 | 2.2182 | 0.69398 | 4.1684 | 10.1% |  | 4.309% | 3.086%
AUS | 100.6 | 1984-08-24 | 1984 | 2 | 1996 | 0 | 7 | 0 | 0 | 3.1055 | 0 | 3.1055 | 10.1% |  | 4.309% | 3.086%
AUS | 100.6 | 1984-08-30 | 1984 | 3 | 1997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% |  | 8.106% | 5.805%
AUS | 100.6 | 1985-08-11 | 1985 | 3 | 1998 | 8 | 34 | 6 | 1.6749 | 15.0839 | 2.0819 | 18.8408 | 1.5% |  | 0.6399% | 0.4583%
AUS | 100.6 | 1985-08-21 | 1985 | 6 | 1999 | 5 | 18 | 2 | 1.0468 | 7.9856 | 0.69398 | 9.7264 | 2.2% |  | 0.9386% | 0.6722%
AUS | 100.6 | 1985-08-24 | 1985 | 2 | 2000 | 21 | 33 | 12 | 4.3967 | 14.6403 | 4.1639 | 23.2008 | 1% |  | 0.4266% | 0.3055%
AUS | 100.6 | 1985-09-04 | 1985 | 5 | 2001 | 2 | 0 | 0 | 0.41874 | 0 | 0 | 0.41874 | 10.1% |  | 4.309% | 3.086%
AUS | 100.6 | 1986-08-02 | 1986 | 7 | 2002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% | 16.95% | 8.106% | 5.805%
AUS | 100.6 | 1986-08-19 | 1986 | 2 | 2003 | 2 | 4 | 2 | 0.41874 | 1.7746 | 0.69398 | 2.8873 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 100.6 | 1988-08-08 | 1988 | 2 | 2004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19% | 16.95% | 8.106% | 5.805%
AUS | 100.6 | 1989-07-19 | 1989 | 5 | 2005 | 10 | 2 | 0 | 2.0937 | 0.88729 | 0 | 2.981 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 101.5 | 1990-08-21 | 1990 | 2 | 2006 | 7 | 29 | 0 | 1.4656 | 12.8657 | 0 | 14.3313 | 1.5% | 1.338% | 0.6399% | 0.4583%
AUS | 101.5 | 1990-08-28 | 1990 | 3 | 2007 | 0 | 4 | 0 | 0 | 1.7746 | 0 | 1.7746 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 101.5 | 1990-08-31 | 1990 | 2 | 2008 | 2 | 14 | 0 | 0.41874 | 6.211 | 0 | 6.6298 | 2.2% | 1.963% | 0.9386% | 0.6722%
AUS | 101.5 | 1993-08-24 | 1993 | 2 | 2009 | 33 | 10 | 5 | 6.9092 | 4.4364 | 1.7349 | 13.0805 | 2.2% | 1.963% | 0.9386% | 0.6722%
AUS | 100.6 | 1994-07-18 | 1994 | 2 | 2010 | 3 | 16 | 0 | 0.6281 | 7.0983 | 0 | 7.7264 | 2.2% | 1.963% | 0.9386% | 0.6722%
AUS | 100.6 | 1994-07-26 | 1994 | 7 | 2011 | 47 | 48 | 15 | 9.8403 | 21.2949 | 5.2048 | 36.34 | 1% | 0.8921% | 0.4266% | 0.3055%
AUS | 100.6 | 1995-07-24 | 1995 | 3 | 2012 | 5 | 23 | 2 | 1.0468 | 10.2038 | 0.69398 | 11.9446 | 2.2% | 1.963% | 0.9386% | 0.6722%
AUS | 104.9 | 1995-07-28 | 1995 | 3 | 2013 | 14 | 13 | 0 | 2.9312 | 5.7674 | 0 | 8.6985 | 2.2% | 1.963% | 0.9386% | 0.6722%
AUS | 100.6 | 1998-06-15 | 1998 | 2 | 2014 | 4 | 4 | 0 | 0.83747 | 1.7746 | 0 | 2.612 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 100.6 | 1998-07-17 | 1998 | 2 | 2015 | 5 | 9 | 2 | 1.0468 | 3.9928 | 0.69398 | 5.7336 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 100.6 | 1998-08-04 | 1998 | 4 | 2016 | 0 | 8 | 0 | 0 | 3.5492 | 0 | 3.5492 | 10.1% | 9.01% | 4.309% | 3.086%
AUS | 102.7 | 1999-08-15 | 1999 | 2
AUS | 100.6 | 1999-08-21 | 1999 | 3 | [9 empty] | 100% | 100% | 100%
AUS | 100.6 | 2000-07-16 | 2000 | 4
AUS | 100.6 | 2000-07-22 | 2000 | 4
AUS | 100.6 | 2000-08-13 | 2000 | 4
AUS | 101.5 | 2000-08-18 | 2000 | 2
AUS | 100.6 | 2000-09-05 | 2000 | 7
AUS | 100.6 | 2001-08-06 | 2001 | 2
AUS | 104.9 | 2003-08-08 | 2003 | 2
AUS | 100.6 | 2005-07-03 | 2005 | 3
AUS | 102.7 | 2005-07-07 | 2005 | 2
AUS | 101.5 | 2005-09-28 | 2005 | 5
AUS | 100.6 | 2006-08-18 | 2006 | 4
AUS | 100.6 | 2006-08-26 | 2006 | 3
AUS | 100.6 | 2008-08-04 | 2008 | 2
AUS | 101.5 | 2009-06-29 | 2009 | 7
AUS | 101.5 | 2009-07-05 | 2009 | 4
AUS | 100.6 | 2009-07-10 | 2009 | 3
AUS | 101.5 | 2009-07-16 | 2009 | 4
AUS | 100.6 | 2009-07-28 | 2009 | 3
AUS | 100.6 | 2009-08-07 | 2009 | 4
AUS | 101.5 | 2009-08-12 | 2009 | 3
AUS | 100.6 | 2009-08-24 | 2009 | 5
AUS | 104.9 | 2010-08-24 | 2010 | 3
AUS | 101.5 | 2011-06-19 | 2011 | 6
AUS | 100.6 | 2011-07-28 | 2011 | 6
AUS | 100.6 | 2011-08-11 | 2011 | 11
AUS | 101.5 | 2011-08-16 | 2011 | 3
AUS | 100.6 | 2011-08-24 | 2011 | 7
AUS | 100.6 | 2011-08-31 | 2011 | 6
AUS | 100.6 | 2011-09-04 | 2011 | 3
AUS | 100.6 | 2011-09-13 | 2011 | 3
AUS | 100.6 | 2011-09-26 | 2011 | 2
AUS | 101.5 | 2012-06-27 | 2012 | 3
AUS | 100.6 | 2012-08-11 | 2012 | 2
AUS | 101.5 | 2013-06-29 | 2013 | 2
AUS | 101.5 | 2013-07-13 | 2013 | 2
AUS | 100.6 | 2013-08-02 | 2013 | 4
AUS | 102.7 | 2013-08-10 | 2013 | 6
AUS | 100.6 | 2014-08-08 | 2014 | 2
AUS | 100.6 | 2014-08-22 | 2014 | 2
AUS | 100.6 | 2015-08-13 | 2015 | 5
DFW | 101.5 | 1953-06-14 | 1953 | 3
DFW | 100.6 | 1953-06-24 | 1953 | 7
DFW | 100.6 | 1953-07-09 | 1953 | 4
DFW | 102.7 | 1953-08-08 | 1953 | 2
DFW | 102.7 | 1953-08-11 | 1953 | 2
DFW | 100.6 | 1953-09-28 | 1953 | 2
DFW | 100.6 | 1954-07-07 | 1954 | 3
DFW | 100.6 | 1954-07-26 | 1954 | 18
DFW | 100.6 | 1954-08-08 | 1954 | 6
DFW | 101.5 | 1954-08-11 | 1954 | 2
DFW | 100.6 | 1954-08-19 | 1954 | 7
DFW | 104 | 1954-08-30 | 1954 | 2
DFW | 100.6 | 1955-08-09 | 1955 | 2
DFW | 100.6 | 1955-08-24 | 1955 | 2
DFW | 102.7 | 1956-07-08 | 1956 | 2
DFW | 100.6 | 1956-07-18 | 1956 | 5
DFW | 100.6 | 1956-07-26 | 1956 | 2
DFW | 100.6 | 1956-08-11 | 1956 | 9
DFW | 100.6 | 1956-08-17 | 1956 | 5
DFW | 102.7 | 1956-08-30 | 1956 | 2
DFW | 102.7 | 1957-07-30 | 1957 | 2
DFW | 101.5 | 1957-08-14 | 1957 | 3
DFW | 100.6 | 1958-08-01 | 1958 | 4
DFW | 101.5 | 1960-07-13 | 1960 | 2
DFW | 100.6 | 1962-08-06 | 1962 | 2
DFW | 100.6 | 1962-08-11 | 1962 | 3
DFW | 101.5 | 1963-07-09 | 1963 | 2
DFW | 101.5 | 1963-07-24 | 1963 | 4
DFW | 100.6 | 1963-08-28 | 1963 | 6
DFW | 102.7 | 1964-07-11 | 1964 | 5
DFW | 101.5 | 1964-07-26 | 1964 | 4
DFW | 101.5 | 1964-08-06 | 1964 | 4
DFW | 100.6 | 1964-08-12 | 1964 | 3
DFW | 100.6 | 1967-07-31 | 1967 | 2
DFW | 100.6 | 1969-07-15 | 1969 | 2
DFW | 100.6 | 1970-08-09 | 1970 | 3
DFW | 100.6 | 1970-08-18 | 1970 | 2
DFW | 101.5 | 1971-07-19 | 1971 | 2
DFW | 100.6 | 1972-06-26 | 1972 | 2
DFW | 102.7 | 1974-07-23 | 1974 | 3
DFW | 100.6 | 1974-08-17 | 1974 | 2
DFW | 100.6 | 1974-08-20 | 1974 | 2
DFW | 100.6 | 1976-08-09 | 1976 | 2
DFW | 102.7 | 1977-07-26 | 1977 | 4
DFW | 100.6 | 1978-07-04 | 1978 | 3
DFW | 100.6 | 1978-07-10 | 1978 | 3
DFW | 100.6 | 1978-07-18 | 1978 | 6
DFW | 100.6 | 1978-08-18 | 1978 | 4
DFW | 100.6 | 1979-07-01 | 1979 | 3
DFW | 100.3 | 1980-06-19 | 1980 | 2
DFW | 100.6 | 1980-07-23 | 1980 | 31
DFW | 104.9 | 1980-07-26 | 1980 | 2
DFW | 101.5 | 1980-08-03 | 1980 | 7
DFW | 100.6 | 1980-08-09 | 1980 | 5
DFW | 101.5 | 1980-08-25 | 1980 | 6
DFW | 100.6 | 1981-07-24 | 1981 | 4
DFW | 100.6 | 1982-08-15 | 1982 | 2
DFW | 100.6 | 1982-08-27 | 1982 | 4
DFW | 101.5 | 1984-06-23 | 1984 | 2
DFW | 100.6 | 1984-07-07 | 1984 | 2
DFW | 104.9 | 1984-08-19 | 1984 | 2
DFW | 101.5 | 1984-08-29 | 1984 | 3
DFW | 100.6 | 1985-08-02 | 1985 | 2
DFW | 100.6 | 1985-08-11 | 1985 | 4
DFW | 101.5 | 1985-08-20 | 1985 | 4
DFW | 102.7 | 1985-09-01 | 1985 | 2
DFW | 100.6 | 1986-07-26 | 1986 | 2
DFW | 101.5 | 1986-08-01 | 1986 | 5
DFW | 100.6 | 1987-08-06 | 1987 | 3
DFW | 100.6 | 1988-08-09 | 1988 | 5
DFW | 101.5 | 1988-08-23 | 1988 | 3
DFW | 101.5 | 1988-08-27 | 1988 | 2
DFW | 100.6 | 1990-08-31 | 1990 | 2
DFW | 101.5 | 1993-08-01 | 1993 | 4
DFW | 102.7 | 1993-08-21 | 1993 | 4
DFW | 101.5 | 1995-07-12 | 1995 | 3
DFW | 101.5 | 1995-07-28 | 1995 | 2
DFW | 100.6 | 1996-07-08 | 1996 | 7
DFW | 100.6 | 1998-06-01 | 1998 | 2
DFW | 100.6 | 1998-06-20 | 1998 | 2
DFW | 100.6 | 1998-07-02 | 1998 | 2
DFW | 101.5 | 1998-07-12 | 1998 | 7
DFW | 100.6 | 1998-07-16 | 1998 | 2
DFW | 100.6 | 1998-07-20 | 1998 | 2
DFW | 104 | 1998-08-03 | 1998 | 12
DFW | 100.6 | 1998-08-11 | 1998 | 3
DFW | 104.9 | 1998-09-04 | 1998 | 2
DFW | 100.6 | 1999-08-01 | 1999 | 5
DFW | 101.5 | 1999-08-12 | 1999 | 7
DFW | 104 | 1999-08-19 | 1999 | 2
DFW | 102.7 | 1999-08-26 | 1999 | 2
DFW | 100.6 | 1999-08-29 | 1999 | 2
DFW | 100.6 | 2000-07-21 | 2000 | 10
DFW | 100.6 | 2000-08-04 | 2000 | 3
DFW | 100.6 | 2000-08-07 | 2000 | 2
DFW | 101.5 | 2000-08-12 | 2000 | 2
DFW | 100.6 | 2000-08-21 | 2000 | 6
DFW | 101.5 | 2000-08-27 | 2000 | 3
DFW | 101.5 | 2000-09-04 | 2000 | 7
DFW | 102.7 | 2003-08-07 | 2003 | 4
DFW | 100.6 | 2005-08-27 | 2005 | 2
DFW | 100.6 | 2006-07-13 | 2006 | 2
DFW | 100.6 | 2006-07-21 | 2006 | 6
DFW | 101.5 | 2006-08-06 | 2006 | 3
DFW | 100.6 | 2006-08-26 | 2006 | 18
DFW | 100.6 | 2007-08-15 | 2007 | 4
DFW | 100.6 | 2008-07-22 | 2008 | 2
DFW | 102.7 | 2008-07-28 | 2008 | 3
DFW | 100.6 | 2008-08-05 | 2008 | 7
DFW | 100.6 | 2008-08-10 | 2008 | 2
DFW | 101.5 | 2009-06-28 | 2009 | 2
DFW | 100.6 | 2009-07-16 | 2009 | 8
DFW | 100.6 | 2010-08-03 | 2010 | 4
DFW | 100.6 | 2010-08-06 | 2010 | 2
DFW | 100.6 | 2010-08-16 | 2010 | 6
DFW | 100.6 | 2010-08-23 | 2010 | 4
DFW | 100.6 | 2011-06-19 | 2011 | 3
DFW | 102.7 | 2011-07-08 | 2011 | 3
DFW | 100.6 | 2011-07-18 | 2011 | 6
DFW | 100.6 | 2011-07-28 | 2011 | 6
DFW | 100.6 | 2011-08-10 | 2011 | 11
DFW | 101.5 | 2011-08-31 | 2011 | 17
DFW | 101.5 | 2011-09-13 | 2011 | 2
DFW | 100.6 | 2012-06-27 | 2012 | 3
DFW | 100.6 | 2012-07-21 | 2012 | 2
DFW | 100.6 | 2012-08-07 | 2012 | 11
DFW | 100.6 | 2012-08-14 | 2012 | 3
DFW | 102.7 | 2012-09-07 | 2012 | 4
DFW | 101.5 | 2013-07-11 | 2013 | 2
DFW | 100.6 | 2013-08-02 | 2013 | 3
DFW | 100.6 | 2013-08-09 | 2013 | 5
DFW | 101.5 | 2013-09-01 | 2013 | 3
DFW | 101.5 | 2014-07-27 | 2014 | 2
DFW | 100.6 | 2014-08-09 | 2014 | 2
DFW | 100.6 | 2015-07-30 | 2015 | 2
DFW | 101.5 | 2015-08-11 | 2015 | 7
DFW | 106.5 | 2016-08-12 | 2016 | 8
IAH | 100.6 | 1980-06-27 | 1980 | 2
IAH | 100.6 | 1980-07-02 | 1980 | 3
IAH | 100.6 | 1980-07-13 | 1980 | 3
IAH | 100.6 | 1980-07-19 | 1980 | 5
IAH | 100.6 | 1980-08-24 | 1980 | 3
IAH | 101.5 | 1988-08-09 | 1988 | 2
IAH | 102.7 | 1995-07-28 | 1995 | 2
IAH | 100.6 | 1998-07-12 | 1998 | 3
IAH | 100.6 | 1998-08-02 | 1998 | 3
IAH | 102.7 | 1999-08-20 | 1999 | 2
IAH | 101.5 | 2000-07-16 | 2000 | 3
IAH | 101.5 | 2000-07-20 | 2000 | 2
IAH | 102.7 | 2000-09-05 | 2000 | 7
IAH | 100.6 | 2003-08-08 | 2003 | 2
IAH | 100.6 | 2009-06-26 | 2009 | 3
IAH | 100.6 | 2009-06-29 | 2009 | 2
IAH | 102.7 | 2011-06-06 | 2011 | 2
IAH | 100.6 | 2011-08-11 | 2011 | 2
IAH | 101.5 | 2011-08-19 | 2011 | 4
IAH | 100.6 | 2011-08-30 | 2011 | 5
IAH | 100.6 | 2011-09-02 | 2011 | 2
IAH | 101.5 | 2012-06-26 | 2012 | 2
IAH | 104 | 2015-08-11 | 2015 | 2
Lower Fence = Quartile3 + (1.5 x Interquartile Range)
Interquartile Range = Quartile3 - Quartile1
Upper Fence = Quartile3 + (3 x Interquartile Range)

## Freq-Probability Calcs
RELATIVE FREQUENCY METHOD
| Bin | Frequency | Normalized Frequency | Assigned Probability | Outlier Status (Based on Quartile Fences) | Temperature/High Load Risk Probabilities
| 0 | 13 | 0.19403 | 19% |  | No Risk | 19%
| 1 | 5 | 0.074627 | 10.15% |  | Low Risk | 10.1%
| 2 | 11 | 0.16418 | 10.15% |  | Moderate Risk | 2.2%
| 3 | 6 | 0.089552 | 10.15% |  | High Risk | 1.5%
| 4 | 7 | 0.10448 | 10.15% |  | Extremely High Risk | 1%
| 5 | 3 | 0.044776 | 10.15%
| 6 | 5 | 0.074627 | 10.15%
| 7 | 1 | 0.014925 | 2.156%
| 8 | 3 | 0.044776 | 2.156%
| 9 | 2 | 0.029851 | 2.156%
| 10 | 1 | 0.014925 | 2.156%
| 11 | 0 | 0 | 2.156%
| 12 | 1 | 0.014925 | 2.156%
| 13 | 0 | 0 | 2.156%
Lower Fence = 14.13 | 14 | 2 | 0.029851 | 2.156%
| 15 | 1 | 0.014925 | 1.5% | Mild Outlier
| 16 | 0 | 0 | 1.5%
| 17 | 1 | 0.014925 | 1.5% | Mild Outlier
| 18 | 0 | 0 | 1.5%
| 19 | 1 | 0.014925 | 1.5% | Mild Outlier
| 20 | 0 | 0 | 1.5%
| 21 | 0 | 0 | 1.5%
Upper Fence = 22.08 | 22 | 1 | 0.014925 | 1.5% | Mild Outlier
| 23 | 0 | 0 | 1%
| 24 | 1 | 0.014925 | 1% | Extreme Outlier
| 25 | 0 | 0 | 1%
| 26 | 0 | 0 | 1%
| 27 | 0 | 0 | 1%
| 28 | 0 | 0 | 1%
| 29 | 0 | 0 | 1%
| 30 | 0 | 0 | 1%
| 31 | 0 | 0 | 1%
| 32 | 1 | 0.014925 | 1% | Extreme Outlier
| 33 | 0 | 0 | 1%
| 34 | 0 | 0 | 1%
| 35 | 0 | 0 | 1%
| 36 | 0 | 0 | 1%
| 37 | 1 | 0.014925 | 1% | Extreme Outlier

## WeatherZoneLoads-2016
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12794.4779 | 11768.2843 | 14184.9323 | 15075.2494 | 16150.2885 | 18763.2404 | 19126.4349 | 19699.905 | 18929.0601 | 17164.4206 | 14866.6269 | 13689.3045
East | 1947.8118 | 1866.3407 | 1603.4859 | 1791.5498 | 1966.0778 | 2144.0195 | 2264.099 | 2452.5549 | 2296.9964 | 1988.9058 | 1703.0584 | 2109.7273
Far West | 2353.9155 | 2396.2662 | 2078.8303 | 2338.0403 | 2510.3951 | 2749.987 | 2866.6042 | 2847.7126 | 2660.3544 | 2549.073 | 2338.8563 | 2455.4699
North Central | 17595.1494 | 17219.7645 | 11958.5123 | 16035.907 | 19728.9634 | 22063.3329 | 23136.862 | 25187.4835 | 23358.7904 | 20318.7988 | 15978.765 | 21727.0612
North | 1053.3219 | 1069.4947 | 718.6652 | 945.9784 | 1082.3468 | 1292.6545 | 1381.9464 | 1393.4313 | 1340.5965 | 1145.9342 | 952.5365 | 1285.1227
South Central | 8467.5608 | 8312.0916 | 7293.1108 | 8944.5241 | 9746.99 | 10910.9613 | 11415.9853 | 11886.693 | 11243.7067 | 9998.3787 | 8390.2955 | 10259.2428
South | 4042.3965 | 3871.6796 | 4615.3253 | 4661.1566 | 4706.7649 | 5340.477 | 5452.7024 | 5788.1301 | 5509.3923 | 5278.8961 | 4584.4924 | 4712.7115
West | 1481.3272 | 1544.0085 | 1079.0885 | 1353.9931 | 1494.9332 | 1736.5911 | 1873.1683 | 1894.404 | 1731.9602 | 1511.1259 | 1287.6288 | 1809.6408
TOTAL | 49735.9609 | 48047.9301 | 43531.9505 | 51146.3988 | 57386.7597 | 65001.2637 | 67517.8025 | 71150.3145 | 67070.857 | 59955.5331 | 50102.2599 | 58048.2808
METRO TOTAL | Aug: 56774.0816
Source: Demand & Energy Report, 3/3/2017 (Reflects Final Settlement results)
[6 empty] | AUS WEIGHT |  | 0.20937
[6 empty] | DFW WEIGHT |  | 0.44364
[6 empty] | IAH WEIGHT |  | 0.34699