Date:	August 24, 2017

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR829, Incorporate Real-Time Non-Modeled Telemetered Net Generation by Load Zone into the Estimate of RTL [Enchanted Rock] - NPRR836, Incorporation of Other Binding Document Forms into Protocol Section 23 [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR829, Incorporate Real-Time Non-Modeled Telemetered Net Generation by Load Zone into the Estimate of RTL [Enchanted Rock] Proposed Effective Date: Upon system implementation - Priority 2019; Rank 2510 ERCOT Impact Analysis: Between $120k and $160k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM), Network Model Management System (NMMS), Energy Management System (EMS), Integration, Data and Information Products (DAIP), Data Access & Transparency; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides a mechanism for a Qualified Scheduling Entity (QSE) with non-modeled generation to inform ERCOT in a timely manner the net generation to the ERCOT grid from their Non-Modeled Generators so that the output can be considered in the estimate of Real-Time Liability (RTL). Absent this NPRR, output from Non-Modeled Generators is not included in estimating the QSE’s RTL, and the QSE is required to post a superfluous amount of collateral. PRS Decision: On 7/20/17, PRS voted to recommend approval of NPRR829 as amended by the 7/14/17 ERCOT comments and as revised by PRS. There was one abstention from the Consumer (Occidental) Market Segment. On 8/11/17, PRS voted to endorse and forward to TAC the 7/20/17 PRS Report as amended by the 8/9/17 ERCOT comments and the Impact Analysis for NPRR829 with a recommended priority of 2019 and rank of 2510. There was one opposing vote from the Municipal (CPS Energy) Market Segment and one abstention from the Municipal (DME) Market Segment. Credit WG Review: See 5/17/17 Credit WG comments. - NPRR836, Incorporation of Other Binding Document Forms into Protocol Section 23 [ERCOT] Proposed Effective Date: November 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR incorporates the following Other Binding Documents into the Protocols as a new Section 23, Forms, and allows changes to these Section 23 forms to be made using the Administrative NPRR process. PRS Decision: On 7/20/17, PRS voted to recommend approval of NPRR836 as submitted. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 8/11/17, PRS voted to endorse and forward to TAC the 7/20/17 PRS Report and Impact Analysis for NPRR836. There was one abstention from the IPM (Morgan Stanley) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the September 14, 2017 PRS Meeting - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] - NPRR817, Create a Panhandle Hub [DC Energy] - NPRR825, Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load [REMC] - NPRR840, Implementation of Infeasible Ancillary Service Protocol Revisions [ERCOT] - SCR791, Correction of 60-day SCED GRD Disclosure Report [MDWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR814, Modify Black Start Procurement Cycle [ERCOT] - NPRR819, Resettlement Clean-Ups [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve [E.ON] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR834, Clarifications for Repossessions of CRRs by ERCOT [ERCOT] - NPRR835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS) [E.ON] - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR839, Clarification of ERCOT Forwarding of Consumption and Other Data [ERCOT] - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] - NPRR842, Study Area Load Information [ERCOT] - NPRR843, Short-Term System Adequacy and AS Offer Disclosure Reports Additions [ERCOT] - NPRR844, Clarification to Outage Report [Luminant Generation] - NPRR845, RMR Process and Agreement Revisions [ERCOT] New Revision Requests Scheduled for Consideration at the September 14, 2017 PRS Meeting None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr