## Slide 1
Unregistered Distributed Generation Report: 2017.Q2 Update
Pete Warnken
Manager, Resource Adequacy
September 6, 2017

## Slide 2: 2017 Q2 Unregistered Distributed Generation Report
Load Zone | 2017 Q2 Aggregate MW by Primary Fuel Type |  |  |  | 
 | SOLAR | WIND | OTHER RENEWABLE | OTHER NON-RENEWABLE | TOTAL
LZ_AEN | 14.38 | 0.00 | 0.00 | 0.00 | 14.38
LZ_CPS | 8.80 | 0.00 | 0.23 | 0.00 | 9.02
LZ_HOUSTON | 8.84 | 0.36 | 0.11 | 4.34 | 13.66
LZ_LCRA | 2.31 | 0.00 | 0.00 | 0.00 | 2.31
LZ_NORTH | 88.30 | 1.66 | 0.00 | 0.71 | 90.67
LZ_RAYBN | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
LZ_SOUTH | 13.52 | 0.68 | 0.00 | 0.00 | 14.21
LZ_WEST | 6.63 | 0.81 | 0.00 | 0.34 | 7.78
TOTAL | 142.78 | 3.52 | 0.34 | 5.39 | 152.02
Load Zone | Q1 → Q2 Change in Aggregate MW by Primary Fuel Type |  |  |  | 
 | SOLAR | WIND | OTHER RENEWABLE | OTHER NON-RENEWABLE | TOTAL
LZ_AEN | +0.34 | - | - | - | +0.34
LZ_CPS | +0.77 | - | - | - | +0.77
LZ_HOUSTON | - | - | - | +0.17 | +0.18
LZ_LCRA | +0.13 | - | - | - | +0.13
LZ_NORTH | +9.15 | - | - | - | +9.15
LZ_RAYBN | - | - | - | - | -
LZ_SOUTH | +1.33 | - | - | - | +1.33
LZ_WEST | +0.50 | +0.07 | - | - | +0.56
TOTAL | +12.21 | +0.07 | - | +0.17 | +12.45

## Slide 3: Unregistered DG Report News
Unregistered DG report changed significantly in 2016 Q2
  Previously, only units that exported to the grid were included
  Previously, only units greater than 50 kW capacity were included (this threshold now only applies to NOIEs)
2017 Q1 Revised report posted to MIS on July 31
2017 Q3 report available on October 30
ERCOT internally discussing an NPRR to enhance the unregistered DG report (to be discussed at future SAWG meetings)