APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, August 3, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bailey, Robert | Reliant Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread Electric Coop |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide | Via Teleconference |
| Dillard, Jesse | City of Dallas |  |
| Goff, Eric | Citigroup |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant Generation |  |
| Henson, Martha | Oncor | Alt. Rep. for Alan Bern |
| Kelly, Bill | Austin Energy | Alt. Rep. for Danny Ee |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEP |  |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Sandidge, Clint | Calpine Energy Solutions | Via Teleconference |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Such, Christopher | E.ON | Alt. Rep. for Jennifer Ayers Brasher |
| Tzartzev, Rouslan | EDP Renewables | Via Teleconference |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

- Billy Lee to Trieu Vo

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bowen, Ken | CPS Energy | Via Teleconference |
| Brandt, Adrianne | CPS Energy |  |
| Bruce, Mark | Cratylus Advisors |  |
| Carlson, Trent | Gridliance | Via Teleconference |
| Corpuz, Genardo | LCRA |  |
| Downey, Marty | Enchanted Rock |  |
| Foos, Richard | Calpine | Via Teleconference |
| Galliguez, Percy | Brazos | Via Teleconference |
| Gillean, Rick | Cross Texas Transmission |  |
| Graham, Greg | Texas RE | Via Teleconference |
| Gray, Stan | Southern Cross |  |
| Gross, Blake | AEP |  |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas RE | Via Teleconference |
| Jones, Randy | Calpine |  |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lange, Clif | STEC |  |
| Loth, Justin | Oncor | Via Teleconference |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Matos, Christopher | PUCT | Via Teleconference |
| McCamant, Frank | McCamant Consulting | Via Teleconference |
| Moore, Sheri | CenterPoint Energy | Via Teleconference |
| Moss, Steven | E.ON |  |
| Owens, Frank | Cross Texas Transmission | Via Teleconference |
| Palen, John | NRG |  |
| Penney, David | Texas RE | Via Teleconference |
| Peters, Patrick | CenterPoint Energy |  |
| Powell, Christian | LCRA |  |
| Reid, Walter | Wind Coalition |  |
| Rochelle, Jenni | CES |  |
| Sams, Bryan | NRG | Via Teleconference |
| Santos, Juan | Garland Power & Light | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. |  |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy | Via Teleconference |
| Surendan, Resmi | Shell | Via Teleconference |
| Thompson, David | Pedernales Electric Cooperative |  |
| Urquidez, Omar | CenterPoint Energy |  |
| Varnell, John | Tenaska | Via Teleconference |
| Wagner, Marguerite | ITC |  |
| White, Lauri | AEP |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Woods, Brad | Texas RE | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Billo, Jeff |  |  |
| Bivens, Carrie |  | Via Teleconference |
| Blevins, Bill |  | Via Teleconference |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Garcia, Freddy |  | Via Teleconference |
| Knapp, Ethan |  |  |
| Lee, Alex |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Mago, Nitika |  |  |
| Manzanilla, Ray |  |  |
| Pierce, Evan |  |  |
| Phillips, Cory |  |  |
| Sanchez, Daniel |  |  |
| Searcy, Robbie |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Spinner, Mark |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  | Via Teleconference |
| Thomas, Shane |  |  |
| Thompson, Chad |  |  |
| Williams, Leslie |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2017 ROS Vice Chair Boone Staples called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Staples reviewed the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

June 8, 2017

Kris Koellner moved to approve the June 8, 2017 ROS meeting minutes as submitted.  Brad Schwarz seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update/Assignments

Mr. Staples reviewed activities of the June 29, 2017 TAC meeting, and noted that the joint meeting between the ROS and the Wholesale Market Subcommittee (WMS) to discuss the Southern Cross Project is tentatively scheduled for September 6, 2017 following the WMS meeting.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago presented the 2017 Operations Reports for May and June of 2017.

System Planning Report

Jeff Billo presented the June 2017 System Planning Report.

2017 Under-Frequency Load Shedding (UFLS) Survey Results

Daniel Sanchez presented findings of the 2017 UFLS Survey.

New Protocol Revision Subcommittee (PRS) Referrals to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS)

Chris Such moved to request PRS table NPRR835 for further review by the Performance, Disturbance, Compliance Working Group (PDCWG).  Dennis Kunkel seconded the motion.  The motion carried unanimously.

NPRR837, Regional Planning Group (RPG) Process Reform

Martha Henson moved to request PRS table NPRR837 for further review by the Planning Working Group (PLWG).  Wes Woitt seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR814, Modify Black Start Procurement Cycle

ROS took no action on NPRR814.

NPRR825, Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load

Eric Goff moved to endorse NPRR825 as amended by the 7/19/17 Morgan Stanley comments.  Clayton Greer seconded the motion.  The motion carried unanimously.

NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve

Mr. Such moved to endorse NPRR828 as amended by the 7/31/17 E. ON comments.  Cyrus Reed seconded the motion.

Some Market Participants opined that NPRR828 does not directly address a prevalent reliability issue, and that the service it aims to provide is not necessary in the current market.  Others countered that the ability to more rapidly curb frequency events would be a valuable tool, and supported finding a place in the market for technologies capable of supplying this type of utility.

Thomas Burke moved to call the question.  Mr. Greer seconded the motion.  The motion carried with one opposing vote from the Independent Power Marketer (IPM) (Citigroup) Market Segment.

The motion to endorse NPRR828 as amended by the 7/31/17 E. ON comments failed via a roll call vote with 10 opposing votes from the Consumer (Air Liquide), Cooperative (3) (LCRA, Brazos, STEC), Independent Generator (Luminant), IPM (3) (Citigroup, Morgan Stanley, EDF), and Independent Retail Electric Provider (IREP) (2) (Reliant, Calpine Energy Solutions) Market Segments; and five abstentions from the Consumer (OPUC), IPM (Tenaska), Investor Owned Utility (IOU) (AEP), and Municipal (2) (Brownsville PUB, Austin Energy) Market Segments. (Ballot posted with Key Documents)

Mr. Goff proposed amendments to the 7/31/17 E. ON comments, suggesting that these technologies may be better served in a market where they could bid on and offer to sell energy; adding a two year expiration date to the language proposed in NPRR828, at which point the Resources could be brought in to the existing market, rather than creating a new product.  Walter Reid responded that the suggested change would not contribute to the goal of rapid response originally intended by NPRR828.  Mr. Goff stated that there are already multiple products offering fast responding service, and that perhaps those could be made more technology-neutral as an alternative solution.

Mr. Goff moved to endorse NPRR828 as amended by the 7/31/17 E. ON comments and as revised by ROS.  The motion failed due to lack of a second.

Review of New Revision Request Language

Nodal Operating Guide Revision Request (NOGRR) 173, Monthly RRS Reporting Clean Up

Mr. Greer moved to recommend approval of NOGRR173 as submitted.  Brenda Hampton seconded the motion.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 059, Related to NPRR837, Regional Planning Group Process Reform

Mr. Koellner moved to table PGRR059 for further review by PLWG.  Ms. Henson seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

There were no revision requests tabled at ROS at the time of this meeting.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

Resource Data Working Group (RDWG) (see Key Documents)

John Palen reviewed recent RDWG activity.

Operations Working Group (OWG) (see Key Documents)

Rick Gillean reviewed recent OWG activity.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity, and provided a progress update regarding development of the updated Geomagnetically Induced Current (GIC) system model, a review of North American Electric Reliability Corporation (NERC) compliance deadlines, and an overview of additional requirements anticipated as part of NERC Standard TPL-007-2.

Steady State Working Group (SSWG) (see Key Documents)

Justin Loth reviewed recent SSWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activity.  Evan Pierce presented the 2017 Black Start Training Summary.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

System Protection Working Group (SPWG) (see Key Documents)

Gene Corpuz reviewed recent SPWG activity.

Outage Coordination Working Group (OCWG)

Ms.  Henson provided an update regarding progress on the High Impact Transmission Elements (HITE) list, and encouraged parties interested in the review process to participate in discussions at the upcoming OCWG meeting on August 17, 2017.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reviewed recent NDSWG activity.

Other Business

Mr. Goff stated that the WMS has instructed the Qualified Scheduling Entity Managers Working Group (QMWG) to review the definitions for contingencies and explore solutions for avoidance of generator islanding during a contingency.  Mr. Goff requested a joint discussion with an ROS working group that may provide insight to potential reliability concerns that may arise as solutions are proposed.  Mr. Staples referred the issue to the OWG.

Review of Open Action Items

The assignment to PLWG, “Definition of All Inclusive Generation Resources re PGRR053, Addition of Proposed All Inclusive Generation Resources to the Planning Models” was removed from the list.  The assignment to OWG, “Posting of Emergency Operations Plans re NOGRR165, Emergency Operations Plan as Required by NERC Reliability Standards” was also removed.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group

- Dynamic Model Task Force

- PLWG

Adjournment

Mr. Staples adjourned the August 3, 2017 ROS meeting at 12:15 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/8/3/108727-ROS