## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2017

## Slide 2: Non-IRR GREDP < 85% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 317 | 14 | 17 | 0.38 | 82.35
Unit 320 | 0 | 1 | 0.59 | 0.00
Unit 321 | 0 | 1 | 0.40 | 0.00
Totals | 14 | 19 | .45 | 82.35

## Slide 3: IRR Summary August 2017
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 74.92 | 47.61 | 84.18
GREDP Median (%) | 98.97 | 50.00 | 84.37
Average MW Error | 3.57 | 3.17 | 2.53
Median MW Error | 3.27 | 2.96 | 2.11
Total Intervals Scored | 4,086 | 2,983 | 2,726
100+ Intervals Scored | 7 | 172 | 4
Total Intervals Scored Average | 22.83 | 114.73 | 681.50

## Slide 4: IRR GREDP ≥ 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 287 | 290 | 5.50 | 98.97
Unit 5 | 258 | 265 | 4.98 | 97.36
Unit 6 | 141 | 148 | 4.12 | 95.27
Unit 8 | 87 | 87 | 3.31 | 97.77
Unit 9 | 69 | 71 | 0.00 | 97.00
Unit 12 | 53 | 55 | 5.20 | 96.30
Unit 13 | 42 | 42 | 3.85 | 100.00
Unit 14 | 42 | 42 | 2.10 | 100.00
Unit 17 | 19 | 19 | 3.37 | 100.00
Unit 18 | 17 | 17 | 2.44 | 100.00
Unit 19 | 12 | 12 | 2.95 | 100.00
Unit 22 | 11 | 11 | 3.27 | 100.00

## Slide 5: IRR GREDP ≥ 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 24 | 7 | 7 | 5.85 | 100.00
Unit 26 | 6 | 6 | 1.41 | 100.00
Unit 28 | 5 | 5 | 6.59 | 100.00
Unit 29 | 5 | 5 | 6.59 | 100.00
Unit 30 | 4 | 4 | 3.37 | 100.00
Unit 35 | 2 | 2 | 3.40 | 100.00
Unit 36 | 2 | 2 | 4.20 | 100.00
Unit 38 | 2 | 2 | 2.32 | 100.00
Unit 40 | 2 | 2 | 4.91 | 100.00
Unit 41 | 2 | 2 | 6.05 | 100.00
Unit 43 | 1 | 1 | 3.27 | 100.00
Unit 44 | 1 | 1 | 6.47 | 100.00

## Slide 6: IRR GREDP ≥ 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 1 | 1 | 6.47 | 100.00
Unit 48 | 1 | 1 | 4.75 | 100.00
Unit 50 | 1 | 1 | 2.43 | 100.00
Unit 51 | 1 | 1 | 2.80 | 100.00
Unit 55 | 1 | 1 | 1.69 | 100.00
Totals | 1,082 | 1,103 | 4.28 | 97.91

## Slide 7: IRR GREDP < 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 907 | 1236 | 1.46 | 73.38
Unit 2 | 750 | 1010 | 0.58 | 74.26
Unit 3 | 333 | 353 | 2.77 | 94.60
Unit 7 | 120 | 127 | 5.32 | 94.49
Unit 10 | 61 | 66 | 5.69 | 92.42
Unit 11 | 54 | 60 | 3.08 | 93.50
Unit 15 | 35 | 39 | 2.11 | 89.74
Unit 16 | 18 | 23 | 3.27 | 78.26
Unit 20 | 6 | 12 | 3.90 | 50.00
Unit 21 | 10 | 12 | 5.51 | 83.33
Unit 23 | 8 | 9 | 1.70 | 88.89
Unit 25 | 3 | 6 | 5.79 | 50.00

## Slide 8: IRR GREDP < 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 27 | 3 | 6 | 2.13 | 50.00
Unit 31 | 3 | 4 | 3.51 | 75.00
Unit 32 | 1 | 3 | 3.32 | 33.33
Unit 33 | 1 | 3 | 1.44 | 33.33
Unit 34 | 0 | 3 | 1.76 | 0.00
Unit 37 | 0 | 2 | 6.84 | 0.00
Unit 39 | 1 | 2 | 3.07 | 50.00
Unit 42 | 1 | 1 | 2.25 | 33.33
Unit 46 | 0 | 1 | 2.77 | 0.00
Unit 47 | 0 | 1 | 2.77 | 0.00
Unit 49 | 0 | 1 | 4.61 | 0.00
Unit 52 | 0 | 1 | 0.88 | 0.00

## Slide 9: IRR GREDP < 95% August 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 53 | 0 | 1 | 3.15 | 0.00
Unit 54 | 0 | 1 | 2.84 | 0.00
Totals | 2,315 | 2,983 | 1.68 | 77.68