## Slide 1
Real-Time Co-Optimization:
First Order Decision Points
ERCOT

## Slide 2: First Order Decision Points for RTC
Develop consensus on the AS product set
Are Locational Reserves are required?
  Is there a reliability need?
Participation rules for AS in Real-Time
Other items from Section 2.12 (RTC scope document) and market participant comments

## Slide 3: Product Set Choices
Option | Products | Description
1. Current Products | REG/RRS/NSPIN | Change RT from what we have today. Merges RT Online and Offline reserves into one product. Same ASDC in both DAM and RT.
2. Non Spin Replaced by SOR/NSOR | REG/RRS/SOR/NSOR | Change DAM from what we have today. Creates SOR and NSOR products in DAM to mimic current RT products. Same ASDC in both DAM and RT
3. Non Spin from truly Off-Line Resources only | REG/RRS/NSOR | Change DAM and RT from what we have today. Non Spin provided by truly offline resources in DAM and RT.
4. Hybrid of Option 1 and Option 2 | DAM: REG/RRS/NSPIN RT: REG/RRS/SOR/NSOR | Closest parallel to current implementation with ORDC B+ in RT. SWOC for DAM is different than RT..
SOR = Spinning Operating Reserve
NSOR = Non–Spinning Operating Reserve