| NPRR Number | 825 | NPRR Title | Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load |
| --- | --- | --- | --- |
| Date |  | August 18, 2017 |  |
| Submitter’s Information |  |  |  |
| Name |  | Shams Siddiqi |  |
| E-mail Address |  | shams@crescentpower.net |  |
| Company |  | Rainbow Energy Marketing Corporation |  |
| Phone Number |  | 512-619-3532 |  |
| Cell Number |  | 512-619-3532 |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

Rainbow Energy Marketing Corporation (REMC) provides these comments to align the Business Case language for Nodal Protocol Revision Request (NPRR) 825 with the Proposed Protocol Language Revisions in the 8/11/17 PRS Report.

Revised Cover Page Language

| Business Case | NPRR818, Allow Curtailment of Certain DC Tie Load Prior to Declaring Emergency Condition, reduced inefficient wholesale market operations and consequent harm to Market Participants; however, NPRR818 was intended to be an interim solution until a permanent solution, as outlined in this NPRR, could be implemented. This NPRR requires ERCOT to issue a DC Tie Curtailment Notice prior to curtailing DC Tie Load. This NPRR better ensures proper price formation whenever DC Tie Load is curtailed and meets market needs for more efficient operation of the grid while addressing ERCOT's concerns with having to declare an Emergency Condition prior to curtailing DC Tie Load for any reason. Apart from when a DC Tie experiences an Outage or a system operator in a non-ERCOT Control Area requests curtailment, ERCOT would use the same processes prior to curtailing DC Tie Load by issuing a DC Tie Curtailment Notice as they would if required to declare an Emergency Condition. This solution allows ERCOT to approve Electronic Tags (e-Tags) up to the lower of the available capacity of the DC Ties and any limits provided by the non-ERCOT Control Area. This is a significant improvement over current practice. Currently e-Tags are denied and/or curtailed in an overly conservative manner such that the underlying transmission constraints are not just maintained within their limits but are even no longer binding in most cases; i.e. the quantity of e-Tags being denied and/or curtailed is greater than the amount required to maintain the reliability of the grid. Current practice therefore improperly eliminates any price signal at the DC Tie when e-Tags are being excessively curtailed thereby significantly reducing or eliminating any Shadow Price on the impacted constraints (resulting in relatively low prices at the DC Tie even during intervals when e-Tags are being curtailed). This NPRR requires that ERCOT curtail DC Tie Load only to the extent necessary to maintain constraints within their limits thus ensuring more efficient operation of the grid and proper price formation whenever DC Tie Load is curtailed. |
| --- | --- |

Revised Proposed Protocol Language

None at this time.