| NPRR Number | 711 | NPRR Title | Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA |
| --- | --- | --- | --- |
| Date |  | February 24, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman / Emily Jolly |  |
| E-mail Address |  | katie.coleman@tklaw.com / ejolly@enochkever.com |  |
| Company |  | Thompson & Knight LLP, on behalf of Texas Industrial Energy Consumers (TIEC) / Enoch Kever, on behalf of Pioneer Natural Resources USA, Inc. (Pioneer) |  |
| Phone Number |  | 512-404-6705 / 512-615-1208 |  |
| Cell Number |  | 512-773-0394 / 214-641-4398 |  |
| Market Segment |  | Consumer |  |

Nodal Protocol Revision Request (NPRR) 711 was proposed to prevent situations where a Customer is required to remove an existing Advanced Meter and install a non- Advanced Metering System (AMS) Interval Data Recorder (IDR) Meter because the Customer’s peak demand has exceeded the IDR Meter Mandatory Installation Requirement threshold in paragraph (1)(a) of Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements.

TIEC and Pioneer acknowledge that Advanced Meters provide many benefits that are not available through non-AMS IDR Meters.  However, as discussed at previous workshops and RMS meetings, some Transmission and/or Distribution Service Providers (TDSPs) construe their tariffs as requiring a Customer to exceed the demand threshold in paragraph (1)(a) of Section 18.6.1 before that Customer can be billed for transmission charges based on 4-Coincident Peak (4-CP) Demand.  As a result, increasing the threshold in paragraph (1)(a) of Section 18.6.1 as proposed by NPRR711 would have the direct consequence of preventing new, large Loads from being billed for transmission charges based on their 4-CP Demand.  As TIEC and Pioneer have previously explained, many Customers that would fall below the new, increased threshold proposed in NPRR711 have statewide energy management plans that include 4-CP management, and increasing the threshold in paragraph (1)(a) of Section 18.6.1 would unnecessarily interfere with these businesses’ efforts to control their electricity costs.

TIEC and Pioneer previously proposed alternative language that would allow the IDR Meter Mandatory Installation Requirement threshold to be raised in areas where this change would not impair Customers’ access to 4-CP billing, while maintaining the status quo in the remaining TDSP service territories.  TIEC and Pioneer would still support this compromise approach.  However, the Competitive Retailers (CRs) have raised concerns about the potential complications of having different rules in different TDSP service areas.  In response to these concerns, TIEC and Pioneer are proposing a second alternative, as set forth below, which would allow a Customer that already has an Advanced Meter to elect to retain that meter upon exceeding the threshold in paragraph (1)(a) of Section 18.6.1.

This new alternative resolves the stated justification for NPRR711 by allowing Customers to retain their existing AMS meter, while avoiding the unintended consequences for Customers that manage their 4-CP usage in TDSP service areas where 4-CP billing is tied to the threshold in paragraph (1)(a) of Section 18.6.1.

Revised Cover Page Language

| NPRR Number | 711 | NPRR Title | Allow Customers With Advanced Meters to Opt Out of the Interval Data Recorder Mandatory Installation Requirement |
| --- | --- | --- | --- |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) allows customers with Advanced Meters to opt out of the Interval Data Recorder (IDR) Meter Mandatory Iistallation Rreuirement in paragraph (1)(a) of Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements (a)In stakeholder discussions during the joint RMS/COPS IDR Meter Protocol Requirement Threshold Workshops, there were concerns expressed regarding the elimination of the mandatory IDR Meter threshold. These concerns included: unknown and known impacts to Transmission and/or Distribution Service Providers (TSDPs) based upon their current tariff concerning the application and invoicing of 4-Coincident Peak (4-CP), unknown impacts to current 4-CP Demand response volumes; and impacts to ERCOT’s Load forecasting processes unless these Loads were identified by a new profile assignment. Workshop participants indicated a desire that new profile codes not be introduced due to the cost impacts to their organizations resulting from IT development, testing, and implementation of multiple new Load Profiles when that may not be the best use of budget dollars. Additional concerns related to establishing a separate threshold for the evaluation of non-IDR Metered Premises and Advanced Metering System (AMS) Metered Premises. There was concern that language would be confusing to manage; recognition that the majority of Premises have AMS Meters and the subset of non-IDR Metered Premises are very limited; and understanding and willingness during IDR Required Threshold Workshop V to have any non-IDR with a Demand up to 1.5 MW/MVA settled on a Load Profile. |  |
| Business Case |  | - Allows AMS meters that reach the 700 kW or kVA threshold to remain on AMS if the customer chooses to do so. - Allows customers to continue to have access to interval data on a daily basis. - Allows ERCOT to receive interval Settlement data daily as opposed to monthly as it would be for an IDR Meter. - Customer would be able to receive more benefits provided by AMS meters. - Customers’ access to 4-CP billing is not unintentionally impaired by a mandatory IDR Meter installation. - Would reduce the number of AMS meters that TDSPs would be required to replace. - Labor costs, equipment costs - TDSPs provide AMS meter data for Initial Settlements. - May allow Retail Electric Providers (REPs) to provide additional products and services based on timeliness and availability of meter’s usage data (daily vs. monthly usage). |  |

Revised Proposed Protocol Language

18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements

(1)	Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	Notwithstanding the foregoing, a Customer that already has an Advanced Meter installed at a Premise may elect to retain that meter upon exceeding the threshold identified in paragraph (1)(a) above.

(3)	For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

(4)	A Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR Meter installed and used for Settlement purposes at any associated Premise.  Except as stated in paragraph (6) below, IDR Meters in place or installed after September 1, 1999 shall be used for Settlement.  Once an IDR Meter is installed at a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Meter Optional Removal.  If a Customer or CR requests installation of an IDR Meter, the same Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(5)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDR Meters under the IDR Meter Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(6)	For Premises not subject to the IDR Meter Mandatory Installation Requirements in paragraph (1) above:

(a)	IDR Meters installed at the request of ERCOT, a Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR Meter for Settlement purposes; or

(b)	IDR Meters previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR Meter for retail Customer Settlement purposes, provided that the IDR Meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR Meters used for NOIE separation that do not meet the IDR Meter Mandatory Installation Requirements shall not be used for retail Customer Settlement purposes.

(7)	For IDR Meter installation procedures reference Section 10.3.3, TSP or DSP Metered Entities.

(8)	TSPs and/or DSPs responsible for any Load transfer schemes between the ERCOT Region and non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.