## Sheet1
| Issue | SAWG Consensus Statement | Calpine | Luminant | Shams | Trefny
a) | What Ancillary Service (AS) Products Should exist under Real Time Co-optimization? Multiple options under consideration. | Multiple Options discussed: No consensus on which options should be utilized | Duct burners and low ramp rate capacity should be considered for some portion of the SOR product if that capacity can reach its HSL within 90-minutes to restore Contingency Reserves. R6.2 of BAL-002) | Prefer Option 1 |  | Proposed a 3rd Option that has the same AS Product set as Option 1 (Reg-Up, Reg-Down, RRS, Non-Spin) but makes Non-Spin procurement only from Off-Line resources.
b) | What AS demand curves should be selected? |  |  | Request ERCOT prepare examples
c) | How should co-ordination of PBPC, VOLL, SWOC and max. value on ASDC occur? | Coordination must occur, values TBD |  | Prefer Option 3, keep VOLL at $9,000
d) | Should real time co-optimization include locational reserve requirements? | Stakeholders not able to resolve this issue. This issue may likely need to be resolved at the PUCT | Support a local ORDC, making the system-wide ORDC more granular by applying it to local problem spots will replace the inefficiencies found in RMR contracting. | Do not support locational reserve product |  | “How would differences in MCPC due to locational reserves be settled? Would loads behind the constraint in question be charged the additional cost so that prices reflect cost causation? How would such cost allocations be managed by retailers?”
e) | Are any RUC/SASM changes required? | RUC processes would likely need to be reformed with RTC while SASM is not needed. |  | RUC are needed and SASM can be eliminated; however, specific language needs to be developed and reviewed to address details of the necessary changes
f) | Should Real-Time Ancillary Service Demand Curves be Modeled | Yes, but we need clarity on what this means. |  | Modeling ASDC in DAM is an important component of RTASCOOP
g) | If AS demand curves are modled in the DAM, as the DAM is voluntary, are there any issues? |  |  | Needs further discussion/definition.
h) | If we model AS demand curves in the DAM, then what is the process of achieving required levels of AS procurement in the DAM when the DAM process does not procure enough? Is it Reliability Unit Commitment or RUC? |  | We need to talk about the assumption that the ISO would not have to secure the system with required amounts of AS in the DAM sequence. Going into real time without enough AS in hopes that the system AS demand price will draw resources may be a violation of some NERC short term planning requirement. If it is important enough in the current design to procure AS through the DRUC process or in the Adjustment Period, then moving to RTC should probably not change that importance. | believes that penalty pricing for RRS and Regulation in the DAM will result in few if any instances where AS will not be fully procured in DAM.
i) | AS Demand Curves: If AS demand curves are not modeled in the DAM, then AS procurement is effectively given higher priority than energy |  | Procuring more SOR/NSOR than required for reliability would represent an unhedgable condition to impose on LSE that self-provide to control their exposure if they still have to pay for the over procurement. AS procured for reliability has historically been a very deliberate process by ERCOT with stakeholder approval annually of the methodology document. What would the Methodology document look like going forward? “Buy the amount the empirical data indicates, then break off another piece just for good measure if it’s cheap.” ERCOT should have to justify this statement with an example of when it is permissible to procure more AS than needed for reliability and what the extent of “economical” is in this context. | ASDC should be modled in DAM
j) | AS Participation rules in RTC: Must every Resource qualified to provide AS participate? Under what conditions can a Resource opt out of AS participation in RTC? |  |  | There must be a clear path for units to opt out of AS participation
k) | AS participation in RTC – timeline for informing ERCOT of changes to AS offers |  |  | There may be opportunities for gaming if a market participant can change AS offers in real time. We shold review what other other co-optimized markets done to address these issues. |  | a. Physical Responsive Reserve used in managing scarcity actions by the ERCOT Operator must be within a tolerance of total reserves available for dispatch in RT Co-Optimization b. Any Generation Resource offers made in the DAM must continue to be valid in Real Time unless the Generation Resource has failed equipment enabling AS participation c. Generation Resources who self-schedule AS in the DAM, must provide AS offers in Real Time d. For Generation Resources that do not have AS and Energy offers in Real Time valid up to and including the Resource’s HSL, ERCOT will create an offer curve for AS and Energy up to and include HSL at SWOC. Generation Resources without valid offers are subject to review by the IMM e. Load Resources awarded RRS in DAM may not participate in RT Co-optimization and must remain in service unless deployed by frequency deviation or Dispatch Instruction 1. Load Resources providing any AS except RRS must also provide RT bid prices for energy 2. RT Co-Optimization software systems will include special software that runs 15 minutes ahead of SCED to detect data and offer errors and alarm QSE and ERCOT operators of problems before SCED uses invalid data for dispatch.
l) | Load Resource Deployment for RRS: Need to develop process to account and differentiate scenarios where RRS from LR is deployed versus failure to provide, etc. This has impact on the AS imbalance settlement. |  |  | No comment at this time
m) | Load Resource Deployment for RRS: AS imbalance charges. |  |  | No comment at this time
n) | Offer floors: Should offer floors on Non-Spin (NSOR) be removed? |  | No. Some form of minimum offer price should be instituted otherwise the well-thought out pricing penalty in the floor price for NSRS will be lost and we will be giving ERCOT an operating reserve to use for energy under normal conditions. | Yes
o) | Non-Spin Reserve Calculation: For Non-Spin, should the statistical distribution of Online Reserves be used or Online+Offline Reserves or some combination. Note that the price on the Non-Spin demand curve will be lower if the statistical distribution of Online+Offline Reserves is used. |  |  | Distribution should match the product that is procured
p) | Reg Down Demand Curve: How should the demand curve for Reg-Down be determined? Is it the same as the Reg-Up demand curve? |  |  | Reg-Down and Reg-Up are needed for reliability and the demand curve should be flat at the cap for both services.
q) | Accounting Issues: Accounting for Resource providing “truly” Offline Non-Spin (Option 1) and NSOR (Option 2): Should these Resources be exempt from AS Imbalance charges upon deployment? |  |  | Prefers Option 1 at this time, and does not believe any changes are needed in the operation of the AS imbalance for Non-Spin resources
r) | What other metrics apart from following Base Points, GREDP are required? |  |  | No comment at this time
s) | Ramping issues: Stakeholder discussions will be required to develop methodology to share the ramp rates between energy and AS (similar to the ramp sharing between current Security Constrained Economic Dispatch or SCED and LFC). |  |  | No comment at this time
t) | Emergency Ramp Rates: When should Emergency Ramp Rates be used? Only upon ERCOT notification? |  | If ERCOT has a legitimate emergency situation then ERR use is justified but RTC should be suspended during declared emergencies. The issue below asks a similar question. Reversing unit ramp directions frequently will become and O&M and performance metric problem, which no one is advocating paying for. | No comment at this time
u) | Reg-Up award limits: Should Reg-Up awards be limited by RE-down ramp rate? This is to prevent Resources from being harmed by sequence of increasing Base Points over a period of time and then a reduction where due to ramp down limitations, they become price takers and simultaneously there is a Reg-Up shortage pricing. |  |  | QSE could prevent this issue through coordination of its EOCs, ASDCs and telemetered ramp rates. Needs additional discussion.
v) | Make Whole Issues: Should there be make whole payments if Resources financially harmed with respect to Day-Ahead positions due to RT energy + AS co-optimization? |  |  | Not aware of any scenarios that would require make whole payments, but welcomes additional stakeholder discussion on this issue.
w) | Settlement Interval Changes: Should ERCOT move to a 5 minute settlement? | Would require PUC rule change. Unclear if cost of changing settlment intervals is worth the cost. | Unclear if cost worth it. | Would create more costs for ERCOT and Stakeholders without resulting benefit. |  | Although the weighting factor approach has been used in ERCOT since market open, a more accurate settlement would be to settle Generation Resources and selected retail loads on a 5 minute basis. The above calculations would be modified to use each SCED execution in a five minute period to set the MCPE and MCPC along with the metered energy and AS in a 5 minute period to determine amounts paid to Generation Resources. Loads may also elect to settle on the same 5 minute period provided appropriate energy metering is available or provided by the retail load. Allowing retail load to react in the same time frame as prices are calculated optimizes the opportunity loads have to respond correctly to pricing events and eliminates the existing problems when prices are averaged over a 15minute period.
x) | AS Deliverability: What are the AS deliverability concerns and how can it be mitigated? |  |  | Needs further discussion/definition.
y) | AS Offer Submittal Structure: |  |  | There should be substitutability if a higher quality AS product (e.g., RRS) can be procured for less than a lower quality AS product (e.g., Non-Spin). |  | Change DAM and RTC AS Offer submittal structure and procurement constraints so that there is explicit MCPC price cascading. The MCPC price hierarchy from highest to lowest is Reg-Up followed by RRS and then followed by Non-Spin. Thus, additional Regulation Up can be purchased at a lower cost than Responsive Reserve and likewise Responsive Reserve could be procured at a lower overall cost than Non-Spin. With this, ERCOT could procure more Regulation Up or more Responsive Reserve rather than higher cost Non-Spin if offers for such products indicate additional cost savings. Similar changes would be made to DAM.
z) | ERCOT Operator ability to enter manual offset to GTBD (current functionality). |  |  | Needs further discussion/definition.