## Slide 1
SARA Update,
Weather-year Weighting Method Follow-up,
EORM Project Update,
NPRR for CDR
Pete Warnken
Manager, Resource Adequacy
September 18, 2017

## Slide 2: SARA update

## Slide 3: Final Fall SARA
Resources and Load, Expected Values

## Slide 4: Final Fall SARA
Risk Scenarios

## Slide 5: Preliminary Winter SARA
Resources and Load, Expected Values

## Slide 6: Preliminary Winter SARA
Risk Scenarios

## Slide 7: Weather-Year Probability Weightings Method Follow-up

## Slide 8: Comments on Proposed Weighting Approach
No comments received regarding length of look-back period
  ERCOT will use 1980-current as the default period
  ERCOT will use 1950-current as the period for the sensitivity case
One comment received on overall approach for modeling load uncertainty

## Slide 9: EORM/MERM Project Update

## Slide 10: Project Schedule

## Slide 11: Proposal for CDR NPRR

## Slide 12: Handling Retired Units for Seasonal Capacity Contribution Calculations
For calculation of seasonal capacity contributions (PUNCAP, WINDPEAKPCT, HYDROCAP, SOLARCAP, DCTIECAP), address impact of retiring units
  Propose removing retired units from the calculations for the applicable seasonal data set
  Example language: “Remove units retired by the start of the season from the calculations.”

## Slide 13: Criterion for including Units in Seasonal Capacity Contribution Calculations
WINDPEAKPCT definition, Section 3.2.6.2.2:

## Slide 14: Criterion for including Units in Seasonal Capacity Contribution Calculations
Change highlighted text to the following: “This calculation is limited to WGRs with a Resource Commissioning Date that occurs prior to, or on, the start of each Peak Load Season used for the calculation.”
Benefits:
  Removing fixed date (Jan. 1) aligns treatment of wind units for summer and winter calculations
  Using Resource Commissioning Date removes ambiguity regarding when units become “operational” and simplifies data processing
Resource Commissioning Date
The date on which ERCOT declares that a Resource has completed all qualification testing administered by ERCOT as part of the Resource Interconnection process so that a Resource is approved for participation in ERCOT market operations.