## Slide 1: SAWG Update to WMS
September 27, 2017
Bryan Sams

## Slide 2: Report Releases
SARA: September 7, ERCOT released The Seasonal Assessment of Resource Adequacy for Fall and a preliminary look at Winter.
Reports posted to: http://www.ercot.com/gridinfo/resource/index.html
SARA Update
  Reviewed inputs, risk scenarios. Even in extreme peak load/extreme outage scenario ERCOT has 9,590 MW of reserves for the Fall and 5,860 MW in the Winter (Recall EEA 1 2,300 MW)
Weather Year Look-Back Period Discussion- Issue is that the look back period can affect the distribution of load profile probabilities.
  Going with 1980-current as the default period as more conservative measure.
Economically Optimal Reserve Margin (EORM) Update- ERCOT Staff laid out the project schedule.
CDR NPRR- ERCOT Staff working on clean-up NPRR that addresses retired unit seasonal capacity contributions and Wind Generation capacity contributions.
8/18 Meeting Discussion

## Slide 3: Real Time Co-Optimization Scope Discussion
Discussed at the April-September SAWG Meetings
ERCOT Draft Whitepaper on Real Time Co-optimization Revised Several Times during this period
  Written comments and feedback received
  Extensive discussion during meetings
During the last meeting ERCOT presented 1st Order Decision Points
  Develop consensus on the Ancillary Service product set.
    Currently 4 Options proposed.
  Are Locational Reserves are required? Is there a reliability need? How do you establish the Reserve Area?
  Participation rules for Ancillary Service in Real-Time.
  Other items from Section 2.12 (RTC scope document) and market participant comments.
SAWG looking for feedback regarding next steps. Succeeded in developing scope of issues but is not capable of making cuts as a discussion group.
What would be useful for ERCOT/Policy makers for additional RTC evaluation?