Date:	September 28, 2017

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] - NPRR817, Create a Panhandle Hub [DC Energy] - NPRR821, Elimination of the CRR Deration Process for Resource Node to Hub or Load Zone CRRs [DC Energy] - NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load [REMC] - NPRR840, Implementation of Infeasible Ancillary Service Protocol Revisions [ERCOT] - SCR791, Correction of 60-day SCED GRD Disclosure Report [MDWG]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2070 ERCOT Impact Analysis: Between $70k and $90k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Data Access & Transparency, External Public, Data and Information Products (DAIP); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR revises the current limit of 50% to 60%, and specifies that Primary Frequency Response from Resources shall not be less than 1150 MW. PRS Decision: On 7/20/17, PRS voted via roll call vote to recommend approval of NPRR815 as amended by the 6/14/17 Sierra Club comments. There were 12 opposing votes from the Consumer (Occidental), Cooperative (4) (Brazos, LCRA, STEC, GSEC), Independent Generator (Luminant), Investor Owned Utility (IOU) (AEP), and Municipal (5) (Brenham, Burnet, Cuero, Fredericksburg, Lockhart) Market Segments, and three abstentions from the Independent Generator (2) (Exelon, Dynegy) and IOU (CenterPoint) Market Segments. On 9/14/17, PRS voted via roll call vote to endorse and forward to TAC the 8/11/17 PRS Report as amended by the 9/6/17 ERCOT comments and the revised Impact Analysis for NPRR815 with a recommended priority of 2018 and a rank of 2070. There were eight opposing votes from the Consumer (Occidental), Cooperative (3) (Pedernales, LCRA, STEC), Independent Generator (3) (Calpine, Dynegy, Luminant), and IOU (Lone Star Transmission) Market Segments, and two abstentions from the Independent Generator (Exelon) and IOU (CenterPoint) Market Segments. - NPRR817, Create a Panhandle Hub [DC Energy] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2080 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to MMS, Network Model Management System (NMMS), DAIP, Data Access & Transparency, BI & Data Analytics; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR creates a trading Hub “Panhandle 345 kV Hub (Pan 345)” in the ERCOT panhandle. This NPRR also excludes this new Hub from the existing ERCOT-wide Hub average and Bus average calculations in Sections 3.5.2.5 and 3.5.2.6. PRS Decision: On 7/20/17, PRS voted to recommend approval of NPRR817 as amended by the 6/8/17 Megawatt Analytics comments. There was one abstention from the Cooperative (GSEC) Market Segment. On 9/14/17, PRS voted to endorse and forward to TAC the 8/11/17 PRS Report as revised by PRS and the revised Impact Analysis for NPRR817 with a recommended priority of 2018 and rank of 2080. There was one opposing vote from the Independent Generator (Luminant) Market Segment and two abstentions from the Independent Generator (Dynegy) and Consumer (Occidental Chemical) Market Segments. - NPRR821, Elimination of the CRR Deration Process for Resource Node to Hub or Load Zone CRRs [DC Energy] Proposed Effective Date: Upon system implementation, but no earlier than July 1, 2019 ERCOT Impact Analysis: To be determined Revision Description: This NPRR eliminates the Congestion Revenue Right (CRR) deration process for Resource Node to Hub or Load Zone CRRs. PRS Decision: On 9/14/17, PRS voted via roll call to recommend approval of NPRR821 as amended by the 9/12/17 Joint comments, and to forward to TAC. There were three opposing votes from the Independent Generator (Exelon), IPM (Tenaska), and Municipal (Denton) Market Segments, and three abstentions from the IPM (3) (Morgan Stanley, CitiGroup, EDF Energy Services) Market Segment. - NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load [REMC] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2090 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to MMS, Data Access & Transparency, DAIP, Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR requires ERCOT to issue a Direct Current Tie (DC Tie) Curtailment Notice prior to curtailing DC Tie Load. PRS Decision: On 8/11/17, PRS voted to recommend approval of NPRR825 as amended by the 7/19/17 Morgan Stanley comments. There was one abstention from the Consumer (Occidental Chemical) Market Segment. On 9/14/17, PRS voted to endorse and forward to TAC the 8/11/17 PRS Report as amended by the 8/18/17 REMC comments and the Impact Analysis for NPRR825 with a recommended priority of 2018 and rank of 2090. There was one abstention from the Independent Generator (Luminant) Market Segment. - NPRR840, Implementation of Infeasible Ancillary Service Protocol Revisions [ERCOT] Proposed Effective Date: Upon system implementation of NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR synchronizes the implementation of NPRR782 by removing the two hour advance notice period inadvertently left in Protocol language when NPRR782 was approved. PRS Decision: On 8/11/17, PRS voted unanimously to recommend approval of NPRR840 as submitted. On 9/14/17, PRS voted unanimously to endorse and forward to TAC the 8/11/17 PRS Report and Impact Analysis for NPRR840. - SCR791, Correction of 60-day SCED GRD Disclosure Report [MDWG] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2100 ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR populates unused Megawatt (MW) and price values in Security-Constrained Economic Dispatch (SCED) Generation Resource Data (GRD) Energy Offer Curves with null values rather than zeroes. PRS Decision: On 7/20/17, PRS unanimously voted to recommend approval of SCR791 as submitted. On 9/14/17, PRS unanimously voted to endorse and forward to TAC the 8/11/17 PRS Report and Impact Analysis for SCR791 with a recommended priority of 2018 and rank of 2100. Revision Requests Rejected None Revision Requests Withdrawn - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the October 12, 2017 PRS Meeting None at this time. Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR814, Modify Black Start Procurement Cycle [ERCOT] - NPRR819, Resettlement Clean-Ups [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve [E.ON] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR834, Clarifications for Repossessions of CRRs by ERCOT [ERCOT] - NPRR835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS) [E.ON] - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR839, Clarification of ERCOT Forwarding of Consumption and Other Data [ERCOT] - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] - NPRR842, Study Area Load Information [ERCOT] - NPRR843, Short-Term System Adequacy and AS Offer Disclosure Reports Additions [ERCOT] - NPRR844, Clarification to Outage Report [Luminant Generation] - NPRR845, RMR Process and Agreement Revisions [ERCOT] - NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items [ERCOT] - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] New Revision Requests Scheduled for Consideration at the October 12, 2017 PRS Meeting None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr