## Slide 1
Summary of GIC Model Development @ 09/28/2017
Presentation to PGDTF
Qiuli Yu and Leslie Williams
ERCOT
September 28, 2017

## Slide 2
 | Total | Update | Percent
Substation | 650 | 293 | 45%
Transformer | 804 | 635 | 79%
Branch | 290 | 218 | 75%
RARF Update On September 26 of 2017

## Slide 3: TSPs GIC Data Correction Update On September 26 of 2017
Duplicate substation numbers
Bus-Substation Mapping missing
Buses of Transformers are not in the same substation
  Around 40 Transformers have the issue
TSP | Status | 
 | Bus-Substation mapping Errors | Substation Duplicates
GPLMPA | √ | √
TAEN | √ | 
TAEPTC | Incomplete | √
TBPUB | Just have contact information | 
TBREC | Incomplete | √
TBTU | Not Received | √
TCPSE | √ | 
TDME | Not Received | √
TEXLATSP | Incomplete | 
TGSEC | Incomplete | 
TLCRA | √ | √
TLSTR | √ | 
TONCOR | Incomplete | √
TRAYBN | Incomplete | 
TSLND1 | √ | 
TSTEC | √ | 
TTNMP | Not Received | 

## Slide 4: Next Step During GIC Model Development
In the next step, ERCOT will focus on
  Resolve substation number duplicates again
  Complete bus-substation mapping again
  Transformer table integration – use transformer data from TSPs and REs to replace default data
Expected efforts from TSPs
  ERCOT will send requests to related TSPs asking data completion/correction
  TSPs correct the data issues and submit GIC input update in timely manner