## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Lei Ye, Austin Energy
ROS
October 5th, 2017

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    2 FME in the month of August
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 9/13/17
  NPRR 835 ROS Review
  NPRR Draft Resource Limits in Providing Responsive Reserve
  Regulation & Frequency Control Reports
  TexasRE BAL-001-TRE-01 Workshop Announcement on 9/14/17
  MOD-026-1 Discussion
    NOGRR Proposal/Review Status

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 2 FMEs in August
  8/9/2017 18:33:57
    Loss of 700 MW
    Interconnection Frequency Response:
    5 of 37 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response. None of five were RRS providers.
    4 of 37 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response. None of four were RRS providers.
  8/23/2017 12:51:28
    Loss of 797 MW
    Interconnection Frequency Response:
    4 of 41 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response. All four were RRS providers less than 14MW .
    3 of 41 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response. All three were RRS providers.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 912.04 MW/0.1Hz

## Slide 7: Frequency Control Report
August 2017

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There were no Time Error Corrections (TEC) in July

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?