## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2017

## Slide 2: Non-IRR GREDP < 85% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 270 | 66 | 78 | 0.64 | 84.62
Unit 274 | 42 | 67 | 2.16 | 62.69
Unit 276 | 54 | 64 | 0.85 | 84.38
Unit 282 | 41 | 49 | 0.81 | 83.67
Unit 287 | 31 | 37 | 0.65 | 83.78
Unit 293 | 12 | 20 | 0.69 | 60.00
Totals | 246 | 315 | .97 | 76.52

## Slide 3: IRR Summary September 2017
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.92 | 66.46 | 86.30
GREDP Median (%) | 95.00 | 76.47 | 92.02
Average MW Error | 3.20 | 3.20 | 2.42
Median MW Error | 2.95 | 2.69 | 2.20
Total Intervals Scored | 10,719 | 4,216 | 3,175
100+ Intervals Scored | 19 | 159 | 7
Total Intervals Scored Average | 60.22 | 86.04 | 453.57

## Slide 4: IRR GREDP ≥ 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1029 | 1076 | 4.32 | 95.63
Unit 3 | 969 | 969 | 0.44 | 100.00
Unit 4 | 751 | 757 | 3.15 | 99.00
Unit 5 | 682 | 682 | 3.24 | 100.00
Unit 6 | 675 | 675 | 4.04 | 100.00
Unit 9 | 407 | 462 | 2.79 | 98.00
Unit 10 | 392 | 425 | 2.66 | 95.00
Unit 12 | 356 | 368 | 1.60 | 96.74
Unit 14 | 222 | 224 | 4.41 | 99.11
Unit 16 | 125 | 129 | 3.06 | 98.00
Unit 17 | 121 | 122 | 2.01 | 99.20
Unit 19 | 100 | 101 | 3.21 | 99.01

## Slide 5: IRR GREDP ≥ 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 20 | 79 | 79 | 2.60 | 100.00
Unit 21 | 75 | 77 | 4.29 | 97.40
Unit 26 | 63 | 68 | 1.80 | 95.00
Unit 27 | 61 | 62 | 2.90 | 100.00
Unit 30 | 57 | 57 | 4.68 | 100.00
Unit 31 | 55 | 56 | 4.12 | 98.21
Unit 41 | 31 | 31 | 3.58 | 100.00
Unit 51 | 14 | 14 | 5.07 | 100.00
Unit 57 | 8 | 8 | 5.84 | 100.00
Unit 61 | 6 | 6 | 2.93 | 100.00
Unit 62 | 5 | 5 | 5.69 | 100.00
Unit 63 | 4 | 4 | 2.06 | 100.00

## Slide 6: IRR GREDP ≥ 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 64 | 4 | 4 | 2.32 | 100.00
Unit 69 | 3 | 3 | 2.94 | 100.00
Unit 70 | 3 | 3 | 2.60 | 100.00
Unit 71 | 3 | 3 | 3.77 | 100.00
Unit 72 | 3 | 3 | 2.07 | 100.00
Unit 73 | 3 | 3 | 2.65 | 100.00
Unit 74 | 3 | 3 | 4.00 | 100.00
Unit 75 | 2 | 2 | 3.97 | 100.00
Unit 76 | 2 | 2 | 2.16 | 100.00
Unit 78 | 2 | 2 | 2.96 | 100.00
Unit 79 | 2 | 2 | 4.70 | 100.00
Unit 80 | 2 | 2 | 3.97 | 100.00

## Slide 7: IRR GREDP ≥ 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 82 | 2 | 2 | 2.43 | 100.00
Unit 84 | 1 | 1 | 1.58 | 100.00
Unit 85 | 1 | 1 | 2.90 | 100.00
Unit 86 | 1 | 1 | 4.04 | 100.00
Unit 87 | 1 | 1 | 4.40 | 100.00
Unit 88 | 1 | 1 | 2.35 | 100.00
Unit 89 | 1 | 1 | 3.70 | 100.00
Unit 92 | 1 | 1 | 3.28 | 100.00
Unit 93 | 1 | 1 | 4.59 | 100.00
Unit 94 | 1 | 1 | 1.40 | 100.00
Unit 96 | 1 | 1 | 1.10 | 100.00

## Slide 8: IRR GREDP ≥ 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 97 | 1 | 1 | 2.83 | 100.00
Totals | 6,332 | 6,503 | 3.20 | 99.39

## Slide 9: IRR GREDP < 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1008 | 1074 | 4.30 | 93.85
Unit 7 | 389 | 625 | 1.28 | 62.24
Unit 8 | 443 | 510 | 0.52 | 86.86
Unit 11 | 377 | 403 | 2.20 | 93.55
Unit 13 | 272 | 294 | 3.10 | 92.52
Unit 15 | 150 | 163 | 2.10 | 92.02
Unit 18 | 88 | 106 | 3.43 | 83.02
Unit 22 | 60 | 77 | 4.14 | 77.92
Unit 23 | 50 | 74 | 4.58 | 60.00
Unit 24 | 68 | 72 | 1.70 | 94.44
Unit 25 | 51 | 69 | 3.54 | 73.91
Unit 28 | 47 | 60 | 3.12 | 78.33

## Slide 10: IRR GREDP < 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 29 | 48 | 59 | 2.69 | 81.36
Unit 32 | 43 | 51 | 5.00 | 84.31
Unit 33 | 45 | 48 | 2.52 | 93.75
Unit 34 | 36 | 45 | 9.95 | 80.00
Unit 35 | 28 | 40 | 4.67 | 70.00
Unit 36 | 27 | 34 | 1.78 | 79.41
Unit 37 | 28 | 34 | 1.68 | 82.35
Unit 38 | 26 | 34 | 2.19 | 76.47
Unit 39 | 26 | 34 | 2.07 | 76.47
Unit 40 | 5 | 33 | 4.37 | 14.00
Unit 42 | 25 | 30 | 1.02 | 83.33
Unit 43 | 10 | 21 | 1.28 | 47.62

## Slide 11: IRR GREDP < 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 16 | 20 | 1.94 | 80.00
Unit 45 | 14 | 20 | 3.75 | 70.00
Unit 46 | 17 | 18 | 3.74 | 94.44
Unit 47 | 14 | 18 | 2.20 | 55.00
Unit 48 | 15 | 16 | 4.08 | 93.75
Unit 49 | 8 | 15 | 0.00 | 67.00
Unit 50 | 13 | 14 | 1.77 | 92.86
Unit 52 | 13 | 14 | 2.53 | 92.86
Unit 53 | 3 | 14 | 1.08 | 21.43
Unit 54 | 7 | 13 | 3.15 | 53.85
Unit 55 | 10 | 12 | 7.29 | 83.33
Unit 56 | 3 | 8 | 3.13 | 37.50

## Slide 12: IRR GREDP < 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 58 | 1 | 8 | 2.28 | 12.50
Unit 59 | 6 | 7 | 2.45 | 85.71
Unit 60 | 5 | 6 | 6.97 | 83.33
Unit 65 | 2 | 4 | 1.78 | 50.00
Unit 66 | 1 | 4 | 7.30 | 25.00
Unit 67 | 2 | 3 | 4.25 | 58.33
Unit 68 | 2 | 3 | 2.77 | 66.67
Unit 77 | 2 | 2 | 4.10 | 75.00
Unit 81 | 1 | 2 | 2.46 | 50.00
Unit 83 | 1 | 2 | 2.26 | 50.00
Unit 90 | 0 | 1 | 4.85 | 0.00
Unit 95 | 0 | 1 | 2.40 | 0.00

## Slide 13: IRR GREDP < 95% September 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 98 | 0 | 1 | 4.80 | 0.00
Totals | 3,506 | 4,216 | 3.20 | 66.46