## Slide 1: COP Observations
Qualified Scheduling Entity Managers Working Group
October 9, 2017

## Slide 2: Current COP Shortfall
There is currently a disconnect between COPs and actual conditions
  This reduces the usefulness of COP data to Market Participants
Chart: Thermal Resource Telemetry vs COP

## Slide 3: Example Days
Resources with 3 or more hours of continuous COP deviation are aggregated by QSE
Chart: June 13, 2017
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229 | 229 | 229 | 230 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 180 | 180 | 180 | 180 | 90 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 51.4 | 42.8 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6 | 6 | 13 | 13 | 13 | 12 | 7 | 7.1 | 6.8 | 1
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 152 | 152 | 152 | 152 | 152 | 76 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 90 | 90 | 90 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.6 | 55.7 | 54 | 53.2 | 55.6 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262 | 258 | 260 | 284 | 283 | 0 | 0 | 0 | 0 | 0
Chart: July 5, 2017
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 48 | 48 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235 | 235 | 235 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 270 | 270 | 318 | 270 | 316 | 362 | 362 | 270 | 270 | 90 | 0 | 0
4 | 0 | 0 | 0 | 85 | 85 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 17.1 | 51.4 | 42.8 | 51.4 | 42.8 | 51.4 | 51.4 | 51.4 | 51.4 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141.8 | 142.6 | 143 | 143.8 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 90 | 0 | 0 | 89 | 89 | 89 | 0 | 0 | 0

## Slide 4: Example Days
Resources with 3 or more hours of continuous COP deviation are aggregated by QSE
Chart: July 6, 2017
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 48 | 48 | 48 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 135 | 270 | 360 | 360 | 360 | 270 | 270 | 180 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 36.4 | 143.8 | 143 | 107.6 | 107.4 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: July 8, 2017
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
1 | 0 | 0 | 0 | 0 | 0 | 180 | 366 | 366 | 366 | 318 | 270 | 270 | 270 | 90 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 51.4 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 38 | 38 | 38 | 76 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 577 | 577 | 577 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 55.6 | 55.6 | 55.6 | 55.6 | 55.7 | 55.7 | 55.7 | 55.7 | 0 | 0 | 0 | 0

## Slide 5: Addressing the Shortfalls
There will always be the potential and need for units to deviate from their submitted COPs
  An energy only market requires Resources to respond to market conditions
  At this time enforcement may be excessive
However, there is a need to override or correct egregious multi hour deviations
  Provide ability to update COP intra hour and up to real time
  For ERCOT to contact and request the QSE to update the COP