## Slide 1: Transitions for Large Changes in AS Responsibility between Operating Hours in Real-Time
Chart: MW
TOP OF HOUR | 1
Notes: *- This is the hourly integrated peak demand as published in the ERCOT D&E report.
**- This is the instantaneous, real-time peak demand that is the sum of telemetered (SCADA) load values from Generation Resources. The hourly integrated load values are calculated from this number.
Emergency Notices:
July
Jul 05 2017 16:01:55 CST -- Physical Responsive Capability < 3000 MW: ERCOT is issuing an Advisory due to Physical Responsive Capability being below 3000 MW
Jul 07 2017 07:29:59 CST -- ERCOT issued an OCN for a projected Reserve Capacity shortage for HE 1400-2000
Jul 16 2017 15:28:31 CST -- Physical Responsive Capability < 3000 MW: ERCOT is issuing an Advisory due to Physical Responsive Capability being below 3000 MW
Jul 17 2017 06:08:16 CST -- ERCOT issued an OCN for a projected Reserve Capacity shortage for HE 1400-2000
Jul 20 2017 17:43:14 CST -- Physical Responsive Capability < 3000 MW: ERCOT is issuing an Advisory due to Physical Responsive Capability being below 3000 MW
Jul 30 2017 09:35:48 CST -- ERCOT issued an OCN for a projected Reserve Capacity shortage for HE 1500-1900
Jul 31 2017 15:39:03 CST -- Physical Responsive Capability < 3000 MW: ERCOT is issuing an Advisory due to Physical Responsive Capability being below 3000 MW