## Slide 1: September 28, 2017 TAC Update to COPS
Michelle Trenary
October 11, 2017

## Slide 2: TAC / TAC Subcommittee Structural and Procedural Review
<number>
Reviewed alignment of TAC Goals and Approved Revision Requests with the Strategic Plan
Reviewed TAC Subcommittee Structure
  Committee Strategic Alignment
  Frequency/Efficiency of Meetings
  Working Groups/Task Forces
  Updated Open Action Items at TAC
  Updated TAC Strategic Initiatives Approved

## Slide 3: Expected ERCOT Bylaws Amendments
<number>
PUCT Project 46304 Order, Directive #1, Southern Cross Transmission (SCT) – Registration – directed ERCOT to review a possible Membership change for SCT that may require amendments to the ERCOT Bylaws. The ERCOT workshop regarding SCT’s registration was held on September 7, 2017.
With the potential for upcoming Bylaws changes, ERCOT Legal expects to propose amendments to the ERCOT Bylaws at the next ERCOT Human Resources and Governance (HR&G) Committee meeting on October 16, 2017.
ERCOT is soliciting any other potential Bylaws amendments from the Technical Advisory Committee (TAC) by the October 26, 2017 and November 30, 2017 TAC meetings for initial consideration at the December 11, 2017 HR&G Committee meeting.
Notes: <number>

## Slide 4: Expected Schedule for Proposed Bylaw Amendment
<number>
Notes: <number>

## Slide 5: PRS Update
<number>
NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service, Effective Date: Upon system implementation, Priority 2018, Rank 2070 Tabled
NPRR817, Create a Panhandle Hub, Effective Date: Upon system implementation, Priority 2018, Rank 2080 Approved
NPRR821, Elimination of the CRR Deration Process, Effective Date: Upon system implementation but no earlier than July 1 2019, Priority 2019, Rank 2500 Approved with Joint MP’s Comments
NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load, Effective Date: Upon system Implementation, Priority 2018, Rank 2090 Tabled
NPRR840, Implementation of Infeasible Ancillary Service Protocol Revisions, Effective Date: Upon system implementation of NPRR782 Approved
SCR791, Correction of 60-day SCED GRD Disclosure Report, Effective Date: Upon system implementation, Priority 2018, Rank 2100 Approved
Notes: <number>

## Slide 6: PRS Update (Cont.)
<number>
  Revision Requests Previously Tabled at TAC
  Appeal of NOGRR149, Revision to Definition of Transmission Operator Previously Tabled until the August TAC Meeting
NPRR829, Incorporate Real-Time Non-Modeled Telemetered Net Generation by Load Zone into the Estimate of Real-Time Liability (RTL), Effective Date: Upon system implementation, Priority 2019, Rank 2510 Approved
Notes: <number>

## Slide 7: ROS Update
<number>
NOGRR173, Monthly RRS Reporting Clean Up, Effective Date: October 1, 2017 Approved
High Impact Transmission Elements (HITE) List: Approved
  The following 5 elements were inadvertently left off approved list

## Slide 8: WMS Update
<number>
VCMRR019, Verifiable Cost Process Clarification, Effective Date: To be determined Tabled for 1 Month
Revisions to the Load Distribution Factors Methodology - Approved
  WMS will continue to evaluate necessary adjustments and present findings at the March WMS meeting

## Slide 9: ERCOT Reports
<number>
Boundary Threshold for ERCOT Load Review (Planning Guide Section 3.1.7(f), Sandeep Borkar and Calvin Opheim
Planning Guide Section 2.1.7 specifies the process used for determining Load level used in start cases for the Regional Transmission Plan and Tier 1 independent review
ERCOT has developed procedures that will be used to review load forecasts
  The goal is to ensure that ERCOT is comfortable with the load forecasts
  ERCOT is appreciative of the support provided by TSPs
Seek TAC recommendation and Board approval on the proposal to use 5% as the boundary threshold

## Slide 10: ERCOT Reports (Cont.)
<number>
Southern Cross Transmission Working Group Assignments:
Directive | Status | Target Dates
Directive #1 – Registration and market segment | TAC Workshop held 9/7/17; present proposed by-law update at TAC; draft revision requests in progress | TAC 9/28/17 PRS 11/9/17
Directive #5 - Planning model considerations | PLWG (ROS) Discussions started 9/20/17 | In progress
Directive #6 - Planning studies for transmission upgrades | RPG (Other) Discuss planning studies for transmission upgrades at the conclusion of Directive #5 | TBD
Directive #7 – Congestion management | Joint QMWG/CMWG (WMS) Discussions starting Q2-18 | TBD
Directive #8 - Frequency response and voltage support | PDCWG (ROS) Primary frequency response study RPG (Other) Study voltage support requirements at the conclusion of Directive #5 | PDCWG 10/11/17 RPG TBD
Directive #9 - Ancillary services | OWG & PDCWG (ROS) Issues related to MSSC and margin between min RRS procurement, Contingency Reserve requirements PDCWG (ROS) Address issues related to NSRS and Regulation Service DWG (ROS) Issues related to study of frequency overshoot and LRs UFR setting | PDCWG 10/11/17 OWG 10/20/17 PDCWG 10/11/17 DWG 11/7 – 11/8/17
Directive #10 – Price formation in emergency conditions | QMWG (WMS) Discuss price formation in emergency conditions | QMWG 10/27/17

## Slide 11: 2018 Meeting Schedule
<number>

## Slide 12: COPS Initiative
Draft IDR Daily Meter Reads Problem Statement to be presented to TAC:
Approximately 24% of ERCOT Load is not available for Initial Settlement.
Impacts:
Unaccounted For Energy (UFE)
Competitive Retailer (CR) / End User / Distributive Generator Cash Flow and Accounting
CR and End User Credit (Support slide coming)
Considerations:
Solution should not impact TDSP Tariffs
Solution should not impact eligibility for 4CP rates
Notes: <number>

## Slide 13: The Numbers by Meter Type
Sample Month: June 2017
NIDR – Non-Interval Data Recorder (IDR) or Scalar Meter
AMS – Advanced Meter System or Smart Meter
NOIE – Non-Opt in Entity
COMP_IDR Competitive IDR or BUSIDRRQ (>700 KW/KVA)
Meter Type | Number of Meters | MWhs of Load by Meter Type | Percent of Load by Meter Type | Percent of Actual Meter Data Used for Initial Settlement | Percent of Estimated Load Used for Initial Settlement
NIDR | 234,507 | 343,316 | 1% | 1% | 0%
AMS | 7,078,892 | 15,495,009 | 45.50% | 45.50% | 0%
NOIE | 1,405 | 8,939,979 | 26.30% | 24.20% | 2%
COMP_IDR | 12,212 | 9,270,890 | 27.20% | 3.70% | 24%
Total | 7,327,016 | 34,049,194 | 100% | 74.40% | 26%
Notes: <number>

## Slide 14: Daily UFE
  Daily Load Change from January 1, 2016 through March 31, 2017
Notes: <number>

## Slide 15: Monthly UFE
  UFE Monthly Average from July 2016 through March 2017
  Initials: Between -0.98% and 0.79%
  Finals: Between 0.03% and 0.5%
  Monthly Load Change from January 1, 2016 through March 31, 2017
  AMS: Between -1,935 MWh and 1,028 MWh
  NIDR: Between -6,848 MWh and 1,821 MWh
  BUSIDRRQ: Between -50,919 MWh and 45,857 MWh
Notes: <number>

## Slide 16: IDR DAILY READS
Example: Large Industrial End User
Notes: <number>

## Slide 17: IDR DAILY READS
Example: Distributive Generator
Notes: <number>

## Slide 18: IDR DAILY READS
CR and End User Credit: (Support slide coming)
Notes: <number>

## Slide 19: IDR DAILY READS
Goal:
Better meter data for ESI IDs with BUSIDRRQ Load Profiles for Initial settlements.
Notes: <number>

## Slide 20: Questions?
14