## Terms and Definitions
References
Protocol Section 2.1, Definitions
P.U.C. SUBST. R. 25.5, Definitions
P.U.C. SUBST. R. 25.211, Interconnection of On-Site Distributed Generation (DG)
P.U.C. SUBST. R. 25.217, Distributed Renewable Generation
Public Utility Regulatory Act (PURA)
Source | Defined Term | Parent Term | Definition
Protocol Section 2.1 | Resource | n/a | The term is used to refer to both a Generation Resource and a Load Resource. The term “Resource” used by itself in these Protocols does not include a Non-Modeled Generator or an ERS Resource.
Protocol Section 2.1 | All-Inclusive Generation Resource | Resource | A term used to refer to both a Generation Resource and a Non-Modeled Generator.
Protocol Section 2.1 | All-Inclusive Resource | Resource | A term used to refer to a Generation Resource, Load Resource and a Non-Modeled Generator.
Protocol Section 2.1 | Dynamically Scheduled Resource (DSR) | Resource | A Resource that has been designated by the QSE, and approved by ERCOT, as a DSR status-type and that follows a DSR Load.
Protocol Section 2.1 | Generation Resource | Resource | A generator capable of providing energy or Ancillary Service to the ERCOT System and is registered with ERCOT as a Generation Resource. The term “Generation Resource” used by itself in these Protocols does not include a Non-Modeled Generator.
Protocol Section 2.1 | Aggregate Generation Resource (AGR) | Generation Resource | A Generation Resource that is an aggregation of generators, with the exception of Intermittent Renewable Resource (IRRs) pursuant to paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads, each of which is less than 20 MW in output, which share identical operational characteristics and are interconnected at the same Point of Interconnection (POI) and located behind the same Generator Step-Up (GSU) transformer (with a high-side voltage greater than 60 kV).
Protocol Section 2.1 | Black Start Resource | Generation Resource | A Generation Resource under contract with ERCOT to provide BSS.
Protocol Section 2.1 | Combined Cycle Generation Resource | Generation Resource | A specified configuration of physical Generation Resources (gas and steam turbines), with a distinct set of operating parameters and physical constraints, in a Combined Cycle Train registered with ERCOT.
Protocol Section 2.1 | Combined Cycle Train | Generation Resource | The combinations of gas turbines and steam turbines in an electric generation plant that employs more than one thermodynamic cycle. For example, a Combined Cycle Train refers to the combination of gas turbine generators (operating on the Brayton Cycle) with turbine exhaust waste heat boilers and steam turbine generators (operating on the Rankine Cycle) for the production of electric power. In the ERCOT market, Combined Cycle Trains are each registered as a plant that can operate as a Generation Resource in one or more Combined Cycle Generation Resource configurations.
Protocol Section 2.1 | Decommissioned Generation Resource | Generation Resource | A Generation Resource for which a Resource Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and which has been decommissioned and retired.
Protocol Section 2.1 | Intermittent Renewable Resource (IRR) | Generation Resource | A Generation Resource that can only produce energy from variable, uncontrollable Resources, such as wind, solar, or run-of-the-river hydroelectricity.
Protocol Section 2.1 | Intermittent Renewable Resource (IRR) Group | Generation Resource | A group of two or more IRRs whose performance in responding to Security-Constrained Economic Dispatch (SCED) Dispatch Instructions will be assessed as an aggregate for Generation Resource Energy Deployment Performance (GREDP) and Base Point Deviation. An IRR Group cannot contain any IRRs that are Split Generation Resources. Additionally, only IRRs that have the same Resource Node can be mapped to an IRR Group. Resource Entities can choose to group IRRs and shall provide the grouping information in a timely manner for ERCOT review prior to the scheduled database loads.
Protocol Section 2.1 | Mothballed Generation Resource | Generation Resource | A Generation Resource for which a Resource Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and which has not been decommissioned and retired.
Protocol Section 2.1 | PhotoVoltaic Generation Resource (PVGR) | Generation Resource | A Generation Resource that is powered by PhotoVoltaic (PV) equipment exposed to light. PV equipment may be aggregated together to form a PVGR as set forth in paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads.
Protocol Section 2.1 | Quick Start Generation Resource (QSGR) | Generation Resource | A Generation Resource that in its cold-temperature state can come On-Line within ten minutes of receiving ERCOT notice and has passed an ERCOT QSGR test that establishes an amount of capacity that can be deployed within a ten-minute period.
Protocol Section 2.1 | Split Generation Resource | Generation Resource | Where a Generation Resource has been split to function as two or more independent Generation Resources in accordance with Section 10.3.2.1, Generation Resource Meter Splitting, and Section 3.10.7.2, Modeling of Resources and Transmission Loads, each such functionality independent Generation Resource is a Split Generation Resource.
Protocol Section 2.1 | Switchable Generation Resource | Generation Resource | A Generation Resource that can be connected to either the ERCOT Transmission Grid or a non-ERCOT Control Area.
Protocol Section 2.1 | Wind-powered Generation Resource (WGR) | Generation Resource | A Generation Resource that is powered by wind. Wind turbines may be aggregated together to form a WGR as set forth in paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads.
Protocol Section 2.1 | Load Resource | Resource | A Load capable of providing Ancillary Service to the ERCOT System and/or energy in the form of Demand response and registered with ERCOT as a Load Resource.
Protocol Section 2.1 | Aggregate Load Resource (ALR) | Load Resource | A Load Resource that is an aggregation of individual metered sites, each of which has less than ten MW of Demand response capability and all of which are located within a single Load Zone.
Protocol Section 2.1 | Controllable Load Resource | Load Resource | A Load Resource capable of controllably reducing or increasing consumption under dispatch control by ERCOT.
Protocol Section 2.1 | Non-Modeled Generator | Resource | A generator that is: (a) Capable of providing net output of energy to the ERCOT System; (b) Ten MW or less in size; or greater than ten MW and registered with the PUCT according to P.U.C. SUBST. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator; and (c) Registered with ERCOT as a Non-Modeled Generator, which means that the generator may not participate in the Ancillary Service or energy markets, RUC, or SCED.
Protocol Section 2.1 | Direct Current Tie (DC Tie) Resource | n/a | A Resource used to represent the injection of power into the ERCOT System from a DC Tie.
Protocol Section 2.1 | Direct Load Control (DLC) | n/a | The control of end-use equipment (e.g., air conditioning equipment, water heaters) to reduce or increase energy consumption during select periods.
Protocol Section 2.1 | Distributed Generation | n/a | An electrical generating facility located at a Customer’s point of delivery (point of common coupling) ten megawatts (MW) or less and connected at a voltage less than or equal to 60 kilovolts (kV) which may be connected in parallel operation to the utility system.
Protocol Section 2.1 | Distributed Renewable Generation (DRG) | n/a | Electric generation with a capacity of not more than 2,000 kW provided by a renewable energy technology that is installed on a retail electric Customer’s side of the meter.
Protocol Section 2.1 | Dynamically Scheduled Resource (DSR) Load | n/a | A Load that a QSE designates to be followed by a Dynamically Scheduled Resource (DSR).
Protocol Section 2.1 | Emergency Response Service (ERS) Generator | n/a | Either (1) an individual generator contracted to provide ERS which is not a Generation Resource or a source of intermittent renewable generation and which provides ERS by injecting energy to the ERCOT System, or (2) an aggregation of such generators.
Protocol Section 2.1 | Emergency Response Service (ERS) Load | n/a | A Load or aggregation of Loads contracted to provide ERS.
Protocol Section 2.1 | Emergency Response Service (ERS) Resource | n/a | Either an ERS Load or an ERS Generator.
Protocol Section 2.1 | Reliability Must-Run (RMR) Unit | n/a | A Generation Resource operated under the terms of an Agreement with ERCOT that would not otherwise be operated except that it is necessary to provide voltage support, stability or management of localized transmission constraints under Credible Single Contingency criteria where market solutions do not exist.
P.U.C. SUBST. R. 25.5 | Distributed resource | n/a | A generation, energy storage, or targeted demand-side resource, generally between one kilowatt and ten megawatts, located at a customer's site or near a load center, which may be connected at the distribution voltage level (below 60,000 volts), that provides advantages to the system, such as deferring the need for upgrading local distribution facilities.
P.U.C. SUBST. R. 25.211 | Distributed natural gas generation facility | n/a | A facility installed on the customer’s side of the meter that uses natural gas to generate not more than 2,000 kilowatts of electricity.
P.U.C. SUBST. R. 25.211 | On-site distributed generation (or distributed generation) | n/a | An electrical generating facility located at a customer’s point of delivery (point of common coupling) of ten megawatts (MW) or less and connected at a voltage less than 60 kilovolts (kV) which may be connected in parallel operation to the utility system.
P.U.C. SUBST. R. 25.217 | Distributed renewable generation (DRG) | n/a | Electric generation equipment with a capacity of not more than 2,000 kilowatts provided by a renewable energy technology, as defined by Public Utility Regulatory Act §39.904(d), installed on a retail electric customer’s side of the meter
P.U.C. SUBST. R. 25.217 | Independent school district solar generation (ISD-SG) | n/a | Solar electric generation equipment installed on the customer’s side of the meter at a building or other facility owned or operated by an independent school district, irrespective of the level of generation capacity.
PURA §39.904 | renewable energy technology | n/a | any technology that exclusively relies on an energy source that is naturally regenerated over a short time and derived directly from the sun, indirectly from the sun, or from moving water or other natural movements and mechanisms of the environment. Renewable energy technologies include those that rely on energy derived directly from the sun, on wind, geothermal, hydroelectric, wave, or tidal energy, or on biomass or biomass-based waste products, including landfill gas. A renewable energy technology does not rely on energy resources derived from fossil fuels, waste products from fossil fuels, or waste products from inorganic sources.

## Counts in Protocols & Guides
Count of Term Usage by Document
| Defined Term in Protocol Section 2.1 | Protocols | Nodal Operating Guide | Planning Guide | Verifiable Cost Manual | Resource Registration Glossary* | Retail Market Guide | Commercial Operations Market Guide | Load Profiling Guide | Settlement Metering Operating Guide | Total
Resource sub-terms | Aggregate Generation Resource (AGR) | 152 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 160
| Aggregate Load Resource (ALR) | 15 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 19
| All-Inclusive Generation Resource | 48 | 12 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 94
| All-Inclusive Resource | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
| Black Start Resource | 155 | 63 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 219
| Combined Cycle Generation Resource | 171 | 0 | 2 | 5 | 9 | 0 | 0 | 0 | 0 | 187
| Combined Cycle Train | 411 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 415
| Controllable Load Resource | 278 | 46 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 336
| Decommissioned Generation Resource | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
| Dynamically Scheduled Resource (DSR) | 158 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160
| Intermittent Renewable Resource (IRR) | 189 | 55 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 247
| Mothballed Generation Resource | 44 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 45
| Non-Modeled Generator | 14 | 0 | 0 | 0 | 10 | 2 | 0 | 0 | 0 | 26
| PhotoVoltaic Generation Resource (PVGR) | 67 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 78
| Quick Start Generation Resource (QSGR) | 61 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 87
| Split Generation Resource | 90 | 0 | 0 | 5 | 2 | 0 | 0 | 0 | 0 | 97
| Switchable Generation Resource | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 9
| Wind-powered Generation Resource (WGR) | 106 | 3 | 0 | 0 | 5 | 0 | 1 | 0 | 0 | 115
| Direct Current Tie (DC Tie) Resource | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
| Direct Load Control (DLC) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
| Distributed Generation | 29 | 0 | 3 | 0 | 79 | 26 | 0 | 13 | 0 | 150
| Distributed Renewable Generation (DRG) | 10 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 12
| Dynamically Scheduled Resource (DSR) Load | 33 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 35
| Emergency Response Service (ERS) Generator | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67
| Emergency Response Service (ERS) Load | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 186
| Emergency Response Service (ERS) Resource | 249 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258
| Reliability Must-Run (RMR) Unit | 275 | 2 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 280
| Total | 2848 | 193 | 43 | 38 | 146 | 30 | 3 | 13 | 0 | 3314
* each term use in the RRG may have multiple sub-rows of related data inputs which will also need review
|  |  | Fill Color | Count Range
|  |  | Green | <1
|  |  | Yellow | 1 | 20
|  |  | Red |  | >20