## Sheet1
*Items highlighted in green represent some of the definitions that market participants have indicated require further discussion as part of this task force. Additional definitions will be added to this document throughout the RTF process as we receive feedback from market participants.
PUC Electric Substantive Rules Definitions |  | PURA Definitions |  | ERCOT Protocol Definitions
Term | Definition | Term | Definition | Term | Definition
Affiliated power generation company (PGC) | Any affiliated power generation company that is unbundled from the electric utility in accordance with PURA §39.051.
Aggregation | Includes the purchase of electricity from a retail electric provider, a municipally owned utility, or an electric cooperative by an electricity customer for its own use in multiple locations or as part of a voluntary association of electricity customers. An electricity customer may not avoid any nonbypassable charges or fees as a result of aggregating its load. | Aggregation | Aggregation includes the following: (A) the purchase of electricity from a retail electric provider, a municipally owned utility, or an electric cooperative by an electricity customer for its own use in multiple locations, provided that an electricity customer may not avoid any nonbypassable charges or fees as a result of aggregating its load; or (B) the purchase of electricity by an electricity customer as part of a voluntary association of electricity customers, provided that an electricity customer may not avoid any nonbypassable charges or fees as a result of aggregating its load. | Aggregate Generation Resource | A Generation Resource that is an aggregation of generators, with the exception of Intermittent Renewable Resource (IRRs) pursuant to paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads, each of which is less than 20 MW in output, which share identical operational characteristics and are interconnected at the same Point of Interconnection (POI) and located behind the same Generator Step-Up (GSU) transformer (with a high-side voltage greater than 60 kV).
Demand-side resource or demand-side management | Equipment, materials, and activities that result in reductions in electric generation, transmission, or distribution capacity needs or reductions in energy usage or both. |  |  | Aggregate Load Resource | A Load Resource that is an aggregation of individual metered sites, each of which has less than ten MW of Demand response capability and all of which are located within a single Load Zone.
Distributed natural gas generation facility | - A facility installed on the customer’s side of the meter that uses natural gas to generate not more than 2,000 kilowatts of electricity. | Distributed Natural Gas Generation Facility | Means a facility installed on the customer's side of the meter that uses natural gas to generate not more than 2,000 kilowatts of electricity.
Distributed renewable generation (DRG) | Electric generation equipment with a capacity of not more than 2,000 kilowatts provided by a renewable energy technology, as defined by Public Utility Regulatory Act §39.904(d), installed on a retail electric customer’s side of the meter | Exempt Wholesale Generator | means a person who is engaged directly or indirectly through one or more affiliates exclusively in the business of owning or operating all or part of a facility for generating electric energy and selling electric energy at wholesale and who: (A) does not own a facility for the transmission of electricity, other than an essential interconnecting transmission facility necessary to effect a sale of electric energy at wholesale; and (B) has: (i) applied to the Federal Energy Regulatory Commission for a determination under 15 U.S.C. Section 79z-5a; or (ii) registered as an exempt wholesale generator as required by Section 35.032. | Distributed renewable generation (DRG) | Electric generation with a capacity of not more than 2,000 kW provided by a renewable energy technology that is installed on a retail electric Customer’s side of the meter.
Distributed renewable generation owner (DRGO) | A person who owns DRG; a retail electric customer on whose side of the meter DRG is installed and operated, regardless of whether the customer takes ownership of the distributed renewable generation; or a person who by contract is assigned ownership rights to energy produced from DRG located at the premises of the customer on the customer’s side of the meter |  |  | Distributed Generation | Electric generation with a capacity of not more than 2,000 kW provided by a renewable energy technology that is installed on a retail electric Customer’s side of the meter.
Distributed resource | A generation, energy storage, or targeted demand-side resource, generally between one kilowatt and ten megawatts, located at a customer's site or near a load center, which may be connected at the distribution voltage level (below 60,000 volts), that provides advantages to the system, such as deferring the need for upgrading local distribution facilities.
Electric Service | Combination of the transmission and distribution service provided by a transmission and distribution utility, municipally owned utility, or electric cooperative, metering service provided by a TDU or a competitive metering provider, and the generation service provided to an end-use customer by a REP. This term does not include optional competitive energy services, as defined in §25.341 of this title, that are not required for the customer to obtain service from a REP. |  |  | Intermittent Renewable Resource | A Generation Resource that can only produce energy from variable, uncontrollable Resources, such as wind, solar, or run-of-the-river hydroelectricity.
Electric Utility | For purposes of this section, an integrated investor-owned utility that has not unbundled in accordance with Public Utility Regulatory Act §39.051. | Electric Utility | means a person or river authority that owns or operates for compensation in this state equipment or facilities to produce, generate, transmit, distribute, sell, or furnish electricity in this state. The term includes a lessee, trustee, or receiver of an electric utility and a recreational vehicle park owner who does not comply with Subchapter C, Chapter 184, with regard to the metered sale of electricity at the recreational vehicle park. The term does not include: (A) a municipal corporation; (B) a qualifying facility; (C) a power generation company; (D) an exempt wholesale generator; (E) a power marketer; (F) a corporation described by Section 32.053 to the extent the corporation sells electricity exclusively at wholesale and not to the ultimate consumer; (G) an electric cooperative; (H) a retail electric provider; (I) this state or an agency of this state; or (J) a person not otherwise an electric utility who: (i) furnishes an electric service or commodity only to itself, its employees, or its tenants as an incident of employment or tenancy, if that service or commodity is not resold to or used by others; (ii) owns or operates in this state equipment or facilities to produce, generate, transmit, distribute, sell, or furnish electric energy to an electric utility, if the equipment or facilities are used primarily to produce and generate electric energy for consumption by that person; or (iii) owns or operates in this state a recreational vehicle park that provides metered electric service in accordance with Subchapter C, Chapter 184.
Existing Facilities | Renewable energy generators placed in service before September 1, 1999.
Facility | An electrical generating installation consisting of one or more on-site distributed generation units, including a distributed natural gas generation facility. The total capacity of the installation’s on-site distributed generation units may exceed ten megawatts (MW); however, no more than ten MW of the installation’s capacity will be interconnected at any point in time at the point of common coupling under this section.
Generation Entity | An entity that owns or controls a generation resource. |  |  | Generation Resource | A generator capable of providing energy or Ancillary Service to the ERCOT System and is registered with ERCOT as a Generation Resource. The term “Generation Resource” used by itself in these Protocols does not include a Non-Modeled Generator.
Generation Entity | An entity that controls a generation resource. An entity affiliated with a generation entity shall be considered part of that generation entity |  |  | Generation Entity | The owner of an All-Inclusive Generation Resource and, unless otherwise specified in these Protocols, is registered as a Resource Entity.
Generating facility | All generating units located at, or providing power to the electricityconsuming equipment at an entire facility or location. |  |  | All-Inclusive Generation Resource | A term used to refer to both a Generation Resource and a Non-Modeled Generator.
Generating unit | Any electric generating facility. This section does not apply to any generating unit that is less than ten megawatts and is built for experimental purposes only
Generation offset technology | Any renewable technology that reduces the demand for electricity at a site where a customer consumes electricity. An example of this technology is solar water heating.
Generation Owner | A power generation company, river authority, municipally owned utility, electric cooperative, or any other entity that owns electric generating facilities in the state of Texas |  |  | Resource Entity | An Entity that owns or controls an All-Inclusive Resource and is registered with ERCOT as a Resource Entity.
Generation Service | The production and purchase of electricity for retail customers and the production, purchase, and sale of electricity in the wholesale power market.
Industrial customer | A for-profit entity engaged in an industrial process taking electric service at transmission voltage, or a for-profit entity engaged in an industrial process taking electric service at distribution voltage that qualifies for a tax exemption under Tax Code §151.317 and has submitted an identification notice pursuant to subsection (w) of this section.
Installed generation capacity | All potentially marketable electric generation capacity, including the capacity of: (A) generating facilities that are connected with a transmission or distribution system; (B) generating facilities used to generate electricity for consumption by the person owning or controlling the facility; and (C) generating facilities that will be connected with a transmission or distribution system and operating within 12 months.
Load control | Activities that place the operation of electricity-consuming equipment under the control or dispatch of an energy efficiency service provider, an independent system operator, or other transmission organization or that are controlled by the customer, with the objective of producing energy or demand savings. |  |  | Controllable Load Resource | A Load Resource capable of controllably reducing or increasing consumption under dispatch control by ERCOT.
Load Entity | An entity that owns or controls a load resource, including, but not limited to, a load acting as a resource (LaaR) or a balancing up load (BUL), as those terms are defined in the ERCOT Protocols. |  |  | Load Resource | A Load capable of providing Ancillary Service to the ERCOT System and/or energy in the form of Demand response and registered with ERCOT as a Load Resource.
Load management | Load control activities that result in a reduction in peak demand, or a shifting of energy usage from a peak to an off-peak period or from high-price periods to lower price periods.
Market Entity | Any person or entity participating in the ERCOT-administered wholesale market, including, but not limited to, a load serving entity (including a municipally owned utility and an electric cooperative,) a power marketer, a transmission and distribution utility, a power generation company, a qualifying facility, an exempt wholesale generator, ERCOT, and any entity conducting planning, scheduling, or operating activities on behalf of, or controlling the activities of, such market entities.
Market Participant | Any person or entity participating in the power region's wholesale markets, or engaging in any activity that is in whole or in part the subject of the ERCOT protocols, regardless of whether the person or entity has executed an agreement with ERCOT. This definition includes, but is not limited to, a load-serving entity (including a municipally-owned utility and an electric cooperative), a retail electric provider, a qualified scheduling entity, a power marketer, a transmission and distribution utility, a power generation company, a qualifying facility, an exempt wholesale generator, a load acting as a resource, and any entity conducting planning, scheduling, or operating activities on behalf of such market participants.
Market Participant | A market entity other than ERCOT.
Microgenerator | A customer who owns one or more eligible renewable energy generating units with a rated capacity of less than 1MW operating on the customer’s side of the utility meter.
New facilities | Renewable energy generators placed in service on or after September 1, 1999. A new facility includes the incremental capacity and associated energy from an existing renewable facility achieved through repowering activities undertaken on or after September 1, 1999.
New generating capacity | Nameplate generating capacity of a facility installed in this state after January 1, 2000, except capacity based on a renewable energy technology. This definition of new generating capacity does not include modifications to previously installed generating facilities that merely increase the efficiency of, or reduce emissions from, such facilities. For the purposes of this section the phrase "new generating capacity purchased" refers to the purchase of all or part of an installed unit, and not to the purchase of capacity or energy from an installed unit.
New on-site generation | Electric generation capacity greater than ten megawatts capable of being lawfully delivered to the site without use of utility distribution or transmission facilities, which was not, on or before December 31, 1999, either: 1) A fully operational facility, or 2) A project supported by substantially complete filings for all necessary site-specific environmental permits under the rules of the Texas Natural Resource Conservation Commission (TNRCC) in effect at the time of filing.
Non-firm power from a qualifying facility | Power provided under an arrangement that does not guarantee scheduled availability, but instead provides for delivery as available
Off-grid generation | The generation of renewable energy in an application that is not interconnected to a utility transmission or distribution system.
Off-grid renewable generation | The generation of renewable energy in an application that is not interconnected to a utility transmission or distribution system
On-site distributed generation (or distributed generation) | An electrical generating facility located at a customer’s point of delivery (point of common coupling) of ten megawatts (MW) or less and connected at a voltage less than 60 kilovolts (kV) which may be connected in parallel operation to the utility system. |  |  | Non-Modeled Generator | A generator that is: (a) Capable of providing net output of energy to the ERCOT System; (b) Ten MW or less in size; or greater than ten MW and registered with the PUCT according to P.U.C. SUBST. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator; and (c) Registered with ERCOT as a Non-Modeled Generator, which means that the generator may not participate in the Ancillary Service or energy markets, RUC, or SCED.
Power generation company (PGC) — | A person that: (A) generates electricity that is intended to be sold at wholesale, including the owner or operator of electric energy storage equipment or facilities to which the Public Utility Regulatory Act, Chapter 35, Subchapter E applies; (B) does not own a transmission or distribution facility in this state, other than an essential interconnecting facility, a facility not dedicated to public use, or a facility otherwise excluded from the definition of "electric utility" under this section; and (C) does not have a certificated service area, although its affiliated electric utility or transmission and distribution utility may have a certificated service area | Power Generation Company | means a person, including a person who owns or operates a distributed natural gas generation facility, that: (A) generates electricity that is intended to be sold at wholesale, including the owner or operator of electric energy storage equipment or facilities to which Subchapter E, Chapter 35, applies; (B) does not own a transmission or distribution facility in this state other than an essential interconnecting facility, a facility not dedicated to public use, or a facility otherwise excluded from the definition of "electric utility" under this section; and (C) does not have a certificated service area, although its affiliated electric utility or transmission and distribution utility may have a certificated service area. | Generation Entity | The owner of an All-Inclusive Generation Resource and, unless otherwise specified in these Protocols, is registered as a Resource Entity.
Qualifying cogenerator | The meaning as assigned this term by 16 U.S.C. §796(18)(C). A qualifying cogenerator that provides electricity to the purchaser of the cogenerator's thermal output is not for that reason considered to be a retail electric provider or a power generation company. | Qualifying cogenerator | "Qualifying cogenerator" and "qualifying small power producer" have the meanings assigned those terms by 16 U.S.C. Sections 796(18)(C) and 796(17)(D). A qualifying cogenerator that provides electricity to a purchaser of the cogenerator's thermal output is not for that reason considered to be a retail electric provider or a power generation company.
Qualifying facility | A qualifying cogenerator or qualifying small power producer. | Qualifying facility | means a qualifying cogenerator or qualifying small power producer
Qualifying small power producer | The meaning as assigned this term by 16 U.S.C. §796(17)(D). | Qualifying small power producer | "Qualifying cogenerator" and "qualifying small power producer" have the meanings assigned those terms by 16 U.S.C. Sections 796(18)(C) and 796(17)(D). A qualifying cogenerator that provides electricity to a purchaser of the cogenerator's thermal output is not for that reason considered to be a retail electric provider or a power generation company.
Renewable demand side management (DSM) technologies | Equipment that uses a renewable energy resource (renewable resource) as defined in this section, that, when installed at a customer site, reduces the customer's net purchases of energy (kWh), electrical demand (kW), or both. | Renewable demand side management (DSM) technologies |  | Resource Connectivity Node | The Electrical Bus to which the terminal of a Resource is connected.
Renewable demand side management (DSM) technologies | Equipment that uses a renewable energy resource (renewable resource), as defined in §25.173(c) of this title (relating to Goal for Renewable Energy), a geothermal heat pump, a solar water heater, or another natural mechanism of the environment, that when installed at a customer site, reduces the customer’s net purchases of energy, demand, or both | Renewable demand side management (DSM) technologies
Renewable energy resource (renewable resource) | A resource that produces energy derived from renewable energy technologies. | Renewable energy resource (renewable resource)
Renewable energy technology | Any technology that exclusively relies on an energy source that is naturally regenerated over a short time and derived directly from the sun, indirectly from the sun, or from moving water or other natural movements and mechanisms of the environment. Renewable energy technologies include those that rely on energy derived directly from the sun, wind, geothermal, hydroelectric, wave, or tidal energy, or on biomass or biomass-based waste products, including landfill gas. A renewable energy technology does not rely on energy resources derived from fossil fuels, waste products from fossil fuels, or waste products from inorganic sources. | Renewable energy technology
Repowered Facility | An existing facility that has been modernized or upgraded to use renewable energy technology to produce electricity consistent with this rule. | Repowered Facility |  | Repowered Facility | An existing facility that has been modernized or upgraded to use renewable energy technology to produce electricity consistent with P.U.C. SUBST. R. 25.173, Goal for Renewable Energy.
Resource | Facilities capable of providing electrical energy or load capable of reducing or increasing the need for electrical energy or providing short-term reserves into the ERCOT system. This includes generation and load resources. | Resource
Resource | A generation resource, or a load capable of complying with ERCOT instructions to reduce or increase the need for electrical energy or to provide an ancillary service (i.e., a “load acting as a resource”). | Resource |  | Resource | The term is used to refer to both a Generation Resource and a Load Resource. The term “Resource” used by itself in these Protocols does not include a Non-Modeled Generator or an ERS Resource.
Resource Entity | An entity that is a generation entity or a load entity. | Resource Entity |  | Resource Category | The generation technology category designated for a Generation Resource in its Resource Registration documentation.
Resource Entity | an entity that owns or controls a resource | Resource Entity
Small commercial customer | A non-residential customer that has a peak demand of less than 50 kilowatts during any 12-month period, unless the customer's load is part of an aggregation program whose peak demand is in excess of 50 kilowatts during the same 12- month period. | Small commercial customer
Small producer | A renewable resource that is less than ten megawatts (MW) in size | Small producer
Supply-side resource | A resource, including a storage device, that provides electricity from fuels or renewable resources. | Supply-side resource
Texas jurisdictional installed generation capacity | The amount of an affiliated PGC's installed generation capacity properly allocable to the Texas jurisdiction. Such allocation shall be calculated pursuant to an existing commission-approved allocation study, or other such commission-approved methodology, and may be adjusted as approved by the commission to reflect the effects of divestiture or the installation of new generation facilities. | Texas jurisdictional installed generation capacity
Utility | An electric utility as defined in PURA §31.002(6) or a transmission and distribution utility as defined in PURA §31.002(19). For purposes of this section, a utility does not include a river authority operating a steam generating plant on or before January 1, 1999, or a corporation authorized by Chapter 245, Acts of the 67th Legislature, Regular Session, 1981 (Article 717 p, Vernon’s Texas Civil Statutes). In addition, with respect to a holding company exempt under the Public Utility Holding Company Act (PUHCA) §3(a)(2), the term “utility,” as used in this section, means the division or business unit through which the holding company conducts utility operations and not the holding company as a legal entity. | Public Utility/Utility | (1) an electric utility, as that term is defined by Section 31.002; or (2) a public utility or utility, as those terms are defined by Section 51.002.
|  |  |  | Intermittent Renewable Resource (IRR) Group | A group of two or more IRRs whose performance in responding to Security-Constrained Economic Dispatch (SCED) Dispatch Instructions will be assessed as an aggregate for Generation Resource Energy Deployment Performance (GREDP) and Base Point Deviation. An IRR Group cannot contain any IRRs that are Split Generation Resources. Additionally, only IRRs that have the same Resource Node can be mapped to an IRR Group. Resource Entities can choose to group IRRs and shall provide the grouping information in a timely manner for ERCOT review prior to the scheduled database loads.
|  |  |  | Mothballed Generation Resource | A Generation Resource for which a Resource Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and which has not been decommissioned and retired.
|  |  |  | PhotoVoltaic Generation Resource | A Generation Resource that is powered by PhotoVoltaic (PV) equipment exposed to light. PV equipment may be aggregated together to form a PVGR as set forth in paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads.
|  |  |  | Quick Start Generation Resource | A Generation Resource that in its cold-temperature state can come On-Line within ten minutes of receiving ERCOT notice and has passed an ERCOT QSGR test that establishes an amount of capacity that can be deployed within a ten-minute period.
|  |  |  | Split Generation Resource | Where a Generation Resource has been split to function as two or more independent Generation Resources in accordance with Section 10.3.2.1, Generation Resource Meter Splitting, and Section 3.10.7.2, Modeling of Resources and Transmission Loads, each such functionality independent Generation Resource is a Split Generation Resource.
|  |  |  | Switchable Generation Resource | A Generation Resource that can be connected to either the ERCOT Transmission Grid or a non-ERCOT Control Area.
|  |  |  | Wind-powered Generation Resource | A Generation Resource that is powered by wind. Wind turbines may be aggregated together to form a WGR as set forth in paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads.
|  |  |  | Outage | The condition of a Transmission Facility or a portion of a Facility, or Generation Resource that is part of the ERCOT Transmission Grid and defined in the Network Operations Model that has been removed from its normal service, excluding the operations of Transmission Facilities associated with the start-up and shutdown of Generation Resources.
|  |  |  | Outage Scheduler | The application that TSPs or QSEs use to submit Notification of Outages or requests for Outages to ERCOT for approval, acceptance, or rejection.