## Slide 1
Generation Interconnection Constraints
PLWG
October 2017

## Slide 2: References (1/4)
PUCT Substantive Rule 25.198 [partial]
(c)(6) When a transmission service customer requests transmission service for a new resource under this section, ERCOT shall establish the scope of any system security screening study. The study will be used to determine the feasibility of integrating such new resource into the TSPs' transmission system, and whether any upgrades of facilities providing transmission are needed. ERCOT will perform the system security screening study.
(d) Based on the results of the system security screening study, the TSP shall perform, pursuant to an executed facilities study agreement with the transmission service customer, a facilities study addressing the detailed engineering, design and cost of transmission facilities required to provide the requested transmission service.

## Slide 3: References (2/4)
Planning Guide Section 5.1 (1) [partial]
(1) This Section 5, Generation Resource Interconnection or Change Request, defines the requirements and processes used to facilitate new or modified generation interconnections with the ERCOT System. The requirements outlined in this Section 5 are designed to:
  (a) Determine the facilities required to directly interconnect new or modified generation to the ERCOT System;
  (b) Ensure that the interconnection of the new or modified generation is accomplished in a manner that maintains the reliability of the ERCOT System and is in compliance with the North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, this Planning Guide and the Operating Guides;

## Slide 4: References (3/4)
Planning Guide Section 5.4.1 (4)
Upon completion of the Security Screening Study, ERCOT will present the IE with a preliminary report indicating future transmission additions or enhancements that may be required to accommodate the proposed additional generation or Generation Resource modification at the specified in-service year. This report will inform the IE about any additional transmission improvements estimated to be required for the continued security and reliability of the ERCOT System. This report does not imply any commitment by ERCOT or any TSP to recommend or construct these transmission additions or enhancements. The report will also contain a description of the SSR assessment performed as part of the Security Screening Study and any conclusions resulting from the SSR assessment.
Planning Guide Section 5.4.2 (1)
An FIS consists of the set of steady-state, dynamic, short-circuit, facility studies, along with other relevant studies that are necessary to determine the reliability impact on affected Transmission Facilities and identify the Transmission Facilities that are needed to reliably interconnect the new or modified Generation Resource to the ERCOT System, in accordance with the Planning Guides. The FIS is not intended to determine the deliverability of power from the proposed Generation Resource to market or to ensure that the proposed Generation Resource does not experience any congestion-related curtailment.

## Slide 5: References (4/4)
Planning Guide Section 3.1.3.1
(1) Proposed transmission projects are categorized for evaluation purposes into two types:
  (a) Reliability-driven projects; and
  (b) Economic-driven projects.
(2) The differentiation between these two types of projects is based on whether a simultaneously-feasible, security-constrained generating unit commitment dispatch is expected to be available for all hours of the planning horizon that can resolve the system reliability issue that the proposed project is intended to resolve. If it is not possible to simulate a dispatch of the Generation Resources such that all reliability criteria are met without the project, and the addition of the project allows the reliability criteria to be met, then the project is classified as a reliability-driven project. If it is possible to simulate a dispatch of the Generation Resources in such a way that all reliability criteria are met without the project, but the project may allow the reliability criteria to be met at a lower total cost, then the project is classified as an economic-driven project. When performing a simulation of the generating unit commitment and dispatch, only contingencies and limits that would be considered in the operations horizon shall be simulated.

## Slide 6: What transmission improvements are required to provide transmission service for a generation resource? What transmission improvements should be evaluated based on economics?

## Slide 7: Scenario 1
~
~
~
~
200 MW
200 MW
200 MW
200 MW
500 MW Limit
500 MW Limit

## Slide 8: Scenario 2
~
~
200 MW
200 MW
300 MW Limit

## Slide 9: Scenario 3
~
200 MW
150 MW Limit
150 MW Limit

## Slide 10: Scenario 4
~
200 MW
150 MW Limit

## Slide 11: Discussion
What are the principles?
Next steps?