## Slide 1: Congestion Management Working Group
November 1, 2017

## Slide 2
CRR Framework Update
  Requalification is open through December 8, 2017
Process for economic consideration for Outage Scheduling
  AEP presented some of the complexities in outage planning
  CMWG concluded that this topic would be better discussed at OCWG
Generation Scenarios for Panhandle GTC
  ERCOT discussed some of the aspects they have been reviewing for the Panhandle GTC

## Slide 3
Additional Hubs Discussion
  Members proposed creating a 2 new “Hubs”
    A Valley Hub
    A “Super” South Hub that would include both 138kV and 345 kV Hub Bus
Change in HIP Outages
  The group asked ERCOT to present more information on a outage that was moved after the DAM had closed
Next Meetings:
  December 4, 2017
  January 8, 2018

## Slide 4: Open Action Items
Transmission losses in Real-Time Settlement
  This item was on hold due to PUC Project No. 47199
  The group asked to begin discussing the topic
Process for economic consideration for Outage Scheduling
  CMWG believes that OCWG may be a better venue to discuss this item
TAC Assignment: Alternative Solutions to issues in NPRR821, Elimination of the CRR Deration Process
  Complete
Non-ERS deployments of ERS Generators
  CMWG has not started discussing this item