| SCR Number | 794 | SCR Title | Update SCED Limit Calculation |
| --- | --- | --- | --- |
| Date Posted |  | November 2, 2017 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 6.5.7.3, Security Constrained Economic Dispatch |  |
| System Change Description |  | This System Change Request (SCR) updates how the Security-Constrained Economic Dispatch (SCED) limit is calculated by Transmission Constraint Manager (TCM) to take into account how the MVA flows compare to actual MVA limits. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The proposed resolution will address the potential for unrealistically low MW limits during cases in which the MVA flows are signicantly below the MVA limit. |  |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed System Change

Issue:

Currently MW limits are calculated using the equation provided below, regardless of the MVA flow relative to the MVA limit.  Under some circumstances, this calculation can result in unrealistically low MW limits.

Resolution:

Add conditions to how the limits are calculated as follows: