## Disclaimer
CDR WORKING PAPERS
FOR PLANNING PURPOSES ONLY
DISCLAIMER
This ERCOT Working Paper has been prepared for specific ERCOT and member company purposes and has been developed from data,
contributed by ERCOT member companies, that affect the conclusions and opinions reflected in this Working Paper, which may contain errors or
be or become obsolete. ERCOT AND ITS CONTRIBUTING MEMBER COMPANIES MAKE NO WARRANTY, EXPRESS OR IMPLIED,
INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIM ANY AND ALL
LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR
USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of this Working Paper and its
accuracy should be confirmed by each ERCOT member company which contributed data for this Working Paper.
These Working Papers are based on data submitted by ERCOT member companies as part of their Annual Planned Service Request (APSR)
As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Summer Summary
LSE | CA | Data Description | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
AENX | AENX | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
AENX | AENX | (b) Summer Specified Capacity (MW) | 2561 | 2516 | 2521 | 2526 | 2531 | 2536
AENX | AENX | (c) Summer Unspecified Capacity (MW) | 0 | 44 | 136 | 371 | 376 | 481
AENX | AENX | (d) Summer Planned Capacity (MW) | 2561 | 2560 | 2657 | 2897 | 2907 | 3017
AENX | AENX | (e) Summer Peak Demand (MW) | 2169 | 2217 | 2297 | 2356 | 2423 | 2539
AENX | AENX | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
AENX | AENX | (g) Summer Firm Peak Demand (MW) | 2169 | 2217 | 2297 | 2356 | 2423 | 2539
AENX | AENX | (h) Summer Reserve (MW) | 392 | 343 | 360 | 541 | 484 | 478
AENX | AENX | (i) Summer Reserve Margin | 0.181 | 0.155 | 0.157 | 0.23 | 0.2 | 0.188
AENX | AENX | (j) Summer Capacity Margin | 0.153 | 0.134 | 0.135 | 0.187 | 0.166 | 0.158
BCEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
BCEC | CSWS | (b) Summer Specified Capacity (MW) | 28.6 | 24.9 | 23.5 | 23.7 | 23.9 | 23.8
BCEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 4 | 5.4 | 5.6 | 5.9 | 6.7
BCEC | CSWS | (d) Summer Planned Capacity (MW) | 28.6 | 28.9 | 28.9 | 29.3 | 29.8 | 30.6
BCEC | CSWS | (e) Summer Peak Demand (MW) | 31.5 | 32.1 | 32.7 | 33.3 | 33.9 | 34.6
BCEC | CSWS | (f) Summer Interruptible Load (MW) | 7.2 | 7.4 | 7.6 | 7.8 | 8 | 8.3
BCEC | CSWS | (g) Summer Firm Peak Demand (MW) | 24.3 | 24.7 | 25.1 | 25.5 | 25.9 | 26.3
BCEC | CSWS | (h) Summer Reserve (MW) | 4.2 | 4.2 | 3.8 | 3.8 | 3.9 | 4.3
BCEC | CSWS | (i) Summer Reserve Margin | 0.173 | 0.169 | 0.152 | 0.15 | 0.15 | 0.163
BCEC | CSWS | (j) Summer Capacity Margin | 0.148 | 0.144 | 0.132 | 0.131 | 0.131 | 0.14
BEPC | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
BEPC | TMPP | (b) Summer Specified Capacity (MW) | 1888.1 | 1671.5 | 1667.9 | 1577.5 | 1194.5 | 1194.5
BEPC | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 360 | 450 | 650 | 1130 | 1230
BEPC | TMPP | (d) Summer Planned Capacity (MW) | 1888.1 | 2031.5 | 2117.9 | 2227.5 | 2324.5 | 2424.5
BEPC | TMPP | (e) Summer Peak Demand (MW) | 1697.9 | 1775.4 | 1852.9 | 1936.5 | 2024.5 | 2115.5
BEPC | TMPP | (f) Summer Interruptible Load (MW) | 62 | 17 | 17 | 15 | 15 | 15
BEPC | TMPP | (g) Summer Firm Peak Demand (MW) | 1635.9 | 1758.4 | 1835.9 | 1921.5 | 2009.5 | 2100.5
BEPC | TMPP | (h) Summer Reserve (MW) | 252.2 | 273.1 | 282 | 306 | 315 | 324
BEPC | TMPP | (i) Summer Reserve Margin | 0.154 | 0.155 | 0.154 | 0.159 | 0.157 | 0.154
BEPC | TMPP | (j) Summer Capacity Margin | 0.134 | 0.134 | 0.133 | 0.137 | 0.136 | 0.134
BPMX | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
BPMX | TMPP | (b) Summer Specified Capacity (MW) | 29 | 0 | 0 | 0 | 0 | 0
BPMX | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 19 | 19 | 19 | 19 | 19
BPMX | TMPP | (d) Summer Planned Capacity (MW) | 29 | 19 | 19 | 19 | 19 | 19
BPMX | TMPP | (e) Summer Peak Demand (MW) | 27 | 27 | 27 | 27 | 27 | 27
BPMX | TMPP | (f) Summer Interruptible Load (MW) | 11 | 11 | 11 | 11 | 11 | 11
BPMX | TMPP | (g) Summer Firm Peak Demand (MW) | 16 | 16 | 16 | 16 | 16 | 16
BPMX | TMPP | (h) Summer Reserve (MW) | 13 | 3 | 3 | 3 | 3 | 3
BPMX | TMPP | (i) Summer Reserve Margin | 0.813 | 0.188 | 0.188 | 0.188 | 0.188 | 0.188
BPMX | TMPP | (j) Summer Capacity Margin | 0.448 | 0.158 | 0.158 | 0.158 | 0.158 | 0.158
BRYN | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
BRYN | TMPP | (b) Summer Specified Capacity (MW) | 280.8 | 280.8 | 279.8 | 278.6 | 277.5 | 276.8
BRYN | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 8.9 | 17.1 | 25.3 | 33.7 | 42.8
BRYN | TMPP | (d) Summer Planned Capacity (MW) | 280.8 | 289.7 | 296.9 | 303.9 | 311.2 | 319.6
BRYN | TMPP | (e) Summer Peak Demand (MW) | 244.2 | 251.4 | 257.7 | 264 | 270.3 | 277.5
BRYN | TMPP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
BRYN | TMPP | (g) Summer Firm Peak Demand (MW) | 244.2 | 251.4 | 257.7 | 264 | 270.3 | 277.5
BRYN | TMPP | (h) Summer Reserve (MW) | 36.6 | 38.3 | 39.2 | 39.9 | 40.9 | 42.1
BRYN | TMPP | (i) Summer Reserve Margin | 0.15 | 0.152 | 0.152 | 0.151 | 0.152 | 0.152
BRYN | TMPP | (j) Summer Capacity Margin | 0.13 | 0.132 | 0.132 | 0.131 | 0.132 | 0.132
CCEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
CCEC | CSWS | (b) Summer Specified Capacity (MW) | 23.7 | 20.6 | 20.3 | 20.4 | 20.5 | 20.4
CCEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 3.4 | 4.2 | 4.6 | 5.1 | 5.8
CCEC | CSWS | (d) Summer Planned Capacity (MW) | 23.7 | 24 | 24.5 | 25 | 25.6 | 26.1
CCEC | CSWS | (e) Summer Peak Demand (MW) | 20.4 | 20.8 | 21.3 | 21.7 | 22.2 | 22.7
CCEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
CCEC | CSWS | (g) Summer Firm Peak Demand (MW) | 20.4 | 20.8 | 21.3 | 21.7 | 22.2 | 22.7
CCEC | CSWS | (h) Summer Reserve (MW) | 3.3 | 3.1 | 3.2 | 3.3 | 3.3 | 3.4
CCEC | CSWS | (i) Summer Reserve Margin | 0.163 | 0.15 | 0.151 | 0.15 | 0.15 | 0.15
CCEC | CSWS | (j) Summer Capacity Margin | 0.14 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
COCS | TUET | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
COCS | TUET | (b) Summer Specified Capacity (MW) | 180.7 | 183.5 | 172.8 | 171.4 | 172 | 0
COCS | TUET | (c) Summer Unspecified Capacity (MW) | 0 | 2.2 | 19.6 | 28 | 34.8 | 213.8
COCS | TUET | (d) Summer Planned Capacity (MW) | 180.7 | 185.7 | 192.4 | 199.4 | 206.8 | 213.8
COCS | TUET | (e) Summer Peak Demand (MW) | 155.3 | 159.8 | 165.6 | 171.6 | 178.1 | 185.9
COCS | TUET | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
COCS | TUET | (g) Summer Firm Peak Demand (MW) | 155.3 | 159.8 | 165.6 | 171.6 | 178.1 | 185.9
COCS | TUET | (h) Summer Reserve (MW) | 25.4 | 25.9 | 26.8 | 27.8 | 28.7 | 27.9
COCS | TUET | (i) Summer Reserve Margin | 0.164 | 0.162 | 0.162 | 0.162 | 0.161 | 0.15
COCS | TUET | (j) Summer Capacity Margin | 0.141 | 0.14 | 0.139 | 0.139 | 0.139 | 0.13
CODX | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
CODX | TMPP | (b) Summer Specified Capacity (MW) | 306.4 | 276.4 | 276.4 | 276.4 | 276.4 | 276.4
CODX | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 40 | 52 | 63 | 75 | 86
CODX | TMPP | (d) Summer Planned Capacity (MW) | 306.4 | 316.4 | 328.4 | 339.4 | 351.4 | 362.4
CODX | TMPP | (e) Summer Peak Demand (MW) | 264.5 | 272.7 | 283.6 | 293.2 | 302.3 | 312
CODX | TMPP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
CODX | TMPP | (g) Summer Firm Peak Demand (MW) | 264.5 | 272.7 | 283.6 | 293.2 | 302.3 | 312
CODX | TMPP | (h) Summer Reserve (MW) | 42 | 43.7 | 44.8 | 46.2 | 49.1 | 50.4
CODX | TMPP | (i) Summer Reserve Margin | 0.159 | 0.16 | 0.158 | 0.158 | 0.162 | 0.162
CODX | TMPP | (j) Summer Capacity Margin | 0.137 | 0.138 | 0.137 | 0.136 | 0.14 | 0.139
COGX | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
COGX | TMPP | (b) Summer Specified Capacity (MW) | 572.7 | 590.5 | 592.4 | 607.9 | 624.2 | 639.1
COGX | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 12.7 | 13 | 13 | 14
COGX | TMPP | (d) Summer Planned Capacity (MW) | 572.7 | 590.5 | 605.1 | 620.9 | 637.2 | 653.1
COGX | TMPP | (e) Summer Peak Demand (MW) | 507.8 | 523.3 | 535.9 | 550.6 | 564.9 | 578.7
COGX | TMPP | (f) Summer Interruptible Load (MW) | 14 | 14 | 14 | 15 | 15 | 15
COGX | TMPP | (g) Summer Firm Peak Demand (MW) | 493.8 | 509.3 | 521.9 | 535.6 | 549.9 | 563.7
COGX | TMPP | (h) Summer Reserve (MW) | 78.9 | 81.2 | 83.2 | 85.3 | 87.3 | 89.4
COGX | TMPP | (i) Summer Reserve Margin | 0.16 | 0.159 | 0.159 | 0.159 | 0.159 | 0.159
COGX | TMPP | (j) Summer Capacity Margin | 0.138 | 0.138 | 0.137 | 0.137 | 0.137 | 0.137
CPST | CPST | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
CPST | CPST | (b) Summer Specified Capacity (MW) | 4426 | 4576 | 4737 | 4899 | 5060 | 5229
CPST | CPST | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0
CPST | CPST | (d) Summer Planned Capacity (MW) | 4426 | 4576 | 4737 | 4899 | 5060 | 5229
CPST | CPST | (e) Summer Peak Demand (MW) | 3862 | 3993 | 4133 | 4274 | 4414 | 4561
CPST | CPST | (f) Summer Interruptible Load (MW) | 14 | 14 | 14 | 14 | 14 | 14
CPST | CPST | (g) Summer Firm Peak Demand (MW) | 3848 | 3979 | 4119 | 4260 | 4400 | 4547
CPST | CPST | (h) Summer Reserve (MW) | 578 | 597 | 618 | 639 | 660 | 682
CPST | CPST | (i) Summer Reserve Margin | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
CPST | CPST | (j) Summer Capacity Margin | 0.131 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13
CSWS | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
CSWS | CSWS | (b) Summer Specified Capacity (MW) | 5968 | 5767.2 | 5575.5 | 5571.9 | 5570.9 | 5573.2
CSWS | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 346.9 | 564 | 722.9 | 884.3 | 1066.4
CSWS | CSWS | (d) Summer Planned Capacity (MW) | 5968 | 6114.2 | 6139.5 | 6294.7 | 6455.2 | 6639.7
CSWS | CSWS | (e) Summer Peak Demand (MW) | 5551.8 | 5697.4 | 5734.7 | 5886.7 | 6043.2 | 6222.6
CSWS | CSWS | (f) Summer Interruptible Load (MW) | 391.5 | 380.5 | 396.8 | 413.1 | 430.5 | 448.8
CSWS | CSWS | (g) Summer Firm Peak Demand (MW) | 5160.3 | 5316.9 | 5337.9 | 5473.6 | 5612.7 | 5773.8
CSWS | CSWS | (h) Summer Reserve (MW) | 807.7 | 797.3 | 801.6 | 821.2 | 842.5 | 865.8
CSWS | CSWS | (i) Summer Reserve Margin | 0.157 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
CSWS | CSWS | (j) Summer Capacity Margin | 0.135 | 0.13 | 0.131 | 0.13 | 0.131 | 0.13
CVEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
CVEC | CSWS | (b) Summer Specified Capacity (MW) | 47.9 | 41.4 | 40.8 | 41.2 | 41.4 | 41.2
CVEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 6.7 | 8.5 | 9.3 | 10.3 | 11.6
CVEC | CSWS | (d) Summer Planned Capacity (MW) | 47.9 | 48.1 | 49.3 | 50.5 | 51.7 | 52.8
CVEC | CSWS | (e) Summer Peak Demand (MW) | 41.2 | 41.8 | 42.9 | 43.9 | 45 | 45.9
CVEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
CVEC | CSWS | (g) Summer Firm Peak Demand (MW) | 41.2 | 41.8 | 42.9 | 43.9 | 45 | 45.9
CVEC | CSWS | (h) Summer Reserve (MW) | 6.7 | 6.3 | 6.5 | 6.6 | 6.8 | 6.9
CVEC | CSWS | (i) Summer Reserve Margin | 0.164 | 0.151 | 0.151 | 0.15 | 0.15 | 0.151
CVEC | CSWS | (j) Summer Capacity Margin | 0.141 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
GEUS | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
GEUS | TMPP | (b) Summer Specified Capacity (MW) | 124.4 | 128 | 128.7 | 132.1 | 133.2 | 133.2
GEUS | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 2.8 | 2.9 | 5.3 | 8.9
GEUS | TMPP | (d) Summer Planned Capacity (MW) | 124.4 | 128 | 131.5 | 135 | 138.5 | 142.1
GEUS | TMPP | (e) Summer Peak Demand (MW) | 108.3 | 111.4 | 114.4 | 117.5 | 120.6 | 123.6
GEUS | TMPP | (f) Summer Interruptible Load (MW) | bar: 2000 to 2005
GEUS | TMPP | (g) Summer Firm Peak Demand (MW) | 107.3 | 110.4 | 113.4 | 116.5 | 119.6 | 122.6
GEUS | TMPP | (h) Summer Reserve (MW) | 17.1 | 17.6 | 18 | 18.5 | 18.9 | 19.5
GEUS | TMPP | (i) Summer Reserve Margin | 0.16 | 0.159 | 0.159 | 0.159 | 0.158 | 0.159
GEUS | TMPP | (j) Summer Capacity Margin | 0.138 | 0.137 | 0.137 | 0.137 | 0.137 | 0.137
GRBX | TMPP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
GRBX | TMPP | (b) Summer Specified Capacity (MW) | 19.9 | 20.4 | 20.7 | 21.2 | 21.7 | 22
GRBX | TMPP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0
GRBX | TMPP | (d) Summer Planned Capacity (MW) | 19.9 | 20.4 | 20.7 | 21.2 | 21.7 | 22
GRBX | TMPP | (e) Summer Peak Demand (MW) | 17.3 | 17.7 | 18 | 18.4 | 18.8 | 19.1
GRBX | TMPP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
GRBX | TMPP | (g) Summer Firm Peak Demand (MW) | 17.3 | 17.7 | 18 | 18.4 | 18.8 | 19.1
GRBX | TMPP | (h) Summer Reserve (MW) | 2.6 | 2.7 | 2.7 | 2.8 | 2.9 | 2.9
GRBX | TMPP | (i) Summer Reserve Margin | 0.15 | 0.153 | 0.15 | 0.152 | 0.154 | 0.152
GRBX | TMPP | (j) Summer Capacity Margin | 0.131 | 0.132 | 0.13 | 0.132 | 0.134 | 0.132
GTSV | TNMP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
GTSV | TNMP | (b) Summer Specified Capacity (MW) | 31.9 | 32.5 | 33 | 33.7 | 34.2 | 34.7
GTSV | TNMP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0
GTSV | TNMP | (d) Summer Planned Capacity (MW) | 31.9 | 32.5 | 33 | 33.7 | 34.2 | 34.7
GTSV | TNMP | (e) Summer Peak Demand (MW) | 27.7 | 28.2 | 28.7 | 29.3 | 29.7 | 30.1
GTSV | TNMP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
GTSV | TNMP | (g) Summer Firm Peak Demand (MW) | 27.7 | 28.2 | 28.7 | 29.3 | 29.7 | 30.1
GTSV | TNMP | (h) Summer Reserve (MW) | 4.2 | 4.3 | 4.3 | 4.4 | 4.5 | 4.6
GTSV | TNMP | (i) Summer Reserve Margin | 0.152 | 0.153 | 0.151 | 0.152 | 0.15 | 0.152
GTSV | TNMP | (j) Summer Capacity Margin | 0.132 | 0.133 | 0.132 | 0.132 | 0.13 | 0.132
HERN | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
HERN | CSWS | (b) Summer Specified Capacity (MW) | 15.1 | 13.1 | 12.9 | 12.9 | 13 | 12.9
HERN | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 2.1 | 2.7 | 2.9 | 3.2 | 3.6
HERN | CSWS | (d) Summer Planned Capacity (MW) | 15.1 | 15.3 | 15.6 | 15.9 | 16.2 | 16.5
HERN | CSWS | (e) Summer Peak Demand (MW) | 13 | 13.3 | 13.5 | 13.8 | 14.1 | 14.3
HERN | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
HERN | CSWS | (g) Summer Firm Peak Demand (MW) | 13 | 13.3 | 13.5 | 13.8 | 14.1 | 14.3
HERN | CSWS | (h) Summer Reserve (MW) | 2.1 | 2 | 2 | 2.1 | 2.1 | 2.2
HERN | CSWS | (i) Summer Reserve Margin | 0.164 | 0.15 | 0.151 | 0.15 | 0.151 | 0.151
HERN | CSWS | (j) Summer Capacity Margin | 0.141 | 0.131 | 0.131 | 0.13 | 0.131 | 0.131
HUCO | TNMP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
HUCO | TNMP | (b) Summer Specified Capacity (MW) | 27 | 28 | 0 | 0 | 0 | 0
HUCO | TNMP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 29 | 30 | 31 | 33
HUCO | TNMP | (d) Summer Planned Capacity (MW) | 27 | 28 | 29 | 30 | 31 | 33
HUCO | TNMP | (e) Summer Peak Demand (MW) | 23.4 | 24.4 | 25.4 | 26.4 | 27.4 | 28.5
HUCO | TNMP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
HUCO | TNMP | (g) Summer Firm Peak Demand (MW) | 23.4 | 24.4 | 25.4 | 26.4 | 27.4 | 28.5
HUCO | TNMP | (h) Summer Reserve (MW) | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 4.5
HUCO | TNMP | (i) Summer Reserve Margin | 0.151 | 0.148 | 0.143 | 0.137 | 0.13 | 0.157
HUCO | TNMP | (j) Summer Capacity Margin | 0.131 | 0.129 | 0.125 | 0.121 | 0.115 | 0.135
KIMB | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
KIMB | CSWS | (b) Summer Specified Capacity (MW) | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
KIMB | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 0.1 | 0.2 | 0.2 | 0.2 | 0.3
KIMB | CSWS | (d) Summer Planned Capacity (MW) | 1 | 1 | 1.1 | 1.1 | 1.1 | 1.1
KIMB | CSWS | (e) Summer Peak Demand (MW) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 1
KIMB | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
KIMB | CSWS | (g) Summer Firm Peak Demand (MW) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 1
KIMB | CSWS | (h) Summer Reserve (MW) | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2
KIMB | CSWS | (i) Summer Reserve Margin | 0.162 | 0.149 | 0.156 | 0.154 | 0.16 | 0.155
KIMB | CSWS | (j) Summer Capacity Margin | 0.14 | 0.129 | 0.135 | 0.134 | 0.138 | 0.134
LCRA | LCRA | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
LCRA | LCRA | (b) Summer Specified Capacity (MW) | 2934.5 | 2658.5 | 2658.5 | 2658.5 | 2658.5 | 2658.5
LCRA | LCRA | (c) Summer Unspecified Capacity (MW) | 0 | 200 | 325 | 450 | 510 | 570
LCRA | LCRA | (d) Summer Planned Capacity (MW) | 2934.5 | 2858.5 | 2983.5 | 3108.5 | 3168.5 | 3228.5
LCRA | LCRA | (e) Summer Peak Demand (MW) | 2513.4 | 2614.3 | 2723.3 | 2839.8 | 2890.7 | 2941.2
LCRA | LCRA | (f) Summer Interruptible Load (MW) | 138 | 138 | 138 | 138 | 138 | 138
LCRA | LCRA | (g) Summer Firm Peak Demand (MW) | 2375.4 | 2476.3 | 2585.3 | 2701.8 | 2752.7 | 2803.2
LCRA | LCRA | (h) Summer Reserve (MW) | 559.1 | 382.2 | 398.3 | 406.7 | 415.8 | 425.3
LCRA | LCRA | (i) Summer Reserve Margin | 0.235 | 0.154 | 0.154 | 0.151 | 0.151 | 0.152
LCRA | LCRA | (j) Summer Capacity Margin | 0.191 | 0.134 | 0.133 | 0.131 | 0.131 | 0.132
LHEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
LHEC | CSWS | (b) Summer Specified Capacity (MW) | 2.4 | 2.1 | 2 | 2 | 2.1 | 2.1
LHEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 0.3 | 0.4 | 0.5 | 0.5 | 0.6
LHEC | CSWS | (d) Summer Planned Capacity (MW) | 2.4 | 2.4 | 2.4 | 2.5 | 2.6 | 2.6
LHEC | CSWS | (e) Summer Peak Demand (MW) | 2 | 2.1 | 2.1 | 2.2 | 2.3 | 2.3
LHEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
LHEC | CSWS | (g) Summer Firm Peak Demand (MW) | 2 | 2.1 | 2.1 | 2.2 | 2.3 | 2.3
LHEC | CSWS | (h) Summer Reserve (MW) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
LHEC | CSWS | (i) Summer Reserve Margin | 0.167 | 0.153 | 0.148 | 0.15 | 0.146 | 0.149
LHEC | CSWS | (j) Summer Capacity Margin | 0.143 | 0.133 | 0.129 | 0.13 | 0.127 | 0.13
MECX | STEC | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
MECX | STEC | (b) Summer Specified Capacity (MW) | 94.2 | 83.7 | 96.6 | 98.6 | 100 | 101.5
MECX | STEC | (c) Summer Unspecified Capacity (MW) | 0 | 12 | 21 | 23 | 25 | 28
MECX | STEC | (d) Summer Planned Capacity (MW) | 94.2 | 95.7 | 117.6 | 121.6 | 125 | 129.5
MECX | STEC | (e) Summer Peak Demand (MW) | 77 | 82.7 | 101.6 | 105.2 | 108.5 | 112
MECX | STEC | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
MECX | STEC | (g) Summer Firm Peak Demand (MW) | 77 | 82.7 | 101.6 | 105.2 | 108.5 | 112
MECX | STEC | (h) Summer Reserve (MW) | 17.2 | 13 | 16 | 16.4 | 16.5 | 17.5
MECX | STEC | (i) Summer Reserve Margin | 0.224 | 0.157 | 0.157 | 0.155 | 0.152 | 0.157
MECX | STEC | (j) Summer Capacity Margin | 0.183 | 0.136 | 0.136 | 0.135 | 0.132 | 0.135
MVEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
MVEC | CSWS | (b) Summer Specified Capacity (MW) | 0 | 307.6 | 331.1 | 355.4 | 380.3 | 405.4
MVEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0
MVEC | CSWS | (d) Summer Planned Capacity (MW) | 0 | 307.6 | 331.1 | 355.4 | 380.3 | 405.4
MVEC | CSWS | (e) Summer Peak Demand (MW) | 0 | 267.4 | 288 | 309.1 | 330.6 | 352.5
MVEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
MVEC | CSWS | (g) Summer Firm Peak Demand (MW) | 0 | 267.4 | 288 | 309.1 | 330.6 | 352.5
MVEC | CSWS | (h) Summer Reserve (MW) | 0 | 40.1 | 43.2 | 46.4 | 49.6 | 52.9
MVEC | CSWS | (i) Summer Reserve Margin |  | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
MVEC | CSWS | (j) Summer Capacity Margin |  | 0.13 | 0.13 | 0.13 | 0.13 | 0.13
OLNE | TNMP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
OLNE | TNMP | (b) Summer Specified Capacity (MW) | 6.7 | 6.8 | 6.8 | 6.8 | 6.9 | 6.9
OLNE | TNMP | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 0 | 0
OLNE | TNMP | (d) Summer Planned Capacity (MW) | 6.7 | 6.8 | 6.8 | 6.8 | 6.9 | 6.9
OLNE | TNMP | (e) Summer Peak Demand (MW) | 5.8 | 5.9 | 5.9 | 5.9 | 6 | 6
OLNE | TNMP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
OLNE | TNMP | (g) Summer Firm Peak Demand (MW) | 5.8 | 5.9 | 5.9 | 5.9 | 6 | 6
OLNE | TNMP | (h) Summer Reserve (MW) | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
OLNE | TNMP | (i) Summer Reserve Margin | 0.155 | 0.153 | 0.153 | 0.153 | 0.15 | 0.15
OLNE | TNMP | (j) Summer Capacity Margin | 0.134 | 0.132 | 0.132 | 0.132 | 0.13 | 0.13
PUBX | PUBX | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
PUBX | PUBX | (b) Summer Specified Capacity (MW) | 239 | 173 | 173 | 173 | 173 | 173
PUBX | PUBX | (c) Summer Unspecified Capacity (MW) | 0 | 85 | 90 | 95 | 105 | 105
PUBX | PUBX | (d) Summer Planned Capacity (MW) | 239 | 258 | 263 | 268 | 278 | 278
PUBX | PUBX | (e) Summer Peak Demand (MW) | 205 | 212 | 218 | 225 | 232 | 238
PUBX | PUBX | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
PUBX | PUBX | (g) Summer Firm Peak Demand (MW) | 205 | 212 | 218 | 225 | 232 | 238
PUBX | PUBX | (h) Summer Reserve (MW) | 34 | 46 | 45 | 43 | 46 | 40
PUBX | PUBX | (i) Summer Reserve Margin | 0.166 | 0.217 | 0.206 | 0.191 | 0.198 | 0.168
PUBX | PUBX | (j) Summer Capacity Margin | 0.142 | 0.178 | 0.171 | 0.16 | 0.165 | 0.144
RCEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
RCEC | CSWS | (b) Summer Specified Capacity (MW) | 482.5 | 42.5 | 42.5 | 42.5 | 0 | 0
RCEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 454 | 470 | 486.2 | 545 | 562
RCEC | CSWS | (d) Summer Planned Capacity (MW) | 482.5 | 496.5 | 512.5 | 528.7 | 545 | 562
RCEC | CSWS | (e) Summer Peak Demand (MW) | 418.4 | 431.7 | 445.6 | 459.7 | 474.2 | 489.1
RCEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
RCEC | CSWS | (g) Summer Firm Peak Demand (MW) | 418.4 | 431.7 | 445.6 | 459.7 | 474.2 | 489.1
RCEC | CSWS | (h) Summer Reserve (MW) | 64.1 | 64.8 | 66.8 | 69 | 70.8 | 72.9
RCEC | CSWS | (i) Summer Reserve Margin | 0.153 | 0.15 | 0.15 | 0.15 | 0.149 | 0.149
RCEC | CSWS | (j) Summer Capacity Margin | 0.133 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13
REIL | REIL | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
REIL | REIL | (b) Summer Specified Capacity (MW) | 14437.4 | 14537.4 | 14537.4 | 14111.4 | 14111.4 | 13791.4
REIL | REIL | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 340 | 1051 | 1360 | 1996
REIL | REIL | (d) Summer Planned Capacity (MW) | 14437.4 | 14537.4 | 14877.4 | 15162.4 | 15471.4 | 15787.4
REIL | REIL | (e) Summer Peak Demand (MW) | 13652 | 13899 | 14223 | 14484 | 14769 | 15057
REIL | REIL | (f) Summer Interruptible Load (MW) | 1244 | 1263 | 1284 | 1298 | 1313 | 1328
REIL | REIL | (g) Summer Firm Peak Demand (MW) | 12408 | 12636 | 12939 | 13186 | 13456 | 13729
REIL | REIL | (h) Summer Reserve (MW) | 2029.4 | 1901.4 | 1938.4 | 1976.4 | 2015.4 | 2058.4
REIL | REIL | (i) Summer Reserve Margin | 0.164 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
REIL | REIL | (j) Summer Capacity Margin | 0.141 | 0.131 | 0.13 | 0.13 | 0.13 | 0.13
RGEC | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
RGEC | CSWS | (b) Summer Specified Capacity (MW) | 18.2 | 15.8 | 15.6 | 15.7 | 15.7 | 15.7
RGEC | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 2.6 | 3.3 | 3.5 | 3.9 | 4.4
RGEC | CSWS | (d) Summer Planned Capacity (MW) | 18.2 | 18.4 | 18.8 | 19.2 | 19.6 | 20.1
RGEC | CSWS | (e) Summer Peak Demand (MW) | 15.7 | 16 | 16.4 | 16.7 | 17.1 | 17.5
RGEC | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
RGEC | CSWS | (g) Summer Firm Peak Demand (MW) | 15.7 | 16 | 16.4 | 16.7 | 17.1 | 17.5
RGEC | CSWS | (h) Summer Reserve (MW) | 2.6 | 2.4 | 2.5 | 2.5 | 2.6 | 2.6
RGEC | CSWS | (i) Summer Reserve Margin | 0.164 | 0.151 | 0.151 | 0.15 | 0.15 | 0.151
RGEC | CSWS | (j) Summer Capacity Margin | 0.141 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
SESC | LCRA | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
SESC | LCRA | (b) Summer Specified Capacity (MW) | 300 | 310 | 319 | 329 | 0 | 0
SESC | LCRA | (c) Summer Unspecified Capacity (MW) | 0 | 0 | 0 | 0 | 303.6 | 308.2
SESC | LCRA | (d) Summer Planned Capacity (MW) | 300 | 310 | 319 | 329 | 303.6 | 308.2
SESC | LCRA | (e) Summer Peak Demand (MW) | 252 | 254 | 257 | 261 | 264 | 268
SESC | LCRA | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
SESC | LCRA | (g) Summer Firm Peak Demand (MW) | 252 | 254 | 257 | 261 | 264 | 268
SESC | LCRA | (h) Summer Reserve (MW) | 48 | 56 | 62 | 68 | 39.6 | 40.2
SESC | LCRA | (i) Summer Reserve Margin | 0.19 | 0.22 | 0.241 | 0.261 | 0.15 | 0.15
SESC | LCRA | (j) Summer Capacity Margin | 0.16 | 0.181 | 0.194 | 0.207 | 0.13 | 0.13
SHRY | STEC | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
SHRY | STEC | (b) Summer Specified Capacity (MW) | 18.4 | 0 | 0 | 0 | 0 | 0
SHRY | STEC | (c) Summer Unspecified Capacity (MW) | 0 | 41.9 | 75.8 | 111.4 | 147 | 182.9
SHRY | STEC | (d) Summer Planned Capacity (MW) | 18.4 | 41.9 | 75.8 | 111.4 | 147 | 182.9
SHRY | STEC | (e) Summer Peak Demand (MW) | 15.9 | 41.9 | 75.8 | 111.4 | 147 | 182.9
SHRY | STEC | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
SHRY | STEC | (g) Summer Firm Peak Demand (MW) | 15.9 | 41.9 | 75.8 | 111.4 | 147 | 182.9
SHRY | STEC | (h) Summer Reserve (MW) | 2.5 | 0 | 0 | 0 | 0 | 0
SHRY | STEC | (i) Summer Reserve Margin | 0.155 | 0 | 0 | 0 | 0 | 0
SHRY | STEC | (j) Summer Capacity Margin | 0.134 | 0 | 0 | 0 | 0 | 0
STEC | STEC | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
STEC | STEC | (b) Summer Specified Capacity (MW) | 322.1 | 275.3 | 262.4 | 260.4 | 259 | 257.5
STEC | STEC | (c) Summer Unspecified Capacity (MW) | 0 | 38 | 55 | 60 | 65 | 70
STEC | STEC | (d) Summer Planned Capacity (MW) | 322.1 | 313.3 | 317.4 | 320.4 | 324 | 327.5
STEC | STEC | (e) Summer Peak Demand (MW) | 262 | 272 | 276 | 278 | 281 | 284
STEC | STEC | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
STEC | STEC | (g) Summer Firm Peak Demand (MW) | 262 | 272 | 276 | 278 | 281 | 284
STEC | STEC | (h) Summer Reserve (MW) | 60.1 | 41.3 | 41.4 | 42.4 | 43 | 43.5
STEC | STEC | (i) Summer Reserve Margin | 0.229 | 0.152 | 0.15 | 0.153 | 0.153 | 0.153
STEC | STEC | (j) Summer Capacity Margin | 0.186 | 0.132 | 0.13 | 0.132 | 0.133 | 0.133
SWTE | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
SWTE | CSWS | (b) Summer Specified Capacity (MW) | 25.7 | 22.4 | 22 | 22.1 | 22.2 | 22.1
SWTE | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 3.6 | 4.6 | 5 | 5.5 | 6.2
SWTE | CSWS | (d) Summer Planned Capacity (MW) | 25.7 | 26 | 26.6 | 27.1 | 27.8 | 28.4
SWTE | CSWS | (e) Summer Peak Demand (MW) | 22.1 | 22.6 | 23.1 | 23.6 | 24.1 | 24.7
SWTE | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
SWTE | CSWS | (g) Summer Firm Peak Demand (MW) | 22.1 | 22.6 | 23.1 | 23.6 | 24.1 | 24.7
SWTE | CSWS | (h) Summer Reserve (MW) | 3.6 | 3.4 | 3.5 | 3.5 | 3.6 | 3.7
SWTE | CSWS | (i) Summer Reserve Margin | 0.164 | 0.15 | 0.151 | 0.15 | 0.151 | 0.15
SWTE | CSWS | (j) Summer Capacity Margin | 0.141 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
TECX | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
TECX | CSWS | (b) Summer Specified Capacity (MW) | 43.3 | 37.5 | 36.8 | 36.8 | 36.9 | 36.6
TECX | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 6.1 | 7.7 | 8.3 | 9.2 | 10.3
TECX | CSWS | (d) Summer Planned Capacity (MW) | 43.3 | 43.6 | 44.4 | 45.2 | 46.1 | 47
TECX | CSWS | (e) Summer Peak Demand (MW) | 37.2 | 37.9 | 38.6 | 39.3 | 40 | 40.8
TECX | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
TECX | CSWS | (g) Summer Firm Peak Demand (MW) | 37.2 | 37.9 | 38.6 | 39.3 | 40 | 40.8
TECX | CSWS | (h) Summer Reserve (MW) | 6.1 | 5.7 | 5.8 | 5.9 | 6 | 6.1
TECX | CSWS | (i) Summer Reserve Margin | 0.163 | 0.15 | 0.151 | 0.15 | 0.15 | 0.15
TECX | CSWS | (j) Summer Capacity Margin | 0.14 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
TNMP | TNMP | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
TNMP | TNMP | (b) Summer Specified Capacity (MW) | 1107.9 | 1007.9 | 554 | 554 | 554 | 304
TNMP | TNMP | (c) Summer Unspecified Capacity (MW) | 0 | 94 | 740 | 816 | 854 | 1143
TNMP | TNMP | (d) Summer Planned Capacity (MW) | 1107.9 | 1101.9 | 1294 | 1370 | 1408 | 1447
TNMP | TNMP | (e) Summer Peak Demand (MW) | 900 | 919 | 1120 | 1191 | 1224 | 1258
TNMP | TNMP | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
TNMP | TNMP | (g) Summer Firm Peak Demand (MW) | 900 | 919 | 1120 | 1191 | 1224 | 1258
TNMP | TNMP | (h) Summer Reserve (MW) | 207.9 | 182.9 | 174 | 179 | 184 | 189
TNMP | TNMP | (i) Summer Reserve Margin | 0.231 | 0.199 | 0.155 | 0.15 | 0.15 | 0.15
TNMP | TNMP | (j) Summer Capacity Margin | 0.188 | 0.166 | 0.134 | 0.131 | 0.131 | 0.131
TUEC | TUET | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
TUEC | TUET | (b) Summer Specified Capacity (MW) | 23569.3 | 23881.5 | 22167.2 | 21733.6 | 21531 | 21703
TUEC | TUET | (c) Summer Unspecified Capacity (MW) | 0 | 283.8 | 2519.4 | 3556 | 4362.2 | 5079
TUEC | TUET | (d) Summer Planned Capacity (MW) | 23569.3 | 24165.3 | 24686.6 | 25289.6 | 25893.2 | 26782
TUEC | TUET | (e) Summer Peak Demand (MW) | 21530 | 22075 | 22537 | 23072 | 23606 | 24203
TUEC | TUET | (f) Summer Interruptible Load (MW) | 1118 | 1122 | 1125 | 1129 | 1132 | 1136
TUEC | TUET | (g) Summer Firm Peak Demand (MW) | 20412 | 20953 | 21412 | 21943 | 22474 | 23067
TUEC | TUET | (h) Summer Reserve (MW) | 3157.3 | 3212.3 | 3274.6 | 3346.6 | 3419.2 | 3715
TUEC | TUET | (i) Summer Reserve Margin | 0.155 | 0.153 | 0.153 | 0.153 | 0.152 | 0.161
TUEC | TUET | (j) Summer Capacity Margin | 0.134 | 0.133 | 0.133 | 0.132 | 0.132 | 0.139
TXLA | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
TXLA | CSWS | (b) Summer Specified Capacity (MW) | 110.8 | 98.8 | 100.2 | 102 | 104 | 105.8
TXLA | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 3.4 | 4.4 | 4.9 | 5.6 | 6.5
TXLA | CSWS | (d) Summer Planned Capacity (MW) | 110.8 | 102.2 | 104.5 | 107 | 109.6 | 112.3
TXLA | CSWS | (e) Summer Peak Demand (MW) | 88.4 | 80.7 | 82.4 | 84.2 | 85.9 | 87.7
TXLA | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
TXLA | CSWS | (g) Summer Firm Peak Demand (MW) | 88.4 | 80.7 | 82.4 | 84.2 | 85.9 | 87.7
TXLA | CSWS | (h) Summer Reserve (MW) | 22.4 | 21.5 | 22.1 | 22.8 | 23.6 | 24.6
TXLA | CSWS | (i) Summer Reserve Margin | 0.253 | 0.267 | 0.268 | 0.271 | 0.275 | 0.28
TXLA | CSWS | (j) Summer Capacity Margin | 0.202 | 0.211 | 0.211 | 0.213 | 0.216 | 0.219
WEAT | CSWS | (a) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
WEAT | CSWS | (b) Summer Specified Capacity (MW) | 66.6 | 59.4 | 58.4 | 61.6 | 62.4 | 62.6
WEAT | CSWS | (c) Summer Unspecified Capacity (MW) | 0 | 8.8 | 11.1 | 12.8 | 14.3 | 16.3
WEAT | CSWS | (d) Summer Planned Capacity (MW) | 66.6 | 68.2 | 69.5 | 74.4 | 76.7 | 78.9
WEAT | CSWS | (e) Summer Peak Demand (MW) | 57.3 | 59.3 | 60.4 | 64.7 | 66.6 | 68.6
WEAT | CSWS | (f) Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0 | 0
WEAT | CSWS | (g) Summer Firm Peak Demand (MW) | 57.3 | 59.3 | 60.4 | 64.7 | 66.6 | 68.6
WEAT | CSWS | (h) Summer Reserve (MW) | 9.3 | 8.9 | 9.1 | 9.7 | 10 | 10.3
WEAT | CSWS | (i) Summer Reserve Margin | 0.163 | 0.15 | 0.151 | 0.15 | 0.15 | 0.15
WEAT | CSWS | (j) Summer Capacity Margin | 0.14 | 0.131 | 0.131 | 0.131 | 0.131 | 0.131
ERCOT | ERCOT | (aa) Year | 2000 | 2001 | 2002 | 2003 | 2004 | 2005
ERCOT | ERCOT | (bb) Total Summer Specified Capacity (MW) | 60311 | 59692 | 57487 | 56758 | 56013 | 55660
ERCOT | ERCOT | (cc) Total Summer Unspecified Capacity (MW) | 0 | 2071 | 5991 | 8631 | 10943 | 13311
ERCOT | ERCOT | (dd) Total Summer Planned Capacity (MW) | 60311 | 61763 | 63478 | 65390 | 66955 | 68972
ERCOT | ERCOT | (ee) Total Summer Peak Demand (MW) | 54817 | 56501 | 58079 | 59637 | 61129 | 62772
ERCOT | ERCOT | (ff) Total Summer Interruptible Load (MW) | 3001 | 2968 | 3008 | 3042 | 3077 | 3115
ERCOT | ERCOT | (gg) Total Summer Firm Peak Demand (MW) | 51817 | 53533 | 55071 | 56596 | 58052 | 59657
ERCOT | ERCOT | (hh) Total Summer Reserve (MW) | 8495 | 8230 | 8407 | 8794 | 8904 | 9314
ERCOT | ERCOT | (ii) Total Summer Reserve Margin | 0.164 | 0.154 | 0.153 | 0.155 | 0.153 | 0.156
ERCOT | ERCOT | (jj) Total Summer Capacity Margin | 0.141 | 0.133 | 0.132 | 0.134 | 0.133 | 0.135