## TitlePage
REPORT ON THE CAPACITY, DEMAND, AND RESERVES IN THE ERCOT REGION
System Planning
December 2010
Revision 1
ERCOT
2705 West Lake Drive
Taylor, Texas 76574

## Contents
Contents
Tab | Notes
Disclaimer | Please read.
Definitions | List of definitions
Changes from 2010 CDR (May) | List of changes from the 2010 CDR (May)
SummerSummary | Shows load forecast, generation resources, and reserve margin for summer 2011 through summer 2016
SummerCapacities | Lists units and their capabilities used in determining the generation resources in the Summer Summary

## Disclaimer
Disclaimer
CDR WORKING PAPER
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants as part of their Annual Load Data Request (ALDR) and their generation asset registration and on data in the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Definitions
Definitions
Available Mothballed Generation
The probability that a mothballed unit will return to service, as provided by its owner, multiplied by the capacity of the unit. Return probabilities are considered protected information under the ERCOT Protocols and therefore are not included in this report.
BULs
Balancing up load. Loads capable of reducing the need for electrical energy when providing Balancing Up Load Energy Service as described in the ERCOT Protocols, Section 6, Ancillary Services. BULs are not considered resources as defined by the ERCOT Protocols.
Effective Load-Carrying Capability (ELCC) of Wind Generation
The amount of wind generation that the Generation Adequacy Task Force (GATF) has recommended to be included in the CDR. The value is 8.7% of the nameplate capacity listed in the Unit Capacities tables, both installed capacity and planned capacity.
LaaRs (Loads acting as resources)
Load capable of reducing or increasing the need for electrical energy or providing Ancillary Services to the ERCOT System, as described in the ERCOT Protocols, Section 6, Ancillary Services. These Resources may provide the following Ancillary Services: Responsive Reserve Service, Non-Spinning Reserve Service, Replacement Reserve Service, and Regulation Service. The Resources must be registered and qualified by ERCOT and will be scheduled by a Qualified Scheduling Entity
Mothballed Capacity
The difference in the available mothballed generation (see definition above) and the total mothballed capacity. This value is zero in the upcoming Summer CDR Report because there isn't enough time to return those units to service before the start of the summer.
Mothballed Unit
A generation resource for which a generation entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR agreement, and for which the generation entity has not announced retirement of the generation resource.
Net Dependable Capability
Maximum sustainable capability of a generation resource as demonstrated by performance testing.
Non-Synchronous Tie
Any non-synchronous transmission interconnection between ERCOT and non-ERCOT electric power systems
Other Potential Resources
Capacity resources that include one of the following:
• Remaining "mothballed" capacity not included as resources in the reserve margin calculation
• Remaining DC tie capacity not included as resources in the reserve margin calculation, and
• New generating units that have initiated full transmission interconnection studies through the ERCOT generation interconnection process (Note that new wind generating units would be included based on the appropriate discounted capacity value applied to existing wind generating units.)
Planned Units in Full Interconnection Study Phase
To connect new generation to the ERCOT grid, a generation developer must go through a set procedure. The first step is a high-level screening study to determine the effects of adding the new generation on the transmission system. The second step is the full interconnection study. These are detailed studies done by the transmission owners to determine the effects of the addition of new generation on the transmission system.
Private Networks
An electric network connected to the ERCOT transmission grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Reliability Must-Run (RMR) Unit
A generation resource unit operated under the terms of an agreement with ERCOT that would not otherwise be operated except that they are necessary to provide voltage support, stability or management of localized transmission constraints under first contingency criteria.
Signed IA (Interconnection Agreement)
An agreement that sets forth requirements for physical connection between an eligible transmission service customer and a transmission or distribution service provider
Switchable Unit
A generation resource that can be connected to either the ERCOT transmission grid or a grid outside the ERCOT Region.

## Changes
Changes from May 2010 CDR (Current Values minus May 2010)
Load Forecast: |  | 2011 | 2012 | 2013 | 2014 | 2015
| Total Summer Peak Demand, MW | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 0 | 0 | 0 | 0 | 0
Resources: |  | 2011 | 2012 | 2013 | 2014 | 2015
| Installed Non-Wind Capacity, MW | -476.133 | -476.133 | -476.133 | -476.133 | -476.133
| Capacity from Private Networks, MW | 0 | 0 | 0 | 0 | 0
| Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 35.8042 | 35.8042 | 35.8042 | 35.8042 | 35.8042
| RMR Units to be under Contract, MW | 0 | 0 | 0 | 0 | 0
| Operational Generation, MW | -440.3288 | -440.3288 | -440.3288 | -440.3288 | -440.3288
| 50% of Non-Synchronous Ties, MW | 0 | 0 | 0 | 0 | 0
| Switchable Units, MW | 114 | 114 | 114 | 114 | 114
| Available Mothballed Generation , MW | 190.55 | 222.91 | 239.09 | 255.27 | 271.45
| Planned Units (not wind) with Signed IA and Air Permit, MW | -238 | -108 | -758 | 646 | 776
| ELCC of Planned Wind Units with Signed IA, MW | -30.276 | -8.526 | -18.966 | -18.966 | -18.966
| Total Resources, MW | -404.0548 | -219.9448 | -864.2048 | 555.9752 | 702.1552
| less Switchable Units Unavailable to ERCOT, MW | 317* | 0 | 0 | 0 | 0
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 0
| Resources, MW | -721.0548 | -220 | -864 | 555.9752 | 702.1552
| Reserve Margin (difference) | -1.135% | -0.3387% | -1.299% | 0.8218% | 1.022%
| •New Generation | + MW
| •Pondera King Power in 2014 | 1380
| •Panda Temple Power delayed from 2013 to 2014 | 0
| •Changes in unit ratings | 256
| •Mothballed Units | ­ MW
| –Greens Bayou 5 | -406
| –Sam Bertron 1 & 2 | -348
* | Updated to reflect exclusion of switchable units dedicated outside of ERCOT

## SummerSummary
2010 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary (December Update)
| Load Forecast: |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
|  | Total Summer Peak Demand, MW | 65206 | 66658 | 68265 | 69451 | 70517 | 71376
|  | less LAARs Serving as Responsive Reserve, MW | 1062 | 1062 | 1062 | 1062 | 1062 | 1062
|  | less LAARs Serving as Non-Spinning Reserve, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | less Emergency Interruptible Load Service | 370 | 407 | 447 | 492 | 541 | 595
|  | less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | less Energy Efficiency Programs (per HB3693) | 242 | 242 | 242 | 242 | 242 | 242
|  | Firm Load Forecast, MW | 63532 | 64947 | 66514 | 67655 | 68672 | 69477
| Resources: |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
|  | Installed Non-Wind Capacity, MW | 63895.517 | 63895.517 | 63895.517 | 63895.517 | 63895.517 | 63895.517
|  | Capacity from Private Networks, MW | 4803 | 4803 | 4803 | 4803 | 4803 | 4803
|  | Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 828.8962 | 828.8962 | 828.8962 | 828.8962 | 828.8962 | 828.8962
|  | RMR Units to be under Contract, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | Operational Generation, MW | 69527.4132 | 69527.4132 | 69527.4132 | 69527.4132 | 69527.4132 | 69527.4132
|  | 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
|  | Switchable Units, MW | 2962 | 2962 | 2962 | 2962 | 2962 | 2962
|  | Available Mothballed Generation , MW | 190.55 | 222.91 | 239.09 | 255.27 | 271.45 | 271
|  | Planned Units (not wind) with Signed IA and Air Permit, MW | 740 | 1895 | 1895 | 4055 | 4835 | 5495
|  | ELCC of Planned Wind Units with Signed IA, MW | 0 | 34.8 | 75.864 | 96.396 | 96.396 | 96.396
|  | Total Resources, MW | 73972.9632 | 75195.1232 | 75252.3672 | 77449.0792 | 78245.2592 | 78904.8092
|  | less Switchable Units Unavailable to ERCOT, MW | 317 | 0 | 0 | 0 | 0 | 0
|  | less Retiring Units, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | Resources, MW | 73655.9632 | 75195.1232 | 75252.3672 | 77449.0792 | 78245.2592 | 78904.8092
|  | Reserve Margin | 15.94% | 15.78% | 13.14% | 14.48% | 13.94% | 13.57%
(Resources - Firm Load Forecast)/Firm Load Forecast
Revision 1:
The 2011 “Resources” and “Reserve Margin” were changed to appropriately reflect exclusion of switchable units dedicated outside of ERCOT.
| Other Potential Resources: |  | 7655.51 | 12526.7182 | 13539.3612 | 16714.1747 | 17978.8947 | 21329.7947
|  | Mothballed Capacity , MW | 5585.45 | 5553.09 | 5536.91 | 5520.73 | 5504.55 | 5505
|  | Less Retiring Mothballed Units, MW | 2790 | 2790 | 2790 | 2790 | 2790 | 2790
|  | 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
|  | Planned Units in Full Interconnection Study Phase, MW | 4307.06 | 9210.6282 | 10239.4512 | 13430.4447 | 14711.3447 | 18061.7947
2010 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary
|  |  | 72267.65 | 73877.2125 | 75659.675 | 76957.5625 | 78114.4 | 79030.0875

## SummerCapacities
Unit Capacities - Summer
Units used in determining the generation resources in the Summer Summary
Operational capacities are based on unit testing. Other capacities are based on information provided by the plant owners. This list includes MW available to the grid from private network (self-serve) units. It also includes distributed generation units that have registered with ERCOT. Data without unit names are for private network units or are planned generation that is not public.
Unit Name | Unit Code | County | Fuel | 2010 CM Zone | Year In Service | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
A von Rosenberg 1-CT1 | BRAUNIG_AVR1_CT1 | Bexar | Gas | South | 2000 | 145 | 145 | 145 | 145 | 145 | 145
A von Rosenberg 1-CT2 | BRAUNIG_AVR1_CT2 | Bexar | Gas | South | 2000 | 145 | 145 | 145 | 145 | 145 | 145
A von Rosenberg 1-ST1 | BRAUNIG_AVR1_ST | Bexar | Gas | South | 2000 | 160 | 160 | 160 | 160 | 160 | 160
AEDOMG 1 | DG_SUMMI_1UNIT | Travis | Gas | South | 2004 | 5 | 5 | 5 | 5 | 5 | 5
AES Deepwater | APD_APD_G1 | Harris | Other | Houston | 1986 | 138 | 138 | 138 | 138 | 138 | 138
AES Deepwater | APD_APD_PS1 | Harris | Other | Houston | 2010 | 1 | 1 | 1 | 1 | 1 | 1
Amistad Hydro 1 | AMISTAD_AMISTAG1 | Val Verde | Hydro | South | 1983 | 37.9 | 37.9 | 37.9 | 37.9 | 37.9 | 37.9
Amistad Hydro 2 | AMISTAD_AMISTAG2 | Val Verde | Hydro | South | 1983 | 37.9 | 37.9 | 37.9 | 37.9 | 37.9 | 37.9
Atascocita 1 | _HB_DG1 | Harris | Biomass | Houston | 2003 | 10.1 | 10.1 | 10.1 | 10.1 | 10.1 | 10.1
Atkins 7 | ATKINS_ATKINSG7 | Brazos | Gas | North | 1973 | 20 | 20 | 20 | 20 | 20 | 20
Austin 1 | AUSTPL_AUSTING1 | Travis | Hydro | South | 1940 | 8 | 8 | 8 | 8 | 8 | 8
Austin 2 | AUSTPL_AUSTING2 | Travis | Hydro | South | 1940 | 9 | 9 | 9 | 9 | 9 | 9
Austin Landfill Gas | DG_SPRIN_4UNITS | Travis | Other | South | 1988 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
B M Davis 1 | B_DAVIS_B_DAVIG1 | Nueces | Gas | South | 1974 | 335 | 335 | 335 | 335 | 335 | 335
B M Davis 2 | B_DAVIS_B_DAVIG2 | Nueces | Gas | South | 1976 | 308 | 308 | 308 | 308 | 308 | 308
B M Davis 3 | B_DAVIS_B_DAVIG3 | Nueces | Gas | South | 2009 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1
B M Davis 4 | B_DAVIS_B_DAVIG4 | Nueces | Gas | South | 2009 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1
Bastrop Energy Center 1 | BASTEN_GTG1100 | Bastrop | Gas | South | 2002 | 150 | 150 | 150 | 150 | 150 | 150
Bastrop Energy Center 2 | BASTEN_GTG2100 | Bastrop | Gas | South | 2002 | 150 | 150 | 150 | 150 | 150 | 150
Bastrop Energy Center 3 | BASTEN_ST0100 | Bastrop | Gas | South | 2002 | 233 | 233 | 233 | 233 | 233 | 233
Baytown 1 | TRN_DG1 | Chambers | Biomass | Houston | 2003 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Big Brown 1 | BBSES_UNIT1 | Freestone | Coal | North | 1971 | 600 | 600 | 600 | 600 | 600 | 600
Big Brown 2 | BBSES_UNIT2 | Freestone | Coal | North | 1972 | 595 | 595 | 595 | 595 | 595 | 595
Bio Energy Partners | DG_BIOE_2UNITS | Denton | Gas | North | 1988 | 5.6 | 5.6 | 5.6 | 5.6 | 5.6 | 5.6
Bluebonnet 1 | _LB_DG1 | Harris | Biomass | Houston | 2003 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Bosque County Peaking 1 | BOSQUESW_BSQSU_1 | Bosque | Gas | North | 2000 | 153 | 153 | 153 | 153 | 153 | 153
Bosque County Peaking 2 | BOSQUESW_BSQSU_2 | Bosque | Gas | North | 2000 | 153 | 153 | 153 | 153 | 153 | 153
Bosque County Peaking 3 | BOSQUESW_BSQSU_3 | Bosque | Gas | North | 2001 | 154 | 154 | 154 | 154 | 154 | 154
Bosque County Peaking 4 | BOSQUESW_BSQSU_4 | Bosque | Gas | North | 2001 | 83 | 83 | 83 | 83 | 83 | 83
Bosque County Unit 5 | BOSQUESW_BSQSU_5 | Bosque | Gas | North | 2009 | 240 | 240 | 240 | 240 | 240 | 240
Brazos Valley 1 | BVE_UNIT1 | Ft Bend | Gas | Houston | 2003 | 163 | 163 | 163 | 163 | 163 | 163
Brazos Valley 2 | BVE_UNIT2 | Ft Bend | Gas | Houston | 2003 | 163 | 163 | 163 | 163 | 163 | 163
Brazos Valley 3 | BVE_UNIT3 | Ft Bend | Gas | Houston | 2003 | 253 | 253 | 253 | 253 | 253 | 253
Buchanan 1 | BUCHAN_BUCHANG1 | Llano | Hydro | South | 1938 | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 2 | BUCHAN_BUCHANG2 | Llano | Hydro | South | 1938 | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 3 | BUCHAN_BUCHANG3 | Llano | Hydro | South | 1950 | 18 | 18 | 18 | 18 | 18 | 18
Calenergy (Falcon Seaboard) 1 | FLCNS_UNIT1 | Howard | Gas | West | 1987 | 75 | 75 | 75 | 75 | 75 | 75
Calenergy (Falcon Seaboard) 2 | FLCNS_UNIT2 | Howard | Gas | West | 1987 | 75 | 75 | 75 | 75 | 75 | 75
Calenergy (Falcon Seaboard) 3 | FLCNS_UNIT3 | Howard | Gas | West | 1988 | 70 | 70 | 70 | 70 | 70 | 70
Canyon 1 | CANYHY_CANYHYG1 | Comal | Hydro | South | 1989 | 3 | 3 | 3 | 3 | 3 | 3
Canyon 2 | CANYHY_CANYHYG2 | Comal | Hydro | South | 1989 | 3 | 3 | 3 | 3 | 3 | 3
Cedar Bayou 1 | CBY_CBY_G1 | Chambers | Gas | Houston | 1970 | 745 | 745 | 745 | 745 | 745 | 745
Cedar Bayou 2 | CBY_CBY_G2 | Chambers | Gas | Houston | 1972 | 749 | 749 | 749 | 749 | 749 | 749
Cedar Bayou 4 | CBY4_CT41 | Chambers | Gas | Houston | 2009 | 180 | 180 | 180 | 180 | 180 | 180
Cedar Bayou 5 | CBY4_CT42 | Chambers | Gas | Houston | 2009 | 180 | 180 | 180 | 180 | 180 | 180
Cedar Bayou 6 | CBY4_ST04 | Chambers | Gas | Houston | 2009 | 190 | 190 | 190 | 190 | 190 | 190
Channel Energy Deepwater | CHEDPW_GT2 | Harris | Gas | Houston | 2002 | 182 | 182 | 182 | 182 | 182 | 182
Coastal Plains RDF | _AV_DG1 | Galveston | Biomass | Houston | 2003 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7
Coleto Creek | COLETO_COLETOG1 | Goliad | Coal | South | 1980 | 640 | 640 | 640 | 640 | 640 | 640
Colorado Bend Energy Center | CBEC_GT1 | Wharton | Gas | Houston | 2007 | 75 | 75 | 75 | 75 | 75 | 75
Colorado Bend Energy Center | CBEC_GT2 | Wharton | Gas | Houston | 2007 | 69 | 69 | 69 | 69 | 69 | 69
Colorado Bend Energy Center | CBEC_GT3 | Wharton | Gas | Houston | 2008 | 77 | 77 | 77 | 77 | 77 | 77
Colorado Bend Energy Center | CBEC_GT4 | Wharton | Gas | Houston | 2008 | 71 | 71 | 71 | 71 | 71 | 71
Colorado Bend Energy Center | CBEC_STG1 | Wharton | Gas | Houston | 2007 | 103 | 103 | 103 | 103 | 103 | 103
Colorado Bend Energy Center | CBEC_STG2 | Wharton | Gas | Houston | 2008 | 104 | 104 | 104 | 104 | 104 | 104
Comanche Peak 1 | CPSES_UNIT1 | Somervell | Nuclear | North | 1990 | 1210 | 1210 | 1210 | 1210 | 1210 | 1210
Comanche Peak 2 | CPSES_UNIT2 | Somervell | Nuclear | North | 1993 | 1197 | 1197 | 1197 | 1197 | 1197 | 1197
Covel Gardens LG Power Station | DG_MEDIN_1UNIT | Bexar | Other | South | 2005 | 10 | 10 | 10 | 10 | 10 | 10
CVC Channelview 1 | CVC_CVC_G1 | Harris | Gas | Houston | 2008 | 156 | 156 | 156 | 156 | 156 | 156
CVC Channelview 2 | CVC_CVC_G2 | Harris | Gas | Houston | 2008 | 158 | 158 | 158 | 158 | 158 | 158
CVC Channelview 3 | CVC_CVC_G3 | Harris | Gas | Houston | 2008 | 160 | 160 | 160 | 160 | 160 | 160
CVC Channelview 5 | CVC_CVC_G5 | Harris | Gas | Houston | 2008 | 122 | 122 | 122 | 122 | 122 | 122
Dansby 1 | DANSBY_DANSBYG1 | Brazos | Gas | North | 1978 | 110 | 110 | 110 | 110 | 110 | 110
Dansby 2 | DANSBY_DANSBYG2 | Brazos | Gas | North | 2004 | 48 | 48 | 48 | 48 | 48 | 48
Dansby 3 | DANSBY_DANSBYG3 | Brazos | Gas | North | 2010 | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek 1 | DECKER_DPG1 | Travis | Gas | South | 2000 | 315 | 315 | 315 | 315 | 315 | 315
Decker Creek 2 | DECKER_DPG2 | Travis | Gas | South | 2000 | 420 | 420 | 420 | 420 | 420 | 420
Decker Creek G1 | DECKER_DPGT_1 | Travis | Gas | South | 2000 | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G2 | DECKER_DPGT_2 | Travis | Gas | South | 2000 | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G3 | DECKER_DPGT_3 | Travis | Gas | South | 2000 | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G4 | DECKER_DPGT_4 | Travis | Gas | South | 2000 | 48 | 48 | 48 | 48 | 48 | 48
DeCordova A | DCSES_CT10 | Hood | Gas | North | 2010 | 71 | 71 | 71 | 71 | 71 | 71
DeCordova B | DCSES_CT20 | Hood | Gas | North | 2010 | 70 | 70 | 70 | 70 | 70 | 70
DeCordova C | DCSES_CT30 | Hood | Gas | North | 2010 | 69 | 69 | 69 | 69 | 69 | 69
DeCordova D | DCSES_CT40 | Hood | Gas | North | 2010 | 68 | 68 | 68 | 68 | 68 | 68
Deer Park Energy Center 1 | DDPEC_GT1 | Harris | Gas | Houston | 2002 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2
Deer Park Energy Center 2 | DDPEC_GT2 | Harris | Gas | Houston | 2002 | 157.1 | 157.1 | 157.1 | 157.1 | 157.1 | 157.1
Deer Park Energy Center 3 | DDPEC_GT3 | Harris | Gas | Houston | 2002 | 157.5 | 157.5 | 157.5 | 157.5 | 157.5 | 157.5
Deer Park Energy Center 4 | DDPEC_GT4 | Harris | Gas | Houston | 2002 | 157 | 157 | 157 | 157 | 157 | 157
Deer Park Energy Center S | DDPEC_ST1 | Harris | Gas | Houston | 2002 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2 | 238.2
Denison Dam 1 | DNDAM_DENISOG1 | Grayson | Hydro | North | 1944 | 40 | 40 | 40 | 40 | 40 | 40
Denison Dam 2 | DNDAM_DENISOG2 | Grayson | Hydro | North | 1948 | 40 | 40 | 40 | 40 | 40 | 40
DFW Gas Recovery | DG_BIO2_4UNITS | Denton | Biomass | North | 1980 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
Dunlop (Schumansville) 1 | DG_SCHUM_2UNITS | Guadalupe | Hydro | South | 1927 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Eagle Pass 1 | EAGLE_HY_EAGLE_HY1 | Maverick | Hydro | South | 1954 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 2 | EAGLE_HY_EAGLE_HY2 | Maverick | Hydro | South | 1954 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 3 | EAGLE_HY_EAGLE_HY3 | Maverick | Hydro | South | 1954 | 2 | 2 | 2 | 2 | 2 | 2
Ennis Power Station 1 | ETCCS_UNIT1 | Ellis | Gas | North | 2002 | 116 | 116 | 116 | 116 | 116 | 116
Ennis Power Station 2 | ETCCS_CT1 | Ellis | Gas | North | 2002 | 196 | 196 | 196 | 196 | 196 | 196
ExTex La Porte Power Station (AirPro) 1 | AZ_AZ_G1 | Harris | Gas | Houston | 2009 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 2 | AZ_AZ_G2 | Harris | Gas | Houston | 2009 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 3 | AZ_AZ_G3 | Harris | Gas | Houston | 2009 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 4 | AZ_AZ_G4 | Harris | Gas | Houston | 2009 | 38 | 38 | 38 | 38 | 38 | 38
Falcon Hydro 1 | FALCON_FALCONG1 | Starr | Hydro | South | 1954 | 12 | 12 | 12 | 12 | 12 | 12
Falcon Hydro 2 | FALCON_FALCONG2 | Starr | Hydro | South | 1954 | 12 | 12 | 12 | 12 | 12 | 12
Falcon Hydro 3 | FALCON_FALCONG3 | Starr | Hydro | South | 1954 | 12 | 12 | 12 | 12 | 12 | 12
Fayette Power Project 1 | FPPYD1_FPP_G1 | Fayette | Coal | South | 1979 | 608 | 608 | 608 | 608 | 608 | 608
Fayette Power Project 2 | FPPYD1_FPP_G2 | Fayette | Coal | South | 1980 | 608 | 608 | 608 | 608 | 608 | 608
Fayette Power Project 3 | FPPYD2_FPP_G3 | Fayette | Coal | South | 1988 | 445 | 445 | 445 | 445 | 445 | 445
Forney Energy Center GT11 | FRNYPP_GT11 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center GT12 | FRNYPP_GT12 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center GT13 | FRNYPP_GT13 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center GT21 | FRNYPP_GT21 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center GT22 | FRNYPP_GT22 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center GT23 | FRNYPP_GT23 | Kaufman | Gas | North | 2003 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19 | 178.19
Forney Energy Center STG10 | FRNYPP_ST10 | Kaufman | Gas | North | 2003 | 405 | 405 | 405 | 405 | 405 | 405
Forney Energy Center STG20 | FRNYPP_ST20 | Kaufman | Gas | North | 2003 | 405 | 405 | 405 | 405 | 405 | 405
Freestone Energy Center 1 | FREC_GT1 | Freestone | Gas | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 2 | FREC_GT2 | Freestone | Gas | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 3 | FREC_ST3 | Freestone | Gas | North | 2002 | 175 | 175 | 175 | 175 | 175 | 175
Freestone Energy Center 4 | FREC_GT4 | Freestone | Gas | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 5 | FREC_GT5 | Freestone | Gas | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 6 | FREC_ST6 | Freestone | Gas | North | 2002 | 175 | 175 | 175 | 175 | 175 | 175
Fresno Energy | DG__SO_1UNIT | Fort Bend | Other | Houston | 2010 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Frontera 1 | FRONTERA_FRONTEG1 | Hidalgo | Gas | South | 1999 | 141 | 141 | 141 | 141 | 141 | 141
Frontera 2 | FRONTERA_FRONTEG2 | Hidalgo | Gas | South | 1999 | 141 | 141 | 141 | 141 | 141 | 141
Frontera 3 | FRONTERA_FRONTEG3 | Hidalgo | Gas | South | 2000 | 173 | 173 | 173 | 173 | 173 | 173
FW Regional LFG Generation Facility 1 | DG_RDLML_1UNIT | Tarrant | Other | North | 1988 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
GBRA 4 & 5 | DG_LKWDT_2UNITS | Gonzales | Other | South | 1931 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Gibbons Creek 1 | GIBCRK_GIB_CRG1 | Grimes | Coal | North | 1982 | 470 | 470 | 470 | 470 | 470 | 470
Graham 1 | GRSES_UNIT1 | Young | Gas | North | 1960 | 225 | 225 | 225 | 225 | 225 | 225
Graham 2 | GRSES_UNIT2 | Young | Gas | North | 1969 | 390 | 390 | 390 | 390 | 390 | 390
Granite Shoals 1 | WIRTZ_WIRTZ_G1 | Burnet | Hydro | South | 1951 | 30 | 30 | 30 | 30 | 30 | 30
Granite Shoals 2 | WIRTZ_WIRTZ_G2 | Burnet | Hydro | South | 1951 | 30 | 30 | 30 | 30 | 30 | 30
Greens Bayou 73 | GBY_GBYGT73 | Harris | Gas | Houston | 1976 | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 74 | GBY_GBYGT74 | Harris | Gas | Houston | 1976 | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 81 | GBY_GBYGT81 | Harris | Gas | Houston | 1976 | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 82 | GBY_GBYGT82 | Harris | Gas | Houston | 1976 | 58 | 58 | 58 | 58 | 58 | 58
Greens Bayou 83 | GBY_GBYGT83 | Harris | Gas | Houston | 1976 | 56 | 56 | 56 | 56 | 56 | 56
Greens Bayou 84 | GBY_GBYGT84 | Harris | Gas | Houston | 1976 | 58 | 58 | 58 | 58 | 58 | 58
Greenville Engine Plant | STEAM_ENGINE_1 | Hunt | Gas | North | 2010 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439
Greenville Engine Plant | STEAM_ENGINE_2 | Hunt | Gas | North | 2010 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439
Greenville Engine Plant | STEAM_ENGINE_3 | Hunt | Gas | North | 2010 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439 | 8.439
Guadalupe Generating Station 1 | GUADG_GAS1 | Guadalupe | Gas | South | 2000 | 151 | 151 | 151 | 151 | 151 | 151
Guadalupe Generating Station 2 | GUADG_GAS2 | Guadalupe | Gas | South | 2000 | 151 | 151 | 151 | 151 | 151 | 151
Guadalupe Generating Station 3 | GUADG_GAS3 | Guadalupe | Gas | South | 2000 | 149 | 149 | 149 | 149 | 149 | 149
Guadalupe Generating Station 4 | GUADG_GAS4 | Guadalupe | Gas | South | 2000 | 152 | 152 | 152 | 152 | 152 | 152
Guadalupe Generating Station 5 | GUADG_STM5 | Guadalupe | Gas | South | 2000 | 170 | 170 | 170 | 170 | 170 | 170
Guadalupe Generating Station 6 | GUADG_STM6 | Guadalupe | Gas | South | 2000 | 169 | 169 | 169 | 169 | 169 | 169
Handley 3 | HLSES_UNIT3 | Tarrant | Gas | North | 1963 | 395 | 395 | 395 | 395 | 395 | 395
Handley 4 | HLSES_UNIT4 | Tarrant | Gas | North | 1976 | 435 | 435 | 435 | 435 | 435 | 435
Handley 5 | HLSES_UNIT5 | Tarrant | Gas | North | 1977 | 435 | 435 | 435 | 435 | 435 | 435
Hays Energy Facility 1 | HAYSEN_HAYSENG1 | Hays | Gas | South | 2002 | 216 | 216 | 216 | 216 | 216 | 216
Hays Energy Facility 2 | HAYSEN_HAYSENG2 | Hays | Gas | South | 2002 | 216 | 216 | 216 | 216 | 216 | 216
Hays Energy Facility 3 | HAYSEN_HAYSENG3 | Hays | Gas | South | 2002 | 225 | 225 | 225 | 225 | 225 | 225
Hays Energy Facility 4 | HAYSEN_HAYSENG4 | Hays | Gas | South | 2002 | 225 | 225 | 225 | 225 | 225 | 225
Hidalgo 1 | DUKE_DUKE_GT1 | Hidalgo | Gas | South | 2000 | 145 | 145 | 145 | 145 | 145 | 145
Hidalgo 2 | DUKE_DUKE_GT2 | Hidalgo | Gas | South | 2000 | 145 | 145 | 145 | 145 | 145 | 145
Hidalgo 3 | DUKE_DUKE_ST1 | Hidalgo | Gas | South | 2000 | 170 | 170 | 170 | 170 | 170 | 170
Inks 1 | INKSDA_INKS_G1 | Llano | Hydro | South | 1938 | 14 | 14 | 14 | 14 | 14 | 14
J K Spruce 1 | CALAVERS_JKS1 | Bexar | Coal | South | 1992 | 555 | 555 | 555 | 555 | 555 | 555
J K Spruce 2 | CALAVERS_JKS2 | Bexar | Coal | South | 2010 | 785 | 785 | 785 | 785 | 785 | 785
J T Deely 1 | CALAVERS_JTD1 | Bexar | Coal | South | 1977 | 440 | 440 | 440 | 440 | 440 | 440
J T Deely 2 | CALAVERS_JTD2 | Bexar | Coal | South | 1978 | 440 | 440 | 440 | 440 | 440 | 440
Jack County Generation Facility 1 | JACKCNTY_CT1 | Jack | Gas | North | 2005 | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 1 | JACKCNTY_CT2 | Jack | Gas | North | 2005 | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 1 | JACKCNTY_STG | Jack | Gas | North | 2005 | 281 | 281 | 281 | 281 | 281 | 281
Johnson County Generation Facility 1 | TEN_CT1 | Johnson | Gas | North | 1997 | 163 | 163 | 163 | 163 | 163 | 163
Johnson County Generation Facility 2 | TEN_STG | Johnson | Gas | North | 1997 | 106 | 106 | 106 | 106 | 106 | 106
Lake Hubbard 1 | LHSES_UNIT1 | Dallas | Gas | North | 1970 | 392 | 392 | 392 | 392 | 392 | 392
Lake Hubbard 2 | LH2SES_UNIT2 | Dallas | Gas | North | 2010 | 524 | 524 | 524 | 524 | 524 | 524
Lamar Power Project CT11 | LPCCS_CT11 | Lamar | Gas | North | 2000 | 166 | 166 | 166 | 166 | 166 | 166
Lamar Power Project CT12 | LPCCS_CT12 | Lamar | Gas | North | 2000 | 166 | 166 | 166 | 166 | 166 | 166
Lamar Power Project CT21 | LPCCS_CT21 | Lamar | Gas | North | 2000 | 166 | 166 | 166 | 166 | 166 | 166
Lamar Power Project CT22 | LPCCS_CT22 | Lamar | Gas | North | 2000 | 166 | 166 | 166 | 166 | 166 | 166
Lamar Power Project STG1 | LPCCS_UNIT1 | Lamar | Gas | North | 2000 | 204.3 | 204.3 | 204.3 | 204.3 | 204.3 | 204.3
Lamar Power Project STG2 | LPCCS_UNIT2 | Lamar | Gas | North | 2000 | 204.3 | 204.3 | 204.3 | 204.3 | 204.3 | 204.3
Laredo Peaking 4 | LARDVFTN_G4 | Webb | Gas | South | 2008 | 94.2 | 94.2 | 94.2 | 94.2 | 94.2 | 94.2
Laredo Peaking 5 | LARDVFTN_G5 | Webb | Gas | South | 2008 | 94.2 | 94.2 | 94.2 | 94.2 | 94.2 | 94.2
Leon Creek 3 | LEON_CRK_LCP3G3 | Bexar | Gas | South | 1953 | 56 | 56 | 56 | 56 | 56 | 56
Leon Creek 4 | LEON_CRK_LCP4G4 | Bexar | Gas | South | 1959 | 88 | 88 | 88 | 88 | 88 | 88
Leon Creek Peaking 1 | LEON_CRK_LCPCT1 | Bexar | Gas | South | 2004 | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 2 | LEON_CRK_LCPCT2 | Bexar | Gas | South | 2004 | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 3 | LEON_CRK_LCPCT3 | Bexar | Gas | South | 2004 | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 4 | LEON_CRK_LCPCT4 | Bexar | Gas | South | 2004 | 45 | 45 | 45 | 45 | 45 | 45
Lewisville 1 | DG_LWSVL_1UNIT | Denton | Hydro | North | 1992 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Limestone 1 | LEG_LEG_G1 | Limestone | Coal | North | 1985 | 831 | 831 | 831 | 831 | 831 | 831
Limestone 2 | LEG_LEG_G2 | Limestone | Coal | North | 1986 | 858 | 858 | 858 | 858 | 858 | 858
Lost Pines 1 | LOSTPI_LOSTPGT1 | Bastrop | Gas | South | 2001 | 167 | 167 | 167 | 167 | 167 | 167
Lost Pines 2 | LOSTPI_LOSTPGT2 | Bastrop | Gas | South | 2001 | 164 | 164 | 164 | 164 | 164 | 164
Lost Pines 3 | LOSTPI_LOSTPST1 | Bastrop | Gas | South | 2001 | 184 | 184 | 184 | 184 | 184 | 184
Magic Valley 1 | NEDIN_NEDIN_G1 | Hidalgo | Gas | South | 2001 | 190 | 190 | 190 | 190 | 190 | 190
Magic Valley 2 | NEDIN_NEDIN_G2 | Hidalgo | Gas | South | 2001 | 190 | 190 | 190 | 190 | 190 | 190
Magic Valley 3 | NEDIN_NEDIN_G3 | Hidalgo | Gas | South | 2001 | 210 | 210 | 210 | 210 | 210 | 210
Marble Falls 1 | MARBFA_MARBFAG1 | Burnet | Hydro | South | 1951 | 21 | 21 | 21 | 21 | 21 | 21
Marble Falls 2 | MARBFA_MARBFAG2 | Burnet | Hydro | South | 1951 | 21 | 21 | 21 | 21 | 21 | 21
Marshall Ford 1 | MARSFO_MARSFOG1 | Travis | Hydro | South | 1941 | 36 | 36 | 36 | 36 | 36 | 36
Marshall Ford 2 | MARSFO_MARSFOG2 | Travis | Hydro | South | 1941 | 36 | 36 | 36 | 36 | 36 | 36
Marshall Ford 3 | MARSFO_MARSFOG3 | Travis | Hydro | South | 1941 | 29 | 29 | 29 | 29 | 29 | 29
Martin Lake 1 | MLSES_UNIT1 | Rusk | Coal | North | 1977 | 805 | 805 | 805 | 805 | 805 | 805
Martin Lake 2 | MLSES_UNIT2 | Rusk | Coal | North | 1978 | 810 | 810 | 810 | 810 | 810 | 810
Martin Lake 3 | MLSES_UNIT3 | Rusk | Coal | North | 1979 | 810 | 810 | 810 | 810 | 810 | 810
McQueeney (Abbott) | DG_MCQUE_5UNITS | Guadalupe | Hydro | South | 1927 | 8 | 8 | 8 | 8 | 8 | 8
Midlothian 1 | MDANP_CT1 | Ellis | Gas | North | 2001 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 2 | MDANP_CT2 | Ellis | Gas | North | 2001 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 3 | MDANP_CT3 | Ellis | Gas | North | 2001 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 4 | MDANP_CT4 | Ellis | Gas | North | 2001 | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 5 | MDANP_CT5 | Ellis | Gas | North | 2002 | 225 | 225 | 225 | 225 | 225 | 225
Midlothian 6 | MDANP_CT6 | Ellis | Gas | North | 2002 | 225 | 225 | 225 | 225 | 225 | 225
Monticello 1 | MNSES_UNIT1 | Titus | Coal | North | 1974 | 565 | 565 | 565 | 565 | 565 | 565
Monticello 2 | MNSES_UNIT2 | Titus | Coal | North | 1975 | 565 | 565 | 565 | 565 | 565 | 565
Monticello 3 | MNSES_UNIT3 | Titus | Coal | North | 1978 | 760 | 760 | 760 | 760 | 760 | 760
Morgan Creek A | MGSES_CT1 | Mitchell | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek B | MGSES_CT2 | Mitchell | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek C | MGSES_CT3 | Mitchell | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek D | MGSES_CT4 | Mitchell | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek E | MGSES_CT5 | Mitchell | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek F | MGSES_CT6 | Mitchell | Gas | West | 1988 | 67 | 67 | 67 | 67 | 67 | 67
Morris Sheppard | MSP_MSP_1 | Palo Pinto | Hydro | North | 1942 | 12 | 12 | 12 | 12 | 12 | 12
Morris Sheppard | MSP_MSP_2 | Palo Pinto | Hydro | North | 1942 | 12 | 12 | 12 | 12 | 12 | 12
Mountain Creek 6 | MCSES_UNIT6 | Dallas | Gas | North | 1956 | 120 | 120 | 120 | 120 | 120 | 120
Mountain Creek 7 | MCSES_UNIT7 | Dallas | Gas | North | 1958 | 115 | 115 | 115 | 115 | 115 | 115
Mountain Creek 8 | MCSES_UNIT8 | Dallas | Gas | North | 1967 | 565 | 565 | 565 | 565 | 565 | 565
Nelson Gardens Landfill 1 | DG_PEARS_2UNITS | Bexar | Other | South | 1990 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Nueces Bay 7 | NUECES_B_NUECESG7 | Nueces | Gas | South | 1972 | 308 | 308 | 308 | 308 | 308 | 308
Nueces Bay 8 | NUECES_B_NUECESG8 | Nueces | Gas | South | 2009 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1
Nueces Bay 9 | NUECES_B_NUECESG9 | Nueces | Gas | South | 2009 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1 | 175.1
O W Sommers 1 | CALAVERS_OWS1 | Bexar | Gas | South | 1972 | 420 | 420 | 420 | 420 | 420 | 420
O W Sommers 2 | CALAVERS_OWS2 | Bexar | Gas | South | 1974 | 420 | 420 | 420 | 420 | 420 | 420
Oak Grove SES Unit 1 | OGSES_UNIT1A | Robertson | Coal | North | 2011 | 820 | 820 | 820 | 820 | 820 | 820
Oak Grove SES Unit 2 | OGSES_UNIT2 | Robertson | Coal | North | 2011 | 796 | 796 | 796 | 796 | 796 | 796
Oak Ridge North 1-3 | DG__RA_3UNITS | Montgomery | Other | Houston | 1993 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Odessa-Ector Generating Station C11 | OECCS_CT11 | Ector | Gas | West | 2001 | 146 | 146 | 146 | 146 | 146 | 146
Odessa-Ector Generating Station C12 | OECCS_CT12 | Ector | Gas | West | 2001 | 139 | 139 | 139 | 139 | 139 | 139
Odessa-Ector Generating Station C21 | OECCS_CT21 | Ector | Gas | West | 2001 | 135 | 135 | 135 | 135 | 135 | 135
Odessa-Ector Generating Station C22 | OECCS_CT22 | Ector | Gas | West | 2001 | 153 | 153 | 153 | 153 | 153 | 153
Odessa-Ector Generating Station ST1 | OECCS_UNIT1 | Ector | Gas | West | 2001 | 210 | 210 | 210 | 210 | 210 | 210
Odessa-Ector Generating Station ST2 | OECCS_UNIT2 | Ector | Gas | West | 2001 | 210 | 210 | 210 | 210 | 210 | 210
Oklaunion 1 | OKLA_OKLA_G1 | Wilbarger | Coal | West | 1986 | 650 | 650 | 650 | 650 | 650 | 650
Paris Energy Center 1 | TNSKA_GT1 | Lamar | Gas | North | 1989 | 76 | 76 | 76 | 76 | 76 | 76
Paris Energy Center 2 | TNSKA_GT2 | Lamar | Gas | North | 1989 | 76 | 76 | 76 | 76 | 76 | 76
Paris Energy Center 3 | TNSKA_STG | Lamar | Gas | North | 1990 | 87 | 87 | 87 | 87 | 87 | 87
PasGen | PSG_PSG_GT2 | Harris | Gas | Houston | 2000 | 161 | 161 | 161 | 161 | 161 | 161
PasGen | PSG_PSG_GT3 | Harris | Gas | Houston | 2000 | 161 | 161 | 161 | 161 | 161 | 161
PasGen | PSG_PSG_ST2 | Harris | Gas | Houston | 2000 | 177 | 177 | 177 | 177 | 177 | 177
Pearsall 1 | PEARSALL_PEARS_1 | Frio | Gas | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25
Pearsall 2 | PEARSALL_PEARS_2 | Frio | Gas | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25
Pearsall 3 | PEARSALL_PEARS_3 | Frio | Gas | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25
Pearsall Engine Plant | PEARSAL2_ENG1 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG10 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG11 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG12 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG13 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG14 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG15 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG16 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG17 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG18 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG19 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG2 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG20 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG21 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG22 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG23 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG24 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG3 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG4 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG5 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG6 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG7 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG8 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Pearsall Engine Plant | PEARSAL2_ENG9 | Frio | Gas | South | 2010 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44 | 8.44
Permian Basin A | PB2SES_CT1 | Ward | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Permian Basin B | PB2SES_CT2 | Ward | Gas | West | 1988 | 65 | 65 | 65 | 65 | 65 | 65
Permian Basin C | PB2SES_CT3 | Ward | Gas | West | 1988 | 68 | 68 | 68 | 68 | 68 | 68
Permian Basin D | PB2SES_CT4 | Ward | Gas | West | 1990 | 69 | 69 | 69 | 69 | 69 | 69
Permian Basin E | PB2SES_CT5 | Ward | Gas | West | 1990 | 70 | 70 | 70 | 70 | 70 | 70
Powerlane Plant 1 | STEAM1A_STEAM_1 | Hunt | Gas | North | 2009 | 20 | 20 | 20 | 20 | 20 | 20
Powerlane Plant 2 | STEAM_STEAM_2 | Hunt | Gas | North | 1967 | 26 | 26 | 26 | 26 | 26 | 26
Powerlane Plant 3 | STEAM_STEAM_3 | Hunt | Gas | North | 1978 | 41 | 41 | 41 | 41 | 41 | 41
Quail Run Energy GT1 | QALSW_GT2 | Ector | Gas | West | 2007 | 74 | 74 | 74 | 74 | 74 | 74
Quail Run Energy GT2 | QALSW_GT3 | Ector | Gas | West | 2008 | 72 | 72 | 72 | 72 | 72 | 72
Quail Run Energy GT3 | QALSW_STG1 | Ector | Gas | West | 2007 | 102 | 102 | 102 | 102 | 102 | 102
Quail Run Energy GT4 | QALSW_STG2 | Ector | Gas | West | 2008 | 98 | 98 | 98 | 98 | 98 | 98
Quail Run Energy STG1 | QALSW_GT1 | Ector | Gas | West | 2007 | 74 | 74 | 74 | 74 | 74 | 74
Quail Run Energy STG2 | QALSW_GT4 | Ector | Gas | West | 2008 | 72 | 72 | 72 | 72 | 72 | 72
R W Miller 1 | MIL_MILLERG1 | Palo Pinto | Gas | North | 2000 | 75 | 75 | 75 | 75 | 75 | 75
R W Miller 2 | MIL_MILLERG2 | Palo Pinto | Gas | North | 2000 | 120 | 120 | 120 | 120 | 120 | 120
R W Miller 3 | MIL_MILLERG3 | Palo Pinto | Gas | North | 2000 | 208 | 208 | 208 | 208 | 208 | 208
R W Miller 4 | MIL_MILLERG4 | Palo Pinto | Gas | North | 2000 | 104 | 104 | 104 | 104 | 104 | 104
R W Miller 5 | MIL_MILLERG5 | Palo Pinto | Gas | North | 2000 | 104 | 104 | 104 | 104 | 104 | 104
Ray Olinger 1 | OLINGR_OLING_1 | Collin | Gas | North | 1967 | 78 | 78 | 78 | 78 | 78 | 78
Ray Olinger 2 | OLINGR_OLING_2 | Collin | Gas | North | 1971 | 107 | 107 | 107 | 107 | 107 | 107
Ray Olinger 3 | OLINGR_OLING_3 | Collin | Gas | North | 1975 | 146 | 146 | 146 | 146 | 146 | 146
Ray Olinger 4 | OLINGR_OLING_4 | Collin | Gas | North | 2001 | 75 | 75 | 75 | 75 | 75 | 75
Rayburn 1 | RAYBURN_RAYBURG1 | Victoria | Gas | South | 1963 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 10 | RAYBURN_RAYBURG10 | Victoria | Gas | South | 2003 | 40 | 40 | 40 | 40 | 40 | 40
Rayburn 2 | RAYBURN_RAYBURG2 | Victoria | Gas | South | 1963 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 3 | RAYBURN_RAYBURG3 | Victoria | Gas | South | 1965 | 24 | 24 | 24 | 24 | 24 | 24
Rayburn 7 | RAYBURN_RAYBURG7 | Victoria | Gas | South | 2003 | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 8 | RAYBURN_RAYBURG8 | Victoria | Gas | South | 2003 | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 9 | RAYBURN_RAYBURG9 | Victoria | Gas | South | 2003 | 50 | 50 | 50 | 50 | 50 | 50
RGV Sugar Mill | DG_S_SNR_UNIT1 | Hidalgo | Biomass | South | 1973 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Rhodia Houston Plant | DG__HG_2UNITS | Harris | Other | Houston | 1970 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
Rio Nogales 1 | RIONOG_CT1 | Guadalupe | Gas | South | 2002 | 154 | 154 | 154 | 154 | 154 | 154
Rio Nogales 2 | RIONOG_CT2 | Guadalupe | Gas | South | 2002 | 154 | 154 | 154 | 154 | 154 | 154
Rio Nogales 3 | RIONOG_CT3 | Guadalupe | Gas | South | 2002 | 154 | 154 | 154 | 154 | 154 | 154
Rio Nogales 4 | RIONOG_ST1 | Guadalupe | Gas | South | 2002 | 323 | 323 | 323 | 323 | 323 | 323
Sam Bertron 3 | SRB_SRB_G3 | Harris | Gas | Houston | 1959 | 230 | 230 | 230 | 230 | 230 | 230
Sam Bertron 4 | SRB_SRB_G4 | Harris | Gas | Houston | 1960 | 230 | 230 | 230 | 230 | 230 | 230
Sam Bertron T2 | SRB_SRBGT_2 | Harris | Gas | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13
San Jacinto SES 1 | SJS_SJS_G1 | Harris | Gas | Houston | 1995 | 81 | 81 | 81 | 81 | 81 | 81
San Jacinto SES 2 | SJS_SJS_G2 | Harris | Gas | Houston | 1995 | 81 | 81 | 81 | 81 | 81 | 81
San Miguel 1 | SANMIGL_SANMIGG1 | Atascosa | Coal | South | 1982 | 391 | 391 | 391 | 391 | 391 | 391
Sandhill Energy Center 1 | SANDHSYD_SH1 | Travis | Gas | South | 2001 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 2 | SANDHSYD_SH2 | Travis | Gas | South | 2001 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 3 | SANDHSYD_SH3 | Travis | Gas | South | 2001 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 4 | SANDHSYD_SH4 | Travis | Gas | South | 2001 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 5A | SANDHSYD_SH_5A | Travis | Gas | South | 2004 | 155 | 155 | 155 | 155 | 155 | 155
Sandhill Energy Center 5C | SANDHSYD_SH_5C | Travis | Gas | South | 2004 | 145 | 145 | 145 | 145 | 145 | 145
Sandhill Energy Center 6 | SANDHSYD_SH6 | Travis | Gas | South | 2010 | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 7 | SANDHSYD_SH7 | Travis | Gas | South | 2010 | 45 | 45 | 45 | 45 | 45 | 45
Sandow 5 | SD5SES_UNIT5 | Milam | Coal | South | 2010 | 570 | 570 | 570 | 570 | 570 | 570
Silas Ray 10 | SILASRAY_SILAS_10 | Cameron | Gas | South | 2004 | 48 | 48 | 48 | 48 | 48 | 48
Silas Ray 5 | SILASRAY_SILAS_5 | Cameron | Gas | South | 1951 | 10 | 10 | 10 | 10 | 10 | 10
Silas Ray 6 | SILASRAY_SILAS_6 | Cameron | Gas | South | 1961 | 20 | 20 | 20 | 20 | 20 | 20
Silas Ray 9 | SILASRAY_SILAS_9 | Cameron | Gas | South | 1996 | 38 | 38 | 38 | 38 | 38 | 38
Sim Gideon 1 | GIDEON_GIDEONG1 | Bastrop | Gas | South | 1965 | 136 | 136 | 136 | 136 | 136 | 136
Sim Gideon 2 | GIDEON_GIDEONG2 | Bastrop | Gas | South | 1968 | 136 | 136 | 136 | 136 | 136 | 136
Sim Gideon 3 | GIDEON_GIDEONG3 | Bastrop | Gas | South | 1972 | 336 | 336 | 336 | 336 | 336 | 336
Skyline Landfill Gas | DG_FERIS_4UNITS | Dallas | Other | North | 2007 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
Small Hydro of Texas 1 | CUECPL_UNIT1 | Dewitt | Hydro | South | 1992 | 1 | 1 | 1 | 1 | 1 | 1
South Texas 1 | STP_STP_G1 | Matagorda | Nuclear | Houston | 1988 | 1362 | 1362 | 1362 | 1362 | 1362 | 1362
South Texas 2 | STP_STP_G2 | Matagorda | Nuclear | Houston | 1989 | 1362 | 1362 | 1362 | 1362 | 1362 | 1362
Stryker Creek 1 | SC2SES_UNIT1 | Cherokee | Gas | North | 1958 | 171 | 171 | 171 | 171 | 171 | 171
Stryker Creek 2 | SCSES_UNIT2 | Cherokee | Gas | North | 1965 | 502 | 502 | 502 | 502 | 502 | 502
T H Wharton 3 | THW_THWST_3 | Harris | Gas | Houston | 1974 | 104 | 104 | 104 | 104 | 104 | 104
T H Wharton 31 | THW_THWGT31 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 32 | THW_THWGT32 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 33 | THW_THWGT33 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 34 | THW_THWGT34 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 4 | THW_THWST_4 | Harris | Gas | Houston | 1974 | 104 | 104 | 104 | 104 | 104 | 104
T H Wharton 41 | THW_THWGT41 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 42 | THW_THWGT42 | Harris | Gas | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 43 | THW_THWGT43 | Harris | Gas | Houston | 1974 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 44 | THW_THWGT44 | Harris | Gas | Houston | 1974 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 51 | THW_THWGT51 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 52 | THW_THWGT52 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 53 | THW_THWGT53 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 54 | THW_THWGT54 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 55 | THW_THWGT55 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 56 | THW_THWGT56 | Harris | Gas | Houston | 1975 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton G1 | THW_THWGT_1 | Harris | Gas | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13
Tessman Road 1 | DG_WALZE_4UNITS | Bexar | Biomass | South | 2003 | 10 | 10 | 10 | 10 | 10 | 10
Texas City 1 | TXCTY_CTA | Galveston | Gas | Houston | 2000 | 100 | 100 | 100 | 100 | 100 | 100
Texas City 2 | TXCTY_CTB | Galveston | Gas | Houston | 2000 | 93 | 93 | 93 | 93 | 93 | 93
Texas City 3 | TXCTY_CTC | Galveston | Gas | Houston | 2000 | 93 | 93 | 93 | 93 | 93 | 93
Texas City 4 | TXCTY_ST | Galveston | Gas | Houston | 2000 | 128 | 128 | 128 | 128 | 128 | 128
Texas Gulf Sulphur | TGF_TGFGT_1 | Wharton | Gas | Houston | 1985 | 70 | 70 | 70 | 70 | 70 | 70
Thomas C Ferguson 1 | FERGUS_FERGUSG1 | Llano | Gas | South | 1974 | 424 | 424 | 424 | 424 | 424 | 424
Trinidad 6 | TRSES_UNIT6 | Henderson | Gas | North | 1965 | 226 | 226 | 226 | 226 | 226 | 226
Trinity Oaks LFG | DG_KLBRG_1UNIT | Dallas | Biomass | North | 2009 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
Twin Oaks 1 | TNP_ONE_TNP_O_1 | Robertson | Coal | North | 1990 | 156 | 156 | 156 | 156 | 156 | 156
Twin Oaks 2 | TNP_ONE_TNP_O_2 | Robertson | Coal | North | 1991 | 156 | 156 | 156 | 156 | 156 | 156
V H Braunig 1 | BRAUNIG_VHB1 | Bexar | Gas | South | 1966 | 215 | 215 | 215 | 215 | 215 | 215
V H Braunig 2 | BRAUNIG_VHB2 | Bexar | Gas | South | 1968 | 220 | 220 | 220 | 220 | 220 | 220
V H Braunig 3 | BRAUNIG_VHB3 | Bexar | Gas | South | 1970 | 412 | 412 | 412 | 412 | 412 | 412
V H Braunig 5 | BRAUNIG_VHB6CT5 | Bexar | Gas | South | 2009 | 48 | 48 | 48 | 48 | 48 | 48
V H Braunig 6 | BRAUNIG_VHB6CT6 | Bexar | Gas | South | 2009 | 48 | 48 | 48 | 48 | 48 | 48
V H Braunig 7 | BRAUNIG_VHB6CT7 | Bexar | Gas | South | 2009 | 48 | 48 | 48 | 48 | 48 | 48
V H Braunig 8 | BRAUNIG_VHB6CT8 | Bexar | Gas | South | 2009 | 48 | 48 | 48 | 48 | 48 | 48
Victoria Power Station 5 | VICTORIA_VICTORG5 | Victoria | Gas | South | 2009 | 125 | 125 | 125 | 125 | 125 | 125
Victoria Power Station 6 | VICTORIA_VICTORG6 | Victoria | Gas | South | 2009 | 160 | 160 | 160 | 160 | 160 | 160
W A Parish 1 | WAP_WAP_G1 | Ft. Bend | Gas | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174
W A Parish 2 | WAP_WAP_G2 | Ft. Bend | Gas | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174
W A Parish 3 | WAP_WAP_G3 | Ft. Bend | Gas | Houston | 1961 | 278 | 278 | 278 | 278 | 278 | 278
W A Parish 4 | WAP_WAP_G4 | Ft. Bend | Gas | Houston | 1968 | 552 | 552 | 552 | 552 | 552 | 552
W A Parish 5 | WAP_WAP_G5 | Ft. Bend | Coal | Houston | 1977 | 645 | 645 | 645 | 645 | 645 | 645
W A Parish 6 | WAP_WAP_G6 | Ft. Bend | Coal | Houston | 1978 | 650 | 650 | 650 | 650 | 650 | 650
W A Parish 7 | WAP_WAP_G7 | Ft. Bend | Coal | Houston | 1980 | 565 | 565 | 565 | 565 | 565 | 565
W A Parish 8 | WAP_WAP_G8 | Ft. Bend | Coal | Houston | 1982 | 610 | 610 | 610 | 610 | 610 | 610
W A Parish T1 | WAP_WAPGT_1 | Ft. Bend | Gas | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13
Whitney 1 | WND_WHITNEY1 | Bosque | Hydro | North | 1953 | 15 | 15 | 15 | 15 | 15 | 15
Whitney 2 | WND_WHITNEY2 | Bosque | Hydro | North | 1953 | 15 | 15 | 15 | 15 | 15 | 15
Wichita Falls 1 | WFCOGEN_UNIT1 | Wichita | Gas | West | 1987 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 2 | WFCOGEN_UNIT2 | Wichita | Gas | West | 1987 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 3 | WFCOGEN_UNIT3 | Wichita | Gas | West | 1987 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 4 | WFCOGEN_UNIT4 | Wichita | Gas | West | 1987 | 17 | 17 | 17 | 17 | 17 | 17
Winchester Power Park 1 | WIPOPA_WPP_G1 | Fayette | Gas | South | 2010 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75
Winchester Power Park 2 | WIPOPA_WPP_G2 | Fayette | Gas | South | 2010 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75
Winchester Power Park 3 | WIPOPA_WPP_G3 | Fayette | Gas | South | 2010 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75
Winchester Power Park 4 | WIPOPA_WPP_G4 | Fayette | Gas | South | 2010 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75 | 44.75
Wise-Tractebel Power Proj. 1 | WCPP_CT1 | Wise | Gas | North | 2004 | 212 | 212 | 212 | 212 | 212 | 212
Wise-Tractebel Power Proj. 2 | WCPP_CT2 | Wise | Gas | North | 2004 | 212 | 212 | 212 | 212 | 212 | 212
Wise-Tractebel Power Proj. 3 | WCPP_ST1 | Wise | Gas | North | 2004 | 241 | 241 | 241 | 241 | 241 | 241
Wolf Hollow Power Proj. 1 | WHCCS_CT1 | Hood | Gas | North | 2002 | 212.5 | 212.5 | 212.5 | 212.5 | 212.5 | 212.5
Wolf Hollow Power Proj. 2 | WHCCS_CT2 | Hood | Gas | North | 2002 | 212.5 | 212.5 | 212.5 | 212.5 | 212.5 | 212.5
Wolf Hollow Power Proj. 3 | WHCCS_STG | Hood | Gas | North | 2002 | 280 | 280 | 280 | 280 | 280 | 280
Operational | [5 empty] | 63895.517 | 63895.517 | 63895.517 | 63895.517 | 63895.517 | 63895.517
|  | Harris | Gas | Houston |  | 35 | 35 | 35 | 35 | 35 | 35
|  | Harris | Gas | Houston |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Galveston | Gas | Houston |  | 578 | 578 | 578 | 578 | 578 | 578
|  | Brazoria | Gas | Houston |  | 74 | 74 | 74 | 74 | 74 | 74
|  | Chambers | Gas | Houston |  | 590 | 590 | 590 | 590 | 590 | 590
|  | Harris | Gas | Houston |  | 300 | 300 | 300 | 300 | 300 | 300
|  | Harris | Gas | Houston |  | 176 | 176 | 176 | 176 | 176 | 176
|  | Howard | Gas | West |  | 18 | 18 | 18 | 18 | 18 | 18
|  | Nueces | Gas | South |  | 350 | 350 | 350 | 350 | 350 | 350
|  | Nueces | Gas | South |  | 10 | 10 | 10 | 10 | 10 | 10
|  | Harris | Gas | Houston |  | 269 | 269 | 269 | 269 | 269 | 269
|  | Harris | Gas | Houston |  | 280 | 280 | 280 | 280 | 280 | 280
|  | Harris | Gas | Houston |  | 6 | 6 | 6 | 6 | 6 | 6
|  | Brazoria | Gas | Houston |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Victoria | Gas | South |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Harris | Gas | Houston |  | 80 | 80 | 80 | 80 | 80 | 80
|  | Calhoun | Gas | South |  | 56 | 56 | 56 | 56 | 56 | 56
|  | San Patricio | Gas | South |  | 400 | 400 | 400 | 400 | 400 | 400
|  | San Patricio | Gas | South |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Harris | Gas | Houston |  | 110 | 110 | 110 | 110 | 110 | 110
|  | Calhoun | Gas | South |  | 35 | 35 | 35 | 35 | 35 | 35
|  | Nueces | Gas | South |  | 6 | 6 | 6 | 6 | 6 | 6
|  | Harris | Gas | Houston |  | 485 | 485 | 485 | 485 | 485 | 485
|  | Brazoria | Gas | Houston |  | 325 | 325 | 325 | 325 | 325 | 325
|  | Milam | Coal | South |  | 573 | 573 | 573 | 573 | 573 | 573
|  | Calhoun | Gas | South |  | 3 | 3 | 3 | 3 | 3 | 3
|  | Galveston | Gas | Houston |  | 28 | 28 | 28 | 28 | 28 | 28
|  | Calhoun | Gas | South |  | 15 | 15 | 15 | 15 | 15 | 15
|  | Harris | Gas | Houston |  | 1 | 1 | 1 | 1 | 1 | 1
Generation from Private Use Networks | [5 empty] | 4803 | 4803 | 4803 | 4803 | 4803 | 4803
RMR | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
Eagle Pass | DC Tie | Maverick | Other | South |  | 36 | 36 | 36 | 36 | 36 | 36
East | DC Tie | Fannin | Other | North |  | 600 | 600 | 600 | 600 | 600 | 600
Laredo VFT | DC Tie | Webb | Other | South |  | 100 | 100 | 100 | 100 | 100 | 100
North | DC Tie | Wilbarger | Other | West |  | 220 | 220 | 220 | 220 | 220 | 220
Sharyland | DC Tie | Hidalgo | Other | South |  | 150 | 150 | 150 | 150 | 150 | 150
DC-Ties | [5 empty] | 1106 | 1106 | 1106 | 1106 | 1106 | 1106
Kiamichi Energy Facility 1CT101 | KMCHI_1CT101 | Pittsburg | Gas | North | 2003 | 153 | 153 | 153 | 153 | 153 | 153
Kiamichi Energy Facility 1CT201 | KMCHI_1CT201 | Pittsburg | Gas | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155
Kiamichi Energy Facility 1ST | KMCHI_1ST | Pittsburg | Gas | North | 2003 | 315 | 315 | 315 | 315 | 315 | 315
Kiamichi Energy Facility 2CT101 | KMCHI_2CT101 | Pittsburg | Gas | North | 2003 | 153 | 153 | 153 | 153 | 153 | 153
Kiamichi Energy Facility 2CT201 | KMCHI_2CT201 | Pittsburg | Gas | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155
Kiamichi Energy Facility 2ST | KMCHI_2ST | Pittsburg | Gas | North | 2003 | 315 | 315 | 315 | 315 | 315 | 315
Tenaska-Frontier 1 | FTR_FTR_G1 | Grimes | Gas | North | 2000 | 160 | 160 | 160 | 160 | 160 | 160
Tenaska-Frontier 2 | FTR_FTR_G2 | Grimes | Gas | North | 2000 | 160 | 160 | 160 | 160 | 160 | 160
Tenaska-Frontier 3 | FTR_FTR_G3 | Grimes | Gas | North | 2000 | 160 | 160 | 160 | 160 | 160 | 160
Tenaska-Frontier 4 | FTR_FTR_G4 | Grimes | Gas | North | 2000 | 390 | 390 | 390 | 390 | 390 | 390
Tenaska-Gateway 1 | TGCCS_CT1 | Rusk | Gas | North | 2001 | 156 | 156 | 156 | 156 | 156 | 156
Tenaska-Gateway 2 | TGCCS_CT2 | Rusk | Gas | North | 2001 | 135 | 135 | 135 | 135 | 135 | 135
Tenaska-Gateway 3 | TGCCS_CT3 | Rusk | Gas | North | 2001 | 153 | 153 | 153 | 153 | 153 | 153
Tenaska-Gateway 4 | TGCCS_UNIT4 | Rusk | Gas | North | 2001 | 402 | 402 | 402 | 402 | 402 | 402
Switchable Resources | [5 empty] | 2962 | 2962 | 2962 | 2962 | 2962 | 2962
Barton Chapel Wind | BRTSW_BCW1 | Jack |  | North | 2007 | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 1 | BUFF_GAP_UNIT1 | Taylor |  | West | 2006 | 120.6 | 120.6 | 120.6 | 120.6 | 120.6 | 120.6
Buffalo Gap Wind Farm 2 | BUFF_GAP_UNIT2 | Taylor |  | West | 2007 | 232.5 | 232.5 | 232.5 | 232.5 | 232.5 | 232.5
Buffalo Gap Wind Farm 3 | BUFF_GAP_UNIT3 | Taylor |  | West | 2008 | 170.2 | 170.2 | 170.2 | 170.2 | 170.2 | 170.2
Bull Creek Wind Plant | BULLCRK_WND1 | Borden |  | West | 2009 | 88 | 88 | 88 | 88 | 88 | 88
Bull Creek Wind Plant | BULLCRK_WND2 | Borden |  | West | 2009 | 90 | 90 | 90 | 90 | 90 | 90
Callahan Wind | CALLAHAN_WND1 | Callahan |  | West | 2004 | 114 | 114 | 114 | 114 | 114 | 114
Camp Springs 1 | CSEC_CSECG1 | Scurry |  | West | 2007 | 134.415 | 134.415 | 134.415 | 134.415 | 134.415 | 134.415
Camp Springs 2 | CSEC_CSECG2 | Scurry |  | West | 2007 | 123.6 | 123.6 | 123.6 | 123.6 | 123.6 | 123.6
Capricorn Ridge Wind 1 | CAPRIDGE_CR1 | Sterling |  | West | 2007 | 214.5 | 214.5 | 214.5 | 214.5 | 214.5 | 214.5
Capricorn Ridge Wind 2 | CAPRIDGE_CR3 | Sterling |  | West | 2008 | 186 | 186 | 186 | 186 | 186 | 186
Capricorn Ridge Wind 3 | CAPRIDGE_CR2 | Sterling |  | West | 2007 | 149.5 | 149.5 | 149.5 | 149.5 | 149.5 | 149.5
Capricorn Ridge Wind 4 | CAPRIDG4_CR4 | Sterling |  | West | 2008 | 112.5 | 112.5 | 112.5 | 112.5 | 112.5 | 112.5
Cedro Hill Wind | CEDROHIL_CHW1 | Webb |  | South | 2010 | 150 | 150 | 150 | 150 | 150 | 150
Champion Wind Farm | CHAMPION_UNIT1 | Nolan |  | West | 2008 | 126.5 | 126.5 | 126.5 | 126.5 | 126.5 | 126.5
Delaware Mountain Wind Farm | KUNITZ_WIND_NWP | Culberson |  | West | 2010 | 28.5 | 28.5 | 28.5 | 28.5 | 28.5 | 28.5
Desert Sky Wind Farm 1 | INDNENR_INDNENR | Pecos |  | West | 2002 | 84 | 84 | 84 | 84 | 84 | 84
Desert Sky Wind Farm 2 | INDNENR_INDNENR_2 | Pecos |  | West | 2002 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5
Elbow Creek Wind Project | ELB_ELBCREEK | Howard |  | West | 2008 | 118.7 | 118.7 | 118.7 | 118.7 | 118.7 | 118.7
Forest Creek Wind Farm | MCDLD_FCW1 | Glasscock |  | West | 2007 | 124.2 | 124.2 | 124.2 | 124.2 | 124.2 | 124.2
Goat Wind | GOAT_GOATWIND | Sterling |  | West | 2008 | 80 | 80 | 80 | 80 | 80 | 80
Goat Wind 2 | GOAT_GOATWIN2 | Sterling |  | West | 2010 | 69.6 | 69.6 | 69.6 | 69.6 | 69.6 | 69.6
Green Mountain Energy 1 | BRAZ_WND_WND1 | Scurry |  | West | 2003 | 99 | 99 | 99 | 99 | 99 | 99
Green Mountain Energy 2 | BRAZ_WND_WND2 | Scurry |  | West | 2003 | 61 | 61 | 61 | 61 | 61 | 61
Gulf Wind I | TGW_T1 | Kenedy |  | South | 2010 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6
Gulf Wind II | TGW_T2 | Kenedy |  | South | 2010 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6
Hackberry Wind Farm | HWF_HWFG1 | Shackelford |  | West | 2008 | 162.34 | 162.34 | 162.34 | 162.34 | 162.34 | 162.34
Horse Hollow Wind 1 | H_HOLLOW_WND1 | Taylor |  | West | 2005 | 213 | 213 | 213 | 213 | 213 | 213
Horse Hollow Wind 1 - Southern | HHGT_HHOLLOW1 | Kendall |  | South | 2009 | 0 | 0 | 0 | 0 | 0 | 0
Horse Hollow Wind 2 | HHOLLOW2_WIND1 | Taylor |  | West | 2006 | 184 | 184 | 184 | 184 | 184 | 184
Horse Hollow Wind 2 - Southern | HHGT_HHOLLOW2 | Kendall |  | South | 2009 | 0 | 0 | 0 | 0 | 0 | 0
Horse Hollow Wind 3 | HHOLLOW3_WND_1 | Taylor |  | West | 2006 | 223.5 | 223.5 | 223.5 | 223.5 | 223.5 | 223.5
Horse Hollow Wind 3 - Southern | HHGT_HHOLLOW3 | Kendall |  | South | 2009 | 0 | 0 | 0 | 0 | 0 | 0
Horse Hollow Wind 4 | HHOLLOW4_WND1 | Taylor |  | West | 2006 | 115 | 115 | 115 | 115 | 115 | 115
Horse Hollow Wind 4 - Southern | HHGT_HHOLLOW4 | Kendall |  | South | 2009 | 0 | 0 | 0 | 0 | 0 | 0
Horse Hollow Wind Callahan - Southern | HHGT_CALLAHAN | Kendall |  | South | 2009 | 0 | 0 | 0 | 0 | 0 | 0
Inadale Wind | INDL_INADALE1 | Nolan |  | West | 2008 | 197 | 197 | 197 | 197 | 197 | 197
Indian Mesa Wind Farm | INDNNWP_INDNNWP | Pecos |  | West | 2001 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5
King Mountain NE | KING_NE_KINGNE | Upton |  | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
King Mountain NW | KING_NW_KINGNW | Upton |  | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
King Mountain SE | KING_SE_KINGSE | Upton |  | West | 2001 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3
King Mountain SW | KING_SW_KINGSW | Upton |  | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3
Kunitz Wind | KUNITZ_WIND_LGE | Culberson |  | West | 1995 | 39.8 | 39.8 | 39.8 | 39.8 | 39.8 | 39.8
Langford Wind Power | LGD_LANGFORD | Tom Green |  | West | 2009 | 145 | 145 | 145 | 145 | 145 | 145
Loraine Windpark I | LONEWOLF_G1 | Mitchell |  | West | 2009 | 126 | 126 | 126 | 126 | 126 | 126
Loraine Windpark II | LONEWOLF_G2 | Mitchell |  | West | 2009 | 124.5 | 124.5 | 124.5 | 124.5 | 124.5 | 124.5
McAdoo Wind Farm | MWEC_G1 | Dickens |  | West | 2008 | 150 | 150 | 150 | 150 | 150 | 150
Mesquite Wind | LNCRK_G83 | Shackelford |  | West | 2006 | 200 | 200 | 200 | 200 | 200 | 200
Notrees-1 | NWF_NWF1 | Winkler |  | West | 2009 | 152.61 | 152.61 | 152.61 | 152.61 | 152.61 | 152.61
Ocotillo Wind Farm | OWF_OWF | Howard |  | West | 2008 | 58.8 | 58.8 | 58.8 | 58.8 | 58.8 | 58.8
Panther Creek 1 | PC_NORTH_PANTHER1 | Howard |  | West | 2008 | 142.5 | 142.5 | 142.5 | 142.5 | 142.5 | 142.5
Panther Creek 2 | PC_SOUTH_PANTHER2 | Howard |  | West | 2008 | 115.5 | 115.5 | 115.5 | 115.5 | 115.5 | 115.5
Panther Creek 3 | PC_SOUTH_PANTHER3 | Howard |  | West | 2009 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5 | 199.5
Papalote Creek Wind | COTTON_PAP2 | San Patricio |  | South | 2010 | 200.1 | 200.1 | 200.1 | 200.1 | 200.1 | 200.1
Papalote Creek Wind Farm | PAP1_PAP1 | San Patricio |  | South | 2009 | 179.85 | 179.85 | 179.85 | 179.85 | 179.85 | 179.85
Pecos Wind (Woodward 1) | WOODWRD1_WOODWRD1 | Pecos |  | West | 2001 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5
Pecos Wind (Woodward 2) | WOODWRD2_WOODWRD2 | Pecos |  | West | 2001 | 77.22 | 77.22 | 77.22 | 77.22 | 77.22 | 77.22
Penascal Wind | PENA_UNIT1 | Kenedy |  | South | 2009 | 160.8 | 160.8 | 160.8 | 160.8 | 160.8 | 160.8
Penascal Wind | PENA_UNIT2 | Kenedy |  | South | 2009 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6
Penascal Wind | PENA_UNIT3 | Kenedy |  | South | 2010 | 100.8 | 100.8 | 100.8 | 100.8 | 100.8 | 100.8
Post Oak Wind 1 | LNCRK2_G871 | Shackelford |  | West | 2007 | 100 | 100 | 100 | 100 | 100 | 100
Post Oak Wind 2 | LNCRK2_G872 | Shackelford |  | West | 2007 | 100 | 100 | 100 | 100 | 100 | 100
Pyron Wind Farm | PYR_PYRON1 | Scurry |  | West | 2008 | 249 | 249 | 249 | 249 | 249 | 249
Red Canyon | RDCANYON_RDCNY1 | Borden |  | West | 2006 | 84 | 84 | 84 | 84 | 84 | 84
Roscoe Wind Farm | TKWSW1_ROSCOE | Nolan |  | West | 2008 | 209 | 209 | 209 | 209 | 209 | 209
Sand Bluff Wind Farm | MCDLD_SBW1 | Glasscock |  | West | 2008 | 90 | 90 | 90 | 90 | 90 | 90
Sherbino I | KEO_KEO_SM1 | Pecos |  | West | 2008 | 150 | 150 | 150 | 150 | 150 | 150
Silver Star | FLTCK_SSI | Eastland |  | North | 2008 | 59 | 59 | 59 | 59 | 59 | 59
Snyder Wind Farm | ENAS_ENA1 | Scurry |  | West | 2007 | 63 | 63 | 63 | 63 | 63 | 63
South Trent Wind Farm | STWF_T1 | Nolan |  | West | 2008 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2 | 101.2
Stanton Wind Energy | SWEC_G1 | Martin |  | West | 2008 | 123.6 | 123.6 | 123.6 | 123.6 | 123.6 | 123.6
Sweetwater Wind 1 | SWEETWND_WND1 | Nolan |  | West | 2003 | 36.58 | 36.58 | 36.58 | 36.58 | 36.58 | 36.58
Sweetwater Wind 2 | SWEETWN2_WND24 | Nolan |  | West | 2006 | 15.87 | 15.87 | 15.87 | 15.87 | 15.87 | 15.87
Sweetwater Wind 3 | SWEETWN2_WND2 | Nolan |  | West | 2004 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5 | 97.5
Sweetwater Wind 4 | SWEETWN3_WND3 | Nolan |  | West | 2005 | 129 | 129 | 129 | 129 | 129 | 129
Sweetwater Wind 5 | SWEETWN4_WND5 | Nolan |  | West | 2007 | 79.23 | 79.23 | 79.23 | 79.23 | 79.23 | 79.23
Sweetwater Wind 6 | SWEETWN4_WND4B | Nolan |  | West | 2007 | 103.65 | 103.65 | 103.65 | 103.65 | 103.65 | 103.65
Sweetwater Wind 7 | SWEETWN4_WND4A | Nolan |  | West | 2007 | 117.8 | 117.8 | 117.8 | 117.8 | 117.8 | 117.8
Texas Big Spring | SGMTN_SIGNALMT | Howard |  | West | 1999 | 34.32 | 34.32 | 34.32 | 34.32 | 34.32 | 34.32
Trent Wind Farm | TRENT_TRENT | Nolan |  | West | 2001 | 150 | 150 | 150 | 150 | 150 | 150
TSTC West Texas Wind | DG_ROSC2_1UNIT | Nolan |  | West | 2008 | 2 | 2 | 2 | 2 | 2 | 2
Turkey Track Wind Energy Center | TTWEC_G1 | Nolan |  | West | 2008 | 169.5 | 169.5 | 169.5 | 169.5 | 169.5 | 169.5
West Texas Wind Energy | SW_MESA_SW_MESA | Upton |  | West | 1999 | 74.2 | 74.2 | 74.2 | 74.2 | 74.2 | 74.2
Whirlwind Energy | WEC_WECG1 | Floyd |  | West | 2007 | 56.957 | 56.957 | 56.957 | 56.957 | 56.957 | 56.957
Wolfe Flats | DG_TURL_UNIT1 | Hall |  | West | 2007 | 10 | 10 | 10 | 10 | 10 | 10
Wolfe Ridge | WHTTAIL_WR1 | Cooke |  | North | 2008 | 112.5 | 112.5 | 112.5 | 112.5 | 112.5 | 112.5
WIND | [5 empty] | 9527.542 | 9527.542 | 9527.542 | 9527.542 | 9527.542 | 9527.542
Senate Wind Project | 08INR0011 | Jack | Wind |  |  | 0 | 0 | 150 | 150 | 150 | 150
Sherbino Mesa Wind Farm 2 | 06INR0012b | Pecos | Wind |  |  | 0 | 150 | 150 | 150 | 150 | 150
Archer-Young | 08INR0062 | Young | Wind |  |  | 0 | 250 | 250 | 250 | 250 | 250
Gunsight Mountain | 08INR0018 | Howard | Wind |  |  | 0 | 0 | 120 | 120 | 120 | 120
Penascal Wind Farm 3 | 06INR0022c | Kenedy | Wind |  |  | 0 | 0 | 202 | 202 | 202 | 202
Cedar Elm | 04INR0011b | Shackelford | Wind |  |  | 0 | 0 | 0 | 136 | 136 | 136
Cottonwood Wind | 04INR0011c | Shackelford | Wind |  |  | 0 | 0 | 0 | 100 | 100 | 100
New Wind Generation | [5 empty] | 0 | 400 | 872 | 1108 | 1108 | 1108
Lufkin Biomass | LFBIO_UNIT1 | Angelina | Biomass | North | 2011 | 45 | 45 | 45 | 45 | 45 | 45
CFB Power Plant Units 11&12 | 09INR0029 | Calhoun | Coal |  |  | 130 | 260 | 260 | 260 | 260 | 260
Jack County Generation Facility 2 | JCKCNTY2_CT3 | Jack | Gas | North | 2011 | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 2 | JCKCNTY2_CT4 | Jack | Gas | North | 2011 | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 2 | JCKCNTY2_ST2 | Jack | Gas | North | 2011 | 281 | 281 | 281 | 281 | 281 | 281
Sandy Creek 1 | 09INR0001 | McLennan | Coal |  |  | 0 | 925 | 925 | 925 | 925 | 925
Nacogdoches Project | 09INR0007 | Nacogdoches | Biomass |  |  | 0 | 100 | 100 | 100 | 100 | 100
Panda Temple Power | 10INR0020a | Bell | Gas |  |  | 0 | 0 | 0 | 780 | 780 | 780
Pondera King Power Project | 10INR0022 | Harris | Gas |  |  | 0 | 0 | 0 | 1380 | 1380 | 1380
Coleto Creek Unit 2 | 14INR0002 | Goliad | Coal |  |  | 0 | 0 | 0 | 0 | 0 | 660
Panda Temple Power | 10INR0020b | Bell | Gas |  |  | 0 | 0 | 0 | 0 | 780 | 780
New Units with Signed IA and Air Permit | [5 empty] | 740 | 1895 | 1895 | 4055 | 4835 | 5495
Atkins 3 | ATKINS_ATKINSG3 | Brazos | Gas | North | 1954 | 12 | 12 | 12 | 12 | 12 | 12
Atkins 4 | ATKINS_ATKINSG4 | Brazos | Gas | North | 1958 | 22 | 22 | 22 | 22 | 22 | 22
Atkins 5 | ATKINS_ATKINSG5 | Brazos | Gas | North | 1965 | 25 | 25 | 25 | 25 | 25 | 25
Atkins 6 | ATKINS_ATKINSG6 | Brazos | Gas | North | 1969 | 50 | 50 | 50 | 50 | 50 | 50
C E Newman 5 | NEWMAN_NEWMA_5 | Dallas | Gas | North | 1963 | 37 | 37 | 37 | 37 | 37 | 37
Collin 1 | CNSES_UNIT1 | Collin | Gas | North | 1955 | 147 | 147 | 147 | 147 | 147 | 147
DeCordova 1 | DC3SES_UNIT1 | Hood | Gas | North | 1975 | 816 | 816 | 816 | 816 | 816 | 816
Eagle Mountain 1 | EMSES_UNIT1 | Tarrant | Gas | North | 1954 | 118 | 118 | 118 | 118 | 118 | 118
Eagle Mountain 2 | EMSES_UNIT2 | Tarrant | Gas | North | 1956 | 100 | 100 | 100 | 100 | 100 | 100
Eagle Mountain 3 | EMSES_UNIT3 | Tarrant | Gas | North | 1971 | 390 | 390 | 390 | 390 | 390 | 390
Greens Bayou 5 | GBY_GBY_5 | Harris | Gas | Houston | 1973 | 406 | 406 | 406 | 406 | 406 | 406
Lake Creek 1 | LCSES_UNIT1 | Mclennan | Gas | North | 1953 | 81 | 81 | 81 | 81 | 81 | 81
Lake Creek 2 | LCSES_UNIT2 | Mclennan | Gas | North | 1959 | 239 | 239 | 239 | 239 | 239 | 239
North Texas 1 | NTX_NTX_1 | Parker | Gas | North | 1958 | 18 | 18 | 18 | 18 | 18 | 18
North Texas 2 | NTX_NTX_2 | Parker | Gas | North | 1958 | 18 | 18 | 18 | 18 | 18 | 18
North Texas 3 | NTX_NTX_3 | Parker | Gas | North | 1963 | 39 | 39 | 39 | 39 | 39 | 39
Permian Basin 5 | PB5SES_UNIT5 | Ward | Gas | West | 2009 | 112 | 112 | 112 | 112 | 112 | 112
Permian Basin 6 | PBSES_UNIT6 | Ward | Gas | West | 2009 | 515 | 515 | 515 | 515 | 515 | 515
Sam Bertron 1 | SRB_SRB_G1 | Harris | Gas | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174
Sam Bertron 2 | SRB_SRB_G2 | Harris | Gas | Houston | 1956 | 174 | 174 | 174 | 174 | 174 | 174
Spencer 4 | SPNCER_SPNCE_4 | Denton | Gas | North | 1966 | 61 | 61 | 61 | 61 | 61 | 61
Spencer 5 | SPNCER_SPNCE_5 | Denton | Gas | North | 1973 | 61 | 61 | 61 | 61 | 61 | 61
Tradinghouse 2 | THSES_UNIT2 | Mclennan | Gas | North | 1972 | 787 | 787 | 787 | 787 | 787 | 787
Valley 1 | VLSES_UNIT1 | Fannin | Gas | North | 1962 | 174 | 174 | 174 | 174 | 174 | 174
Valley 2 | VLSES_UNIT2 | Fannin | Gas | North | 1967 | 520 | 520 | 520 | 520 | 520 | 520
Valley 3 | VLSES_UNIT3 | Fannin | Gas | North | 1971 | 375 | 375 | 375 | 375 | 375 | 375
W B Tuttle 1 | TUTTLE_WBT1G1 | Bexar | Gas | South | 1954 | 61 | 61 | 61 | 61 | 61 | 61
W B Tuttle 3 | TUTTLE_WBT3G3 | Bexar | Gas | South | 1956 | 90 | 90 | 90 | 90 | 90 | 90
W B Tuttle 4 | TUTTLE_WBT4G4 | Bexar | Gas | South | 1961 | 154 | 154 | 154 | 154 | 154 | 154
Mothballed Resources | [5 empty] | 5776 | 5776 | 5776 | 5776 | 5776 | 5776
Collin 1 | CNSES_UNIT1 | Collin | Gas | North | 1955 | 147 | 147 | 147 | 147 | 147 | 147
DeCordova 1 | DC3SES_UNIT1 | Hood | Gas | North | 1975 | 816 | 816 | 816 | 816 | 816 | 816
Eagle Mountain 1 | EMSES_UNIT1 | Tarrant | Gas | North | 1954 | 118 | 118 | 118 | 118 | 118 | 118
Eagle Mountain 2 | EMSES_UNIT2 | Tarrant | Gas | North | 1956 | 100 | 100 | 100 | 100 | 100 | 100
Eagle Mountain 3 | EMSES_UNIT3 | Tarrant | Gas | North | 1971 | 390 | 390 | 390 | 390 | 390 | 390
Lake Creek 1 | LCSES_UNIT1 | Mclennan | Gas | North | 1953 | 81 | 81 | 81 | 81 | 81 | 81
Lake Creek 2 | LCSES_UNIT2 | Mclennan | Gas | North | 1959 | 239 | 239 | 239 | 239 | 239 | 239
Permian Basin 5 | PB5SES_UNIT5 | Ward | Gas | West | 1959 | 112 | 112 | 112 | 112 | 112 | 112
Tradinghouse 2 | THSES_UNIT2 | Mclennan | Gas | North | 1972 | 787 | 787 | 787 | 787 | 787 | 787
Mothballed Units to Retire | [5 empty] | 2790 | 2790 | 2790 | 2790 | 2790 | 2790
Las Brisas Energy Center | 12INR0016 | Nueces | Other |  |  | 0 | 0 | 0 | 0 | 620 | 1240
Pampa Energy Center | 07INR0004 | Gray | Steam-Coal |  |  | 0 | 0 | 165 | 165 | 165 | 165
White Stallion Energy Center | 14INR0005 | Matagorda | Steam-Coal |  |  | 0 | 0 | 0 | 1200 | 1200 | 1200
STP 3 and 4 | 15INR0008 | Matagorda | Nuclear |  |  | 0 | 0 | 0 | 0 | 0 | 2700
Potential Public Non-Wind Resources | [5 empty] | 0 | 0 | 165 | 1365 | 1985 | 5305
Throckmorton Wind Farm | 12INR0003 | Throckmorton | Wind |  |  | 400 | 400 | 400 | 400 | 400 | 400
Gulf Wind 2 | 05INR0015b | Kenedy | Wind |  |  | 400 | 400 | 400 | 400 | 400 | 400
Gulf Wind 3 | 05INR0015c | Kenedy | Wind |  |  | 400 | 400 | 400 | 400 | 400 | 400
Buffalo Gap 4 and 5 | 08INR0065 | Nolan | Wind |  |  | 465 | 465 | 465 | 465 | 465 | 465
Gatesville Wind Farm | 09INR0034 | Coryell | Wind |  |  | 0 | 200 | 200 | 200 | 200 | 200
M Bar Wind | 08INR0038 | Andrews | Wind |  |  | 0 | 194 | 194 | 194 | 194 | 194
Pistol Hill Energy Center | 08INR0025 | Ector | Wind |  |  | 0 | 300 | 300 | 300 | 300 | 300
2W Whatley Phase 1 | 11INR0084 | Ector | Wind |  |  | 0 | 45 | 45 | 45 | 45 | 45
Scurry County Wind III | 09INR0037 | Scurry | Wind |  |  | 0 | 350 | 350 | 350 | 350 | 350
B&B Panhandle Wind | 09INR0024 | Carson | Wind |  |  | 0 | 1001 | 1001 | 1001 | 1001 | 1001
Fort Concho Wind Farm | 12INR0004 | Tom Green | Wind |  |  | 0 | 0 | 400 | 400 | 400 | 400
2W Whatley Phase 2 | 12INR0043 | Ector | Wind |  |  | 0 | 0 | 290 | 290 | 290 | 290
McAdoo Energy Center II | 09INR0036 | Dickens | Wind |  |  | 0 | 0 | 500 | 500 | 500 | 500
Potential Public Wind Resources | [5 empty] | 1665 | 3755 | 4945 | 4945 | 4945 | 4945
| 10INR0029 | Hood | Gas |  |  | 810 | 810 | 810 | 810 | 810 | 810
| 10INR0032 | Navarro | Gas |  |  | 775 | 775 | 775 | 775 | 775 | 775
| 10INR0080 | Presidio | Solar |  |  | 144 | 144 | 144 | 144 | 144 | 144
| 10INR0082 | Travis | Solar |  |  | 30 | 30 | 30 | 30 | 30 | 30
| 11INR0088 | Brazos | Gas |  |  | 45 | 45 | 45 | 45 | 45 | 45
| 11INR0075 | Fort Bend | Coal |  |  | 15 | 15 | 15 | 15 | 15 | 15
| 11INR0071 | Harris | Gas |  |  | 7 | 7 | 7 | 7 | 7 | 7
| 11INR0086 | Travis | Solar |  |  | 60 | 60 | 60 | 60 | 60 | 60
| 11INR0037 | Smith | Biomass |  |  | 50 | 50 | 50 | 50 | 50 | 50
| 11INR0058 | Pecos | Solar |  |  | 135 | 135 | 135 | 135 | 135 | 135
| 11INR0060 | Tom Green | Solar |  |  | 90 | 90 | 90 | 90 | 90 | 90
| 11INR0061 | Presidio | Solar |  |  | 90 | 90 | 90 | 90 | 90 | 90
| 09INR0050 | Fannin | Gas |  |  | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
| 10INR0089 | Harris | Other |  |  | 40 | 40 | 40 | 40 | 40 | 40
| 11INR0006 | Lamar | Gas |  |  | 0 | 579 | 579 | 579 | 579 | 579
| 11INR0040 | freestone | Gas |  |  | 0 | 640 | 640 | 640 | 640 | 640
| 10INR0021 | Grayson | Gas |  |  | 0 | 646 | 646 | 646 | 646 | 646
| 11INR0090 | Howard | Solar |  |  | 0 | 60 | 60 | 60 | 60 | 60
| 11INR0070 | Reeves | Solar |  |  | 0 | 50 | 50 | 50 | 50 | 50
| 11INR0089 | Hays | Solar |  |  | 0 | 20 | 20 | 20 | 20 | 20
| 10INR0085 | Ector | Solar |  |  | 0 | 40 | 40 | 40 | 40 | 40
| 10INR0018 | Madison | Gas |  |  | 0 | 550 | 550 | 550 | 550 | 550
| 09INR0031 | Ector | Gas |  |  | 0 | 275 | 275 | 275 | 275 | 275
| 12INR0007 | Lamar | Gas |  |  | 0 | 296 | 296 | 296 | 296 | 296
| 11INR0049 | Wharton | Gas |  |  | 0 | 275 | 275 | 275 | 275 | 275
| 12INR0006 | Limestone | Coal |  |  | 0 | 875 | 875 | 875 | 875 | 875
| 13INR0023 | Ector | Gas |  |  | 0 | 0 | 0 | 240 | 240 | 240
| 13INR0028 | Hale | Gas |  |  | 0 | 0 | 0 | 392 | 392 | 392
| 14INR0003 | Nolan | Coal |  |  | 0 | 0 | 0 | 850 | 850 | 850
| 13INR0021 | Llano | Gas |  |  | 0 | 0 | 0 | 0 | 600 | 600
| 16INR0002 | Brazoria | Other |  |  | 0 | 0 | 0 | 0 | 0 | 0
Potential Confidential Non-Wind Resources | [5 empty] | 3491 | 7797 | 7797 | 9279 | 9879 | 9879
| 09INR0054 | Stonewall | Wind |  |  | 148.5 | 148.5 | 148.5 | 148.5 | 148.5 | 148.5
| 09INR0061 | Kent | Wind |  |  | 258 | 258 | 258 | 258 | 258 | 258
| 10INR0048 | Hardeman | Wind |  |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 10INR0016 | Childress | Wind |  |  | 150 | 150 | 150 | 150 | 150 | 150
| 10INR0054 | Palo Pinto | Wind |  |  | 36 | 36 | 36 | 36 | 36 | 36
| 10INR0079 | Nolan | Wind |  |  | 60 | 60 | 60 | 60 | 60 | 60
| 10INR0013 | Upton | Wind |  |  | 400 | 400 | 400 | 400 | 400 | 400
| 10INR0052a | Knox | Wind |  |  | 21 | 21 | 21 | 21 | 21 | 21
| 09INR0074 | Motley | Wind |  |  | 70 | 70 | 70 | 70 | 70 | 70
| 10INR0041 | Floyd | Wind |  |  | 135 | 135 | 135 | 135 | 135 | 135
| 11INR0029 | Throckmorton | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 07INR0013 | Coke | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 10INR0008 | Pecos | Wind |  |  | 500 | 500 | 500 | 500 | 500 | 500
| 10INR0019 | Deaf Smith | Wind |  |  | 609 | 609 | 609 | 609 | 609 | 609
| 10INR0033 | Armstrong | Wind |  |  | 399 | 399 | 399 | 399 | 399 | 399
| 10INR0042 | Mason | Wind |  |  | 170 | 170 | 170 | 170 | 170 | 170
| 10INR0056 | Borden | Wind |  |  | 249 | 249 | 249 | 249 | 249 | 249
| 10INR0060 | Willacy | Wind |  |  | 400.5 | 400.5 | 400.5 | 400.5 | 400.5 | 400.5
| 10INR0077 | Callahan | Wind |  |  | 101 | 101 | 101 | 101 | 101 | 101
| 10INR0051 | Brazoria | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 11INR0076 | Archer | Wind |  |  | 94 | 94 | 94 | 94 | 94 | 94
| 11INR0050 | Crosby | Wind |  |  | 149 | 149 | 149 | 149 | 149 | 149
| 11INR0081 | Live Oak | Wind |  |  | 72 | 72 | 72 | 72 | 72 | 72
| 11INR0082a | Val Verde | Wind |  |  | 50 | 50 | 50 | 50 | 50 | 50
| 11INR0083a | Crockett | Wind |  |  | 50 | 50 | 50 | 50 | 50 | 50
| 11INR0062 | Nueces | Wind |  |  | 149 | 149 | 149 | 149 | 149 | 149
| 11INR0033a | Cameron | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 11INR0033b | Cameron | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 08INR0020 | Eastland | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 10INR0023 | Haskell | Wind |  |  | 386 | 386 | 386 | 386 | 386 | 386
| 11INR0054 | San Patricio | Wind |  |  | 161 | 161 | 161 | 161 | 161 | 161
| 11INR0057 | Cameron | Wind |  |  | 165 | 165 | 165 | 165 | 165 | 165
| 11INR0065 | Nueces | Wind |  |  | 240 | 240 | 240 | 240 | 240 | 240
| 11INR0019 | Upton | Wind |  |  | 200 | 200 | 200 | 200 | 200 | 200
| 11INR0091 | Webb | Wind |  |  | 92 | 92 | 92 | 92 | 92 | 92
| 11INR0039 | Starr | Wind |  |  | 0 | 201 | 201 | 201 | 201 | 201
| 11INR0047 | Deaf Smith | Wind |  |  | 0 | 600 | 600 | 600 | 600 | 600
| 11INR0079a | Clay | Wind |  |  | 0 | 200 | 200 | 200 | 200 | 200
| 10INR0062a | Pecos | Wind |  |  | 0 | 80 | 80 | 80 | 80 | 80
| 10INR0081b | Clay | Wind |  |  | 0 | 19.2 | 19.2 | 19.2 | 19.2 | 19.2
| 08INR0049 | Clay | Wind |  |  | 0 | 50 | 50 | 50 | 50 | 50
| 11INR0013 | Mills | Wind |  |  | 0 | 150 | 150 | 150 | 150 | 150
| 11INR0025 | Crockett | Wind |  |  | 0 | 400 | 400 | 400 | 400 | 400
| 11INR0043 | Coke | Wind |  |  | 0 | 300 | 300 | 300 | 300 | 300
| 11INR0067 | Cameron | Wind |  |  | 0 | 78 | 78 | 78 | 78 | 78
| 12INR0034 | Borden | Wind |  |  | 0 | 342 | 342 | 342 | 342 | 342
| 11INR0005 | Upton | Wind |  |  | 0 | 500 | 500 | 500 | 500 | 500
| 09INR0048 | Jack | Wind |  |  | 0 | 150 | 150 | 150 | 150 | 150
| 09INR0075 | Kinney | Wind |  |  | 0 | 248 | 248 | 248 | 248 | 248
| 12INR0021 | Edwards | Wind |  |  | 0 | 165 | 165 | 165 | 165 | 165
| 12INR0033 | Motley | Wind |  |  | 0 | 150 | 150 | 150 | 150 | 150
| 12INR0042 | Deaf Smith | Wind |  |  | 0 | 400 | 400 | 400 | 400 | 400
| 10INR0081a | Clay | Wind |  |  | 0 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4
| 08INR0031 | Childress | Wind |  |  | 0 | 100 | 100 | 100 | 100 | 100
| 12INR0053 | Crockett | Wind |  |  | 0 | 615 | 615 | 615 | 615 | 615
| 08INR0041 | Coke | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 12INR0026 | Randall | Wind |  |  | 0 | 0 | 400 | 400 | 400 | 400
| 08INR0044 | Concho | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 12INR0035 | Nueces | Wind |  |  | 0 | 0 | 249 | 249 | 249 | 249
| 08INR0054 | Comanche | Wind |  |  | 0 | 0 | 401 | 401 | 401 | 401
| 08INR0042 | Coke | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 09INR0025 | Concho | Wind |  |  | 0 | 0 | 180 | 180 | 180 | 180
| 12INR0005 | Floyd | Wind |  |  | 0 | 0 | 1100 | 1100 | 1100 | 1100
| 12INR0022 | Hidalgo | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 12INR0029 | Swisher | Wind |  |  | 0 | 0 | 500 | 500 | 500 | 500
| 10INR0024 | Briscoe | Wind |  |  | 0 | 0 | 2940 | 2940 | 2940 | 2940
| 12INR0027 | Gray | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 09INR0058 | Howard | Wind |  |  | 0 | 0 | 250 | 250 | 250 | 250
| 11INR0082b | Val Verde | Wind |  |  | 0 | 0 | 150 | 150 | 150 | 150
| 11INR0083b | Crockett | Wind |  |  | 0 | 0 | 100 | 100 | 100 | 100
| 12INR0018 | Gray | Wind |  |  | 0 | 0 | 500 | 500 | 500 | 500
| 10INR0062b | Pecos | Wind |  |  | 0 | 0 | 220 | 220 | 220 | 220
| 13INR0020a | Glasscock | Wind |  |  | 0 | 0 | 200 | 200 | 200 | 200
| 09INR0041 | Mitchell | Wind |  |  | 0 | 0 | 300 | 300 | 300 | 300
| 09INR0051 | Borden | Wind |  |  | 0 | 0 | 249 | 249 | 249 | 249
| 13INR0016 | Deaf Smith | Wind |  |  | 0 | 0 | 0 | 250.5 | 250.5 | 250.5
| 13INR0004 | Deaf Smith | Wind |  |  | 0 | 0 | 0 | 500 | 500 | 500
| 13INR0005 | Carson | Wind |  |  | 0 | 0 | 0 | 600 | 600 | 600
| 12INR0002a | Briscoe | Wind |  |  | 0 | 0 | 0 | 200 | 200 | 200
| 09INR0077 | Reagan | Wind |  |  | 0 | 0 | 0 | 500 | 500 | 500
| 13INR0007 | Pecos | Wind |  |  | 0 | 0 | 0 | 200 | 200 | 200
| 13INR0017 | Childress | Wind |  |  | 0 | 0 | 0 | 200 | 200 | 200
| 09INR0073 | Scurry | Wind |  |  | 0 | 0 | 0 | 200 | 200 | 200
| 13INR0010 | Parmer | Wind |  |  | 0 | 0 | 0 | 1200 | 1200 | 1200
| 08INR0019a | Gray | Wind |  |  | 0 | 0 | 0 | 250 | 250 | 250
| 08INR0019b | Gray | Wind |  |  | 0 | 0 | 0 | 250 | 250 | 250
| 08INR0019c | Gray | Wind |  |  | 0 | 0 | 0 | 250 | 250 | 250
| 13INR0006 | Gray | Wind |  |  | 0 | 0 | 0 | 750 | 750 | 750
| 10INR0015 | Mitchell | Wind |  |  | 0 | 0 | 0 | 350 | 350 | 350
| 13INR0020b | Glasscock | Wind |  |  | 0 | 0 | 0 | 150 | 150 | 150
| 14INR0001 | Pecos | Wind |  |  | 0 | 0 | 0 | 0 | 500 | 500
| 12INR0002b | Briscoe | Wind |  |  | 0 | 0 | 0 | 0 | 200 | 200
| 12INR0002c | Briscoe | Wind |  |  | 0 | 0 | 0 | 0 | 0 | 350
Potential Confidential Wind Resources | [5 empty] | 7715 | 12493.6 | 21232.6 | 27083.1 | 27783.1 | 28133.1
Cobisa-Greenville | 06INR0006 | Hunt | Gas |  |  | 0 | 0 | 0 | 1792 | 1792 | 1792
Excluded Resources | [5 empty] | 0 | 0 | 0 | 1792 | 1792 | 1792
Protected Information
Protected Information
Protected Information
Protected Information
Protected Information
Protected Information
Protected Information
Protected Information
Protected Information