## Disclaimer
CDR WORKING PAPERS
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and member company purposes and has been developed from data contributed by ERCOT member companies, that affect the conclusions and opinion reflected in this Working Paper, which may contain errors or be or become obsolete. ERCOT AND ITS CONTRIBUTING MEMBER COMPANIES MAKE NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIM ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT member company that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT member companies as part of their Annual Load Data Request (ALDR) and on the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Winter Summary
2002 CDR WINTER SUMMARY
TDSP | Data Description (1)
Austin Energy | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 1527 | 1636 | 1752 | 1809 | 1864
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 1527 | 1636 | 1752 | 1809 | 1864
AEP | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 4497.4 | 4661.2 | 4799.9 | 4929.4 | 5050.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 4497.4 | 4661.2 | 4799.9 | 4929.4 | 5050.6
Big Country Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 24.3 | 24.7 | 25.1 | 25.5 | 26
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 24.3 | 24.7 | 25.1 | 25.5 | 26
Brazos Electric Power Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 1781.5 | 1861.7 | 1946.2 | 2035.4 | 2129.5
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 1781.5 | 1861.7 | 1946.2 | 2035.4 | 2129.5
Brownsville Public Utilities Board | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 181.6 | 488.9 | 496.2 | 502.7 | 510
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 181.6 | 488.9 | 496.2 | 502.7 | 510
Bryan Texas Utilities | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 182.5 | 184.2 | 186 | 187.8 | 189.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 182.5 | 184.2 | 186 | 187.8 | 189.6
Coleman County Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 19.6 | 20.1 | 20.5 | 20.9 | 21.3
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 19.6 | 20.1 | 20.5 | 20.9 | 21.3
City of College Station | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 103 | 105 | 107 | 107 | 109
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 103 | 105 | 107 | 107 | 109
City of Coleman | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 7.1 | 7.2 | 7.4 | 7.5 | 7.7
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 7.1 | 7.2 | 7.4 | 7.5 | 7.7
City Public Service of San Antonio | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 2838.5 | 2897.2 | 2995.4 | 3094.9 | 3197.6
| Winter Interruptible Demand (MW) | 15.5 | 15.5 | 15.5 | 15.5 | 15.5
| Winter Firm Peak Demand (MW) | 2823 | 2881.7 | 2980 | 3079.4 | 3182.2
Concho Valley Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 33.1 | 33.8 | 34.5 | 35.2 | 35.9
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 33.1 | 33.8 | 34.5 | 35.2 | 35.9
Denton Municipal Electric | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 192.5 | 194.6 | 197.4 | 200.2 | 203
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 192.5 | 194.6 | 197.4 | 200.2 | 203
Garland Power and Light | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 406 | 407.4 | 409.1 | 416.9 | 428.5
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 406 | 407.4 | 409.1 | 416.9 | 428.5
Greenville Electric Utility System | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 72.7 | 73.4 | 74.2 | 74.9 | 75.7
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 72.7 | 73.4 | 74.2 | 74.9 | 75.7
City of Granbury | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 14 | 14.3 | 14.5 | 14.8 | 15.2
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 14 | 14.3 | 14.5 | 14.8 | 15.2
City of Hearne | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 7 | 7 | 7.1 | 7.2 | 7.3
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 7 | 7 | 7.1 | 7.2 | 7.3
LCRA | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 3035.9 | 3180.9 | 3327.7 | 3476.4 | 3626.6
| Winter Interruptible Demand (MW) | 147 | 147 | 147 | 147 | 147
| Winter Firm Peak Demand (MW) | 2888.9 | 3033.9 | 3180.7 | 3329.4 | 3479.6
Lighthouse Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 1 | 1 | 1.1 | 1.1 | 1.1
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 1 | 1 | 1.1 | 1.1 | 1.1
Magic Valley Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 235.4 | 250.2 | 285.2 | 321.8 | 357.5
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 235.4 | 250.2 | 285.2 | 321.8 | 357.5
Pedernales Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 3.9 | 4 | 4.1 | 4.2 | 4.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 3.9 | 4 | 4.1 | 4.2 | 4.4
Rayburn Country Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 506.1 | 545 | 579.4 | 615.4 | 651.3
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 506.1 | 545 | 579.4 | 615.4 | 651.3
Reliant HL&P | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 9930.6 | 10283.3 | 10521.9 | 10756.9 | 10990.5
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 9930.6 | 10283.3 | 10521.9 | 10756.9 | 10990.5
Rio Grande Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 9 | 9.2 | 9.4 | 9.5 | 9.7
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 9 | 9.2 | 9.4 | 9.5 | 9.7
Sharyland Utilities | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 9.7 | 12.2 | 18.7 | 31.7 | 51.1
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 9.7 | 12.2 | 18.7 | 31.7 | 51.1
South Texas Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 374 | 386.2 | 403.1 | 412.3 | 428.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 374 | 386.2 | 403.1 | 412.3 | 428.4
Southwest Texas Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 20.4 | 20.8 | 21.3 | 21.7 | 22.1
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 20.4 | 20.8 | 21.3 | 21.7 | 22.1
Taylor Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 44.2 | 45 | 45.7 | 46.5 | 47.2
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 44.2 | 45 | 45.7 | 46.5 | 47.2
Texas New Mexico Power Company | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 1171.9 | 1223.5 | 1190.9 | 1222.1 | 1238.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 1171.9 | 1223.5 | 1190.9 | 1222.1 | 1238.6
Tex-La Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 85 | 86.9 | 88.8 | 90.7 | 92.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 85 | 86.9 | 88.8 | 90.7 | 92.6
Oncor | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 18455.1 | 19087 | 19595.8 | 20176.2 | 20747.5
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 18455.1 | 19087 | 19595.8 | 20176.2 | 20747.5
City of Weatherford | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 48.4 | 49.8 | 51.1 | 52.5 | 53.8
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Peak Demand (MW) | 48.4 | 49.8 | 51.1 | 52.5 | 53.8
ERCOT | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Winter Peak Demand (MW) | 45818 | 47802 | 49217 | 50708 | 52193
| Winter Interruptible Demand (MW) | 162 | 162 | 162 | 162 | 162
| Winter Firm Peak Demand (MW) | 45656 | 47639 | 49054 | 50546 | 52031
GENERATION CAPACITY | Year | 2003 | 2004 | 2005 | 2006 | 2007
| ERCOT Generation Capacity (2) | 76548 | 80402 | 80834 | 81034 | 81034
| DC Tie Capacity | 856 | 856 | 856 | 856 | 856
| Switchable Capacity (3) | 1888 | 1888 | 1888 | 1888 | 1888
| Generation Projects Under Development (4) | 5455 | 14672 | 21934 | 27237 | 27237
| Total | 84747 | 97818 | 105512 | 111015 | 111015
| Wind Generation (5) | 1041 | 1176 | 1176 | 1176 | 1176
MARGINS | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Reserve Based on ERCOT Generation Capacity (MW) | 30892 | 32763 | 31780 | 30488 | 29003
| Percent Reserve Margin | 67.66% | 68.77% | 64.79% | 60.32% | 55.74%
| Percent Capacity Margin | 40.36% | 40.75% | 39.32% | 37.62% | 35.79%
| Reserve Based on ERCOT Gen. And DC Ties (MW) | 31748 | 33619 | 32636 | 31344 | 29859
| Percent Reserve Margin | 69.54% | 70.57% | 66.53% | 62.01% | 57.39%
| Percent Capacity Margin | 41.02% | 41.37% | 39.95% | 38.28% | 36.46%
| Reserve Based on ERCOT Gen., DC Ties, and Switchable Capacity (MW) | 33636 | 35507 | 34524 | 33232 | 31747
| Percent Reserve Margin | 73.67% | 74.53% | 70.38% | 65.75% | 61.02%
| Percent Capacity Margin | 42.42% | 42.7% | 41.31% | 39.67% | 37.89%
| Reserve Based on Total Capacity (MW) | 39091 | 50179 | 56458 | 60469 | 58984
| Percent Reserve Margin | 85.62% | 105.3% | 115.1% | 119.6% | 113.4%
| Percent Capacity Margin | 46.13% | 51.3% | 53.51% | 54.47% | 53.13%
(1) Demand data from ALDRs filed in Mar 2002
(2) Includes planned units with signed interconnection agreements
(3) Capacity capable of serving ERCOT or SPP
(4) Planned units without signed interconnection agreement
(5) Includes existing and planned wind generation

## SummerSummary
2002 CDR SUMMER SUMMARY
TDSP | Data Description (1)
Austin Energy | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 2289 | 2359 | 2428 | 2492 | 2541
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 2289 | 2359 | 2428 | 2492 | 2541
AEP | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 5482.8 | 5620.5 | 5785.4 | 5938.3 | 6083.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 5482.8 | 5620.5 | 5785.4 | 5938.3 | 6083.4
Big Country Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 22.5 | 22.9 | 23.3 | 23.7 | 24.1
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 22.5 | 22.9 | 23.3 | 23.7 | 24.1
Brazos Electric Power Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 1828.9 | 1911.1 | 1997.9 | 2089.5 | 2186.1
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 1828.9 | 1911.1 | 1997.9 | 2089.5 | 2186.1
Brownsville Public Utilities Board | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 246.4 | 555.2 | 564 | 573.7 | 582.5
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 246.4 | 555.2 | 564 | 573.7 | 582.5
Bryan Texas Utilities | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 252 | 258.3 | 264.8 | 271.5 | 278.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 252 | 258.3 | 264.8 | 271.5 | 278.2
Coleman County Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 20.5 | 20.9 | 21.3 | 21.8 | 22.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 20.5 | 20.9 | 21.3 | 21.8 | 22.2
City of College Station | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 175 | 185 | 195 | 204 | 210
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 175 | 185 | 195 | 204 | 210
City of Coleman | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 11.3 | 11.5 | 11.8 | 12 | 12.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 11.3 | 11.5 | 11.8 | 12 | 12.2
City Public Service of San Antonio | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 3833.9 | 3913.2 | 4045.9 | 4180.2 | 4319
| Summer Interruptible Load (MW) | 15.5 | 15.5 | 15.5 | 15.5 | 15.5
| Summer Firm Peak Demand (MW) | 3818.4 | 3897.8 | 4030.4 | 4164.8 | 4303.5
Concho Valley Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 35.5 | 36.3 | 37 | 37.8 | 38.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 35.5 | 36.3 | 37 | 37.8 | 38.6
Denton Municipal Electric | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 275 | 278 | 282 | 286 | 290
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 275 | 278 | 282 | 286 | 290
City of Garland | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 531.1 | 543.7 | 554.3 | 564.9 | 580.5
| Summer Interruptible Load (MW) | 14 | 14 | 14 | 14 | 14
| Summer Firm Peak Demand (MW) | 517.1 | 529.7 | 540.3 | 550.9 | 566.5
Greenville Electric Utility System | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 109.1 | 111.3 | 113.5 | 115.8 | 118.1
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 109.1 | 111.3 | 113.5 | 115.8 | 118.1
City of Granbury | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 19.5 | 19.7 | 19.8 | 20.1 | 20.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 19.5 | 19.7 | 19.8 | 20.1 | 20.6
City of Hearne | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 11.9 | 12 | 12.2 | 12.3 | 12.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 11.9 | 12 | 12.2 | 12.3 | 12.4
LCRA | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 3147.1 | 3294 | 3443.5 | 3595.8 | 3751.2
| Summer Interruptible Load (MW) | 147 | 147 | 147 | 147 | 147
| Summer Firm Peak Demand (MW) | 3000.1 | 3147 | 3296.5 | 3448.8 | 3604.2
Lighthouse Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 2.2 | 2.3 | 2.3 | 2.4 | 2.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 2.2 | 2.3 | 2.3 | 2.4 | 2.4
Magic Valley Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 250.8 | 286.2 | 323.5 | 362.8 | 401
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 250.8 | 286.2 | 323.5 | 362.8 | 401
Pedernales Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 3.2 | 3.3 | 3.4 | 3.5 | 3.7
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 3.2 | 3.3 | 3.4 | 3.5 | 3.7
Rayburn Country Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 422.8 | 532.3 | 565.8 | 601.1 | 636.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 422.8 | 532.3 | 565.8 | 601.1 | 636.2
Reliant HL&P | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 15360.7 | 15842.5 | 16208.8 | 16571.8 | 16932.3
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 15360.7 | 15842.5 | 16208.8 | 16571.8 | 16932.3
Rio Grande Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 5.2 | 5.3 | 5.4 | 5.6 | 5.7
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 5.2 | 5.3 | 5.4 | 5.6 | 5.7
Sharyland Utilities | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 14.3 | 22.3 | 37.3 | 60.8 | 74.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 14.3 | 22.3 | 37.3 | 60.8 | 74.4
South Texas Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 366.5 | 378.4 | 395.1 | 403.9 | 419.5
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 366.5 | 378.4 | 395.1 | 403.9 | 419.5
Southwest Texas Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 20.8 | 21.3 | 21.7 | 22.1 | 22.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 20.8 | 21.3 | 21.7 | 22.1 | 22.6
Taylor Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 37 | 37.7 | 38.3 | 38.9 | 39.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 37 | 37.7 | 38.3 | 38.9 | 39.6
Texas New Mexico Power Company | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 1612.8 | 1738.5 | 1780.3 | 1812.8 | 1841.9
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 1612.8 | 1738.5 | 1780.3 | 1812.8 | 1841.9
Tex-La Electric Coop | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 82.3 | 84.1 | 85.8 | 87.6 | 89.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 82.3 | 84.1 | 85.8 | 87.6 | 89.4
Oncor | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 24193.7 | 25018.7 | 25630.9 | 26376.4 | 27106.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 24193.7 | 25018.7 | 25630.9 | 26376.4 | 27106.4
City of Weatherford | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Summer Peak Demand (MW) | 63.1 | 64.8 | 66.6 | 68.4 | 70.1
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 63.1 | 64.8 | 66.6 | 68.4 | 70.1
ERCOT | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Total Summer Peak Demand (MW) | 60727 | 63190 | 64965 | 66857 | 68715
| Total Summer Interruptible Load (MW) | 176 | 176 | 176 | 176 | 176
| Total Summer Firm Peak Demand (MW) | 60551 | 63014 | 64788 | 66681 | 68138
GENERATION CAPACITY | Year | 2003 | 2004 | 2005 | 2006 | 2007
| ERCOT Generation Capacity (2) | 76313 | 77938 | 78138 | 78138 | 78073
| DC Tie Capacity | 856 | 856 | 856 | 856 | 856
| Switchable Capacity (3) | 1726 | 1726 | 1726 | 1726 | 1726
| Generation Projects Under Development (4) | 13698 | 20540 | 26956 | 26956 | 26956
| Total | 92593 | 101060 | 107676 | 107676 | 107611
| Wind Generation (5) | 1041 | 1176 | 1176 | 1176 | 1176
MARGINS | Year | 2003 | 2004 | 2005 | 2006 | 2007
| Reserve Based on ERCOT Generation Capacity (MW) | 15762 | 14924 | 13350 | 11457 | 9935
| Percent Reserve Margin | 26.03% | 23.68% | 20.61% | 17.18% | 14.58%
| Percent Capacity Margin | 20.65% | 19.15% | 17.09% | 14.66% | 12.73%
| Reserve Based on ERCOT Gen. And DC Ties (MW) | 16618 | 15780 | 14206 | 12313 | 10791
| Percent Reserve Margin | 27.44% | 25.04% | 21.93% | 18.47% | 15.84%
| Percent Capacity Margin | 21.53% | 20.03% | 17.98% | 15.59% | 13.67%
| Reserve Based on ERCOT Gen., DC Ties, and Switchable Capacity (MW) | 18344 | 17506 | 15932 | 14039 | 12517
| Percent Reserve Margin | 30.3% | 27.78% | 24.59% | 21.05% | 18.37%
| Percent Capacity Margin | 23.25% | 21.74% | 19.74% | 17.39% | 15.52%
| Reserve Based on Total Capacity (MW) | 32042 | 38046 | 42888 | 40995 | 39473
| Percent Reserve Margin | 52.92% | 60.38% | 66.2% | 61.48% | 57.93%
| Percent Capacity Margin | 34.61% | 37.65% | 39.83% | 38.07% | 36.68%
(1) Demand data from ALDRs filed in Mar 2002
(2) Includes planned units with signed interconnection agreements
(3) Capacity capable of serving ERCOT or SPP
(4) Planned units without signed interconnection agreement
(5) Includes existing and planned wind generation