## Disclaimer
CDR WORKING PAPERS
FOR PLANNING PURPOSES ONLY
DISCLAIMER
This ERCOT Working Paper has been prepared for specific ERCOT and member company purposes and has been developed from data,
contributed by ERCOT member companies, that affect the conclusions and opinions reflected in this Working Paper, which may contain errors or
be or become obsolete. ERCOT AND ITS CONTRIBUTING MEMBER COMPANIES MAKE NO WARRANTY, EXPRESS OR IMPLIED,
INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIM ANY AND ALL
LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR
USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of this Working Paper and its
accuracy should be confirmed by each ERCOT member company which contributed data for this Working Paper.
These Working Papers are based on data submitted by ERCOT member companies as part of their Annual Load Data Request (ALDR)
and on the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Summer Summary
CDR SUMMER SUMMARY
TDSP | Data Description (1)
AEP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 5314.2 | 5414.6 | 5540.6 | 5704.3 | 5852.2
| Summer Interruptible Load (MW) | 229.9 | 241.9 | 254 | 266.5 | 279.3
| Summer Firm Peak Demand (MW) | 5084.3 | 5172.7 | 5286.6 | 5437.8 | 5572.9
AUSTIN ENERGY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 2394 | 2494 | 2564 | 2650 | 2713
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 2394 | 2494 | 2564 | 2650 | 2713
BIG COUNTRY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 26.7 | 27.2 | 27.7 | 28.2 | 28.7
| Summer Interruptible Load (MW) | 3.6 | 3.7 | 3.8 | 3.8 | 3.9
| Summer Firm Peak Demand (MW) | 23.1 | 23.5 | 23.9 | 24.4 | 24.9
BRAZOS ELECTRIC POWER COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 1909.5 | 2024.5 | 2115.9 | 2212.3 | 2314.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 1909.5 | 2024.5 | 2115.9 | 2212.3 | 2314.2
BROWNSVILLE PUBLIC UTILITIES BOARD | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 421 | 560 | 566 | 573 | 580
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 421 | 560 | 566 | 573 | 580
BRYAN TEXAS UTILITIES | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 278.3 | 286.2 | 294.5 | 303 | 311.7
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 278.3 | 286.2 | 294.5 | 303 | 311.7
CAP ROCK ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 25.9 | 26.7 | 27.6 | 28.6 | 29.5
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 25.9 | 26.7 | 27.6 | 28.6 | 29.5
CITY PUBLIC SERVICE OF SAN ANTONIO | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 4108.8 | 4203.5 | 4281.2 | 4426.4 | 4573.3
| Summer Interruptible Load (MW) | 15.5 | 15.5 | 15.5 | 15.5 | 15.5
| Summer Firm Peak Demand (MW) | 4093.4 | 4188 | 4265.8 | 4410.9 | 4557.9
COLEMAN COUNTY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 19.5 | 19.9 | 20.3 | 20.7 | 21.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 19.5 | 19.9 | 20.3 | 20.7 | 21.2
CITY OF COLLEGE STATION | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 167 | 175 | 185 | 195 | 204
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 167 | 175 | 185 | 195 | 204
CONCHO VALLEY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 38.4 | 39.2 | 40.1 | 40.9 | 41.8
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 38.4 | 39.2 | 40.1 | 40.9 | 41.8
DENTON MUNICIPAL ELECTRIC | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 280 | 285 | 307 | 315 | 317
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 280 | 285 | 307 | 315 | 317
CITY OF GARLAND | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 512 | 521 | 532 | 544 | 557
| Summer Interruptible Load (MW) | 14 | 14 | 15 | 15 | 15
| Summer Firm Peak Demand (MW) | 498 | 507 | 517 | 529 | 542
CITY OF GRANBURY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 19.5 | 19.7 | 19.8 | 20.1 | 20.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 19.5 | 19.7 | 19.8 | 20.1 | 20.6
GREENVILLE ELECTRIC UTILITY SYSTEM | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 109 | 112 | 114 | 117 | 119
| Summer Interruptible Load (MW) | 1 | 1 | 1 | 1 | 1
| Summer Firm Peak Demand (MW) | 108 | 111 | 113 | 116 | 118
CITY OF HEARNE | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 12.4 | 12.6 | 12.8 | 13 | 13.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 12.4 | 12.6 | 12.8 | 13 | 13.2
LCRA | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 2703.8 | 2840.7 | 2981.7 | 3123.9 | 3268
| Summer Interruptible Load (MW) | 147 | 147 | 147 | 147 | 147
| Summer Firm Peak Demand (MW) | 2556.8 | 2693.7 | 2834.7 | 2976.9 | 3121
LIGHTHOUSE ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 2.7 | 2.7 | 2.8 | 2.8 | 2.9
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 2.7 | 2.7 | 2.8 | 2.8 | 2.9
MAGIC VALLEY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 250.8 | 268.3 | 281.5 | 301.2 | 322.3
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 250.8 | 268.3 | 281.5 | 301.2 | 322.3
PEDERNALES ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 0.8 | 0.9 | 0.9 | 0.9 | 0.9
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 0.8 | 0.9 | 0.9 | 0.9 | 0.9
RAYBURN COUNTRY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 465.3 | 482 | 497.2 | 512.9 | 528.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 465.3 | 482 | 497.2 | 512.9 | 528.6
RELIANT HL&P | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 15869.8 | 16282.2 | 16652.8 | 17036.5 | 17391.5
| Summer Interruptible Load (MW) | 1057.4 | 1073.5 | 1095.4 | 1119.1 | 1119
| Summer Firm Peak Demand (MW) | 14812.5 | 15208.7 | 15557.5 | 15917.4 | 16272.5
RIO GRANDE ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 8.5 | 8.7 | 8.9 | 9.1 | 9.3
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 8.5 | 8.7 | 8.9 | 9.1 | 9.3
SHARYLAND UTILITIES | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 16.9 | 28.4 | 49.5 | 79 | 123.4
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 16.9 | 28.4 | 49.5 | 79 | 123.4
SOUTH TEXAS ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 364.9 | 381.4 | 398.5 | 416.5 | 435.2
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 364.9 | 381.4 | 398.5 | 416.5 | 435.2
SOUTH WEST TEXAS ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 20.9 | 21.3 | 21.8 | 22.3 | 22.8
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 20.9 | 21.3 | 21.8 | 22.3 | 22.8
SOUTHWEST ELECTRIC SERVICE COMPANY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 294 | 296.2 | 298.3 | 300.5 | 302.6
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 294 | 296.2 | 298.3 | 300.5 | 302.6
TAYLOR ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 39.8 | 40.6 | 41.3 | 42.1 | 42.9
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 39.8 | 40.6 | 41.3 | 42.1 | 42.9
TEXAS NEW MEXICO POWER COMPANY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 1187 | 1217 | 1248 | 1280 | 1342
| Summer Interruptible Load (MW) | 20 | 20 | 20 | 20 | 20
| Summer Firm Peak Demand (MW) | 1167 | 1197 | 1228 | 1260 | 1322
TEX-LA ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 93.1 | 110 | 111.9 | 113.9 | 115.9
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 93.1 | 110 | 111.9 | 113.9 | 115.9
TXU ELECTRIC | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 23420.5 | 23807.2 | 24359.5 | 24816.3 | 25367.3
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 23420.5 | 23807.2 | 24359.5 | 24816.3 | 25367.3
CITY OF WEATHERFORD | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Summer Peak Demand (MW) | 64.5 | 66.1 | 67.7 | 69.5 | 71.3
| Summer Interruptible Load (MW) | 0 | 0 | 0 | 0 | 0
| Summer Firm Peak Demand (MW) | 64.5 | 66.1 | 67.7 | 69.5 | 71.3
ERCOT (based on TDSP forecasts) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Total Summer Peak Demand (MW) | 60439 | 62075 | 63671 | 65319 | 67044
| Total Summer Interruptible Load (MW) | 1488 | 1517 | 1552 | 1588 | 1601
| Total Summer Firm Peak Demand (MW) | 58951 | 60558 | 62120 | 63731 | 65443
GENERATION CAPACITY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| ERCOT Generation Capacity (2) (3) | 75479 | 77414 | 77714 | 77714 | 77714
| DC Tie Capacity | 856 | 856 | 856 | 856 | 856
| Switchable Capacity (4) | 1726.2 | 1726.2 | 1726.2 | 1726.2 | 1726.2
| Generation Projects under Development (5) | 5105 | 16060 | 24977 | 30286 | 30286
| Total | 83166.2 | 96056.2 | 105273.2 | 110582.2 | 110582.2
| Wind Generation (6) | 1926 | 2736 | 2736 | 2736 | 2736 | Wind generation is not used in Margin Calculations
MARGINS (based on TDSP forecast) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Reserve Based on ERCOT Generation Capacity (MW) | 16528 | 16856 | 15594 | 13983 | 12271
| Percent Reserve Margin with Interruptible Load | 27.35% | 27.15% | 24.49% | 21.41% | 18.3% | Serving Interruptible Load
| Percent Reserve Margin | 28.04% | 27.83% | 25.1% | 21.94% | 18.75% | Not Serving Interruptible Load
| Percent Capacity Margin | 21.9% | 21.77% | 20.07% | 17.99% | 15.79%
| Reserve Based on ERCOT Gen. and DC Ties (MW) | 17384 | 17712 | 16450 | 14839 | 13127
| Percent Reserve Margin | 29.49% | 29.25% | 26.48% | 23.28% | 20.06%
| Percent Capacity Margin | 22.77% | 22.63% | 20.94% | 18.89% | 16.71%
| Reserve Based on ERCOT Gen, DC Ties, and Switchable Capacity (MW) | 19110.2 | 19438.2 | 18176.2 | 16565.2 | 14853.2
| Percent Reserve Margin | 32.42% | 32.1% | 29.26% | 25.99% | 22.7%
| Percent Capacity Margin | 24.48% | 24.3% | 22.64% | 20.63% | 18.5%
| Reserve Based on Total Capacity (MW) | 24215.2 | 35498.2 | 43153.2 | 46851.2 | 45139.2 | Assumes all proposed generation projects are developed.
| Percent Reserve Margin | 41.08% | 58.62% | 69.47% | 73.51% | 68.97%
| Percent Capacity Margin | 29.12% | 36.96% | 40.99% | 42.37% | 40.82%
ERCOT (based on System Planning Forecast) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Total Summer Firm Peak Demand (MW) | 61351.7725 | 63315.0293 | 65341.1102 | 67432.0257 | 69589.8506
MARGINS (based on System Planning forecast) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Reserve Based on ERCOT Generation Capacity (MW) | 14127.2275 | 14098.9707 | 12372.8898 | 10281.9743 | 8124.1494
| Percent Reserve Margin with Interruptible Load | 22.48% | 21.75% | 18.5% | 14.9% | 11.41% | Serving Interruptible Load
| Percent Reserve Margin | 23.03% | 22.27% | 18.94% | 15.25% | 11.67% | Not Serving Interruptible Load
| Percent Capacity Margin | 18.72% | 18.21% | 15.92% | 13.23% | 10.45%
| Reserve Based on ERCOT Gen. and DC Ties (MW) | 14983.2275 | 14954.9707 | 13228.8898 | 11137.9743 | 8980.1494
| Percent Reserve Margin | 24.42% | 23.62% | 20.25% | 16.52% | 12.9%
| Percent Capacity Margin | 19.63% | 19.11% | 16.84% | 14.18% | 11.43%
| Reserve Based on ERCOT Gen, DC Ties, and Switchable Capacity (MW) | 16709.4275 | 16681.1707 | 14955.0898 | 12864.1743 | 10706.3494
| Percent Reserve Margin | 27.24% | 26.35% | 22.89% | 19.08% | 15.38%
| Percent Capacity Margin | 21.41% | 20.85% | 18.62% | 16.02% | 13.33%
| Reserve Based on Total Capacity (MW) | 21814.4275 | 32741.1707 | 39932.0898 | 43150.1743 | 40992.3494 | Assumes all proposed generation projects are developed.
| Percent Reserve Margin | 35.56% | 51.71% | 61.11% | 63.99% | 58.91%
| Percent Capacity Margin | 26.23% | 34.09% | 37.93% | 39.02% | 37.07%
(1) Demand data from ALDRs filed in April 2001 by TDSPs
(2) Most units updated according to asset registration
(3) Includes planned units with signed interconnection agreement
(4) Capacity capable of serving ERCOT or SPP
(5) Planned units without signed interconnection agreement
(6) Includes existing and planned wind generation

## Winter Summary
CDR WINTER SUMMARY
TDSP | Data Description (1)
AEP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 4124.3 | 4220.1 | 4303.5 | 4429.4 | 4542.4
| Winter Interruptible Demand (MW) | 229.9 | 241.9 | 254 | 266.5 | 279.3
| Winter Firm Demand (MW) | 3894.4 | 3978.2 | 4049.5 | 4162.9 | 4263.2
AUSTIN ENERGY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 1858 | 2020 | 2119 | 2187 | 2256
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 1858 | 2020 | 2119 | 2187 | 2256
BIG COUNTRY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 21.5 | 21.9 | 22.4 | 22.8 | 23.2
| Winter Interruptible Demand (MW) | 3.6 | 3.6 | 3.7 | 3.8 | 3.8
| Winter Firm Demand (MW) | 18 | 18.3 | 18.6 | 19 | 19.4
BRAZOS ELECTRIC POWER COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 1720 | 1822 | 1904 | 1991 | 2083
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 1720 | 1822 | 1904 | 1991 | 2083
BROWNSVILLE PUBLIC UTILITIES BOARD | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 145 | 404 | 442 | 446 | 450
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 145 | 404 | 442 | 446 | 450
BRYAN TEXAS UTILITIES | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 168.5 | 179.7 | 183.2 | 186.7 | 190.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 168.5 | 179.7 | 183.2 | 186.7 | 190.4
CAP ROCK ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 20.2 | 20.8 | 21.6 | 22.3 | 23
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 20.2 | 20.8 | 21.6 | 22.3 | 23
CITY PUBLIC SERVICE OF SAN ANTONIO | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 2464.9 | 2531.2 | 2578.1 | 2665.4 | 2753.9
| Winter Interruptible Demand (MW) | 15.5 | 15.5 | 15.5 | 15.5 | 15.5
| Winter Firm Demand (MW) | 2449.5 | 2515.8 | 2562.6 | 2650 | 2738.5
COLEMAN COUNTY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 15.3 | 15.6 | 15.9 | 16.3 | 16.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 15.3 | 15.6 | 15.9 | 16.3 | 16.6
CITY OF COLLEGE STATION | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 79.5 | 80 | 81 | 84 | 86
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 79.5 | 80 | 81 | 84 | 86
CONCHO VALLEY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 31.4 | 32.1 | 32.8 | 33.5 | 34.2
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 31.4 | 32.1 | 32.8 | 33.5 | 34.2
DENTON MUNICIPAL ELECTRIC | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 196.3 | 199.5 | 214.9 | 220.5 | 221.9
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 196.3 | 199.5 | 214.9 | 220.5 | 221.9
CITY OF GARLAND | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 388.3 | 388.9 | 394.9 | 403.8 | 413.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 388.3 | 388.9 | 394.9 | 403.8 | 413.4
CITY OF GRANBURY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 14 | 14.3 | 14.5 | 14.8 | 15.2
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 14 | 14.3 | 14.5 | 14.8 | 15.2
GREENVILLE ELECTRIC UTILITY SYSTEM | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 72.4 | 70 | 70 | 70 | 70
| Winter Interruptible Demand (MW) | 1 | 1 | 1 | 1 | 1
| Winter Firm Demand (MW) | 71.4 | 69 | 69 | 69 | 69
CITY OF HEARNE | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 6.9 | 7 | 7.1 | 7.2 | 7.3
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 6.9 | 7 | 7.1 | 7.2 | 7.3
LCRA | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 2441.8 | 2567.6 | 2699.9 | 2833.4 | 2968.6
| Winter Interruptible Demand (MW) | 147 | 147 | 147 | 147 | 147
| Winter Firm Demand (MW) | 2294.8 | 2420.6 | 2552.9 | 2686.4 | 2821.6
LIGHTHOUSE ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 0.6 | 0.6 | 0.7 | 0.7 | 0.7
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 0.6 | 0.6 | 0.7 | 0.7 | 0.7
MAGIC VALLEY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 206 | 224 | 236.2 | 252.7 | 270.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 206 | 224 | 236.2 | 252.7 | 270.4
PEDERNALES ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 0.7 | 0.7 | 0.7 | 0.7 | 0.8
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 0.7 | 0.7 | 0.7 | 0.7 | 0.8
RAYBURN COUNTRY ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 384.2 | 396.6 | 409.3 | 422.5 | 435.8
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 384.2 | 396.6 | 409.3 | 422.5 | 435.8
RELIANT HL&P | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 9790.5 | 10039 | 10260 | 10506 | 10726
| Winter Interruptible Demand (MW) | 610 | 610.9 | 624.2 | 636.5 | 652.7
| Winter Firm Demand (MW) | 9180.5 | 9428.2 | 9635.9 | 9869.5 | 10073.4
RIO GRANDE ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 7.4 | 7.6 | 7.8 | 7.9 | 8.1
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 7.4 | 7.6 | 7.8 | 7.9 | 8.1
SHARYLAND UTILITIES | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 5.9 | 14.5 | 27 | 47 | 74
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 5.9 | 14.5 | 27 | 47 | 74
SOUTH TEXAS ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 275.7 | 288.1 | 301.1 | 314.7 | 328.8
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 275.7 | 288.1 | 301.1 | 314.7 | 328.8
SOUTH WEST TEXAS ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 17.6 | 17.9 | 18.3 | 18.7 | 19.1
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 17.6 | 17.9 | 18.3 | 18.7 | 19.1
SOUTHWEST ELECTRIC SERVICE COMPANY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 225.4 | 227.4 | 229.3 | 231.3 | 233.2
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 225.4 | 227.4 | 229.3 | 231.3 | 233.2
TAYLOR ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 38.6 | 39.3 | 40.1 | 40.8 | 41.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 38.6 | 39.3 | 40.1 | 40.8 | 41.6
TEXAS NEW MEXICO POWER COMPANY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 774 | 959 | 952 | 982 | 1060
| Winter Interruptible Demand (MW) | 20 | 20 | 20 | 20 | 20
| Winter Firm Demand (MW) | 754 | 939 | 932 | 962 | 1040
TEX-LA ELECTRIC COOP | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 91.4 | 108.4 | 110.4 | 112.5 | 114.6
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 91.4 | 108.4 | 110.4 | 112.5 | 114.6
TXU ELECTRIC | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 18115.1 | 18256.9 | 18686.6 | 19066.3 | 19498.9
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 18115.1 | 18256.9 | 18686.6 | 19066.3 | 19498.9
CITY OF WEATHERFORD | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Winter Peak Demand (MW) | 53.7 | 55 | 56.4 | 57.9 | 59.4
| Winter Interruptible Demand (MW) | 0 | 0 | 0 | 0 | 0
| Winter Firm Demand (MW) | 53.7 | 55 | 56.4 | 57.9 | 59.4
ERCOT (based on TDSP forecasts) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Total Winter Peak Demand (MW) | 43755 | 45230 | 46441 | 47696 | 49027
| Total Winter Interruptible Load (MW) | 1027 | 1040 | 1065 | 1090 | 1119
| Total Winter Firm Peak Demand (MW) | 42728 | 44190 | 45375 | 46605 | 47907
GENERATION CAPACITY | Year | 2002 | 2003 | 2004 | 2005 | 2006
| ERCOT Generation Capacity (2) (3) | 73066 | 78040 | 80275 | 80275 | 80275
| DC Tie Capacity | 856 | 856 | 856 | 856 | 856
| Switchable Capacity (4) | 1888 | 1888 | 1888 | 1888 | 1888
| Generation Projects under Development (5) | 2378 | 9465 | 19905 | 25456 | 30481
| Total | 78188 | 90249 | 102924 | 108475 | 113500
| Wind Generation (6) | 1851 | 2736 | 2736 | 2736 | 2736 | Wind generation is not used in Margin Calculations
MARGINS (based on TDSP forecasts) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Reserve Based on ERCOT Generation Capacity (MW) | 30338 | 33850 | 34900 | 33670 | 32368
| Percent Reserve Margin with Interruptible Load | 69.34% | 74.84% | 75.15% | 70.59% | 66.02% | Serving Interruptible Load
| Percent Reserve Margin | 71% | 76.6% | 76.91% | 72.25% | 67.56% | Not Serving Interruptible Load
| Percent Capacity Margin | 41.52% | 43.38% | 43.48% | 41.94% | 40.32%
| Reserve Based on ERCOT Gen. and DC Ties (MW) | 31194 | 34706 | 35756 | 34526 | 33224
| Percent Reserve Margin | 73.01% | 78.54% | 78.8% | 74.08% | 69.35%
| Percent Capacity Margin | 42.2% | 43.99% | 44.07% | 42.56% | 40.95%
| Reserve Based on ERCOT Gen, DC Ties, and Switchable Capacity (MW) | 33082 | 36594 | 37644 | 36414 | 35112
| Percent Reserve Margin | 77.42% | 82.81% | 82.96% | 78.13% | 73.29%
| Percent Capacity Margin | 43.64% | 45.3% | 45.34% | 43.86% | 42.29%
| Reserve Based on Total Capacity (MW) | 35460 | 46059 | 57549 | 61870 | 65593 | Assumes all proposed generation projects are developed.
| Percent Reserve Margin | 82.99% | 104.2% | 126.8% | 132.8% | 136.9%
| Percent Capacity Margin | 45.35% | 51.04% | 55.91% | 57.04% | 57.79%
ERCOT (based on System Planning forecast) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Total Winter Firm Peak Demand (MW) | 45764 | 46915 | 48097 | 49304 | 50544
MARGINS (based on System Planning forecast) | Year | 2002 | 2003 | 2004 | 2005 | 2006
| Reserve Based on ERCOT Generation Capacity (MW) | 27302 | 31125 | 32178 | 30971 | 29731
| Percent Reserve Margin with Interruptible Load | 58.35% | 64.9% | 65.45% | 61.46% | 57.55% | Serving Interruptible Load
| Percent Reserve Margin | 59.66% | 66.34% | 66.9% | 62.82% | 58.82% | Not Serving Interruptible Load
| Percent Capacity Margin | 37.37% | 39.88% | 40.08% | 38.58% | 37.04%
| Reserve Based on ERCOT Gen. and DC Ties (MW) | 28158 | 31981 | 33034 | 31827 | 30587
| Percent Reserve Margin | 61.53% | 68.17% | 68.68% | 64.55% | 60.52%
| Percent Capacity Margin | 38.09% | 40.54% | 40.72% | 39.23% | 37.7%
| Reserve Based on ERCOT Gen, DC Ties, and Switchable Capacity (MW) | 30046 | 33869 | 34922 | 33715 | 32475
| Percent Reserve Margin | 65.65% | 72.19% | 72.61% | 68.38% | 64.25%
| Percent Capacity Margin | 39.63% | 41.93% | 42.07% | 40.61% | 39.12%
| Reserve Based on Total Capacity (MW) | 32424 | 43334 | 54827 | 59171 | 62956 | Assumes all proposed generation projects are developed.
| Percent Reserve Margin | 70.85% | 92.37% | 114% | 120% | 124.6%
| Percent Capacity Margin | 41.47% | 48.02% | 53.27% | 54.55% | 55.47%
(1) Demand data from ALDRs filed in April 2001 by TDSPs
(2) Most units updated according to asset registration
(3) Includes planned units with signed interconnection agreement
(4) Capacity capable of serving ERCOT or SPP
(5) Planned units without signed interconnection agreement
(6) Includes existing and planned wind generation