## TitlePage
REPORT ON THE CAPACITY, DEMAND, AND RESERVES IN THE ERCOT REGION
System Planning
December 2008
ERCOT
2705 West Lake Drive
Taylor, Texas 76574

## Contents
Contents
Tab | Notes
Disclaimer | Please read.
Definitions | List of definitions
Changes from previous May 2008 CDR | List of changes from the prior 2008 CDR (updates, changes in methodology)
SummerSummary | Shows load forecast, generation resources, and reserve margin for summer 2009 through summer 2014
SummerCapacities | Lists units and their capabilities used in determining the generation resources in the Summer Summary

## Disclaimer
Disclaimer
CDR WORKING PAPER
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants as part of their Annual Load Data Request (ALDR) and their generation asset registration and on data in the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Definitions
Definitions
Available Mothballed Generation
The probability that a mothballed unit will return to service, as provided by its owner, multiplied by the capacity of the unit. Return probabilities are considered protected information under the ERCOT Protocols and therefore are not included in this report.
BULs
Balancing up load. Loads capable of reducing the need for electrical energy when providing Balancing Up Load Energy Service as described in the ERCOT Protocols, Section 6, Ancillary Services. BULs are not considered resources as defined by the ERCOT Protocols.
Effective Load-Carrying Capability (ELCC) of Wind Generation
The amount of wind generation that the Generation Adequacy Task Force (GATF) has recommended to be included in the CDR. The value is 8.7% of the nameplate capacity listed in the Unit Capacities tables, both installed capacity and planned capacity.
LaaRs (Loads acting as resources)
Load capable of reducing or increasing the need for electrical energy or providing Ancillary Services to the ERCOT System, as described in the ERCOT Protocols, Section 6, Ancillary Services. These Resources may provide the following Ancillary Services: Responsive Reserve Service, Non-Spinning Reserve Service, Replacement Reserve Service, and Regulation Service. The Resources must be registered and qualified by ERCOT and will be scheduled by a Qualified Scheduling Entity
Mothballed Capacity
The difference in the available mothballed generation (see definition above) and the total mothballed capacity. For summer 2007 this value is zero in the CDR Report because of the fact that there isn't time to return those units before the start of the summer.
Mothballed Unit
A generation resource for which a generation entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR agreement, and for which the generation entity has not announced retirement of the generation resource.
Net Dependable Capability
Maximum sustainable capability of a generation resource as demonstrated by performance testing.
Non-Synchronous Tie
Any non-synchronous transmission interconnection between ERCOT and non-ERCOT electric power systems
Other Potential Resources
Capacity resources that include one of the following:
• Remaining "mothballed" capacity not included as resources in the reserve margin calculation
• Remaining DC tie capacity not included as resources in the reserve margin calculation, and
• New generating units that have initiated full transmission interconnection studies through the ERCOT generation interconnection process (Note that new wind generating units would be included based on the appropriate discounted capacity value applied to existing wind generating units.)
Planned Units in Full Interconnection Study Phase
To connect new generation to the ERCOT grid, a generation developer must go through a set procedure. The first step is a high-level screening study to determine the effects of adding the new generation on the transmission system. The second step is the full interconnection study. These are detailed studies done by the transmission owners to determine the effects of the addition of new generation on the transmission system.
Private Networks
An electric network connected to the ERCOT transmission grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Reliability Must-Run (RMR) Unit
A generation resource unit operated under the terms of an agreement with ERCOT that would not otherwise be operated except that they are necessary to provide voltage support, stability or management of localized transmission constraints under first contingency criteria.
Signed IA (Interconnection Agreement)
An agreement that sets forth requirements for physical connection between an eligible transmission service customer and a transmission or distribution service provider
Switchable Unit
A generation resource that can be connected to either the ERCOT transmission grid or a grid outside the ERCOT Region.

## Changes
Changes from previous May 2008 CDR
1. The following units have completed interconnection agreements and/or air permits since the previous CDR:
| Site Name | MW | Expected In-Service | Fuel | Owner
| Papalote Creek Windfarm | 180 | Summer 2009 | Wind | E. On Climate & Renewables
| Mont Belvieu | 15 | Summer 2009 | Gas-Combustion Turbine | Targa Resources
| Nueces Bay 7 Repowering | 327 | Summer 2010 | Gas-Combined Cycle | Topaz Power Group
| Barney Davis 2 Repowering | 360 | Summer 2010 | Gas-Combined Cycle | Topaz Power Group
| Lufkin | 45 | Summer 2010 | Biomass | Aspen Power Group
| Loraine Windpark | 325 | Summer 2010 | Wind | Third Planet Windpower LLC
| Jackson Mountain | 90 | Summer 2010 | Wind | Gamesa Energy
| Cobisa-Greenville | 1792 | Summer 2013 | Gas-Combined Cycle | Cobisa-Greenville Energy Co, Inc
2. The estimated contribution of LaaRs serving as Responsive Reserve was recalculated using the methodology approved by the Generation Adequacy Task Force. The effects of Hurricane Ike were excluded from this calculation.
3. Due to the changes in economic indicators since last May, an updated load forecast was used in this edition that is based on the latest economic data available.

## SummerSummary
2008 Report on the Capacity, Demand, and Reserves in the ERCOT Region | [8 empty] | 2008 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary (December Update) | [8 empty] | December Update of Summer Summary
Load Forecast: |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
| Total Summer Peak Demand, MW | 65222.41 | 66283.15 | 67654.06 | 68932.47 | 70408.39 | 71677.62
| less LAARs Serving as Responsive Reserve, MW | 1115 | 1115 | 1115 | 1115 | 1115 | 1115
| less LAARs Serving as Non-Spinning Reserve, MW | 0 | 0 | 0 | 0 | 0 | 0
| less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
| less Energy Efficiency Programs (per HB3693) | 160 | 160 | 160 | 160 | 160 | 160
| Firm Load Forecast, MW | 63947.41 | 65008.15 | 66379.06 | 67657.47 | 69133.39 | 70402.62
Resources: |  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
| Installed Capacity, MW | 62352 | 62352 | 62352 | 62352 | 62352 | 62352
| Capacity from Private Networks, MW | 6279.5 | 6261.5 | 6261.5 | 6261.5 | 6261.5 | 6261.5
| Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 688.3266 | 688.3266 | 688.3266 | 688.3266 | 688.3266 | 688.3266
| RMR Units under Contract, MW | 0 | 0 | 0 | 0 | 0 | 0
| Operational Generation, MW | 69319.8266 | 69301.8266 | 69301.8266 | 69301.8266 | 69301.8266 | 69301.8266
| 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
| Switchable Units, MW | 2848 | 2848 | 2848 | 2848 | 2848 | 2848
| Available Mothballed Generation , MW | 554.99 | 848.49 | 848.49 | 848.49 | 848.49 | 848.49
| Planned Units (not wind) with Signed IA and Air Permit, MW | 1038 | 5174 | 5174 | 6099 | 7891 | 7891
| ELCC of Planned Wind Units with Signed IA, MW | 54.4402 | 100.9852 | 124.4753 | 124.4753 | 145.0072 | 145.0072
| Total Resources, MW | 74368.2569 | 78826.3019 | 78849.7918 | 79774.7918 | 81587.3239 | 81587.3239
| less Switchable Units Unavailable to ERCOT, MW | 317 | 0 | 0 | 0 | 0 | 0
| less Retiring Units, MW | 0 | 58 | 58 | 58 | 58 | 58
| Resources, MW | 74051.2569 | 78768.3019 | 78791.7918 | 79716.7918 | 81529.3239 | 81529.3239
| Reserve Margin | 15.8% | 21.17% | 18.7% | 17.82% | 17.93% | 15.8%
(Resources - Firm Load Forecast)/Firm Load Forecast
Other Potential Resources: |  | 6317.711 | 15665.1635 | 24798.4965 | 32155.0575 | 34560.6575 | 35334.0575
| Mothballed Capacity , MW | 4314 | 4314 | 4314 | 4314 | 4314 | 4314
| 50% of Non-Synchronous Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
| Planned Units in Full Interconnection Study Phase, MW | 1450.711 | 10798.1635 | 19931.4965 | 27288.0575 | 29693.6575 | 30467.0575
|  | 71940.8362 | 73134.1687 | 74676.4425 | 76114.6537 | 77775.0638 | 79202.9475 | 0

## SummerCapacities
Unit Capacities - Summer
Units used in determining the generation resources in the Summer Summary
Operational capacities are based on unit testing. Other capacities are based on information provided by the plant owners. This list includes MW available to the grid from private network (self-serve) units. It also includes distributed generation units that have registered with ERCOT. Data without unit names are for private network units or are planned generation that is not public.
Unit Name | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
A von Rosenberg 1-CT1 | 150 | 150 | 150 | 150 | 150 | 150
A von Rosenberg 1-CT2 | 145 | 145 | 145 | 145 | 145 | 145
A von Rosenberg 1-ST1 | 164 | 164 | 164 | 164 | 164 | 164
AEDOMG 1 | 5 | 5 | 5 | 5 | 5 | 5
AES Deepwater 1 | 140 | 140 | 140 | 140 | 140 | 140
Amistad Hydro 1 | 34 | 34 | 34 | 34 | 34 | 34
Amistad Hydro 2 | 34 | 34 | 34 | 34 | 34 | 34
Atascocita 1 | 10.1 | 10.1 | 10.1 | 10.1 | 10.1 | 10.1
Atkins 7 | 20 | 20 | 20 | 20 | 20 | 20
Austin 1 | 8 | 8 | 8 | 8 | 8 | 8
Austin 2 | 9 | 9 | 9 | 9 | 9 | 9
B M Davis 1 | 339 | 339 | 339 | 339 | 339 | 339
B M Davis 2 | 340 | 340 | 340 | 340 | 340 | 340
Bastrop Energy Center 1 | 147 | 147 | 147 | 147 | 147 | 147
Bastrop Energy Center 2 | 146 | 146 | 146 | 146 | 146 | 146
Bastrop Energy Center 3 | 227 | 227 | 227 | 227 | 227 | 227
Baytown 1 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Big Brown 1 | 597 | 597 | 597 | 597 | 597 | 597
Big Brown 1 Upgrade | 20 | 20 | 20 | 20 | 20 | 20
Big Brown 2 | 610 | 610 | 610 | 610 | 610 | 610
Bio Energy Partners 1 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Bio Energy Partners 2 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Bluebonnet 1 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Bosque County Peaking 1 | 149 | 149 | 149 | 149 | 149 | 149
Bosque County Peaking 2 | 151 | 151 | 151 | 151 | 151 | 151
Bosque County Peaking 3 | 152 | 152 | 152 | 152 | 152 | 152
Bosque County Peaking 4 | 83 | 83 | 83 | 83 | 83 | 83
Brazos Valley 1 | 172 | 172 | 172 | 172 | 172 | 172
Brazos Valley 2 | 170 | 170 | 170 | 170 | 170 | 170
Brazos Valley 3 | 246 | 246 | 246 | 246 | 246 | 246
Buchanan 1 | 16 | 16 | 16 | 16 | 16 | 16
Buchanan 2 | 16 | 16 | 16 | 16 | 16 | 16
C E Newman 5 | 37 | 37 | 37 | 37 | 37 | 37
Calenergy (Falcon Seaboard) 1 | 73 | 73 | 73 | 73 | 73 | 73
Calenergy (Falcon Seaboard) 2 | 74 | 74 | 74 | 74 | 74 | 74
Calenergy (Falcon Seaboard) 3 | 69 | 69 | 69 | 69 | 69 | 69
Canyon 1 | 3 | 3 | 3 | 3 | 3 | 3
Canyon 2 | 3 | 3 | 3 | 3 | 3 | 3
Cedar Bayou 1 | 748 | 748 | 748 | 748 | 748 | 748
Cedar Bayou 2 | 744 | 744 | 744 | 744 | 744 | 744
Coleto Creek | 633 | 633 | 633 | 633 | 633 | 633
Colorado Bend Energy Center 1 | 275 | 275 | 275 | 275 | 275 | 275
Colorado Bend Energy Center 2 | 275 | 275 | 275 | 275 | 275 | 275
Laredo Peaking Unit 4 | 96 | 96 | 96 | 96 | 96 | 96
Laredo Peaking Unit 5 | 97 | 97 | 97 | 97 | 97 | 97
Comanche Peak 1 | 1164 | 1164 | 1164 | 1164 | 1164 | 1164
Comanche Peak 2 | 1164 | 1164 | 1164 | 1164 | 1164 | 1164
Covel Gardens LG Power Station 1 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 2 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 3 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 4 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 5 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Covel Gardens LG Power Station 6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6
Dansby 1 | 108 | 108 | 108 | 108 | 108 | 108
Dansby 2 | 46 | 46 | 46 | 46 | 46 | 46
Decker Creek 1 | 326 | 326 | 326 | 326 | 326 | 326
Decker Creek 2 | 427 | 427 | 427 | 427 | 427 | 427
Decker Creek G1 | 42 | 42 | 42 | 42 | 42 | 42
Decker Creek G2 | 44 | 44 | 44 | 44 | 44 | 44
Decker Creek G3 | 44 | 44 | 44 | 44 | 44 | 44
Decker Creek G4 | 47 | 47 | 47 | 47 | 47 | 47
DeCordova 1 | 779 | 779 | 779 | 779 | 779 | 779
DeCordova A | 71 | 71 | 71 | 71 | 71 | 71
DeCordova B | 70 | 70 | 70 | 70 | 70 | 70
DeCordova C | 70 | 70 | 70 | 70 | 70 | 70
DeCordova D | 70 | 70 | 70 | 70 | 70 | 70
Denison Dam 1 | 40 | 40 | 40 | 40 | 40 | 40
Denison Dam 2 | 40 | 40 | 40 | 40 | 40 | 40
Dunlop (Schumansville) 1 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Eagle Pass 1 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 2 | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 3 | 2 | 2 | 2 | 2 | 2 | 2
Ennis Power Station 1 | 196 | 196 | 196 | 196 | 196 | 196
Ennis Power Station 2 | 116 | 116 | 116 | 116 | 116 | 116
ExTex La Porte Power Station (AirPro) 1 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 2 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 3 | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 4 | 38 | 38 | 38 | 38 | 38 | 38
Falcon Hydro 1 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5
Falcon Hydro 2 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5
Falcon Hydro 3 | 11 | 11 | 11 | 11 | 11 | 11
Fayette Power Project 1 | 596 | 596 | 596 | 596 | 596 | 596
Fayette Power Project 2 | 608 | 608 | 608 | 608 | 608 | 608
Fayette Power Project 3 | 436 | 436 | 436 | 436 | 436 | 436
Forney Energy Center GT11 | 170 | 170 | 170 | 170 | 170 | 170
Forney Energy Center GT12 | 157 | 157 | 157 | 157 | 157 | 157
Forney Energy Center GT13 | 159 | 159 | 159 | 159 | 159 | 159
Forney Energy Center GT21 | 170 | 170 | 170 | 170 | 170 | 170
Forney Energy Center GT22 | 160 | 160 | 160 | 160 | 160 | 160
Forney Energy Center GT23 | 162 | 162 | 162 | 162 | 162 | 162
Forney Energy Center STG10 | 414 | 414 | 414 | 414 | 414 | 414
Forney Energy Center STG20 | 412 | 412 | 412 | 412 | 412 | 412
Freestone Energy Center 1 | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 2 | 155 | 155 | 155 | 155 | 155 | 155
Freestone Energy Center 3 | 174 | 174 | 174 | 174 | 174 | 174
Freestone Energy Center 4 | 156 | 156 | 156 | 156 | 156 | 156
Freestone Energy Center 5 | 157 | 157 | 157 | 157 | 157 | 157
Freestone Energy Center 6 | 176 | 176 | 176 | 176 | 176 | 176
Frontera 1 | 142 | 142 | 142 | 142 | 142 | 142
Frontera 2 | 146 | 146 | 146 | 146 | 146 | 146
Frontera 3 | 172 | 172 | 172 | 172 | 172 | 172
FW Regional LFG Generation Facility 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
GBRA H 4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
GBRA H 5 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
GBRA TP 4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4
Gibbons Creek 1 | 464 | 464 | 464 | 464 | 464 | 464
Graham 1 | 242 | 242 | 242 | 242 | 242 | 242
Graham 2 | 369 | 369 | 369 | 369 | 369 | 369
Granite Shoals 1 | 29 | 29 | 29 | 29 | 29 | 29
Granite Shoals 2 | 30 | 30 | 30 | 30 | 30 | 30
Greens Bayou 5 | 398 | 398 | 398 | 398 | 398 | 398
Greens Bayou 73 | 48 | 48 | 48 | 48 | 48 | 48
Greens Bayou 74 | 47 | 47 | 47 | 47 | 47 | 47
Greens Bayou 81 | 48 | 48 | 48 | 48 | 48 | 48
Greens Bayou 82 | 54 | 54 | 54 | 54 | 54 | 54
Greens Bayou 83 | 56 | 56 | 56 | 56 | 56 | 56
Greens Bayou 84 | 52 | 52 | 52 | 52 | 52 | 52
Guadalupe Generating Station 1 | 151 | 151 | 151 | 151 | 151 | 151
Guadalupe Generating Station 2 | 139 | 139 | 139 | 139 | 139 | 139
Guadalupe Generating Station 3 | 146 | 146 | 146 | 146 | 146 | 146
Guadalupe Generating Station 4 | 149 | 149 | 149 | 149 | 149 | 149
Guadalupe Generating Station 5 | 183 | 183 | 183 | 183 | 183 | 183
Guadalupe Generating Station 6 | 204 | 204 | 204 | 204 | 204 | 204
Handley 3 | 392 | 392 | 392 | 392 | 392 | 392
Handley 4 | 435 | 435 | 435 | 435 | 435 | 435
Handley 5 | 435 | 435 | 435 | 435 | 435 | 435
Hays Energy Facility 1 | 223 | 223 | 223 | 223 | 223 | 223
Hays Energy Facility 2 | 224 | 224 | 224 | 224 | 224 | 224
Hays Energy Facility 3 | 226 | 226 | 226 | 226 | 226 | 226
Hays Energy Facility 4 | 229 | 229 | 229 | 229 | 229 | 229
Hidalgo 1 | 148 | 148 | 148 | 148 | 148 | 148
Hidalgo 2 | 148 | 148 | 148 | 148 | 148 | 148
Hidalgo 3 | 169 | 169 | 169 | 169 | 169 | 169
Inks 1 | 14 | 14 | 14 | 14 | 14 | 14
J K Spruce 1 | 560 | 560 | 560 | 560 | 560 | 560
J T Deely 1 | 403 | 403 | 403 | 403 | 403 | 403
J T Deely 2 | 406 | 406 | 406 | 406 | 406 | 406
J T Deely Upgrade | 80 | 80 | 80 | 80 | 80 | 80
Jack County Generation Facility 1 | 160 | 160 | 160 | 160 | 160 | 160
Jack County Generation Facility 2 | 160 | 160 | 160 | 160 | 160 | 160
Jack County Generation Facility 3 | 300 | 300 | 300 | 300 | 300 | 300
Johnson County Generation Facility 1 | 158 | 158 | 158 | 158 | 158 | 158
Johnson County Generation Facility 2 | 100 | 100 | 100 | 100 | 100 | 100
Lake Creek 1 | 75 | 75 | 75 | 75 | 75 | 75
Lake Creek 2 | 227 | 227 | 227 | 227 | 227 | 227
Lake Creek D1 | 2 | 2 | 2 | 2 | 2 | 2
Lake Creek D2 | 2 | 2 | 2 | 2 | 2 | 2
Lake Creek D3 | 2 | 2 | 2 | 2 | 2 | 2
Lake Hubbard 1 | 391 | 391 | 391 | 391 | 391 | 391
Lake Hubbard 2 | 514 | 514 | 514 | 514 | 514 | 514
Lamar Power Project CT11 | 154 | 154 | 154 | 154 | 154 | 154
Lamar Power Project CT12 | 155 | 155 | 155 | 155 | 155 | 155
Lamar Power Project CT21 | 164 | 164 | 164 | 164 | 164 | 164
Lamar Power Project CT22 | 163 | 163 | 163 | 163 | 163 | 163
Lamar Power Project STG1 | 199 | 199 | 199 | 199 | 199 | 199
Lamar Power Project STG2 | 199 | 199 | 199 | 199 | 199 | 199
Leon Creek 3 | 58 | 58 | 58 | 58 | 58 | 58
Leon Creek Peaking 1 | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 2 | 46 | 46 | 46 | 46 | 46 | 46
Leon Creek Peaking 3 | 44 | 44 | 44 | 44 | 44 | 44
Leon Creek Peaking 4 | 45 | 45 | 45 | 45 | 45 | 45
Lewisville 1 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Limestone 1 | 836 | 836 | 836 | 836 | 836 | 836
Limestone 2 | 853 | 853 | 853 | 853 | 853 | 853
Lost Pines 1 | 167 | 167 | 167 | 167 | 167 | 167
Lost Pines 2 | 164 | 164 | 164 | 164 | 164 | 164
Lost Pines 3 | 184 | 184 | 184 | 184 | 184 | 184
Magic Valley 1 | 210 | 210 | 210 | 210 | 210 | 210
Magic Valley 2 | 205 | 205 | 205 | 205 | 205 | 205
Magic Valley 3 | 257 | 257 | 257 | 257 | 257 | 257
Marble Falls 1 | 20 | 20 | 20 | 20 | 20 | 20
Marble Falls 2 | 18 | 18 | 18 | 18 | 18 | 18
Marshall Ford 1 | 34 | 34 | 34 | 34 | 34 | 34
Marshall Ford 2 | 38 | 38 | 38 | 38 | 38 | 38
Marshall Ford 3 | 32 | 32 | 32 | 32 | 32 | 32
Martin Lake 1 | 799 | 799 | 799 | 799 | 799 | 799
Martin Lake 2 | 795 | 795 | 795 | 795 | 795 | 795
Martin Lake 3 | 804 | 804 | 804 | 804 | 804 | 804
McQueeney (Abbott) 1 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
McQueeney (Abbott) 2 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Midlothian 1 | 215 | 215 | 215 | 215 | 215 | 215
Midlothian 2 | 215 | 215 | 215 | 215 | 215 | 215
Midlothian 3 | 215 | 215 | 215 | 215 | 215 | 215
Midlothian 4 | 214 | 214 | 214 | 214 | 214 | 214
Midlothian 5 | 225 | 225 | 225 | 225 | 225 | 225
Midlothian 6 | 229 | 229 | 229 | 229 | 229 | 229
Monticello 1 | 560 | 560 | 560 | 560 | 560 | 560
Monticello 2 | 579 | 579 | 579 | 579 | 579 | 579
Monticello 3 | 808 | 808 | 808 | 808 | 808 | 808
Morgan Creek 5 | 137 | 137 | 137 | 137 | 137 | 137
Morgan Creek A | 69 | 69 | 69 | 69 | 69 | 69
Morgan Creek B | 71 | 71 | 71 | 71 | 71 | 71
Morgan Creek C | 70 | 70 | 70 | 70 | 70 | 70
Morgan Creek D | 70 | 70 | 70 | 70 | 70 | 70
Morgan Creek E | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek F | 66 | 66 | 66 | 66 | 66 | 66
Morris Sheppard 1 | 24 | 24 | 24 | 24 | 24 | 24
Morris Sheppard 2 | 24 | 24 | 24 | 24 | 24 | 24
Mountain Creek 6 | 118 | 118 | 118 | 118 | 118 | 118
Mountain Creek 7 | 114 | 114 | 114 | 114 | 114 | 114
Mountain Creek 8 | 556 | 556 | 556 | 556 | 556 | 556
Nelson Gardens Landfill 1 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Nelson Gardens Landfill 2 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Nolte 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Nolte 2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
North Lake 1 | 156 | 156 | 156 | 156 | 156 | 156
North Lake 2 | 181 | 181 | 181 | 181 | 181 | 181
North Lake 3 | 389 | 389 | 389 | 389 | 389 | 389
North Texas 1 | 18 | 18 | 18 | 18 | 18 | 18
North Texas 2 | 19 | 19 | 19 | 19 | 19 | 19
North Texas 3 | 38 | 38 | 38 | 38 | 38 | 38
O W Sommers 1 | 417 | 417 | 417 | 417 | 417 | 417
O W Sommers 2 | 379 | 379 | 379 | 379 | 379 | 379
O W Sommers 3 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 4 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
O W Sommers 6 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Oak Ridge North 1-3 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Odessa-Ector Generating Station C11 | 145 | 145 | 145 | 145 | 145 | 145
Odessa-Ector Generating Station C12 | 132 | 132 | 132 | 132 | 132 | 132
Odessa-Ector Generating Station C21 | 132 | 132 | 132 | 132 | 132 | 132
Odessa-Ector Generating Station C22 | 149 | 149 | 149 | 149 | 149 | 149
Odessa-Ector Generating Station ST1 | 211 | 211 | 211 | 211 | 211 | 211
Odessa-Ector Generating Station ST2 | 211 | 211 | 211 | 211 | 211 | 211
Oklaunion 1 | 649 | 649 | 649 | 649 | 649 | 649
Paris Energy Center 1 | 80 | 80 | 80 | 80 | 80 | 80
Paris Energy Center 2 | 84 | 84 | 84 | 84 | 84 | 84
Paris Energy Center 3 | 91 | 91 | 91 | 91 | 91 | 91
Pearsall 1 | 24 | 24 | 24 | 24 | 24 | 24
Pearsall 2 | 24 | 24 | 24 | 24 | 24 | 24
Pearsall 3 | 23 | 23 | 23 | 23 | 23 | 23
Permian Basin 5 | 115 | 115 | 115 | 115 | 115 | 115
Permian Basin 6 | 515 | 515 | 515 | 515 | 515 | 515
Permian Basin A | 65 | 65 | 65 | 65 | 65 | 65
Permian Basin B | 66 | 66 | 66 | 66 | 66 | 66
Permian Basin C | 66 | 66 | 66 | 66 | 66 | 66
Permian Basin D | 65 | 65 | 65 | 65 | 65 | 65
Permian Basin E | 68 | 68 | 68 | 68 | 68 | 68
Powerlane Plant 1 | 20 | 20 | 20 | 20 | 20 | 20
Powerlane Plant 2 | 26 | 26 | 26 | 26 | 26 | 26
Powerlane Plant 3 | 41 | 41 | 41 | 41 | 41 | 41
Quail Run Energy STG1 | 98.1 | 98.1 | 98.1 | 98.1 | 98.1 | 98.1
Quail Run Energy GT1 | 83 | 83 | 83 | 83 | 83 | 83
Quail Run Energy GT2 | 83 | 83 | 83 | 83 | 83 | 83
Quail Run Energy STG2 | 98.1 | 98.1 | 98.1 | 98.1 | 98.1 | 98.1
Quail Run Energy GT3 | 83 | 83 | 83 | 83 | 83 | 83
Quail Run Energy GT4 | 83 | 83 | 83 | 83 | 83 | 83
R W Miller 1 | 75 | 75 | 75 | 75 | 75 | 75
R W Miller 2 | 119 | 119 | 119 | 119 | 119 | 119
R W Miller 3 | 208 | 208 | 208 | 208 | 208 | 208
R W Miller 4 | 102 | 102 | 102 | 102 | 102 | 102
R W Miller 5 | 101 | 101 | 101 | 101 | 101 | 101
Ray Olinger 1 | 80 | 80 | 80 | 80 | 80 | 80
Ray Olinger 2 | 105 | 105 | 105 | 105 | 105 | 105
Ray Olinger 3 | 148 | 148 | 148 | 148 | 148 | 148
Ray Olinger 4 | 76 | 76 | 76 | 76 | 76 | 76
Rayburn 1 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 10 | 40 | 40 | 40 | 40 | 40 | 40
Rayburn 2 | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 3 | 22 | 22 | 22 | 22 | 22 | 22
Rayburn 4 | 2 | 2 | 2 | 2 | 2 | 2
Rayburn 5 | 2 | 2 | 2 | 2 | 2 | 2
Rayburn 7 | 49 | 49 | 49 | 49 | 49 | 49
Rayburn 8 | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 9 | 50 | 50 | 50 | 50 | 50 | 50
Rio Nogales 1 | 147 | 147 | 147 | 147 | 147 | 147
Rio Nogales 2 | 148 | 148 | 148 | 148 | 148 | 148
Rio Nogales 3 | 150 | 150 | 150 | 150 | 150 | 150
Rio Nogales 4 | 293 | 293 | 293 | 293 | 293 | 293
Sam Bertron 3 | 220 | 220 | 220 | 220 | 220 | 220
Sam Bertron 4 | 226 | 226 | 226 | 226 | 226 | 226
Sam Bertron ST1 | 176 | 176 | 176 | 176 | 176 | 176
Sam Bertron ST2 | 174 | 174 | 174 | 174 | 174 | 174
Sam Bertron T1 | 17 | 17 | 17 | 17 | 17 | 17
Sam Bertron T2 | 12 | 12 | 12 | 12 | 12 | 12
San Jacinto SES 1 | 83 | 83 | 83 | 83 | 83 | 83
San Jacinto SES 2 | 81 | 81 | 81 | 81 | 81 | 81
San Miguel 1 | 396 | 396 | 396 | 396 | 396 | 396
Sandhill Energy Center 1 | 49 | 49 | 49 | 49 | 49 | 49
Sandhill Energy Center 2 | 47 | 47 | 47 | 47 | 47 | 47
Sandhill Energy Center 3 | 48 | 48 | 48 | 48 | 48 | 48
Sandhill Energy Center 4 | 47 | 47 | 47 | 47 | 47 | 47
Sandhill Energy Center 5A | 159 | 159 | 159 | 159 | 159 | 159
Sandhill Energy Center 5C | 80 | 80 | 80 | 80 | 80 | 80
Silas Ray 10 | 47 | 47 | 47 | 47 | 47 | 47
Silas Ray 5 | 16 | 16 | 16 | 16 | 16 | 16
Silas Ray 6 | 19 | 19 | 19 | 19 | 19 | 19
Silas Ray 9 | 38 | 38 | 38 | 38 | 38 | 38
Sim Gideon 1 | 137 | 137 | 137 | 137 | 137 | 137
Sim Gideon 2 | 139 | 139 | 139 | 139 | 139 | 139
Sim Gideon 3 | 331 | 331 | 331 | 331 | 331 | 331
Small Hydro of Texas 1 | 1 | 1 | 1 | 1 | 1 | 1
South Texas 1 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282
South Texas 2 | 1282 | 1282 | 1282 | 1282 | 1282 | 1282
Spencer 4 | 61 | 61 | 61 | 61 | 61 | 61
Spencer 5 | 64 | 64 | 64 | 64 | 64 | 64
Stryker Creek 1 | 182 | 182 | 182 | 182 | 182 | 182
Stryker Creek 2 | 484 | 484 | 484 | 484 | 484 | 484
Stryker Creek D1 | 11 | 11 | 11 | 11 | 11 | 11
Sweetwater Generation Plant 1 | 30 | 30 | 30 | 30 | 30 | 30
Sweetwater Generation Plant 2 | 72 | 72 | 72 | 72 | 72 | 72
Sweetwater Generation Plant 3 | 68 | 68 | 68 | 68 | 68 | 68
Sweetwater Generation Plant 4 | 61 | 61 | 61 | 61 | 61 | 61
T H Wharton 3 | 110 | 110 | 110 | 110 | 110 | 110
T H Wharton 31 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 32 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 33 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 34 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 4 | 108 | 108 | 108 | 108 | 108 | 108
T H Wharton 41 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 42 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 43 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 44 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 51 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 52 | 55 | 55 | 55 | 55 | 55 | 55
T H Wharton 53 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 54 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 55 | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 56 | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton G1 | 12 | 12 | 12 | 12 | 12 | 12
Tessman Road 1 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Tessman Road 2 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Tessman Road 3 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Tessman Road 4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Tessman Road 5 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Tessman Road 6 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Texas City 1 | 102 | 102 | 102 | 102 | 102 | 102
Texas City 2 | 85 | 85 | 85 | 85 | 85 | 85
Texas City 3 | 103 | 103 | 103 | 103 | 103 | 103
Texas City 4 | 105 | 105 | 105 | 105 | 105 | 105
Thomas C Ferguson 1 | 421 | 421 | 421 | 421 | 421 | 421
Tradinghouse 1 | 563 | 563 | 563 | 563 | 563 | 563
Tradinghouse 2 | 805 | 805 | 805 | 805 | 805 | 805
Trinidad 6 | 226 | 226 | 226 | 226 | 226 | 226
Trinidad D1 | 4 | 4 | 4 | 4 | 4 | 4
Twin Oaks 1 | 152 | 152 | 152 | 152 | 152 | 152
Twin Oaks 2 | 154 | 154 | 154 | 154 | 154 | 154
V H Braunig 1 | 206 | 206 | 206 | 206 | 206 | 206
V H Braunig 2 | 220 | 220 | 220 | 220 | 220 | 220
V H Braunig 3 | 397 | 397 | 397 | 397 | 397 | 397
Valley 1 | 175 | 175 | 175 | 175 | 175 | 175
Valley 2 | 527 | 527 | 527 | 527 | 527 | 527
Valley 3 | 354 | 354 | 354 | 354 | 354 | 354
Victoria Power Station | 332 | 332 | 332 | 332 | 332 | 332
W A Parish 1 | 166 | 166 | 166 | 166 | 166 | 166
W A Parish 2 | 163 | 163 | 163 | 163 | 163 | 163
W A Parish 3 | 226 | 226 | 226 | 226 | 226 | 226
W A Parish 4 | 544 | 544 | 544 | 544 | 544 | 544
W A Parish 5 | 657 | 657 | 657 | 657 | 657 | 657
W A Parish 6 | 645 | 645 | 645 | 645 | 645 | 645
W A Parish 7 | 567 | 567 | 567 | 567 | 567 | 567
W A Parish 8 | 603 | 603 | 603 | 603 | 603 | 603
W A Parish T1 | 13 | 13 | 13 | 13 | 13 | 13
W B Tuttle 1 | 51 | 51 | 51 | 51 | 51 | 51
W B Tuttle 3 | 96 | 96 | 96 | 96 | 96 | 96
W B Tuttle 4 | 151 | 151 | 151 | 151 | 151 | 151
Waco LFG 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Weatherford 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Weatherford 2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Weatherford 3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Weatherford 4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
Weatherford 6 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Weatherford 7 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
Weatherford 8 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
Whitney 1 | 30 | 30 | 30 | 30 | 30 | 30
Whitney 2 | 30 | 30 | 30 | 30 | 30 | 30
Wichita Falls 1 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 2 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 3 | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 4 | 17 | 17 | 17 | 17 | 17 | 17
Wise-Tractebel Power Proj. 1 | 204 | 204 | 204 | 204 | 204 | 204
Wise-Tractebel Power Proj. 2 | 204 | 204 | 204 | 204 | 204 | 204
Wise-Tractebel Power Proj. 3 | 241 | 241 | 241 | 241 | 241 | 241
Wolf Hollow Power Proj. 1 | 216 | 216 | 216 | 216 | 216 | 216
Wolf Hollow Power Proj. 2 | 219 | 219 | 219 | 219 | 219 | 219
Wolf Hollow Power Proj. 3 | 268 | 268 | 268 | 268 | 268 | 268
Operational | 62352 | 62352 | 62352 | 62352 | 62352 | 62352
| 3 | 3 | 3 | 3 | 3 | 3
| 74 | 74 | 74 | 74 | 74 | 74
| 215 | 215 | 215 | 215 | 215 | 215
| 300 | 300 | 300 | 300 | 300 | 300
| 555 | 555 | 555 | 555 | 555 | 555
| 17.5 | 17.5 | 17.5 | 17.5 | 17.5 | 17.5
| 25 | 25 | 25 | 25 | 25 | 25
| 251 | 251 | 251 | 251 | 251 | 251
| 170 | 170 | 170 | 170 | 170 | 170
| 760 | 760 | 760 | 760 | 760 | 760
| 299 | 299 | 299 | 299 | 299 | 299
| 0 | 0 | 0 | 0 | 0 | 0
| 95 | 95 | 95 | 95 | 95 | 95
| 900 | 900 | 900 | 900 | 900 | 900
| 0 | 0 | 0 | 0 | 0 | 0
| 1 | 1 | 1 | 1 | 1 | 1
| 6 | 6 | 6 | 6 | 6 | 6
| 50 | 50 | 50 | 50 | 50 | 50
| 74 | 56 | 56 | 56 | 56 | 56
| 12 | 12 | 12 | 12 | 12 | 12
| 400 | 400 | 400 | 400 | 400 | 400
| 465 | 465 | 465 | 465 | 465 | 465
| 236 | 236 | 236 | 236 | 236 | 236
| 569 | 569 | 569 | 569 | 569 | 569
| 0 | 0 | 0 | 0 | 0 | 0
| 385 | 385 | 385 | 385 | 385 | 385
| 325 | 325 | 325 | 325 | 325 | 325
| 72 | 72 | 72 | 72 | 72 | 72
| 5 | 5 | 5 | 5 | 5 | 5
| 15 | 15 | 15 | 15 | 15 | 15
| 0 | 0 | 0 | 0 | 0 | 0
Generation from private networks | 6279.5 | 6261.5 | 6261.5 | 6261.5 | 6261.5 | 6261.5
Eagle Pass | 36 | 36 | 36 | 36 | 36 | 36
East | 600 | 600 | 600 | 600 | 600 | 600
Laredo VFT | 100 | 100 | 100 | 100 | 100 | 100
North | 220 | 220 | 220 | 220 | 220 | 220
Sharyland | 150 | 150 | 150 | 150 | 150 | 150
Asynchronous ties | 1106 | 1106 | 1106 | 1106 | 1106 | 1106
Kiamichi Energy Facility 1CT101 | 142 | 142 | 142 | 142 | 142 | 142
Kiamichi Energy Facility 1CT201 | 144 | 144 | 144 | 144 | 144 | 144
Kiamichi Energy Facility 1ST | 310 | 310 | 310 | 310 | 310 | 310
Kiamichi Energy Facility 2CT101 | 136 | 136 | 136 | 136 | 136 | 136
Kiamichi Energy Facility 2CT201 | 138 | 138 | 138 | 138 | 138 | 138
Kiamichi Energy Facility 2ST | 303 | 303 | 303 | 303 | 303 | 303
Tenaska-Frontier 1 | 156 | 156 | 156 | 156 | 156 | 156
Tenaska-Frontier 2 | 159 | 159 | 159 | 159 | 159 | 159
Tenaska-Frontier 3 | 158 | 158 | 158 | 158 | 158 | 158
Tenaska-Frontier 4 | 380 | 380 | 380 | 380 | 380 | 380
Tenaska-Gateway 1 | 149 | 149 | 149 | 149 | 149 | 149
Tenaska-Gateway 2 | 128 | 128 | 128 | 128 | 128 | 128
Tenaska-Gateway 3 | 146 | 146 | 146 | 146 | 146 | 146
Tenaska-Gateway 4 | 399 | 399 | 399 | 399 | 399 | 399
SWITCHABLE | 2848 | 2848 | 2848 | 2848 | 2848 | 2848
Barton Chapel Wind | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 1 | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 2 | 233 | 233 | 233 | 233 | 233 | 233
Buffalo Gap Wind Farm 3 | 150 | 150 | 150 | 150 | 150 | 150
Bull Creek Wind Plant | 180 | 180 | 180 | 180 | 180 | 180
Callahan Wind | 114 | 114 | 114 | 114 | 114 | 114
Camp Springs 1 | 130 | 130 | 130 | 130 | 130 | 130
Camp Springs 2 | 120 | 120 | 120 | 120 | 120 | 120
Capricorn Ridge Wind 1 | 200 | 200 | 200 | 200 | 200 | 200
Capricorn Ridge Wind 2 | 186 | 186 | 186 | 186 | 186 | 186
Capricorn Ridge Wind 3 | 140 | 140 | 140 | 140 | 140 | 140
Capricorn Ridge Wind 4 | 115 | 115 | 115 | 115 | 115 | 115
Champion Wind Farm | 120 | 120 | 120 | 120 | 120 | 120
Delaware Mountain Wind Farm | 30 | 30 | 30 | 30 | 30 | 30
Desert Sky Wind Farm 1 | 25 | 25 | 25 | 25 | 25 | 25
Desert Sky Wind Farm 2 | 135 | 135 | 135 | 135 | 135 | 135
Elbow Creek Wind Project | 117.3 | 117.3 | 117.3 | 117.3 | 117.3 | 117.3
Forest Creek Wind Farm | 124 | 124 | 124 | 124 | 124 | 124
Goat Wind | 80 | 80 | 80 | 80 | 80 | 80
Green Mtn Energy 1 | 99 | 99 | 99 | 99 | 99 | 99
Green Mtn Energy 2 | 61 | 61 | 61 | 61 | 61 | 61
Gulf Wind 1 | 283 | 283 | 283 | 283 | 283 | 283
Hackberry Wind Farm | 165 | 165 | 165 | 165 | 165 | 165
Horse Hollow Wind 1 | 210 | 210 | 210 | 210 | 210 | 210
Horse Hollow Wind 2 | 115 | 115 | 115 | 115 | 115 | 115
Horse Hollow Wind 3 | 220 | 220 | 220 | 220 | 220 | 220
Horse Hollow Wind 4 | 180 | 180 | 180 | 180 | 180 | 180
Inadale | 197 | 197 | 197 | 197 | 197 | 197
Indian Mesa Wind Farm | 80 | 80 | 80 | 80 | 80 | 80
King Mountain NE | 80 | 80 | 80 | 80 | 80 | 80
King Mountain NW | 80 | 80 | 80 | 80 | 80 | 80
King Mountain SE | 43 | 43 | 43 | 43 | 43 | 43
King Mountain SW | 80 | 80 | 80 | 80 | 80 | 80
Kunitz Wind | 35 | 35 | 35 | 35 | 35 | 35
Mcadoo Wind Farm | 150 | 150 | 150 | 150 | 150 | 150
Mesquite Wind | 200 | 200 | 200 | 200 | 200 | 200
Ocotillo Wind Farm | 59 | 59 | 59 | 59 | 59 | 59
Panther Creek 1 | 143 | 143 | 143 | 143 | 143 | 143
Panther Creek 2 | 115 | 115 | 115 | 115 | 115 | 115
Pecos Wind (Woodward 1) | 80 | 80 | 80 | 80 | 80 | 80
Pecos Wind (Woodward 2) | 80 | 80 | 80 | 80 | 80 | 80
Penascal Wind Farm 1 | 202 | 202 | 202 | 202 | 202 | 202
Post Oak Wind 1 | 100 | 100 | 100 | 100 | 100 | 100
Post Oak Wind 2 | 100 | 100 | 100 | 100 | 100 | 100
Pyron Wind Farm | 249 | 249 | 249 | 249 | 249 | 249
Red Canyon | 84 | 84 | 84 | 84 | 84 | 84
Roscoe Wind Farm | 200 | 200 | 200 | 200 | 200 | 200
Sand Bluff Wind Farm | 90 | 90 | 90 | 90 | 90 | 90
Sherbino I | 150 | 150 | 150 | 150 | 150 | 150
Silver Star | 60 | 60 | 60 | 60 | 60 | 60
Snyder Wind Farm | 63 | 63 | 63 | 63 | 63 | 63
South Trent Wind Farm | 98 | 98 | 98 | 98 | 98 | 98
Stanton Wind Energy | 120 | 120 | 120 | 120 | 120 | 120
Sweetwater Wind 1 | 37 | 37 | 37 | 37 | 37 | 37
Sweetwater Wind 2 | 16 | 16 | 16 | 16 | 16 | 16
Sweetwater Wind 3 | 100 | 100 | 100 | 100 | 100 | 100
Sweetwater Wind 4 | 130 | 130 | 130 | 130 | 130 | 130
Sweetwater Wind 5 | 80 | 80 | 80 | 80 | 80 | 80
Sweetwater Wind 6 | 105 | 105 | 105 | 105 | 105 | 105
Sweetwater Wind 7 | 119 | 119 | 119 | 119 | 119 | 119
Texas Big Spring | 40 | 40 | 40 | 40 | 40 | 40
Trent Wind Farm | 150 | 150 | 150 | 150 | 150 | 150
TSTC West Texas Wind | 2 | 2 | 2 | 2 | 2 | 2
Turkey Track Energy Center | 170 | 170 | 170 | 170 | 170 | 170
West Texas Wind Energy | 70 | 70 | 70 | 70 | 70 | 70
Whirlwind Energy | 60 | 60 | 60 | 60 | 60 | 60
Wolfe Flats | 10 | 10 | 10 | 10 | 10 | 10
Wolfe Ridge | 112.5 | 112.5 | 112.5 | 112.5 | 112.5 | 112.5
WIND | 7911.8 | 7911.8 | 7911.8 | 7911.8 | 7911.8 | 7911.8
Bosque Expansion | 255 | 255 | 255 | 255 | 255 | 255
Cedar Bayou 4 | 539 | 539 | 539 | 539 | 539 | 539
S Houston Green Power Exp | 244 | 244 | 244 | 244 | 244 | 244
Barney Davis 2 Repowering | 0 | 360 | 360 | 360 | 360 | 360
J K Spruce 2 | 0 | 750 | 750 | 750 | 750 | 750
V H Braunig 6 | 0 | 185 | 185 | 185 | 185 | 185
Lufkin | 0 | 45 | 45 | 45 | 45 | 45
Nueces Bay 7 Repowering | 0 | 327 | 327 | 327 | 327 | 327
Oak Grove SES 1 | 0 | 855 | 855 | 855 | 855 | 855
Oak Grove SES 2 | 0 | 855 | 855 | 855 | 855 | 855
Sandow 5 | 0 | 581 | 581 | 581 | 581 | 581
Winchester Power Park | 0 | 178 | 178 | 178 | 178 | 178
Cobisa-Greenville | 0 | 0 | 0 | 0 | 1792 | 1792
Sandy Creek 1 | 0 | 0 | 0 | 925 | 925 | 925
New Units with Signed IA and Air Permit | 1038 | 5174 | 5174 | 6099 | 7891 | 7891
Notrees-1 | 150.75 | 150.75 | 150.75 | 150.75 | 150.75 | 150.75
Coyote Run Windfarm | 225 | 225 | 225 | 225 | 225 | 225
Goat Wind - phase 2 | 70 | 70 | 70 | 70 | 70 | 70
Papalote Creek Wind Farm | 180 | 180 | 180 | 180 | 180 | 180
Gunsight Mountain | 0 | 120 | 120 | 120 | 120 | 120
Jackson Mountain | 0 | 90 | 90 | 90 | 90 | 90
Loraine Windpark | 0 | 325 | 325 | 325 | 325 | 325
Sherbino Mesa Wind Farm 2 | 0 | 0 | 150 | 150 | 150 | 150
Wild Horse Mountain | 0 | 0 | 120 | 120 | 120 | 120
Mesquite Wind Phase 4 | 0 | 0 | 0 | 0 | 136 | 136
Cottonwood Wind | 0 | 0 | 0 | 0 | 100 | 100
New Wind Generation | 625.75 | 1160.75 | 1430.75 | 1430.75 | 1666.75 | 1666.75
Leon Creek 3 | 0 | 58 | 58 | 58 | 58 | 58
Units to retire | 0 | 58 | 58 | 58 | 58 | 58
Atkins 3 | 12 | 12 | 12 | 12 | 12 | 12
Atkins 4 | 22 | 22 | 22 | 22 | 22 | 22
Atkins 5 | 25 | 25 | 25 | 25 | 25 | 25
Atkins 6 | 50 | 50 | 50 | 50 | 50 | 50
Collin 1 | 138 | 138 | 138 | 138 | 138 | 138
Eagle Mountain 1 | 112 | 112 | 112 | 112 | 112 | 112
Eagle Mountain 2 | 100 | 100 | 100 | 100 | 100 | 100
Eagle Mountain 3 | 378 | 378 | 378 | 378 | 378 | 378
Handley 1 | 36 | 36 | 36 | 36 | 36 | 36
Handley 2 | 68 | 68 | 68 | 68 | 68 | 68
J L Bates 1 | 71 | 71 | 71 | 71 | 71 | 71
J L Bates 2 | 110 | 110 | 110 | 110 | 110 | 110
Leon Creek 4 | 95 | 95 | 95 | 95 | 95 | 95
Morgan Creek 6 | 457 | 457 | 457 | 457 | 457 | 457
Mountain Creek 2 | 23 | 23 | 23 | 23 | 23 | 23
Mountain Creek 3 | 63 | 63 | 63 | 63 | 63 | 63
Nueces Bay 7 | 367 | 367 | 367 | 367 | 367 | 367
P H Robinson 1 | 444 | 444 | 444 | 444 | 444 | 444
P H Robinson 2 | 459 | 459 | 459 | 459 | 459 | 459
P H Robinson 3 | 551 | 551 | 551 | 551 | 551 | 551
P H Robinson 4 | 733 | 733 | 733 | 733 | 733 | 733
Mothballed | 4314 | 4314 | 4314 | 4314 | 4314 | 4314
Dansby3 | 48 | 48 | 48 | 48 | 48 | 48
Mont Belvieu | 15 | 15 | 15 | 15 | 15 | 15
Comanche Peak Upgrade | 0 | 86 | 86 | 86 | 86 | 86
Sand Hill Peakers | 0 | 94 | 94 | 94 | 94 | 94
Cobisa-Greenville | 0 | 1750 | 1750 | 1750 | 1750 | 1750
Panda Temple Power | 0 | 0 | 1092 | 1092 | 1092 | 1092
Jack County 2 | 0 | 0 | 620 | 620 | 620 | 620
Nacogdoches Project | 0 | 0 | 0 | 100 | 100 | 100
Pampa Energy Center | 0 | 0 | 0 | 165 | 165 | 165
Potential Public Non-Wind Resources | 63 | 1993 | 3705 | 3970 | 3970 | 3970
Sterling Energy Center | 200 | 200 | 200 | 200 | 200 | 200
Pistol Hill Energy Center | 300 | 300 | 300 | 300 | 300 | 300
Buffalo Gap 4 and 5 | 465 | 465 | 465 | 465 | 465 | 465
Stephens Wind Farm | 141 | 141 | 141 | 141 | 141 | 141
Lenorah Project | 350 | 350 | 350 | 350 | 350 | 350
McAdoo Energy Center II | 500 | 500 | 500 | 500 | 500 | 500
Sterling Energy Center | 300 | 300 | 300 | 300 | 300 | 300
Gulf Wind 2 | 0 | 400 | 400 | 400 | 400 | 400
Gatesville Wind Farm | 0 | 200 | 200 | 200 | 200 | 200
M Bar Wind | 0 | 194 | 194 | 194 | 194 | 194
Scurry County Wind III | 0 | 350 | 350 | 350 | 350 | 350
Gulf Wind 3 | 0 | 0 | 400 | 400 | 400 | 400
Throckmorton Wind Farm | 0 | 0 | 400 | 400 | 400 | 400
B&B Panhandle Wind | 0 | 0 | 0 | 1001 | 1001 | 1001
Fort Concho Wind Farm | 0 | 0 | 0 | 0 | 400 | 400
Potential Public Wind Resources | 2256 | 3400 | 4200 | 5201 | 5601 | 5601
| 20 | 20 | 20 | 20 | 20 | 20
| 48 | 48 | 48 | 48 | 48 | 48
| 280 | 280 | 280 | 280 | 280 | 280
| 400 | 400 | 400 | 400 | 400 | 400
| 0 | 61 | 61 | 61 | 61 | 61
| 0 | 86 | 86 | 86 | 86 | 86
| 0 | 416 | 416 | 416 | 416 | 416
| 0 | 275 | 275 | 275 | 275 | 275
| 0 | 550 | 550 | 550 | 550 | 550
| 0 | 18 | 18 | 18 | 18 | 18
| 0 | 13 | 13 | 13 | 13 | 13
| 0 | 3500 | 3500 | 3500 | 3500 | 3500
| 0 | 641 | 641 | 641 | 641 | 641
| 0 | 55 | 55 | 55 | 55 | 55
| 0 | 810 | 810 | 810 | 810 | 810
| 0 | 0 | 1200 | 1200 | 1200 | 1200
| 0 | 0 | 50 | 50 | 50 | 50
| 0 | 0 | 1280 | 1280 | 1280 | 1280
| 0 | 0 | 620 | 620 | 620 | 620
| 0 | 0 | 50 | 50 | 50 | 50
| 0 | 0 | 300 | 300 | 300 | 300
| 0 | 0 | 775 | 775 | 775 | 775
| 0 | 0 | 1200 | 1200 | 1200 | 1200
| 0 | 0 | 1092 | 1092 | 1092 | 1092
| 0 | 0 | 275 | 275 | 275 | 275
| 0 | 0 | 0 | 1160 | 1160 | 1160
| 0 | 0 | 0 | 640 | 640 | 640
| 0 | 0 | 0 | 579 | 579 | 579
| 0 | 0 | 0 | 296 | 296 | 296
| 0 | 0 | 0 | 875 | 875 | 875
| 0 | 0 | 0 | 750 | 750 | 750
| 0 | 0 | 0 | 600 | 600 | 600
| 0 | 0 | 0 | 100 | 100 | 100
| 0 | 0 | 0 | 165 | 165 | 165
| 0 | 0 | 0 | 646 | 646 | 646
| 0 | 0 | 0 | 680 | 680 | 680
| 0 | 0 | 0 | 0 | 875 | 875
| 0 | 0 | 0 | 0 | 1200 | 1200
| 0 | 0 | 0 | 0 | 0 | 756
Potential Non-Public Non-Wind Resources | 748 | 7173 | 14015 | 20506 | 22581 | 23337
| 249 | 249 | 249 | 249 | 249 | 249
| 140 | 140 | 140 | 140 | 140 | 140
| 70 | 70 | 70 | 70 | 70 | 70
| 200 | 200 | 200 | 200 | 200 | 200
| 180 | 180 | 180 | 180 | 180 | 180
| 465 | 465 | 465 | 465 | 465 | 465
| 41 | 41 | 41 | 41 | 41 | 41
| 30 | 30 | 30 | 30 | 30 | 30
| 40 | 40 | 40 | 40 | 40 | 40
| 141 | 141 | 141 | 141 | 141 | 141
| 200 | 200 | 200 | 200 | 200 | 200
| 50 | 50 | 50 | 50 | 50 | 50
| 350 | 350 | 350 | 350 | 350 | 350
| 200 | 200 | 200 | 200 | 200 | 200
| 500 | 500 | 500 | 500 | 500 | 500
| 200 | 200 | 200 | 200 | 200 | 200
| 200 | 200 | 200 | 200 | 200 | 200
| 300 | 300 | 300 | 300 | 300 | 300
| 150 | 150 | 150 | 150 | 150 | 150
| 200 | 200 | 200 | 200 | 200 | 200
| 200 | 200 | 200 | 200 | 200 | 200
| 300 | 300 | 300 | 300 | 300 | 300
| 150 | 150 | 150 | 150 | 150 | 150
| 400 | 400 | 400 | 400 | 400 | 400
| 141 | 141 | 141 | 141 | 141 | 141
| 0 | 42 | 42 | 42 | 42 | 42
| 0 | 734 | 734 | 734 | 734 | 734
| 0 | 386 | 386 | 386 | 386 | 386
| 0 | 1000 | 1000 | 1000 | 1000 | 1000
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 100 | 100 | 100 | 100 | 100
| 0 | 100 | 100 | 100 | 100 | 100
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 400 | 400 | 400 | 400 | 400
| 0 | 250 | 250 | 250 | 250 | 250
| 0 | 35 | 35 | 35 | 35 | 35
| 0 | 1000 | 1000 | 1000 | 1000 | 1000
| 0 | 36 | 36 | 36 | 36 | 36
| 0 | 149 | 149 | 149 | 149 | 149
| 0 | 400 | 400 | 400 | 400 | 400
| 0 | 60 | 60 | 60 | 60 | 60
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 186 | 186 | 186 | 186 | 186
| 0 | 90 | 90 | 90 | 90 | 90
| 0 | 194 | 194 | 194 | 194 | 194
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 300 | 300 | 300 | 300 | 300
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 35 | 35 | 35 | 35 | 35
| 0 | 299 | 299 | 299 | 299 | 299
| 0 | 264 | 264 | 264 | 264 | 264
| 0 | 401 | 401 | 401 | 401 | 401
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 750 | 750 | 750 | 750 | 750
| 0 | 200 | 200 | 200 | 200 | 200
| 0 | 350 | 350 | 350 | 350 | 350
| 0 | 148.5 | 148.5 | 148.5 | 148.5 | 148.5
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 100 | 100 | 100 | 100 | 100
| 0 | 249 | 249 | 249 | 249 | 249
| 0 | 150 | 150 | 150 | 150 | 150
| 0 | 258 | 258 | 258 | 258 | 258
| 0 | 0 | 180 | 180 | 180 | 180
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 350 | 350 | 350 | 350
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 270 | 270 | 270 | 270
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 400 | 400 | 400 | 400
| 0 | 0 | 609 | 609 | 609 | 609
| 0 | 0 | 21 | 21 | 21 | 21
| 0 | 0 | 400 | 400 | 400 | 400
| 0 | 0 | 210 | 210 | 210 | 210
| 0 | 0 | 170 | 170 | 170 | 170
| 0 | 0 | 350 | 350 | 350 | 350
| 0 | 0 | 399 | 399 | 399 | 399
| 0 | 0 | 500 | 500 | 500 | 500
| 0 | 0 | 400 | 400 | 400 | 400
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 200 | 200 | 200 | 200
| 0 | 0 | 0 | 1001 | 1001 | 1001
| 0 | 0 | 0 | 4000 | 4000 | 4000
| 0 | 0 | 0 | 201 | 201 | 201
| 0 | 0 | 0 | 200 | 200 | 200
| 0 | 0 | 0 | 500 | 500 | 500
| 0 | 0 | 0 | 0 | 1100 | 1100
| 0 | 0 | 0 | 0 | 400 | 400
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 0 | 0 | 0 | 250 | 250
| 0 | 0 | 0 | 0 | 200 | 200
| 0 | 0 | 0 | 0 | 200 | 200
| 0 | 0 | 0 | 0 | 750 | 750
| 0 | 0 | 0 | 0 | 0 | 200
Potential Non-Public Wind Resources | 5097 | 15360.5 | 21219.5 | 27121.5 | 30521.5 | 30721.5
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information
Confidential Information