## Slide 1: Operations Working Group
Chair-Matt Carter
Vice-Chair-Rick Gillean
11/2/2017

## Slide 2: Draft NOGRR on Under Frequency Load Shed.
ERCOT Compliance coordinates and conducts an annual survey with the Transmission Service Providers (TSPs) and Distribution Service Providers (DSPs) to ensure that the required automatic under-frequency load shed circuits are configured to provide the appropriate load relief in an under-frequency event as required by Nodal Operating Guides 2.6.1(1) Requirements for Under-Frequency Load Shedding.
Matt Mereness, with ERCOT, gave a presentation that described their draft Nodal Operating Guide Revision Request (NOGRR), which was the result of their findings in the Under Frequency Load Shed (UFLS) survey.
This made the second month in a row for OWG to look at these items. Especially controversial at the August meeting was ERCOT’s inclusion of Emergency Response Service (ERS) with the following sentence: “As such, the amount of the TO Load relief will not include Load Resources, Emergency Response Service (ERS), or any Load that has already been shed prior to the 59.3 Hz frequency threshold.”

## Slide 3: NOGRR 169, Disturbance Monitoring Requirements Update to Align with NERC Reliability Standard PRC-002-2.
This NOGRR aligns language in Operating Guide Section 6.1, Disturbance Monitoring Requirements, with NERC Reliability Standard Performance and Control (PRC)-002-2, Define Regional Disturbance Monitoring and Reporting Requirements. This NOGRR was filed by Bret Burford with AEP on behalf of the System Protection Working Group (SPWG).
OWG reached consensus to endorse NOGRRR 169 with ERCOT’s comments.

## Slide 4: NPRR 825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing and DC Tie Load.
Part of the Protocol Revision Subcommittee’s (PRS) motion to approve Nodal Protocol Revision Request (NPRR) 825 included ERCOT coming to the appropriate working groups to review their implementation plan. Chad Thompson, with ERCOT, said that they will be creating a tool to automate the process as it will be very time consuming and detailed work. ERCOT said that they were still in the process of reviewing the technical details.

## Slide 5: ERCOT System Operations Update
Mr. Thompson reported that ERCOT is deeply engrossed in analyzing the impacts of Hurricane Harvey in order to report back to FERC, the TRE, as well as, stakeholders. Part of this effort included Requests for Information (RFIs) being sent to Transmission Operators (TOs) and Qualified Scheduling Entities (QSEs). Several members of OWG asked ERCOT to provide different RFIs for TOs and QSEs because they were having difficulty discerning which questions in the RFI were applicable to them. Stakeholders also asked for more time to respond and pointed out that some of the data being requested was already present in ERCOT’s systems and saw no need to provide duplicative data. ERCOT agreed to take these requests into consideration. Mr. Thompson did say that ERCOT had a lot of successes and had brought in extra engineers to work 24/7 during landfall. There were two Power Operations Bulletins issued on October 31 but that neither contained substantial changes.