## Slide 1: Black Start Working Group (BSWG) Update to ROS
NOVEMBER 2, 2017
John Solis
BSWG Chair

## Slide 2: BSWG Meeting Activities
Closed Door BSWG Meeting 10/10
  ERCOT Training Representative (Pierce) reviewed 2017 ERCOT synch & beyond outcomes.
  Members discussed aspects of upcoming 2018 BS simulation training which may differ from prior trainings. Members advised to maintain the use of cold load pickup characteristics with varying time dependent discrete levels, rather than removing cold load pickup from training altogether. It was decided to utilize initial C.L.P of twice normal then decay over 30 minute period.
  ERCOT Advised to group regarding limitations on AGC systems during restoration. Restriction of AGC for split islands. Members will have further discussion with ERCOT in upcoming meeting regarding market restoration during large disturbance event.

## Slide 3: BSWG Meeting Activities
  Members of BSWG reviewed current status of plan start plan updates for 2018 effective date. Internal discussions were held between representatives to ensure separate TO plans are coordinated.
  TRE Representative (Penney) brought up possibility of including outages for a specified number of next start resources in upcoming simulation trainings. ERCOT/OTWG will further review for possibility of inclusion into future Black Start Simulation drills. Will not include in 2018 training.

## Slide 4: Upcoming Meeting
BSWG will meet 11/14. (Closed Mtg.)
TO Black Start Restoration plan submittals are due to ERCOT Operations by Nov, 1.