DATE:		July 13th & 14th, 2017

Time:		8:30 – 17:00 Thursday (break at 10:15-10:30, lunch 12:00-13:00, break at 14:45-15:00)

8:00 – 12:00 Friday (break at 10:15-10:30)

Location:	ERCOT – Austin

Room 206A

7620 Metro Center Drive

Austin, TX 78744

ERCOT SPWG Meeting – March 13th & 14th

- Anti-trust Admonition – Dung Nguyen

- Roster & Calendar review/update – Dung Nguyen

  - Pass around Membership Roster & Sign-in Sheet

  - Pass around internal SPWG Coordination Roster

  - Self-introductions around the table/on the phone

  - Review 2017 SPWG Calendar

- Review and approval of minutes from previous meeting – Dung Nguyen

- Action Item review and status update – Gene

  - Voltage-Controlled Current Source (VCCS) Group

    - Study impact of low short circuit currents on grid reliability

    - Review simulation options for short-circuit study calculations

    - Determine appropriate protection schemes for dealing with equipment near these low fault current areas

- Updates from TRE – David Penney

  - 2017 Q1 ERCOT Misoperation Summary

  - MRO Phase 2 Misoperation Paper

  - New MIDAS portal for NERC Misoperations. Need volunteers to test. Contact David Penney.

  - WECC Mioperations workshop on 8/29-8/30. David Penney sent out flyer.

- NERC PRC Standard Activities Report to ERCOT SPWG – David Penny

  - PRC-026-1, Stable power swings, enforcement date 1/1/2018

  - PRC-025-1, Generator Relay Loadability, SAR in progress

  - PRC-012-2, Remedial Action Schemes, pending FERC approval

  - PRC-027-1, Coordination of Protection Systems, pending FERC approval

- Review NOGRR-169 (ERCOT Guide 6.0 DME) – Bret Burford

- ERCOT Activity & Updates – ERCOT Personnel

  - ERCOT discussed wind farm modeling and differences with SSWG cases

    - Tertiary buses for 3-W transformers

    - Additional buses on wind farms

    - Bus name differences between SPWG and SSWG cases

      - Action item is to review bus names and possibly revise to match the SSWG cases for next year’s case building.

- Short Circuit Case Building – All

  - 2017 Short Circuit Case Pass status

    - Cases have been posted on the ERCOT MIS website

  - Case Building Guide revisions for Version 1.9 Renewable Resource Modeling

    - Provide update for next SPWG meeting.

- Interesting Event Review (call for volunteers!)

  - Discussion on firmware on SEL 400 series relays.

- Other Items

  - SPWG group also had a discussion on phase angle limitations on current interrupting devices (e.g. circuit breakers, motor operated switches) for closing back in lines and bus ties since this data is now required by ERCOT to conduct their Operational Planning Analysis (OPAs) and Real Time Assessments (RTAs).

  - Discussion on PLC data request from UTC.

  - Discussion on bypassing of protection during maintenance work.

- Review of items requiring submittal before next SPWG meeting – Gene

- Review of new Action Items and Assignments – Gene

Next SPWG Meeting:	ERCOT;	July 13 & 14, 2017