## Slide 1: TAC Update to COPS
Michelle Trenary
November 8, 2017

## Slide 2: TAC Information Session October 23, 2017
<number>
Generating and Maintaining the Load Distribution Factor Library (LDF) (ERCOT Comments) Approved
With implementation of NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculation (Nov 2, 2017), revisions to the LDF methodology are required.
LDFs are developed using historical State Estimator or SCADA data. ERCOT updates the LDF libraries by maintaining the existing LDF sets and generating new LDF sets when required, based on significant changes in system-wide load patterns.
Via E-mail vote on 10/25/2017, the TAC approved the Generating and Maintaining the Load Distribution Factor Library documents as amended by the ERCOT comments.

## Slide 3: Questions?
14