## Slide 1: Direction of Federal Level and other ISOs Regarding Non-wires Alternatives
Cyrus Reed, Sierra Club, Lone Star Chapter

## Slide 2: Consideration of all options to meet transmission needs?
Just what are NWA/NTAs?
History of FERC on issue
State Laws
RTOs Use of Alternatives -- Process
MISO
New England-ISO
NYISO
CAISO
PJM
Actual On-The-Ground Use of NTAs

## Slide 3: Non-Transmission/Wires Alternatives
Energy Efficiency
Energy Storage
Demand Response
Distributed Generation, as Aggregated
Traditional Generation sited near loads
Micro-Grids
Transmission in a smaller scale plus one of the above

## Slide 4: Active vs Passive
Passive
Growth in EE/DR/DG can impact future loads, delaying or avoiding need for transmission lines/substations
Active
Actual decision to increase NTAs, offer alternatives instead of a transmission solution

## Slide 5: FERC ACTIONS
Order 890-A
2007 – Give comparable consideration to all types of solutions in grid process
Make sure states and programs are participants
Largely process, participatory reform
Did not authorize Non-Transmission Alternatives to recover their costs in the way that transmission can
Order 1000 – 2011
More direct -- builds on 890, but applies it more broadly to the Regional Grid Planning Process
However, still stated that “issue of cost recovery for NTAs beyond scope of other cost allocation reforms” though “may be eligible for treatment as transmission for ratemaking purposes.”

## Slide 6: Order 1000 – Regional Planning

## Slide 7: FERC Order 1000 Continued (Planning, Cost, Participation)
Planning: Each utility must participate in regional plan; must consider and analyze transmission needs and solutions driven by other public policies like energy efficiency and renewable portfolio standards, etc.); must consider non-transmission solutions.
Cost Allocation: Must participate and look at cost allocation based on principles; must develop common cost-allocation tariffs/principles, and again, must assess CBA of non-transmission solutions
Participation: Encouragement to third-party participation (merchant transmission and non-traditional actors), even as it recognizes the primacy of incumbent solutions. If delays occur, can require further analysis, including non-incumbent solutions
Transmission companies must compare and look at DSM as more than just a reduction in load
i.e. Not just look at static DSM as reduction to load but as an “active” participant – ie what happens if you actively increase it/use it to solve transmission issues

## Slide 8: Law vs reality
FERC 1000 lacked lots of details, to be worked out at ISO/RTO Level
“Comparable Consideration” in most ISOs has not led to real alternative analysis for NTAs
Thus, regions like MISO and SERC appear to have no specific requirements on NTAs, other than they must be considered
Cost-Allocation of NTAs beyond the requirement
Transmission planners (and ISOs):
More comfortable with transmission solutions
Able to recover costs on transmission infrastructure
Have more influence than non-traditional market participants
No obvious powerful stakeholder to champion NTAs – ESCOs do not generally participate at RTO level
Co-benefits of DR/EE/Storage (less pollution, less water use, etc) do not fit inside the framework of comparing Traditional vs. NTAs for cost-benefit analysis

## Slide 9: Other Ferc-Related Decisions
Sustainable FERC project and others successfully defeated initial NYISO proposed tariff that was transmission solution-only through FERC
MISO decision to require more consideration of NTAs when coal plants retire
Storage Policy (2017) –
FERC Released policy on electric storage, which states that storage can be utilized both for reliability and participate in the market and should not be discriminated against.. (Docket No. Pl 17-2-00 – “Utilization of Electric Storage for Multiple Services”)

## Slide 10: The leaders on NEW Approaches to NTO
New England ISO – first began incorporating EE and DR into long-term planning forecasts, as well as more recently potential study amounts
performs analysis of hypothetical MRAs to identify combination of NTAs to address thermal and voltage area issue – which can lead to choosing this as issues arise
New York – Through system-wide Reliability Needs Assessment identifies reliability needs for resource adequacy and transmission reliability for NYISO Board, then requests proposed solutions through RFP for market-based solution, and also picks a TO backstop solution should Market not produce need
MISO – largely limited as alternatives when there are retirements through the SSR (Suspension Support Resource), though beginning to address it in larger planning context
CAISO – largely limited to local (distribution) level decisions in considering NTAs, though because of other laws (Storage mandate, Net-metering), NTAs are being developed
STATE OF VERMONT – PREDATES FERC 1000 – Vermont System Planning Committee produces 20 year plan with lots of public participation (keep in mind only one TO), and actively considers NTA and work of Efficiency Vermont in planning

## Slide 11: Some recent examples
NY PSC allows battery storage for reliability to also provide electricity to grid to lower peak demand as part of a NWA in Brooklyn/Queens through New York’s Reforming the Energy Vision initiative.
As part of large upgrade, including transmission, Long Island Power authority to build two large energy-storage batteries to help with soaring summer energy demand, and a separate authority to build emergency generators.
PJM began a pilot to model storage as a reliability tool – assuming unit used to control and improved energy flows to lower congestion – could lead to storage qualifying in future
NE-ISO engaged in pilots in Greater Hartford –Central Connecticut, VT/NH and SEMA/RI area that simultaneously assessed MRAs and Transmission options going forward to give option to pursue MRA/NTA

## Slide 12: NE ISO Planning Guide, 2013
“Assessing the suitability of resources during the planning process can be challenging because of the wide variability of the characteristics, locations, and possible combinations of resources, such as central station and distributed generation resources, end-use efficiency, and storage technologies. To date, System Planning has performed MRA analysis for the VT/NH, Greater Hartford and SEMA/RI transmission projects. The results of these analyses are available to the marketplace to encourage their development and/or to encourage the transmission owner to pursue the MRA as part of the transmission process.”