## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, SUMMER PEAK SEASONS
Summer Peak Ave. Solar Capacity Percentages
Top Twenty Peak Hours for Each year |  | SOLARPEAKPCT Values *
Year |  | 74.98%
2017 | 75.24%
2016 | 66.3%
2015 | 83.4%
2014 | 79.82% | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03_030116_Nodal.doc
2013 | 77.86%
2012 | 80.24%

## Graphs
HISTORICAL SOLAR CAPACITY CONTRIBUTION - SUMMER PEAK SEASON
Capacity Factors | High | Low | Average
Summer 2012-2017 | 100% | 44.39% | 77.14%
Summer 2012 | 100% | 65.54% | 80.24%
Summer 2013 | 87.95% | 61.08% | 77.86%
Summer 2014 | 89.69% | 57.56% | 79.82%
Summer 2015 | 94.96% | 60.13% | 83.4%
Summer 2016 | 85.33% | 44.39% | 66.3%
Summer 2017 | 90.35% | 52.76% | 75.24%

## S2017
HOUR | 2017-7-20 HE15 | 2017-7-20 HE16 | 2017-7-20 HE17 | 2017-7-20 HE18 | 2017-7-21 HE16 | 2017-7-21 HE17 | 2017-7-21 HE18 | 2017-7-25 HE17 | 2017-7-26 HE17 | 2017-7-27 HE16 | 2017-7-27 HE17 | 2017-7-27 HE18 | 2017-7-28 HE15 | 2017-7-28 HE16 | 2017-7-28 HE17 | 2017-7-28 HE18 | 2017-7-28 HE19 | 2017-7-29 HE17 | 2017-7-29 HE18 | 2017-8-16 HE17
ERCOT LOAD (MW) | 67783 | 68517 | 68790 | 68572 | 68311 | 68422 | 67913 | 68019 | 67897 | 68507 | 68648 | 68367 | 68305 | 69025 | 69512 | 69454 | 68319 | 68379 | 67998 | 67889
SOLAR HSL (MW) | 431.3738 | 437.753 | 426.8529 | 391.5319 | 328.6715 | 273.0328 | 262.6665 | 353.0366 | 396.2284 | 380.6967 | 323.7345 | 298.571 | 429.7614 | 431.9138 | 394.3332 | 361.0187 | 361.7329 | 369.0531 | 255.6187 | 383.5245
SOLAR CAPACITY (MW) | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5 | 484.5
CAPACITY FACTOR | 89.03% | 90.35% | 88.1% | 80.81% | 67.84% | 56.35% | 54.21% | 72.87% | 81.78% | 78.58% | 66.82% | 61.62% | 88.7% | 89.15% | 81.39% | 74.51% | 74.66% | 76.17% | 52.76% | 79.16%
CAPACITY FACTOR AVG | 75.24%
SEASON | SUMMER 2017