Date:	November 30, 2017

To:	Technical Advisory Committee (TAC) Representatives

From:	Diana Coleman, Protocol Revision Subcommittee (PRS) Vice-Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR834, Clarifications for Repossessions of CRRs by ERCOT [ERCOT] - NPRR839, Clarification of ERCOT Forwarding of Consumption and Other Data [ERCOT] - NPRR843, Short-Term System Adequacy and AS Offer Disclosure Reports Additions [ERCOT] - NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR834, Clarifications for Repossessions of CRRs by ERCOT [ERCOT] Proposed Effective Date: January 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies processes associated with repossession of Congestion Revenue Rights (CRRs) by ERCOT in circumstances where there has been a Payment Breach or other Default by a Market Participant by specifying data transparency requirements; documenting the disposition of auction revenue funds in excess of amounts owed to ERCOT by the Market Participant; clarifying that the one-time auction bids must be positive; and allowing immediate transfer of ownership of CRRs to the winning bidder in a one-time CRR Auction if this is necessary to ensure the correctness of the inventory for subsequent CRR Auctions. PRS Decision: On 10/12/17, PRS unanimously voted to recommend approval of NPRR834 as amended by the 8/8/17 ERCOT comments. On 11/9/17, PRS unanimously voted to endorse and forward to TAC the 10/12/17 PRS Report as amended by the 10/31/17 ERCOT comments and the Impact Analysis for NPRR834. Credit WG Review: See 10/19/17 Credit WG comments. - NPRR839, Clarification of ERCOT Forwarding of Consumption and Other Data [ERCOT] Proposed Effective Date: January 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR updates Section 10.12.3, ERCOT Distribution of Settlement Quality Meter Data, to clarify that upon receiving meter data transactions from a Transmission Service Provider (TSP) or Distribution Service Provider (DSP), ERCOT will forward the transactions to the Competitive Retailer (CR), as designated by the TSP or DSP. PRS Decision: On 10/12/17, PRS unanimously voted to recommend approval of NPRR839 as submitted. On 11/9/17, PRS unanimously voted to endorse and forward to TAC the 10/12/17 PRS Report and the Impact Analysis for NPRR839. - NPRR843, Short-Term System Adequacy and AS Offer Disclosure Reports Additions [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 170 ERCOT Impact Analysis: Between $70k and $90k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Data and Information Products (DAIP), and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses four separate reporting items in Section 3, Management Activities for the ERCOT System, of the Nodal Protocols: 1) Makes changes to the logic for the Short-Term System Adequacy Reports for more consistent treatment of Resource Statuses in reporting available capacity. Also, more specific language is added to provide clarity to end users of the reports; 2) Creates a new report which will show the portion of Ancillary Service Offers at or above 50 times the Fuel Index Price (FIP) when the Market Clearing Price for Capacity (MCPC) of that Ancillary Service exceeds 50 times FIP; 3) Additional elements are added to the “48-Hour Highest Price AS Offer Selected” report to also include the highest-priced Ancillary Service Offer selected in a Supplemental Ancillary Services Market (SASM); and 4) A 60-day SASM disclosure report is created to provide transparency into Ancillary Service Offers and awards for any SASMs that may have been executed for a period within an Operating Day. PRS Decision: On 10/12/17, PRS voted unanimously to recommend approval of NPRR843 as submitted. On 11/9/17, PRS voted unanimously to endorse and forward to TAC the 10/12/17 PRS Report and Impact Analysis for NPRR843 with a recommended priority of 2018 and rank of 170. - NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR addresses a number of changes pertaining to the Emergency Response Service (ERS): 1) Allows previously committed ERS Resources to participate in Must-Run Alternative (MRA) Agreements as ordered in Public Utility Commission of Texas (PUCT) Project No. 45927, Rulemaking Regarding Emergency Response Service; 2) Modifies the methodology for evaluating the performance during the first partial interval for ERS Loads on the alternate baseline; 3) Provides edits pertaining to the self-serve capacity associated with an ERS Generator; 4) Adds Protocol language that will set the ERSTESTPF to significantly lower values and in some instances to zero for ERS Resources with three consecutive test failures in a 365 day period; and 5) Provides additional administrative changes and clarifications to existing Protocol language pertaining to ERS. PRS Decision: On 10/12/17, PRS unanimously voted to recommend approval of NPRR846 as revised by PRS. On 11/9/17, PRS voted to endorse and forward to TAC the 10/12/17 PRS Report as amended by the 11/2/17 ERCOT comments and the Impact Analysis for NPRR846. There was one opposing vote from the IPM (Morgan Stanley) Market Segment. Revision Requests Rejected - NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve [E.ON] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: The NPRR introduces Fast Frequency Response (FFR) as a subset of Responsive Reserve (RRS). FFR is designed to support frequency at 59.8 Hz instead of 59.7 Hz leaving existing Load Resources other than Controllable Load Resources providing RRS intact at 59.70 Hz so that they will have higher probability of being available for the next worst event. Once deployed, FFR can reset in 15 minutes and be ready for the next event. PRS Decision: On 11/9/17, PRS voted to reject NPRR828. There were two opposing votes from the Independent Generator (E.ON) and Independent Retail Electric Provider (IREP) (Viridity) Market Segments and three abstentions from the Independent Generator (Exelon) and Municipal (2) (DME, CPS Energy) Market Segments. Revision Requests Withdrawn - NPRR835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS) [E.ON] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the December 14, 2017 PRS Meeting - NPRR819, Resettlement Clean-Ups [ERCOT] - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] - NPRR842, Study Area Load Information [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR814, Modify Black Start Procurement Cycle [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR844, Clarification to Outage Report [Luminant Generation] - NPRR845, RMR Process and Agreement Revisions [ERCOT] - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] - NPRR848, Separate Clearing Prices for RRS [Morgan Stanley] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR850, Market Suspension and Restart [ERCOT] - NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages [GSEC] New Revision Requests Scheduled for Consideration at the December 14, 2017 PRS Meeting - NPRR852, CRR Activity Calendar Approval Process [ERCOT] - SCR794, Update SCED Limit Calculation [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr