| OGRR Number | 149 | NOGRR Title | Revision to Definition of Transmission Operator |
| --- | --- | --- | --- |
| Date |  | September 25 , 2017 |  |
| Decision Being Appealed |  | Reliability and Operations Subcommittee (ROS) Decision to Reject NOGRR149 - 3/3/16 ROS Report |  |
| Date of Decision |  | March 3, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Gerald A. Nunan, PE, JD |  |
| E-mail Address |  | gnunan@se-texas.com |  |
| Company |  | Schneider Engineering, Ltd., on behalf of the Small Public Power Group of Texas (SPPG) |  |
| Phone Number |  | 830-249-3887 |  |
| Cell Number |  | 210-383-2169 |  |
| Market Segment |  | Municipal |  |

Comments

SPPG Status Report to TAC (September 2017)

The Technical Advisory Committee (TAC) on August 24, 2017, continued the tabling to February the 2018 TAC Meeting of the Small Public Power Group of Texas (SPPG) appeal of Nodal Operating Guide Revision Request (NOGRR) 149.  TAC also required monthly SPPG status reports on SPPG’s efforts in pursuing a potential market solution for designated TO (DTO) service for the SPPG members.  This supplements the prior written and in-person status reports regarding those efforts.

General Overview

All SPPG members continue working on their primary options, as set out below.

Status for Each Specific SPPG Member

Bridgeport, Sanger, and Seymour:

As previously indicated, the primary option they are currently pursuing involves having LCRA Transmission Services Corporation (LCRA) establish a new point of interconnection.  Brazos Electric Power Cooperative, Inc. (Brazos) and LCRA are continuing with their efforts on how to include the existing Brazos substations in a permanent arrangement regarding those cities.

Farmersville:

As previously indicated, the primary option it was pursuing involved Sharyland’s substation upgrade.  That option was subject to the outcome of the pending Sharyland rate case. As a result of the larger transaction designed to result in a settlement of that rate case, Sharyland and Oncor Electric Delivery Company LLC are proposing to swap Sharyland distribution assets for Oncor transmission assets.  Farmersville’s initial understanding was that Sharyland would be retaining ownership of the substation serving Farmersville as part of the proposed asset transaction with Oncor.  Subsequently, Farmersville has learned that ownership of the substation will be transferred from Sharyland to Oncor.  That asset transaction is contingent upon, among other things, approvals by the Public Utility Commission of Texas (PUCT).   Farmersville and Oncor have begun discussing the matter of DTO service.

Robstown and Hearne:

As previously indicated, the primary option they are currently pursuing is to sell their city-owned substations to LCRA.  Robstown and LCRA are working on the draft transaction documents and are continuing to work on other transaction process matters.  LCRA and Hearne are continuing to meet and work on their potential substation transaction.

Goldsmith:  The City of Goldsmith is a very small municipal utility.  It is served by an Oncor substation.  As a result of discussions with PUCT Staff, Goldsmith has joined SPPG, and will be pursuing discussions with Oncor regarding the DTO situation.