## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2017

## Slide 2: Non-IRR GREDP < 85% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 261 | 60 | 71 | 0.67 | 84.51
Unit 285 | 10 | 12 | 0.51 | 83.33
Unit 288 | 3 | 5 | 1.05 | 60.00
Unit 289 | 0 | 2 | 0.66 | 0.00
Unit 290 | 0 | 1 | 1.02 | 0.00

## Slide 3: IRR Summary October 2017
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 77.70 | 57.86 | 84.81
GREDP Median (%) | 96.52 | 71.43 | 89.00
Average MW Error | 4.17 | 2.98 | 2.82
Median MW Error | 3.01 | 2.61 | 2.44
Total Intervals Scored | 23,932 | 8,912 | 8,137
100+ Intervals Scored | 33 | 141 | 17
Total Intervals Scored Average | 137.54 | 168.15 | 478.65

## Slide 4: IRR GREDP ≥ 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2955 | 2955 | 0.36 | 100.00
Unit 2 | 2671 | 2732 | 3.93 | 97.77
Unit 3 | 2344 | 2384 | 2.61 | 97.00
Unit 5 | 1514 | 1573 | 8.40 | 96.24
Unit 6 | 1554 | 1562 | 3.77 | 99.49
Unit 9 | 999 | 1008 | 3.42 | 99.11
Unit 14 | 366 | 385 | 2.66 | 95.06
Unit 15 | 347 | 359 | 2.30 | 99.00
Unit 19 | 288 | 296 | 3.29 | 97.30
Unit 20 | 278 | 279 | 2.34 | 98.00
Unit 23 | 246 | 255 | 2.12 | 96.47
Unit 26 | 166 | 168 | 2.14 | 98.50

## Slide 5: IRR GREDP ≥ 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 27 | 157 | 160 | 2.99 | 98.13
Unit 28 | 156 | 156 | 2.81 | 100.00
Unit 31 | 114 | 117 | 2.74 | 97.44
Unit 33 | 112 | 114 | 2.54 | 98.25
Unit 37 | 70 | 71 | 2.25 | 98.59
Unit 38 | 70 | 70 | 4.25 | 100.00
Unit 42 | 60 | 60 | 4.38 | 100.00
Unit 43 | 59 | 59 | 1.55 | 100.00
Unit 44 | 54 | 56 | 6.17 | 96.56
Unit 50 | 33 | 33 | 7.48 | 100.00
Unit 51 | 23 | 24 | 5.14 | 95.83
Unit 52 | 22 | 22 | 4.26 | 100.00

## Slide 6: IRR GREDP ≥ 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 53 | 19 | 19 | 3.75 | 100.00
Unit 55 | 13 | 13 | 2.87 | 100.00
Unit 57 | 12 | 12 | 2.85 | 100.00
Unit 59 | 11 | 11 | 2.00 | 100.00
Unit 60 | 11 | 11 | 3.01 | 100.00
Unit 64 | 8 | 8 | 6.11 | 100.00
Unit 66 | 7 | 7 | 5.20 | 100.00
Unit 70 | 6 | 6 | 3.11 | 100.00
Unit 72 | 5 | 5 | 3.02 | 100.00
Unit 74 | 4 | 4 | 5.61 | 100.00
Unit 75 | 4 | 4 | 3.06 | 100.00
Unit 78 | 3 | 3 | 2.70 | 100.00

## Slide 7: IRR GREDP ≥ 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 79 | 3 | 3 | 3.64 | 100.00
Unit 80 | 2 | 2 | 2.73 | 100.00
Unit 81 | 2 | 2 | 4.05 | 100.00
Unit 88 | 1 | 1 | 3.18 | 100.00
Unit 89 | 1 | 1 | 3.52 | 100.00
Unit 91 | 1 | 1 | 4.24 | 100.00
Unit 94 | 1 | 1 | 5.28 | 100.00
Unit 97 | 1 | 1 | 3.78 | 100.00
Unit 98 | 1 | 1 | 5.21 | 100.00
Unit 99 | 1 | 1 | 2.94 | 100.00
Unit 101 | 1 | 1 | 2.67 | 100.00
Unit 102 | 1 | 1 | 2.34 | 100.00

## Slide 8: IRR GREDP ≥ 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 103 | 1 | 1 | 3.06 | 100.00
Unit 104 | 1 | 1 | 4.18 | 100.00

## Slide 9: IRR GREDP < 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 1230 | 1573 | 8.40 | 78.19
Unit 7 | 1082 | 1240 | 0.88 | 87.26
Unit 8 | 640 | 1015 | 0.42 | 63.05
Unit 10 | 496 | 584 | 4.40 | 84.93
Unit 11 | 497 | 524 | 3.49 | 94.85
Unit 12 | 475 | 504 | 2.55 | 94.25
Unit 13 | 379 | 420 | 1.25 | 90.24
Unit 16 | 262 | 321 | 1.80 | 81.62
Unit 17 | 228 | 312 | 4.15 | 73.08
Unit 18 | 222 | 307 | 5.03 | 72.31
Unit 21 | 246 | 273 | 1.87 | 90.11
Unit 22 | 188 | 268 | 1.43 | 70.15

## Slide 10: IRR GREDP < 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 24 | 185 | 225 | 2.18 | 89.00
Unit 25 | 197 | 208 | 3.43 | 94.71
Unit 29 | 116 | 129 | 1.27 | 89.92
Unit 30 | 112 | 119 | 3.04 | 94.12
Unit 32 | 108 | 115 | 2.44 | 93.91
Unit 34 | 80 | 93 | 1.91 | 86.02
Unit 35 | 80 | 88 | 1.60 | 90.91
Unit 36 | 46 | 74 | 3.76 | 47.00
Unit 39 | 48 | 69 | 1.41 | 69.57
Unit 40 | 48 | 65 | 4.99 | 83.00
Unit 41 | 53 | 61 | 2.29 | 86.89
Unit 45 | 35 | 42 | 4.05 | 83.33

## Slide 11: IRR GREDP < 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 46 | 36 | 40 | 4.60 | 90.00
Unit 47 | 0 | 39 | 0.94 | 0.00
Unit 48 | 24 | 38 | 3.76 | 67.00
Unit 49 | 19 | 36 | 2.92 | 52.78
Unit 54 | 6 | 16 | 2.33 | 37.50
Unit 56 | 10 | 12 | 3.76 | 83.33
Unit 58 | 0 | 12 | 2.16 | 0.00
Unit 61 | 5 | 11 | 1.69 | 45.45
Unit 62 | 8 | 9 | 2.61 | 83.00
Unit 63 | 7 | 9 | 5.30 | 77.78
Unit 65 | 6 | 8 | 2.89 | 75.00
Unit 67 | 5 | 7 | 3.22 | 71.43

## Slide 12: IRR GREDP < 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 68 | 5 | 7 | 5.40 | 71.43
Unit 69 | 3 | 6 | 6.15 | 50.00
Unit 71 | 4 | 5 | 4.45 | 80.00
Unit 73 | 3 | 5 | 1.32 | 60.00
Unit 76 | 1 | 3 | 2.02 | 33.33
Unit 77 | 0 | 3 | 4.39 | 0.00
Unit 82 | 0 | 2 | 1.76 | 0.00
Unit 83 | 0 | 2 | 1.16 | 0.00
Unit 84 | 0 | 2 | 2.52 | 0.00
Unit 85 | 1 | 2 | 2.19 | 50.00
Unit 86 | 0 | 2 | 1.76 | 0.00
Unit 87 | 1 | 2 | 3.24 | 50.00

## Slide 13: IRR GREDP < 95% October 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 90 | 0 | 1 | 2.69 | 0.00
Unit 92 | 0 | 1 | 3.12 | 0.00
Unit 93 | 0 | 1 | 3.46 | 0.00
Unit 95 | 0 | 1 | 0.47 | 0.00
Unit 96 | 0 | 1 | 7.38 | 0.00
Unit 100 | 0 | 1 | 0.39 | 0.00