| Date: | December 5, 2017 |
| --- | --- |
| To: | Board of Directors |
| From: | Bob Helton, Acting Technical Advisory Committee (TAC) Chair |
| Subject: | Non-Unanimous Nodal Protocol Revision Requests (NPRRs) Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: December 12, 2017 Item No.: 7.1

##### Issue: ##### Consideration of the following NPRRs recommended for approval by TAC (with opposing votes recorded): - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service; - NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load; and - NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items.

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] Revision Description: This NPRR revises the current limit of Load Resources providing RRS from 50% to 60% of the total ERCOT RRS requirement, and specifies that Primary Frequency Response from Resources shall not be less than 1150 MW. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2070 ERCOT Impact Analysis: Between $70k and $90k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Data Access & Transparency, External Public, Data and Information Products (DAIP); no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. TAC Decision: On 11/30/17, TAC voted via roll call vote to recommend approval of NPRR815 as recommended by PRS in the 9/14/17 PRS Report. There were six opposing votes from the Cooperative (3) (STEC, GSEC, LCRA), Independent Generator (2) (Dynegy, Luminant), and Municipal (Garland) Market Segments; and three abstentions from the Consumer (2) (CMC Steel, Air Liquide) and Independent Generator (Avangrid) Market Segments. ERCOT Opinion: ERCOT supports NPRR815 because there is no technical basis for the current 50% limit imposed on Load Resources. Additionally, with the approval of NPRR815, there will be reduction in RRS quantities procured resulting in favorable savings in annual procurement cost for RRS. - NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load [REMC] Revision Description: This NPRR requires ERCOT to issue a Direct Current Tie (DC Tie) Curtailment Notice prior to curtailing DC Tie Load. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2090 ERCOT Impact Analysis: Between $200k and $300k; no impacts to ERCOT staffing; impacts to MMS, Data Access & Transparency, DAIP, Integration; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. TAC Decision: On 11/30/17, TAC voted to recommend approval of NPRR825 as recommended by PRS in the 9/14/17 PRS Report and the revised Impact Analysis for NPRR825. There were eight opposing votes from the Consumer (3) (CMC Steel, OPUC, Residential Consumer), Cooperative (4) (Brazos, GSEC, LCRA, STEC), and Independent Generator (Luminant) Market Segments and two abstentions from the Consumer (Air Liquide) and Independent Generator (Dynegy) Market Segments. ERCOT Opinion: ERCOT supports approval of NPRR825 as it improves the accuracy of DC Tie limit forecasts and market communication regarding DC Tie curtailments. - NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items [ERCOT] Revision Description: This NPRR addresses a number of changes pertaining to the Emergency Response Service (ERS) including allowing previously committed ERS Resources to participate in Must-Run Alternative (MRA) Agreements as ordered in Public Utility Commission of Texas (PUCT) Project No. 45927, Rulemaking Regarding Emergency Response Service; modifying the methodology for evaluating the performance during the first partial interval for ERS Loads on the alternate baseline; providing edits pertaining to the self-serve capacity associated with an ERS Generator; adding Protocol language that will set the ERSTESTPF to significantly lower values and in some instances to zero for ERS Resources with three consecutive test failures in a 365 day period; and providing additional administrative changes and clarifications to existing Protocol language pertaining to ERS. Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 11/30/17, TAC voted to recommend approval of NPRR846 as recommended by PRS in the 11/9/17 PRS Report. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. ERCOT Opinion: ERCOT supports approval of NPRR846. The TAC Report and Impact Analysis for NPRRs 815, 825 and 846 are included in the ERCOT Board meeting materials, which can found at the following link: http://www.ercot.com/calendar/2017/12/12/104001-BOARD In addition, NPRRs 815, 825 and 846 and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr

##### Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted a report to TAC regarding NPRRs 815, 825 and 846 as described herein. TAC considered the issues and voted to take action on NPRRs 815, 825 and 846 as described above.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the ERCOT Board approve NPRRs 815, 825 and 846 as described herein.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to approve the following Nodal Protocol Revision Requests (NPRRs) recommended by the Technical Advisory Committee (TAC) for approval:

- NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service;

- NPRR825, Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load; and

- NPRR846, Allow Previously Committed ERS Resources to Participate in MRA Agreements and Other ERS Items;

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby approves NPRRs 815, 825 and 846.

CORPORATE SECRETARY’S CERTIFICATE

I, Vickie G. Leady, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its December 12, 2017 meeting, the ERCOT Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of December 2017.

______________________________

Vickie G. Leady

Assistant Corporate Secretary