## Slide 1
Energy Efficiency Forecasting for the December 2017 CDR - Update
Pete Warnken
Manager, Resource Adequacy
December 8, 2017

## Slide 2: Energy Efficiency (EE) Forecast Update
Energy efficiency forecast updated based on
  New 2018 Long Term Load Forecast
  Adjustment for avoided distribution line losses added (gross-up factor increase from 1.02 to 1.08)

## Slide 3: Austin Energy’s Cumulative Peak Savings from Energy Efficiency
Amounts reported to ERCOT are shown below
  Verified that demand response and rooftop solar contributions have been excluded
  Verifying large growth in actual amount for 2017 (244 MW)
  Figures already grossed up to account for avoided T&D losses and reserve requirement

## Slide 4: CPS Energy’s 2016 SECO Energy Efficiency Reporting Form – Data Section