DMTF Minutes

Nov 13, 2017

Attendance:  Attached below.

Minutes of the Oct 09th meeting approved as posted.

Model Validation Template (Jonathan/ERCOT)

- DWG response to the template is positive.

- DWG agrees to the proposed workshop on the template.

- ERCOT is sharing the template with some generators on case by case basis for getting feedback.

- Need to check if we have to get any ERCOT protocols revised. Protocol revisions takes time, and we have to get all done by June 2018.

- Check the response of RE’s and TSP’s at the workshop before proceeding with the template and protocol revisions etc.

- Targeted dates for the workshop are January 23rd or 24th

Model review/validation (Mohammad/ERCOT):

- Notice to be sent to all RE’s listing unacceptable models. Further discussion will be held in ROS.

- It takes about 3-4 months from RARF submission to get a new model updated in the ERCOT systems

- Following MOD 26/27, correct path is go through the TSP first before updating the model through ERCOT RARF.

- But for AVR and PSS model updates, if you wait for TSP approval, you may not have sufficient time to submit to ERCOT. How to get this aligned?

- Fred will draft a market notice to be sent regarding unacceptable models.

UDM Review & Validation Document (Jonathan/John/ERCOT)

- ERCOT UDM guideline document is proposed to be posted on the DWG page.

Model Validation Template Workshop:

- To be held on January 23rd or 24th, 2018

- Open to anyone including turbine manufacturers

DWG Manual:

- Group agreed to list the NERC acceptable/unacceptable dynamics models link in the DWG manual.

- Note that steam turbine of Combined Cycle plants do not need governor model since they do not provide frequency response in CC plants.

PSCAD Models:

- ERCOT needs PSCAD models in addition to PSS/e models because of the SSR studies and studies on weak grids

- Some manufacturers request for NDA’s from ERCOT and TSP’s before submitting PSCAD models. This should be handled by the generator/RE at the turbine purchase negotiations stage with manufacturers explaining the need to provide these models to TSP’s and ERCOT.

Proposed ROS Updates:

- DMTF supports model template presented by ERCOT

  - ERCOT to host a model template workshop in early 2018.

- Unacceptable models list: DMTF recommends including the reference to NERC acceptable/unacceptable models list in DWG procedure manual.

- DMTF requests ERCOT to send a market notice after DWG approves the procedure manual.

Next Meeting:

- On December 12th

Attendance (11/13/17):

WebEx Participants

|  |  | Name |  |  |  | Email |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Jennie Weatherill |  | E.ON |  | jennie.weatherill2@eon.com |
| 2 |  | Dwight Beckmann |  | Brazos Electric |  | dbeckman@brazoselectric.com |
| 3 |  | Brad Woods |  | TRE |  | brad.woods@texasre.org |
| 4 |  | DM |  |  |  | user1@gmail.com |
| 6 |  | Ransome |  | LCRA |  | regunjob@lcra.org |
| 7 |  | Jose Conto |  | ERCOT |  | jconto@ercot.com |
| 8 |  | Ravi Beeravalli |  | First Solar |  | ravi.beeravalli@firstsolar.com |
| 9 |  | ERCOT |  | ERCOT |  | jschmall@ercot.com |
| 10 |  | Amjed Kandah |  | Oncor |  | amjed.kandah@oncor.com |
| 11 |  | Muhammad |  | ERCOT |  | muhammad.khan@ercot.com |
| 12 |  | Paloma de Arizon |  | CNP |  | maria.dearizon@centerpointenergy.com |
| 13 |  | Joe Trevino |  | CPS Energy |  | jjtrevino@cpsenergy.com |
| 14 |  | Cole Dietert (LCRA) |  | LCRA |  | cole.dietert@lcra.org |
| 15 |  | Riyasat Azim |  | DNVGL |  | riyasat.azim@dnvgl.com |
| 17 |  | LW |  | AEP |  | lswhite@aep.com |
| 18 |  | Samantha Indalecio (AEP) |  | AEP |  | srindalecio@aep.com |
| 20 |  | Jonathan Rose (ERCOT) |  | ERCOT |  | jrose@ercot.com |
| 21 |  | Shirley Mathew |  | AE |  | Shirley.mathew@austinenergy.com |
| In-person Attendance |  |  |  |  |  |  |
| 1 | Aruna Ranaweera |  | EON |  |  |  |
| 2 | Fred Huang |  | ERCOT |  |  |  |
| 3 | Christina Minchew |  | WETT |  |  |  |
| 4 | Jun Li |  | CNP |  |  |  |
| 5 | John Schmall |  | ERCOT |  |  |  |