| NPRR Number | 853 | NPRR Title | Availability of ERCOT Estimated Interval Meter Data |
| --- | --- | --- | --- |
| Date Posted |  | November 14, 2017 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 10.12, Communications (reference) 10.12.1, ERCOT Acquisition of Meter Data (reference) 10.12.2, TSP or DSP Meter Data Submittal to ERCOT (reference) 10.12.3, ERCOT Distribution of Settlement Quality Meter Data (reference) 10.12.4, Availability of ERCOT Estimated Meter Data (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) codifies the proposed availability of an ERCOT extract providing ERCOT estimated interval data for Advanced Metering System (AMS) meters and Interval Data Recorder (IDR) Meters used in the Settlement process. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The subject of this NPRR is an outflow of a series of ERCOT-hosted workshops in 2016 when there were discussions for ERCOT to assume administration of Smart Meter Texas. The workshops discussed both Smart Meter Texas and AMS data processes. Currently, ERCOT estimated data used in the Settlement process is not transparent to Load Serving Entities (LSEs) at an Electric Service Identifier (ESI ID) level. If interval data is not available or does not pass validations at the time of Settlement, ERCOT will estimate the interval data to be used for the data aggregations in the Settlement process. Settlement data provided in the Supplemental AMS Extract and the IDR Supplemental Extract do not include ERCOT estimated data. This NPRR proposes an additional extract for ERCOT estimated interval data to provide the data transparency at an ESI ID level in the reconciliation of Settlement for LSEs. |  |

| Sponsor |  |
| --- | --- |
| Name | Steve Davis on behalf of Alliance for Retail Markets (Ambit Energy, LLC; Calpine Energy Solutions, LLC; Champion Energy Services, LLC; Constellation NewEnergy, Inc.; Direct Energy, LP; ENGIE Resources, LLC; Gexa Energy, LP; NRG Retail Companies; TXU Energy Retail Company, LLC) |
| E-mail Address | Davis@sjdlawoffices.com |
| Company | Alliance for Retail Markets (ARM) |
| Phone Number | (512) 479-9995 |
| Cell Number | (512) 699-9971 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-246-6521 |

Proposed Protocol Language Revision

- 10.12	Communications

- 10.12.1	ERCOT Acquisition of Meter Data

(1)	ERCOT shall acquire meter data via the following communication links:

(a)	ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and

(b)	Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

- 10.12.2	TSP or DSP Meter Data Submittal to ERCOT

(1)	TSP and DSPs shall submit meter consumption data to ERCOT through a standard data interface into the Meter Data Acquisition System (MDAS).  In order to submit meter consumption data, a TSP or DSP shall use an automated system with an ERCOT-approved and tested interface to MDAS.

- 10.12.3	ERCOT Distribution of Settlement Quality Meter Data

(1)	ERCOT shall distribute Settlement Quality Meter Data to Market Participants:

(a)	Whenever a TSP or DSP submits meter consumption data to ERCOT via a Texas Standard Electronic Transaction (TX SET), information pertaining to specific Market Participants shall be removed and automatically forwarded on to that specific Market Participant (i.e., a Competitive Retailer (CR) will automatically receive the meter consumption data and other information for the Electric Service Identifiers (ESI IDs) that the CR represented during the meter data timeframe).

(b)	Whenever a TSP or DSP submits meter data to ERCOT via an ERCOT specified file format for Advanced Meters, upon certified request by a Market Participant, ERCOT shall make that data available to the Market Participant via Market Information System (MIS) Certified Area.

(c)	On Request – A Market Participant may submit an electronic request via the MIS Certified Area for specific meter consumption data.  ERCOT will receive and validate the request and, if appropriate, automatically forward the appropriate information to the Market Participant.

10.12.4	Availability of ERCOT Estimated Meter Data  (1)	Whenever ERCOT estimates meter data for Advanced Meters or Interval Data Recorder (IDR) Meters, upon certified request by a Market Participant, ERCOT shall make that data available to the Market Participant via the MIS Certified Area as an extract located on the Retail Transactions – Market Data Transparency – Data Request Services webpage.