## ERCOT Peak - Weather Scenarios
Summer Peak Demand (MW) based on historical weather years
Historical weather year
Forecast Year | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | P50 | P90
2018 | 70806.1336 | 75002.1057 | 70454.5136 | 72050.6769 | 72576.2441 | 72326.3748 | 71908.2487 | 72321.7579 | 74802.9087 | 76175.6218 | 74334.2517 | 73593.8471 | 71702.1136 | 73222.6936 | 73749.2178 | 72973.9703 | 74846.223
2019 | 72462.6853 | 76658.6575 | 72111.0653 | 73454.0518 | 74232.7958 | 73982.9266 | 73564.8005 | 74113.0414 | 76459.4605 | 77832.1735 | 75891.9084 | 75250.3989 | 73358.6654 | 74879.2454 | 75405.7695 | 74638.654 | 76502.7747
2020 | 73686.2146 | 77882.1867 | 73334.5946 | 74451.9022 | 75456.3251 | 75206.4558 | 74788.3297 | 75255.5635 | 77682.9898 | 79055.7028 | 77238.0985 | 76473.9281 | 74582.1946 | 76102.7746 | 76629.2988 | 75878.5907 | 77893.2434
2021 | 74934.8431 | 79130.8152 | 74583.223 | 75556.4519 | 76704.9536 | 76455.0843 | 76036.9582 | 76406.4403 | 78931.6182 | 80304.3312 | 78363.8509 | 77722.5566 | 75830.8231 | 77351.4031 | 77877.9273 | 77125.0519 | 79141.8719
2022 | 76374.8365 | 80570.8086 | 76023.2164 | 76996.4453 | 78144.947 | 77895.0777 | 77476.9516 | 77738.2602 | 80371.6116 | 81744.3246 | 79665.6857 | 79162.55 | 77270.8165 | 78791.3965 | 79317.9207 | 78555.7677 | 80581.8653
2023 | 77782.7997 | 81978.7718 | 77431.1796 | 78404.4085 | 79552.9102 | 79303.0409 | 78884.9148 | 79061.1688 | 81779.5748 | 83152.2878 | 80978.4112 | 80570.5132 | 78678.7797 | 80199.3597 | 80725.8839 | 79958.5515 | 81989.8285
2024 | 79023.1857 | 83219.1579 | 78671.5657 | 79644.7946 | 80793.2962 | 80543.4269 | 80125.3008 | 80233.335 | 83019.9609 | 84392.6739 | 82147.8259 | 81810.8993 | 79919.1658 | 81439.7458 | 81966.2699 | 81200.0179 | 83230.2145
2025 | 80197.9318 | 84393.904 | 79846.3118 | 80819.5407 | 81968.0423 | 81718.1731 | 81300.047 | 81322.7958 | 84194.707 | 85567.42 | 83216.9552 | 82985.6454 | 81093.9119 | 82614.4919 | 83141.016 | 82375.5316 | 84404.9606
2026 | 81529.5249 | 85725.497 | 81177.9049 | 82151.1338 | 83299.6354 | 83049.7661 | 82631.64 | 82561.0219 | 85526.3 | 86899.0131 | 84428.6736 | 84317.2384 | 82425.5049 | 83946.0849 | 84472.6091 | 83703.6219 | 85736.5537
2027 | 82863.8658 | 87059.8379 | 82512.2457 | 83485.4746 | 84633.9763 | 84384.107 | 83965.9809 | 83810.2938 | 86860.6409 | 88233.3539 | 85705.5098 | 85651.5793 | 83759.8458 | 85280.4258 | 85806.95 | 85035.2776 | 87070.8946

## Compatibility Report (hidden)
Compatibility Report for ERCOT_Peak_Demand_Scenarios_2017.xls
Run on 11/27/2017 9:06
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences | Version
One or more functions in this workbook are not available in earlier versions of Excel. When recalculated in earlier versions, these functions will return a #NAME? error instead of their current results. | 10
| ERCOT Peak - Weather Scenarios'!R6:R15 | Excel 97-2003
Excel 2007