## Slide 1
Resource Definition Roadmap
December 2017

## Slide 2: Background
Previous attempts at addressing non-modeled generation or distributed generation have struggled to resolve the various issues.
This task force is intended to resolve issues with the protocols regarding resources and definitions in ERCOT.
  Attempting to resolve with a single over-arching NPRR to address everything is expected to stretch out the timeline significantly to get overall agreement.
The recommended approach is to selectively identify and resolve issues
  It is anticipated that several NPRRs will be developed to address existing issues.
  Topics or definitions the group is unable to resolve but require further review will be included in a whitepaper that is shared with PRS.

## Slide 3: Stages of Activities
Step 1 - Align definitions to identify differences
  Initial Spreadsheet by Jay identifies resource types.
    Update with Ken/Woody construct
  Initial table comparing PURA to PUCT to ERCOT generated
    Need to include NERC definitions
  Align with Jay’s Resource analysis
    Revise and streamline to capture key issues and gaps
  Develop consensus on new Terms and/or definitions
  Publish new Terms/Definitions
    Terms or definitions without agreement will be included in the whitepaper.
  Should suggested changes be sent to PRS for approval?
Estimated duration 6-8 months

## Slide 4: Stages of Activities
Step 2 – Clarify Definitions for Transmission connected resources
  Revise/replace “Non-modeled” term per new definitions
  Recommend/Submit first NPRR.
Estimated Duration 6 months

## Slide 5: Stages of Activities
Step 3 – Clarify definitions for Distribution connected resources
  Generate new categories addressing multiple configurations
  Utilize definitions established in step 1 where possible.
  Include current and proposed future DG categories together, or address in separate NPRRs?
  Submit NPRR(s).
Estimated duration 6-8 months

## Slide 6: Topics for Additional Discussion
  Elimination of term “non-modeled”
  Requirements for transmission connected resources less than 10 MW
  Requirements for Voltage support services/testing
    Certain generation resources grandfathered if not capable?
  Definition for Distribution connected resources 10 MW and greater
  How to handle Aggregations of distribution connected generation resources
  Energy Storage registration/modeling issues.
    This will not be a significant area of focus as part of this task force and will instead be included in the whitepaper for further discussion.
  Distribution connected generation only resources (no load)
  To what extent do we construct definitions-- and do definitions correlate to obligations? This may be a whitepaper issue.
    If a resource is capable of exporting, what definition bucket does it go in?