| NOGRR Number | 149 | NOGRR Title | Revision to Definition of Transmission Operator |
| --- | --- | --- | --- |
| Date |  | December 18, 2017 |  |
| Decision Being Appealed |  | Reliability and Operations Subcommittee (ROS) Decision to Reject NOGRR149 - 3/3/16 ROS Report |  |
| Date of Decision |  | March 3, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Gerald A. Nunan, PE, JD |  |
| E-mail Address |  | gnunan@se-texas.com |  |
| Company |  | Schneider Engineering, Ltd., on behalf of the Small Public Power Group of Texas (SPPG) |  |
| Phone Number |  | 830-249-3887 |  |
| Cell Number |  | 210-383-2169 |  |
| Market Segment |  | Municipal |  |

Comments

SPPG Status Report to TAC (December 2017)

The Technical Advisory Committee (TAC) on August 24, 2017, continued tabling, to the February 2018 TAC Meeting, the Small Public Power Group of Texas (SPPG) appeal of Nodal Operating Guide Revision Request (NOGRR) 149.  TAC also required monthly SPPG status reports on potential market solutions for designated TO (DTO) service for the SPPG members.  This supplements the prior written and in-person status reports.

General Overview

All SPPG members continue working on potential market solutions, as set out below.

Status for Each Specific SPPG Member

Bridgeport, Sanger, and Seymour:

Regarding LCRA Transmission Services Corporation (LCRA) establishing a new point of interconnection, LCRA is continuing its discussions with the cities and with Brazos Electric Power Cooperative, Inc. (Brazos) on how to potentially include the existing Brazos substations in a permanent arrangement regarding those cities.

Farmersville:

Farmersville is evaluating the DTO situation in light of the recent change in ownership of the substation serving Farmersville from Sharyland Utilities LP to Oncor Electric Delivery Company LLC (Oncor).

Robstown:

Robstown and LCRA are continuing to discuss the sale of the city-owned substation to LCRA.

Hearne:

Hearne is considering the potential for a sale of its city-owned substation to LCRA and alternatives to that potential solution.

Goldsmith:

Goldsmith is seeking further discussions with Oncor regarding the DTO situation.

Bartlett:

The City of Bartlett, a small municipal utility, has joined SPPG.  It is in the process of determining the factual situation relevant to pursuing discussions with the transmission service provider with whom it is interconnected regarding the DTO situation.