## Calculation Data
Table 1: NEC Data
Definition | Name | Value | Units | Equation
NEC total 2011-2012 purchases | ATM | 342404.722 | MWH | metered
NEC total 2011-2012 sales | ATMS | 347117.521 | MWH | metered
Primary account estimated annual sales 2011-2012 | PATMS | 17583.372 | MWH | metered
Secondary account estimated annual sales 2011-2012 | SATMS | 324821.35 | MWH | ATMS-PATMS
Primary account system no load loss | PNLL | 0.051353 | kWatt | (PATMS/ATMS)
Secondary account dist xfmr NEC 2011-2012 no load loss | SNLL | 42.3595 | kWatt | compiled
Secondary account system no load loss | SCNLL | 43.3081 | kWatt | SNLL+(SATMS/ATMS)
NEC Distribution transformer load losses at Average Annual Load | DTLL | 157.285 | kWatt
Primary account scale factor | PSF | 0.64401 | na | ((ATM-ATMS)*Peak+((SNLL+((PATMS/ATMS)*DTLL))*8784/1000))/(ATM-ATMS)
| F1 | F2 | F3
Secondary Metered Account Factors | 0.05979 | -0.09135 | 0.09019 | Code B
Primary Metered Account Factors | 0.038505 | -0.05883 | 0.058083 | Code A