- Section 6:

SMOGRR019 – Clarifications and Updates to Paralleling Current Transformers, Instrument Transfer Name Plate Photos and Loss Potential Event Logging Requirements

This Settlement Metering Operating Guide Revision Request (SMOGRR) modifies Section 6.5.4 to specify the voltage levels for logging loss of potential events.

Revised Subsection:  6.5.4

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

- Revised Subsection:  1.3.1