## Slide 1
Quarterly Stability Assessment
January, 2018
Generation Interconnection Workshop

## Slide 2: Outline
Introduction
Quarterly Stability Assessment (QSA)
Next steps

## Slide 3: Introduction
In April 2017, ERCOT Board of Directors approved PGRR052, Quarterly Stability Assessment (QSA). ERCOT sent a market notice in July. It became effective as of August 1, 2017.
QSA
  A stability assessment conducted by ERCOT every three months for a group of new generation
  Purpose: To identify any stability operating limits and to establish Generic Transmission Constraints (GTC) and Generic Transmission Limits (GTL) if needed
Governing Standards: NERC reliability standards, ERCOT Planning Guide and Protocols

## Slide 4: ERCOT Planning Guide Section 5.9
Requirements
  Planning Guide Section 6.9, addition of new generation resources to planning model
  All data submitted for new generation resources
  Full Interconnection Study (FIS), Reactive Power Study, System Improvement or mitigation plan
  All data used in the studies must be consistent with the data submitted to ERCOT
Timeline

## Slide 5: Past and Current Activities
In April 2017, ERCOT Board of Directors approved PGRR052 (Quarterly Stability Assessment (QSA)).
In July 2017, ERCOT sent a market notice and presented the QSA scope at the RPG meeting
On August 1, 2017, PGRR052 became effective
On August 1, 2017, ERCOT conducted the QSA and posted the report in the MIS Secure Website on October 31, 2017
On November 1, 2017, ERCOT started this QSA and will complete the QSA by the end of January 2018

## Slide 6: Study Process
Case Conditioning
Case review and update
Input file Prepation
Event file creation
Dynamic Stability Analysis
Update dynamic data, channel and script files (e.g. DYRs and Python)
Dispatch of generator in area of study
Dynamic stability analysis for each study region
Report and Sharing
Flat Start simulation
Report and MIS Posting (Secure Area)
Review the results with ERCOT Operations
Review of FIS stability study reports

## Slide 7: Assumption and Methodology of 1st QSA
Study year and cases:
  The latest 2017DWG flat start cases were used and updated.
    High Wind Low Load Conditions: 2020 High Wind Low Load Case
    Summer Peak Load Conditions: 2019 Summer Peak Load Case
Requirements for future generation:
  Initial Synchronization dates in Jan 1 ~ Mar 31 2018
  Pre-requisites in Planning Guide Section 5.9
Total 26 new generation resources were included in the QSA (see Appendix)

## Slide 8: Assumption and Methodology of 1st QSA
Study Area:
  ERCOT Staff determined study area(s) based on the review of the FIS stability study reports.
  Additional study area was considered by using engineering judgement and past experience
Contingencies:
  Planning Event P0 was tested for flat start behavior under no disturbance conditions
  ERCOT tested events given to the results of the FIS stability studies as well as a number of planning events created based on the event definitions from SSWG and DWG

## Slide 9: Result of the 1st QSA
ERCOT conducted the 1st QSA for the following the following four areas: Barilla-Fort Stockton, Bearkat, McCamey and Ajo areas
ERCOT found instability issues in the study areas and identified operating limits necessary to maintain system stability. The limits will be used as a reference to further develop and establish GTCs and GTLs.
The QSA report is available in the ERCOT MIS Secure Area:
  https://mis.ercot.com/pps/tibco/mis/Pages/Grid+Information/ResourceIntegration

## Slide 10: Status of Current QSA and Next Step
ERCOT is currently conducting the QSA for the generation with Initial Synchronization dates in the second quarter of 2018 (April 1 - June 30, 2018)
January 31, 2018 : Completion of Quarterly Stability Assessment
Within 10 business days of completion Summary report to be posted to the MIS Secure Area
The next QSA will start from February 1, 2018
  Submit Initial Synchronization Dates
  Meet all QSA requirements by February 1, 2018

## Slide 11: Question
?

## Slide 12: Appendix: List of Generation Included in the 1st QSA
INR | Project Name
11INR0082a | Val Verde Wind
12INR0059b | Barilla Solar 1B
13INR0049 | Friendswood G
13INR0056 | Fluvanna Renewable 1
14INR0031 | Baytown Chiller
14INR0038 | PHR Peakers
14INR0041a | Bruenning's Breeze
14INR0057 | Buckthorn Wind 1
14INR0060b | SALVTION
15INR0045 | Riggins Solar
15INR0061 | SolaireHolman 1
15INR0064 | Bearkat Wind A
15INR0070_1b | Pearl Solar
15INR0082 | Flat Top Wind I
16INR0009 | Port Comfort
16INR0023 | BNB Lamesa Solar (Phase I)
16INR0054 | NASA-JSC CHP
16INR0055 | Chapman Ranch Wind I
16INR0065 | Castle Gap Solar
16INR0065b | CED Upton Solar
16INR0087 | RTS Wind
16INR0091 | Santa Rita Wind
16INR0122 | Blue Summit Battery
17INR0022 | NET Power LaPorte
17INR0027 | Dermott Wind 1
17INR0042 | Castleman Chamon

## Slide 13: Appendix: List of Generation Included in the QSA Currently in Progress
INR | Project Name
16INR0086 | Cactus Flats Wind
17INR0056 | Callahan repowering
17INR0057 | Red Canyon repowering
17INR0058 | Horse Hollow II repowering
17INR0060 | Horse Hollow IV repowering
17INR0063 | Capricorn Ridge I repowering
17INR0064 | Capricorn Ridge II repowering
17INR0065 | Capricorn Ridge III repowering
17INR0067 | Sweetwater 1 repowering
18INR0013 | Denton Energy Center
17INR0101 | HH1 (stage 1)
17INR0103 | HH3 (stage 1)
17INR0104 | Capricorn Ridge IV (stage 1)