## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for December 2017

## Slide 2: Non-IRR GREDP < 85% – December 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 230 | 53 | 100 | 1.49 | 53.00
Unit 246 | 24 | 75 | 1.70 | 32.00
Unit 257 | 9 | 24 | 1.21 | 37.50
Unit 272 | 4 | 6 | 0.24 | 66.67
Unit 273 | 2 | 3 | 0.69 | 66.67
Unit 274 | 1 | 2 | 0.50 | 50.00

## Slide 3: IRR Summary – December 2017
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 81.68 | 67.39 | 73.47
GREDP Median (%) | 93.06 | 74.52 | 79.39
Average MW Error | 3.29 | 3.33 | 3.15
Median MW Error | 3.16 | 3.29 | 2.81
Total Intervals Scored | 16,941 | 7,334 | 6,562
100+ Intervals Scored | 47 | 133 | 24
Total Intervals Scored Average | 93.60 | 130.96 | 273.42

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – December 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 582 | 1459 | 3.30 | 39.89
Unit 5 | 709 | 833 | 5.37 | 85.11
Unit 8 | 325 | 389 | 4.06 | 83.55
Unit 9 | 209 | 378 | 6.44 | 55.29
Unit 11 | 291 | 316 | 3.95 | 92.09
Unit 12 | 253 | 274 | 1.54 | 92.34
Unit 17 | 118 | 244 | 4.95 | 48.36
Unit 18 | 215 | 241 | 3.42 | 89.21
Unit 25 | 175 | 216 | 1.65 | 81.02
Unit 26 | 192 | 212 | 0.99 | 90.57
Unit 27 | 176 | 211 | 1.03 | 83.41
Unit 28 | 124 | 211 | 8.77 | 58.76

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – December 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 32 | 158 | 170 | 1.08 | 92.94
Unit 34 | 144 | 167 | 2.56 | 86.23
Unit 35 | 127 | 154 | 3.06 | 82.47
Unit 36 | 139 | 149 | 5.48 | 93.29
Unit 38 | 50 | 146 | 0.38 | 34.25
Unit 40 | 98 | 126 | 0.00 | 77.77
Unit 41 | 41 | 115 | 5.32 | 35.65
Unit 42 | 87 | 115 | 2.13 | 75.65
Unit 44 | 72 | 113 | 1.76 | 63.72
Unit 45 | 85 | 110 | 1.74 | 77.27
Unit 46 | 80 | 109 | 1.68 | 73.39
Unit 47 | 74 | 104 | 1.58 | 71.15

## Slide 6: IRR ≥ 95%, Scored Intervals ≥ 100 – December 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1397 | 1482 | 4.89 | 95.12
Unit 3 | 1394 | 1445 | 2.89 | 96.47
Unit 4 | 1096 | 1141 | 4.21 | 96.06
Unit 6 | 809 | 831 | 3.60 | 97.35
Unit 7 | 408 | 413 | 2.63 | 98.79
Unit 10 | 316 | 320 | 2.94 | 98.75
Unit 13 | 270 | 270 | 2.70 | 100.00
Unit 14 | 253 | 266 | 3.43 | 96.47
Unit 15 | 248 | 257 | 2.55 | 96.69
Unit 16 | 244 | 254 | 4.29 | 96.06
Unit 19 | 227 | 231 | 0.98 | 98.27
Unit 20 | 226 | 230 | 1.75 | 98.26

## Slide 7: IRR ≥ 95%, Scored Intervals ≥ 100 – December 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 21 | 228 | 229 | 2.91 | 99.56
Unit 22 | 223 | 228 | 2.04 | 97.81
Unit 23 | 224 | 228 | 3.10 | 98.25
Unit 24 | 215 | 225 | 3.58 | 95.56
Unit 29 | 197 | 199 | 2.72 | 98.99
Unit 30 | 169 | 176 | 5.61 | 96.02
Unit 31 | 171 | 171 | 3.71 | 100.00
Unit 33 | 166 | 167 | 4.26 | 99.40
Unit 37 | 144 | 147 | 1.15 | 98.12
Unit 39 | 123 | 136 | 3.22 | 99.00
Unit 43 | 112 | 114 | 2.56 | 98.30