## Slide 1
Commercial Operation Impacts
from Hurricane Harvey
David Maggio
Manager, Market Analysis & Validation
Pam Shaw
Analyst, Market Operations
WMS
ERCOT Public
January 10, 2018

## Slide 2: Key Observations
Despite the impacts of Hurricane Harvey, commercial operations and market outcomes stayed fairly stable and were within a normal range during the storm.
The rain and lower temperatures resulted in a significant reduction in demand both regionally and system-wide.
  This lessened the impacts of Resource and transmission equipment outages.
There was some divergence in congestion between the Day-Ahead and Real-Time Markets (DAM and RTM).
  There are limitations, but there could be some room for improving this alignment during extreme conditions.

## Slide 3: Hurricane Harvey path

## Slide 4: Impact on System-Wide Demand
Chart: ERCOT System-Wide Demand during the Hurricane Relative to More Typical Demand

## Slide 5: Impact on System-Wide Demand

## Slide 6: System-Wide Pricing Impacts
Chart: System-Wide RTM vs. DAM Energy Prices

## Slide 7: System-Wide Pricing Impacts
Chart: DAM Energy and Ancillary Service Prices

## Slide 8: Load Resource Availability
Although Responsive Reserve Service (RRS) prices stayed within a normal range, there was a noticeable decrease in RRS offers from Non-Controllable Load Resources in the days after the storm.
Chart: Daily Average Total Available Non-Controllable Load Resources
| 42948 | 42949 | 42950 | 42951 | 42952 | 42953 | 42954 | 42955 | 42956 | 42957 | 42958 | 42959 | 42960 | 42961 | 42962 | 42963 | 42964 | 42965 | 42966 | 42967 | 42968 | 42969 | 42970 | 42971 | 42972 | 42973 | 42974 | 42975 | 42976 | 42977 | 42978 | 42979 | 42980 | 42981 | 42982 | 42983 | 42984 | 42985 | 42986 | 42987 | 42988 | 42989 | 42990
Peak Hrs | 1454.9285 | 1471.5277 | 1493.1272 | 1483.3724 | 1479.3701 | 1461.6606 | 1466.7915 | 1487.796 | 1528.8172 | 1516.8996 | 1517.4897 | 1510.0274 | 1512.2606 | 1492.5848 | 1463.5687 | 1444.6278 | 1435.7496 | 1425.0538 | 1458.3315 | 1482.8989 | 1481.1349 | 1486.8997 | 1469.9135 | 1453.3662 | 1480.5527 | 1477.7031 | 1450.0238 | 1422.199 | 1422.8142 | 1255.4654 | 1276.0183 | 1209.6428 | 1330.1374 | 1360.3865 | 1222.421 | 1171.1313 | 1452.4747 | 1521.9324 | 1524.3964 | 1534.0359 | 1551.2145 | 1524.8208 | 1512.0841
Off Peak Hrs | 1593.1873 | 1596.2353 | 1612.4892 | 1608.5746 | 1614.8104 | 1600.9506 | 1598.289 | 1600.3747 | 1624.2655 | 1624.5474 | 1643.6493 | 1622.4238 | 1629.0466 | 1635.8011 | 1616.1077 | 1600.863 | 1596.7327 | 1576.3559 | 1581.2861 | 1617.4627 | 1643.0999 | 1626.0734 | 1628.215 | 1580.6815 | 1578.2147 | 1567.1051 | 1489.2159 | 1498.9238 | 1398.0234 | 1300.3171 | 1150.7421 | 1160.1166 | 1278.0579 | 1260.0075 | 1226.4397 | 1241.5183 | 1414.1169 | 1632.9147 | 1645.4584 | 1668.9535 | 1703.9013 | 1699.0341 | 1708.4213
Ramp Hrs | 1497.3492 | 1499.1063 | 1511.0772 | 1515.5339 | 1508.6674 | 1497.2176 | 1495.5226 | 1506.9608 | 1528.5178 | 1521.7334 | 1547.7659 | 1523.137 | 1530.4531 | 1532.9824 | 1532.0787 | 1485.5113 | 1483.215 | 1475.8831 | 1490.241 | 1507.2431 | 1511.6102 | 1501.901 | 1492.7436 | 1472.637 | 1490.219 | 1475.8117 | 1460.2447 | 1438.9579 | 1424.7221 | 1287.9411 | 1269.7077 | 1281.1461 | 1366.2155 | 1351.3113 | 1328.2051 | 1323.791 | 1486.8659 | 1578.4097 | 1583.2095 | 1617.4741 | 1616.6157 | 1618.1974 | 1612.657

## Slide 9: ERS Capacity Availability
~2,300 (out of 8,800) ERS participants were located in hurricane impacted areas.
  350 had day-long service interruptions accounting for ~20 MW of ERS capacity reduction.
The estimated premise-level reduction in load of ERS participants in hurricane impacted areas was 80 MW starting on August 25 and reached a high of 200 MW on August 29.
  Still observing 50-100 MW as of the end of September
  Doesn’t necessarily indicate a reduction in the MW of service available
Chart: Estimated Premise-Level Load Reduction for ERS Participants in Effected Areas Data for 8/29/17

## Slide 10: Communication of Meter Data
There was an increase in communication failures experienced in the aftermath of Harvey.
  As a baseline, communication failures for a typical Operating Day are generally less than 3%.
ERCOT and TDSPs worked together to gather datasets for settlement
Chart: Areas Impacted by Harvey – Failed EPS Meter Communications
| 8/25…. | 8/28 | 8/29 | 8/30 | 8/31 | 9/1…. | 9/5 | 9/6 | 9/7 | 9/8
 | 0.075 | 0.415 | 0.464 | 0.457 | 0.354 | 0.333 | 0.059 | 0.084 | 0.049 | 0.042

## Slide 11: Real-Time and DAM Congestion
There was congestion during this period that resulted in higher prices in individual zones.
There was a discrepancy between RTM and DAM congestion rent in the South Load Zone during this period.
  Similar constraints in both markets but different magnitudes for different days
Chart: RTM and DAM Congestion Rent by Zone 8/23/17 through 9/2/17
| SOUTH | HOUSTON | WEST | NORTH | Across Zones
RTM | 10634943 | 5492366 | 206993 | 172061 | 3357
DAM | 16412731 | 5880088 | 665660 | 432246 | 377101

## Slide 12: Load Zone Pricing Impacts
Chart: RTM and DAM Load Zone Prices

## Slide 13: Expected Demand in the Coastal Weather Zone
Chart: Coastal Weather Zone Actual Load vs. Forecasted Load before DAM
Forecast 8/23 | 13530.6113 | 12858.6104 | 12306.7422 | 12006.1221 | 11958.8906 | 12246.127 | 12819.2168 | 12644.5205 | 13506.8877 | 14583.1484 | 15731.2979 | 16852.1855 | 17824.8535 | 18381.75 | 18768.6406 | 19076.0879 | 19397.8594 | 18822.6152 | 18255.0156 | 17589.0312 | 17332.6484 | 16669.4023 | 15524.7852 | 14462.0566
Forecast 8/24 | 13286.9082 | 12758.4033 | 12254.6123 | 11982.7656 | 12043.8545 | 12379.2754 | 12763.0723 | 12924.8145 | 13576.5117 | 14563.3643 | 15526.1611 | 16555.1367 | 17423.4863 | 18096.9785 | 18392.3672 | 18630.4336 | 18171.5605 | 17827.4004 | 17370.7344 | 16788.9395 | 16419.5176 | 15745.29 | 14716.3916 | 13718.2988
Forecast 8/25 | 12885.5967 | 12275.1807 | 11876.1914 | 11772.1152 | 11787.0684 | 12150.1963 | 12928.46 | 12944.6338 | 13457.4619 | 14095.5127 | 14902.1992 | 15351.1738 | 15649.6865 | 16083.3662 | 15906.4326 | 15935.1377 | 15869.7285 | 15735.4199 | 15462.8662 | 14976.0381 | 14752.1191 | 14301.5205 | 13600.6045 | 13024.3984
Forecast 8/26 | 12527.8613 | 12126.0205 | 11744.8018 | 11456.2588 | 11489.4824 | 11545.3457 | 11744.751 | 11953.1982 | 12543.7783 | 13232.3535 | 13539.793 | 13704.5586 | 13888.835 | 14036.3057 | 13899.6475 | 13913.6416 | 13978.1514 | 13663.5059 | 13320.3877 | 13276.7168 | 13258.8652 | 12980.3721 | 12628.9971 | 12210.9756
Forecast 8/27 | 11622.585 | 11253.7441 | 10708.8604 | 10533.085 | 10473.5371 | 10465.75 | 10465.1846 | 10451.3535 | 10756.0371 | 11440.1113 | 11884.8633 | 12350.1514 | 12598.7686 | 12718.9961 | 12812.8193 | 12724.6836 | 12623.4482 | 12521.9336 | 12496.8916 | 12319.7129 | 12183.3877 | 11927.667 | 11395.0488 | 10947.9766
Forecast 8/28 | 9774.2783 | 9504.0342 | 9227.1348 | 9072.8467 | 9103.2256 | 9683.7949 | 10107.082 | 10336.0439 | 10413.8418 | 11020.1357 | 11238.1514 | 11368.5557 | 11554.6191 | 11796.5557 | 11695.0488 | 11879.8545 | 12308.1055 | 12002.9756 | 11920.4824 | 11730.0537 | 11535.2207 | 11194.5205 | 10657.6533 | 10167.7617
Forecast 8/29 | 9422.9385 | 9092.999 | 8846.9102 | 8644.085 | 8557.8643 | 9068.3242 | 9195.3877 | 9480.5898 | 9693.0586 | 10258.5869 | 10831.4561 | 11161.8604 | 11412.915 | 12257.5586 | 12339.042 | 11917.3037 | 11971.0762 | 12044.3633 | 11763.2822 | 11742.7988 | 11496.4834 | 11140.9307 | 10757.251 | 10313.4395
Forecast 8/30 | 8915.2227 | 8594.1338 | 8187.4995 | 8012.416 | 8029.5903 | 8412.6318 | 8417.835 | 8563.6367 | 8988.502 | 9559.2686 | 10098.7959 | 10479.9502 | 11191.5703 | 11834.1699 | 11909.3428 | 12683.3691 | 12940.0479 | 12704.7373 | 12496.917 | 12349.6416 | 12155.0342 | 11643.1152 | 11082.1562 | 10480.4258
Forecast 8/31 | 9444.875 | 8790.5107 | 8575.0537 | 8270 | 8180.98 | 7987.1738 | 8163.0034 | 8266.9805 | 8868.8516 | 10295.083 | 11734.1748 | 13297.8613 | 14362.7275 | 15458.127 | 16045.9131 | 16809.6855 | 17127.0977 | 16908.3066 | 16420.375 | 15599.4424 | 15018.6191 | 13966.5605 | 12703.6143 | 11479.2539
Forecast 9/1 | 9953.5879 | 9305.0762 | 8754.8633 | 8523.5498 | 8243.2295 | 8056.8506 | 8285.1152 | 8406.0918 | 8960.4756 | 10133.375 | 11589.8662 | 12597.6309 | 13399.6455 | 14027.8408 | 14575.8721 | 14585.2305 | 14935.8359 | 14761.6748 | 14472.043 | 13817.9434 | 13117.9287 | 12350.4854 | 11319.457 | 10466.1699
Forecast 9/2 | 9409.3096 | 8841.0381 | 8487.6826 | 8111.1704 | 7845.2954 | 7476.627 | 7130.5713 | 7570.188 | 8300.9229 | 9600.8789 | 10785.0254 | 11550.6777 | 12399.3242 | 12552.7129 | 13078.3311 | 13148.2822 | 13607.4805 | 13493.3232 | 13041.4912 | 12625.4834 | 12430.1572 | 11613.1553 | 10908.8379 | 10276.8662

## Slide 14: Load Distribution Factors (LDF)
There was significant LDF mismatch in the Coastal and Southern Weather Zones, relative to typical performance.
Current process typically results in a 3 day difference between the source data and the Operating Day for which it’s used
  E.g., using data from 8/28 for 8/31
Limited ability to improve performance during extreme events like Harvey
Chart: Weather Zone Load Distriubtion Factor Index Normalized Absolute Mismatch
| 42980 | 42979 | 42978 | 42977 | 42976 | 42975 | 42974 | 42973 | 42972 | 42971 | 42970
Coastal | 0.24498 | 0.26701 | 0.30546 | 0.36394 | 0.40236 | 0.37132 | 0.26461 | 0.20792 | 0.17003 | 0.14022 | 0.14154
East | 0.19867 | 0.20903 | 0.21529 | 0.23326 | 0.24464 | 0.25784 | 0.21695 | 0.21178 | 0.20871 | 0.19154 | 0.19412
Far West | 0.29144 | 0.30899 | 0.29876 | 0.30627 | 0.29886 | 0.29502 | 0.2743 | 0.27071 | 0.29088 | 0.28762 | 0.29928
North | 0.17572 | 0.16042 | 0.1574 | 0.16995 | 0.17097 | 0.15624 | 0.18894 | 0.21037 | 0.16715 | 0.16593 | 0.15952
N. Central | 0.13901 | 0.13806 | 0.14471 | 0.14376 | 0.14579 | 0.15747 | 0.16678 | 0.17647 | 0.13983 | 0.14231 | 0.13424
Southern | 0.22295 | 0.24238 | 0.27422 | 0.30132 | 0.3314 | 0.42754 | 0.51707 | 0.5816 | 0.34012 | 0.14264 | 0.12571
S. Central | 0.099705 | 0.099153 | 0.112 | 0.10668 | 0.10576 | 0.11717 | 0.1191 | 0.1143 | 0.093006 | 0.094567 | 0.086859
West | 0.20474 | 0.21721 | 0.23912 | 0.24719 | 0.23726 | 0.24521 | 0.25815 | 0.25268 | 0.24908 | 0.21968 | 0.23277

## Slide 15: Questions?